SECTION 01.23.00

ALTERNATES

1.01	SCOPE OF THE WORK

  - This Section lists the Alternates which appear in the Contract Documents.  Consult the individual sections of the detailed requirements of each Alternate.

  - Bid prices for each Alternate shall include overhead, profit, and all other expenses incidental to the Work under each Alternate.

  - The Contractor and Subcontractors shall be responsible for examining the scope of each Alternate generally defined herein and for recognizing modifications to the Work caused by the Alternates and including the cost thereof in the bid price.

  - The Contractor’s alternate amount shall include the net change in cost to perform all of the work described in the Alternate.

  - ALTERNATE NO. 1

- Provide a clear, concise and complete description for each Alternate. The Form for General Bid must include a line item for each Alternate listed.

  - ALTERNATE NO. 2

Note to Designer:

- Clearly define the scope of each Alternate and list the specification sections affected.  Carefully review each alternate to be sure all affected sections are listed.

- Indicate which drawings show work affected by the Alternates

	Alternates must be selected in numerical order    (MGL c 149)

- Once an Alternate is rejected all subsequent Alternates must be rejected.  –

You must accept #1 and #2 before you can accept #3  -  and so on... .

Carefully describe Alternates so that the Owner will not be in a position of accepting or deleting work included in an Alternate that must be done to complete the project.

	Be sure Alternates are comprehensive enough to not overlook required items that might have to be added by change order.

	DO Not use Alternates to add a field sub-trade that requires a filed sub-bid when there is no work for that sub-trade in the base bid.  It causes to much confusion.

ALTERNATES ARE NOT RECOMMENDED ON UNIT PRICE BID JOBS.

	Defining alternates as Add or Deducts is generally better left up to the bidders.  Designing an Alternate to be an add may in fact actually result in a deduct if work is being added and deleted as part of the Alternative.

END OF ALTERNATES

01.23.00