SECTION 01 78 29

SURVEYS

Note to Designer:	Modify or Delete or the following section to accommodate the needs of this project

- SURVEYS

Use the following paragraph for projects with new foundations

  - At the completion of foundations, the Contractor shall furnish to the owner a survey, signed by a Land Surveyor or Engineer registered in Massachusetts, certifying that the location of the building(s) and the principal lines, levels, and dimensions of the buildings are accurately established in accordance with the drawings.

- This drawing shall be the same size as the other drawings in the Contract Documents.

- One electronic media copy of this drawing shall be provided in PDF.

Use the following paragraph for projects with new septic systems

  - During the installation of the septic system, the Contractor shall, if requested by the local governing official, provide a certified plan showing the installed location of all septic system components.  This survey shall be prepared by a Land Surveyor or Engineer, registered in Massachusetts, at no additional cost to the Owner.

- This drawing shall be the same size as the other drawings in the Contract Documents.

- One electronic media copy of this drawing shall be provided in PDF Format.

END OF SECTION 01.78.29

FINAL SURVEYS