include erwqe

include erwqe

|  |  | Massachusetts Department of Environmental Protection RTCR-2 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Sample Site Evaluation Complete one form for each positive coliform sample location (routine or repeat) |  |  |  |  |  |  |  |  |  |  |
|  | Identify sample site location: |  |  |  |  |  |  | Location Code: |  |  |  |
|  | E.coli positive? |  |  | Yes No |  | Chlorine Residual? mg/L Free Total Combined (at the time of collection) Not measured No chlorination |  |  |  |  |  |
|  |  | Assessment Elements For any shaded box checked, it should be considered an issue and a description must be included. |  |  |  |  | Issue and/or Description * If any element has not been reviewed, you must include an explanation. |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Yes | No | Not Reviewed* |
| 1.1 | What is the regular use of the sample site? (janitor sink, hand washing, dedicated sample station, laundry sink, etc.) |  |  |  |  |  |  |  |  |  |  |
| 1.2 | Describe the location and condition (physical and sanitary) of the tap. |  |  |  |  |  |  |  |  |  |  |
| 1.3 | Were there any recent plumbing breaks, changes, or construction in vicinity of sample site? If yes, describe. |  |  |  |  |  |  |  |  |  |  |
| 1.4 | Is the sample location in a pit or a vault? If yes, are there issues with flooding? |  |  |  |  |  |  |  |  |  |  |
| 1.5 | Were there any low pressure events or changes in water pressure in the premises plumbing? If yes, when? |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Are there any identified cross connections in the premises plumbing? Describe if present. |  |  |  |  |  |  |  |  |  |  |
| 1.8 | Were all backflow prevention devices at the sample location operational, maintained, and tested according to required schedule? |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Are there any treatment devices (point of entry and/or point of use) in the premises of the sample site? If yes, describe. |  |  |  |  |  |  |  |  |  |  |
| 1.10 | Does this location have a history of positive TC samples? |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Other comments on sample site? |  |  |  |  |  |  |  |  |  |  |
| List all sample site corrective actions (including date). Include assessment element number. |  |  |  |  |  |  |  |  |  |  |  |