| Charles D. Baker Governor Karyn E. Polito Lieutenant Governor |  | The Commonwealth of Massachusetts Department of Public Safety One Ashburton Place, Room 1301 Boston, Massachusetts 02108-1618 Phone (617) 727-3200 Fax (617) 727-5732 TTY (617) 727-0019 www.mass.gov/dps | Andrea J. Cabral Secretary Thomas G. Gatzunis, P.E. Commissioner |
| --- | --- | --- | --- |

Meeting Minutes

# Building Code Coordinating Council (BCCC)

# IGO Room 1306, One Ashburton Place, Boston, MA 02108

## January 15, 2015, 1:00 p.m.

Liz Minnis opened the meeting. 1:05

- Roll Call:

  - Anne Powers Co-Chair (AP)	 present  x absent

  - Liz Minnis Co-Chair (LM)	x present   absent

  - Ian Finlayson (IF)**		x present   absent

  - Tom Gatzunis (TG)		x present   absent

  - Richard Ness (RN)*		x present   absent

  - Peter Ostroskey (PO)        	x present   absent

  - Steve Rourke (SR) 		x present   absent

  - Rob Anderson (RA)		x present   absent

  - Peter Senopoulos (PS)		x present   absent

  - Wayne Thomas (WT)		x present   absent

  - Peter Kelly (PK)		x present   absent

  - Mike Feeney (MF)		 present  x absent

  - Madelyn Morris (MM)*		x present   absent

  - Tom Hopkins (TH)		x present   absent

  - Walter Zalenski (WZ)		x present   absent

  - Ed Kawa (EK)			x present   absent

  - Aime DeNault (AD)		 present  x absent

  - Tim Langella (TL)		x present   absent

* Designees: Bill Miller for Richard Ness, Dave Bragg for Madelyn Morris.

** IF arrived at 1:34.

Note 1: Votes are noted as (Motion by, Second by, All) if the vote is unanimous followed by the time.

Note 2: See the attached page “BCCC Membership” for department names.

- Minutes: Review and approval of Nov. 20, 2014 meeting minutes.  PK read and submitted his comments which dealt primarily with testing and balancing of ductwork.  Motion to approve with PK comments: (TG, WT, All) 1:09

- Administration: None.

- Old Business:

  - 271 CMR Sheet Metal Code (Board of Examiners of Sheet Metal Workers (SMB)) SMB requests review, comment and vote at January 15, 2015 meeting.

    - November 6, 2014 complete re-submittal for vote (replaces April 4, 2014 submittal documents).  Tabled on November 20, 2014.

      - DPL’s Summary Statement to BCCC, file received 11/6/14.

      - 271 CMR Chapters 1-5 and 7-9, files received 11/6/14.

      - 271 Chapter 6: adoption of the Uniform Mechanical Code (table of contents, chapters 1-8 and appendix), files received 11/6/14.

    - Memos received from DPS and DPL and forwarded by Co-Chairs to Attorney General’s Office, addressing issues discussed at the November meeting.

      - From DPS, to Tim Langella, Attorney General’s Office (AGO), dated December 4, 2014.

      - From Kevin P. Scanlon, Chief Legal Counsel, DPL, to BCCC, dated December 10, 2014.

-TL reported that, in regard to the two memos referenced above that were submitted to AGO for review and opinion, the AGO has indicated that they will not comment at this time.  TL explained that there are several reasons for this decision.  First, it is not the role of the AGO to provide legal advice to the BCCC.  Second, there is concern of a conflict since the AGO represents the SMB in current litigation.  TL suggested that perhaps ANF may look into the issue since it deals with several executive offices.

-PS motioned that BCCC vote to neither approve nor disapprove the proposal, but to move the regulation to the 485 process absent a recommendation, noting the jurisdictional issue, as identified in the referenced DPS and DPL remains unresolved.  TG seconded for discussion purposes only and suggested a no- action vote may delay the process even further.  Instead, he suggested that a recommendation with either an up or down vote should be taken since that is the responsibility of the BCCC.

-Kevin Scanlon, DPL Chief Legal Counsel, noted per the protocol that the SMB is not bound by the BCCC recommendation, and, that BCCC can forward written comments to the SMB and appropriate secretariat, and urged that action be taken today to move this matter along suggesting the outcome of the BCCC review process be noted on the 485 checklist form.

-PK felt that having had BCCC review the SMB proposal meets the protocol and requested to move the issue out of BCCC however possible.

Much discussion ensued considering how to best handle the issue.  TH noted his disagreement with the motion made by PS and also requested an up or down vote instead.  The motion on the floor to move the regulation to the 485 process without a recommendation was voted and failed: (in favor: SR, PS, PK, WT opposed: PO, BW, RA, TG, IF, TH, EK, WZ abstained: TL, DB) 1:40.

-WT made a motion to approve (the proposed SMB regulations as having no conflict or duplication) as a first, second and final read.   PK seconded the motion.  A vote was taken and this motion failed as well (in favor SR, PS, PO, PK, WT opposed: BW, RA, TG, IF, TH, EK, WZ abstained: TL, DB) 1:47.

5.	New Business: None.

6.     Other Matters: Other matters not received 14-days before this meeting.

7.     Adjourn: TG motioned to adjourn.  (TG, PS, All) 1:48.

Exhibits listed as file names:

- Designee for Madelyn Morris