## Attach 1 - Site Descriptions
Attachment 1 - Site Descriptions
| SITE ID | CITY | COUNTY | ADDRESS | Scale | Scale Comments | Reason for Monitor | ESTABLISHED | LATITUDE | LONGITUDE | MSA/CMSA
1 | 25-025-0002 | BOSTON | SUFFOLK | KENMORE SQUARE | Middle | Five Road Intersection | Highest Concentration; Population Exposure | 1965-01-01 | +42.348933 | -71.0977 | Boston CMSA; Boston Metropolitan MSA
2 | 25-025-0042 | BOSTON | SUFFOLK | HARRISON AVENUE | Neighborhood | Urban Background for Most Pollutants | Population Exposure | 1998-12-15 | +42.3295 | -71.0826 | Boston CMSA; Boston Metropolitan MSA
3 | 25-025-0043 | BOSTON | SUFFOLK | 150 NORTH STREET | Middle |  | Population Exposure; Maximum Concentration | 2000-01-01 | +42.363069 | -71.0543 | Boston CMSA; Boston Metropolitan MSA
4 | 25-025-0044 | BOSTON | SUFFOLK | 19 VON HILLERN STREET | Middle | Near-road NO2 Site | Population Exposure; Maximum Concentration | 2013-06-15 | +42.325186 | -71.0561 | Boston CMSA; Boston Metropolitan MSA
5 | 25-023-0005 | BROCKTON | PLYMOUTH | 170 CLINTON STREET | Neighborhood |  | Population Exposure | 2013-06-30 | +42.065131 | -71.0127 | Boston CMSA; Brockton MSA
6 | 25-013-0008 | CHICOPEE | HAMPDEN | ANDERSON ROAD | Urban | PAMS Springfield Type 2 | PAMS - Max. Precursor; Others Population Exposure | 1983-01-01 | +42.194444 | -72.5556 | Springfield MSA
7 | 25-005-1006 | FAIRHAVEN | BRISTOL | HASTINGS MIDDLE SCHOOL | Urban |  | Population Exposure | 2013-06-30 | +41.645403 | -70.898 | Boston CMSA
8 | 25-005-1004 | FALL RIVER | BRISTOL | GLOBE STREET | Neighborhood |  | Highest Concentration; Population Exposure | 1975-02-01 | +41.685728 | -71.1698 | Providence-Pawtucket-Fall River MSA
9 | 25-011-2005 | GREENFIELD | FRANKLIN | VETERANS FIELD | Urban/Neighborhood |  | Population Exposure | 2014-01-01 | +42.605816 | -72.5967 | Springfield MSA
10 | 25-009-5005 | HAVERHILL | ESSEX | WASHINGTON STREET | Urban | PM2.5 Neighborhood | Population Exposure | 1994-07-19 | +42.770867 | -71.1028 | Boston CMSA; Lawrence MSA
11 | 25-009-6001 | LAWRENCE | ESSEX | WALL EXPERIMENT STA | Neighborhood |  | Population Exposure | 1999-04-03 | +42.698245 | -71.165 | Boston CMSA; Lawrence MSA
12 | 25-009-2006 | LYNN | ESSEX | 390 PARKLAND | Urban | PAMS Boston Type 2 | PAMS - Max. Precursor; Ozone Population Exposure | 1992-01-01 | +42.474671 | -70.9714 | Boston CMSA; Boston Metropolitan MSA
13 | 25-021-3003 | MILTON | NORFOLK | BLUE HILL | Urban | Transported Ozone; Elevated Terrain | Upwind Background PM2.5; Maximum Ozone | 2002-04-02 | +42.2118 | -71.1145 | Boston CMSA; Boston Metropolitan MSA
14 | 25-009-4005 | NEWBURYPORT | ESSEX | 261 NORTHERN BLVD | Urban | PAMS Boston Type 3 | Maximum Ozone Conc.; Population Exposure | 2010-07-01 | +42.814444 | -70.8183 | Boston CMSA; Boston Metropolitan MSA
15 | 25-003-5001 | PITTSFIELD | BERKSHIRE | 78 CENTER STREET | Neighborhood |  | Population Exposure | 1998-12-01 | +42.448028 | -73.2546 | Pittsfield MSA
16 | 25-003-0006 | PITTSFIELD | BERKSHIRE | 1 SOUTH STREET | Neighborhood |  | Population Exposure | 2005-12-01 | +42.452036 | -73.2556 | Pittsfield MSA
17 | 25-013-0016 | SPRINGFIELD | HAMPDEN | LIBERTY STREET | Neighborhood |  | Population Exposure; Maximum Concentration | 1988-04-01 | +42.109011 | -72.5913 | Springfield MSA
18 | 25-001-0002 | TRURO | BARNSTABLE | FOX BOTTOM AREA | Regional | Transported Ozone | General/Background | 1987-04-01 | +41.975833 | -70.0242 | Barnstable MSA
19 | 25-027-0024 | UXBRIDGE | WORCESTER | 366 E.HARTFORD AVE. | Urban | State line Upwind; Required for CMSA | Ozone Transport; Population Exposure | 2008-11-01 | +42.099722 | -71.6199 | Boston CMSA; Worcester MSA
20 | 25-015-4002 | WARE | HAMPSHIRE | QUABBIN SUMMIT | Urban | PAMS Springfield Type3 | Maximum Ozone Conc.; Background for some pollutants | 1985-06-01 | +42.298514 | -72.3346 | Springfield MSA
21 | 25-027-0015 | WORCESTER | WORCESTER | WORC. AIRPORT | Urban | Worcester/Springfield Interface - Ozone | Population Exposure | 1979-05-07 | +42.274342 | -71.876 | Boston CMSA; Worcester MSA
22 | 25-027-0016 | WORCESTER | WORCESTER | 2 WASHINGTON STREET | Neighborhood |  | Population Exposure | 2003-10-01 | +42.260125 | -71.7989 | Boston CMSA; Worcester MSA
23 | 25-027-0023 | WORCESTER | WORCESTER | SUMMER STREET | Neighborhood | CO is Middle Scale | Population Exposure | 2004-01-01 | +42.263978 | -71.7948 | Boston CMSA; Worcester MSA
24 | 25-017-0009 | CHELMSFORD | MIDDLESEX | EPA NERL | Urban | Downwind of Worcester | Population Exposure | 2005-04-01 | +42.626925 | -71.3621 | Boston CMSA; Lowell MSA
| 25-007-0001 | AQUINNAH | DUKES | WAMPANOAG TRIBE | Middle |  | Regional | 2004-04-01 | +41.330489 | -70.7858 | Providence-Fall River-Warwick; RI-MA

## Attach 2 - Site Measurements
Attachment 2 - Site Measurements
| SITE ID | CITY | ADDRESS | O3 | CO | SO2 | Pb | NO | NO2 | NOx | NOY | METEOROLOGICAL | PM10 (LV) | PM25 (FRM) | BAM 2.5 | VOC (TOXICS) | VOC (PAMS) | CARBONYLS | BLACK CARBON | SPECIAL MONITORING
1 | 25-025-0002 | BOSTON | KENMORE SQUARE |  |  | SO2t |  | NO | NO2 | NOx |  |  | PM10 (6-DAY) | PM2.5 (3-DAY) | [5 empty] | Synspec GC-PID (VOCs)
2 | 25-025-0042 | BOSTON | HARRISON AVENUE | O3 | COt | SO2t | Pb | NO | NO2 | NOx | NOy | WD, WS, TEMP, RH, BP, SOLAR | PM10 (2)(3-DAY ) | PM2.5 (3-DAY) | FEM BAM 2.5 | VOC (TOXICS) |  | CARBONYLS (6th-DAY) | BLACK CARBON | PM2.5 Speciation; Toxic Metals; PMcoarse; PAHs
3 | 25-025-0043 | BOSTON | 150 NORTH STREET | [10 empty] | PM2.5 (2) (Daily) | FEM BAM 2.5 |  |  |  | BLACK CARBON
4 | 25-025-0044 | BOSTON | 19 VON HILLERN STREET |  | COt |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  | PM2.5 (3-DAY) | FEM BAM 2.5 |  |  |  | BLACK CARBON
5 | 25-023-0005 | BROCKTON | 170 CLINTON STREET | O3 | [9 empty] | PM2.5 (2) (3-DAY) | FEM BAM 2.5
6 | 25-013-0008 | CHICOPEE | ANDERSON ROAD | O3 | COt |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  | PM2.5 (2) (3-DAY) |  |  | VOC (PAMS) | CARBONYLS (PAMS) |  | PM2.5 Speciation
7 | 25-005-1006 | FAIRHAVEN | HASTINGS SCHOOL | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
8 | 25-005-1004 | FALL RIVER | GLOBE STREET | O3 |  | SO2 | [7 empty] | PM2.5 (3-DAY) | FEM BAM 2.5
9 | 25-011-2005 | GREENFIELD | VETERANS FIELD | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  | PM2.5 (3-DAY) | FEM BAM 2.5 |  |  |  | BLACK CARBON
10 | 25-009-5005 | HAVERHILL | WASHINGTON STREET | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  | PM2.5 (3-DAY) | FEM BAM 2.5
11 | 25-009-6001 | LAWRENCE | WALL EXPERIMENT STA | [10 empty] | PM2.5 (3-DAY)
12 | 25-009-2006 | LYNN | 390 PARKLAND | O3 | COt |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR, Precipitation |  | PM2.5 (3-DAY) | FEM BAM 2.5 | VOC (TOXICS) | VOC (PAMS) | CARBONYLS (PAMS)
13 | 25-021-3003 | MILTON | BLUE HILL | O3 |  |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR
14 | 25-009-4005 | NEWBURYPORT | 261 NORTHERN BLVD | O3 |  |  |  | NO | NO2 | NOx | NOy | WD, WS, TEMP, RH, BP, SOLAR |  |  |  |  | VOC (PAMS)
15 | 25-003-5001 | PITTSFIELD | 78 CENTER STREET | [10 empty] | PM2.5 (3-DAY)
16 | 25-003-0006 | PITTSFIELD | 1 SOUTH STREET | [11 empty] | FEM BAM 2.5
17 | 25-013-0016 | SPRINGFIELD | LIBERTY STREET |  | CO | SO2 |  | NO | NO2 | NOx |  |  | PM10 (6-DAY) | PM2.5 (3-DAY) | FEM BAM 2.5 |  |  |  | BLACK CARBON
18 | 25-001-0002 | TRURO | FOX BOTTOM AREA | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  | IMPROVE PM2.5 (3-DAY) | [5 empty] | IMPROVE Operated By U.S. NPS
19 | 25-027-0024 | UXBRIDGE | 366 E.HARTFORD AVE. | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
20 | 25-015-4002 | WARE | QUABBIN SUMMIT | O3 |  | SO2t |  | NO | NO2 | NOx | NOy | WD, WS, TEMP, RH, BP, SOLAR, Precipitation | PM10 (6-DAY) |  | FEM BAM 2.5 |  | VOC (PAMS)
21 | 25-027-0015 | WORCESTER | WORC. AIRPORT | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
22 | 25-027-0016 | WORCESTER | 2 WASHINGTON STREET | [10 empty] | PM2.5 (3-DAY)
23 | 25-027-0023 | WORCESTER | SUMMER STREET |  | COt | SO2 |  | NO | NO2 | NOx |  |  | PM10 (6-DAY) | PM2.5 (3-DAY) | FEM BAM 2.5 |  |  |  |  | RADNET HiVOL TSP
24 | 25-017-0009 | CHELMSFORD | EPA NERL | O3
| 25-007-0001 | AQUINNAH | WAMPANOAG TRIBE | O3 | [9 empty] | IMPROVE PM2.5 (3-DAY) | [5 empty] | IMPROVE Operated by Wampanoag Tribe
COt = Trace Range Carbon Monoxide
SO2t = Trace Range Sulfur Dioxide
Note: (2) means collocated measurements.
FEM BAM = Federal Equivalent Method Beta Attenuatioon Monitor

## Attach 3 - Measurement Methods
Attachment 3 - Sampling and Analytical Methods
Parameter | Abbreviation | Sampling Methodology | Analytical Method | Sample Frequency
Ozone | O3 | Continuous Instrument | Ultra Violet (UV) Light Photometry | Continuous/Hourly
Carbon Monoxide | CO | Continuous Instrument | Gas Filter Correlation; Non-Dispersive Infared (NDIR) Detection | Continuous/Hourly
Sulfur Dioxide | SO2 | Continuous Instrument | UV Fluorescence | Continuous/Hourly
Nitric Oxide | NO | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Nitrogen Dioxide | NO2 | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Total Nitrogen Oxides | NOx | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Total Reactive Nitrogen | NOy | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Lead | Pb | Low Volume; Size Selective | ICP-MS | 1 Every 6th Day/24 hour
PM2.5 | PM2.5 | Low Volume; Size Selective | Gravimetric | 1 Every 3rd Day/24 hour
PM10 | PM10 | Low Volume; Size Selective | Gravimetric | 1 Every 6th Day/24 hour
PM2.5 Hourly | BAM | Continuous Instrument | Beta Attenuation | Hourly
PM2.5 Speciation | STN | Low Volume; Size Selective | ICP-MS /Ion Chromatography/ Total Carbon | 1 Every 3rd Day/24 hour
PM Coarse | PM Coarse | Subtraction; PM10 minus PM2.5 | Gravimetric | 1 Every 3rd Day/24 hour
IMPROVE PM2.5 | IMPROVE | Low Volume; Size Selective | IMPROVE Protocol | 1 Every 6th Day/24 hour
Black Carbon | BC | Continuous Instrument | Optical Transmittance | Continuous/Hourly
Toxic Elements | HV Toxics | High Volume/PM10 | ICP/MS | 1 Every 6th Day/24 hour
Toxic VOCs | VOCs (Toxics) | Passivated Canister | GC/MS | 1 Every 6th Day/24 hour
Toxic VOCs (Kenmore) | VOCs (Toxics) | AutoSampling Gas Chromatograph | GC-PID | Every 15 minutes ;Averaged to One hour
Toxic Carbonyls | Carbonyls | DNPH on Silica Gel Traps | HPLC | 1 Every 6th Day/24 hour
PAMS VOCs | VOCs (PAMS) | Subambient Preconcentration | GC-FID | Hourly (Season)
PAMS VOCs | VOCs (PAMS) | Passivated Canister | GC-FID | 1 Every 6th Day/24 hour (Year Round)
PAMS Carbonyls | Carbonyls (PAMS) | DNPH on Silica Gel Traps | HPLC | 3 8-hour Every Third Day (Season)
PAMS Carbonyls | Carbonyls (PAMS) | DNPH on Silica Gel Traps | HPLC | 1 Every 6th Day/24 hour (Year Round)
Polyaromatic Hydrocarbons | PAHs | Quartz Filter; PUF Cartridge | GC/MS | 1 Every 6th Day/24 hour (Year Round)
Wind Speed/Direction | WS/WD | Continuous Instrument | Ultrasonic Sensors | Hourly
Solar | Solar | Continuous Instrument | Pyranometer | Hourly
Relative Humidity | RH | Continuous Instrument | Electronic Sensor | Hourly
Ambient Temperature | Tem | Continuous Instrument | Electronic Thermister | Hourly
Barometric Pressure | BP | Continuous Instrument | Electronic Sensor | Hourly
Precipitation | Precip | Continuous Instrument | Tipping Bucket | Hourly