## Installed Projects
Installed Projects
Energy Storage System | [19 empty] | Generation
DG WR Number | Common Project Name | Policy Source 1 | Policy Source 2 | Other - Source | Year Procured | Customer Type | City/Town | Technology Type | Other - Technology | Manufactuer | Energy kWh (DC) | Capacity kW (DC) | Energy kWh (AC) | Capacity kW (AC) | Installation Type | Application/ Intended Use #1 | Application/ Intended Use #2 | Application/ Intended Use #3 | Other - Application/ Intended Use | DG WR Number | Storage Co-Located with DG/ Generation? | System Configuration Type | DG/ Generation Type | Capacity kW (DC) | Capacity kW (AC) | Utility
| 3625 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 4.08 | 4.15 | Unitil
| 3626 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Lunenburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 5.1 | 4.3 | Unitil
| 3627 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 5.13 | 4.5 | Unitil
| 3628 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 4.95 | 4.2 | Unitil
| 3767 | MA - SMART Program |  |  | 2019 | Residential | Lunenburg | Lithium Ion |  | Tesla |  |  | 27 | 10 |  | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage) |  |  |  |  | Yes | AC Coupled | Solar | 9.1 | 7.6 | Unitil
[11 empty] | 52 | 20 | 75 | 30
Note on G3: Year DG Interconection Application Was Submitted/ Contract was Signed
Note on W3: Co-Located means DG and ESS being built on same piece of property, but separate points of common coupling
Note on X3: DC Coupled = ESS is connected to PV; but only PV is connected to the grid. AC Coupled = ESS is connected to the grid, and PV is connected to the grid; but, neither the ESS nor the PV is connected to each other.

## Pipeline Projects
Pipeline Projects
Energy Storage System | [20 empty] | Generation
DG WR Number | Common Project Name | Policy Source 1 | Policy Source 2 | Other - Source | Interconnection Status | Customer Type | City/Town | Year | Technology Type | Other - Technology | Manufactuer | Energy kWh (DC) | Capacity kW (DC) | Energy kWh (AC) | Capacity kW (AC) | Installation Type | Application/ Intended Use #1 | Application/ Intended Use #2 | Application/ Intended Use #3 | Other - Application/ Intended Use | DG WR Number | Storage Co-Located with DG/ Generation? | System Configuration Type | DG/ Generation Type | Capacity kW (DC) | Capacity kW (AC) | Utility
| 3266 | MA - SMART Program |  |  | ISA Issued | Commercial | Fitchburg | 2018 | Lithium Ion |  |  | 4500 | 2250 | 4500 | 2250 | BTM | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  |  | Yes | DC Coupled | Solar | 6307.98 | 4885 | Unitil
| 3316 | MA - SMART Program |  |  | ISA Issued | Commercial | Lunenburg | 2018 | Lithium Ion |  |  | 2508 | 1000 | 2508 | 1000 | FTM | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  |  | Yes | DC Coupled | Solar | 2507.76 | 1000 | Unitil
| 3573 | MA - SMART Program |  |  | ISA Issued | Commercial | Fitchburg | 2019 | Lithium Ion |  | NEC Energy Solutions |  |  | 4000 | 2000 | BTM | Power Quality (e.g., Voltage/VAR Support) | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  | Yes | AC Coupled | Solar | 5027 | 4000 | Unitil
| 3804 | MA - SMART Program |  |  | Application Submitted | Commercial | Townsend | 2019 | Lithium Ion |  | NEC |  |  | 4000 | 1000 | BTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage) | Renewable Energy Integration (e.g., Ramping, Smoothing) |  |  | Yes | AC Coupled | Solar | 1240 | 997.7 | Unitil
| Unitil Townsend Substation | Utility-Owned Storage - T&D |  |  | ISA Issued | Utility-Owned Distribution | Townsend | 2019 | Lithium Ion |  | IHI | 4054 | 2856 | 4000 | 2000 | FTM | [5 empty] | No |  |  |  |  | Unitil
[12 empty] | 11062 |  | 19008 | 8250
Note on J3: Year DG Interconection Application Was Submitted/ Contract was Signed
Note on X3: Co-Located means DG and ESS being built on same piece of property, but separate points of common coupling
Note on Y3: DC Coupled = ESS is connected to PV; but only PV is connected to the grid. AC Coupled = ESS is connected to the grid, and PV is connected to the grid; but, neither the ESS nor the PV is connected to each other.

## Data Validation
Policy Source | Interconnection Status | Customer Type | Technology Type | Installation Type | Application/ Intended Use | Storage Co-Located with DG/ Generation | System Configuration Type
MA - SMART Program | Application Submitted | Residential | Lithium Ion | FTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Yes | AC Coupled
MA - Energy Efficiency/ DR Program | ISA Issued | Commercial | Lead Acid | BTM | Peak Shaving/ Load Leveling | No | DC Coupled
MA - DOER/ MassCEC Funded Projects | Full Payment Received | Utility-Owned Transmission | Sodium Chemistry |  | Generation Support (e.g., Peaker Replacement)
MA - Section 83 (c) or 83 (d) |  | Utility-Owned Distribution | Flow Battery |  | T&D Asset Deferral
Utility-Owned Storage - R&D |  |  | Pumped Hydro |  | Power Quality (e.g., Voltage/VAR Support)
Utility-Owned Storage - T&D |  |  | Compressed Air Energy Storage |  | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage)
Other |  |  | Thermal Storage |  | Renewable Energy Integration (e.g., Ramping, Smoothing)
|  |  | Flywheel |  | Renewable Energy Shifting
|  |  | Ultracapacitor |  | Reliability and Resiliency
|  |  | Other - Please explain |  | Microgrid
Other - Please elaborate