November 24, 2020

Samantha Meserve, E.I.T.

Deputy Director, Renewable and Alternative Energy Division

Massachusetts Department of Energy Resources

100 Cambridge Street,

Suite 1020,

Boston, MA 02114

Submitted via Email to DOER.APS@mass.gov

RE: 2020 APS Minimum Standard Review Comment.

Deputy Director Meserve,

Thank you for the opportunity to comment on the “APS”.  Agreenability is the Manufacturer of the TWISTER high efficiency geothermal heat exchanger.  TWISTER was developed to address the high cost of the vertical ground loop required for geothermal heat pump systems.  The high efficiency of heat exchange allows the TWISTER to be installed with an average of 33% less linear feet of bore per ton than standard pipe.  Many successful installations have utilized a 100’/ton design.

TWISTERs ability to reduce the amount of drilling, while maintaining performance equal to or better to than the standard pipe solution, stems from its very low Borehole Thermal Resistance (BTR).  In laymen’s terms, BTR is a measure of the resistance to the movement of heat between the fluid in the pipe and the borehole wall.  The less resistance to this movement of heat, the less borehole footage is required to move an equivalent amount of heat.

Reducing the BTR value is not unique to TWISTER.  High conductivity grout, pipe spacers and double pipe loops also reduce the BTR values by reducing the resistance to the movement of heat.

GSHP systems are widely known to be more expensive than other technologies.  The high cost is attributed to the cost of installing the vertically drilled bore field which can often contribute around 40% of the total cost of the system.  For this reason, there has been a lot of focus on technologies that can help reduce this cost.  Novel drilling techniques, high conductivity grout and different approaches to the heat exchange pipes are some of the most prominent methods that have been employed to reduce this cost.  TWISTER is the result of research and development conducted in the area of the heat exchange pipes.  Since the product inception in 2010 and installations dating back to 2012, TWISTER has been successfully used on many “Small Ground Source Heat Pump” systems.  Many of these systems are in Massachusetts and neighboring states.   These systems have benefitted by the use of the TWISTER technology in several ways including fewer bores, lower installation cost and less real estate requirements just to mention a few of the benefits.

In response to the Stakeholder questions, I will focus on answering only questions 10 and 11 as these are within Agreenability’s area of expertise.

10:  Are there currently eligibility criteria in the APS program that you believe are a barrier to participation in the program? How would you address these barriers?

225 CMR 16.05(4)(f)(6) States “for vertically bored closed-loop systems, Generation Units must have a minimum depth of 150 feet per 12,000 Btu per hour of heating load served by the system”.

This minimum depth requirement is a disincentive for the adoption of high efficiency loop field technologies that seek to reduce the cost of Small Ground Source Heat Pump systems by reducing the amount of required loop field depth.  In the case of the TWISTER technology, 20% reduction in the cost of the loop field has been shown, and this can result in as much as $3000 for a typical 5-ton residential system.  As can be ascertained from the Daymark Energy study, $3000 represents a significant part of the incentives that are required for small GSHP systems.

To take advantage of the benefits of the TWISTER technology, it is our recommendation that the minimum depth requirements be amended to include the provision that a 100’/ton minimum be allowed when the TWISTER technology is employed along with the minimum grout conductivity of 1.0 (Btu/hr*ft*F) specified in 225 CMR 16.05(4)(f)(7).

Alternatively, 225 CMR 16.05(4)(f)(6) can be changed to eliminate the minimum footage requirement in favor of min/max water temperatures (EWT) limits on the water entering the GSHP.

11. What revisions to the existing APS eligibility criteria would you propose to improve and simplify the APS program, if any?

We would propose that 225 CMR 16.05(4)(f)(6) be revised to read as follows:

For vertically bored closed-loop systems, Generation Units must have a minimum depth of 150 feet per 12,000 Btu per hour of heating load served by the system.  When employing TWISTER high efficiency closed-loop system a minimum depth requirement of 100’ per 12,000 Btu per hour of heating load served by the system.

Alternatively:  For vertically bored closed-loop systems, Generation Units must have a minimum Entering Water Temperature (EWT) of xx degrees F and a maximum EWT of xx degrees F.  Recommended range of 30-85F.

Ground Source Heat Pumps were identified in the Daymark Energy Report as being among the technologies that have the lowest cost to achieve emissions reductions.  The report also identified that significant incentives are needed in order to support the adoption of these systems.  These financial incentives will be quite expensive and will ultimately be borne by consumers and tax payers.  Eliminating the barriers to the use of new technologies, that can assist in reducing the cost of GSHP systems, is therefore in the interest of both consumers and MASSDOER.  Therefore, we kindly as for the TWISTER technology to be included in the updated “APS” and we are available to supply supporting information as may be needed.

Sincerely,

Robert Jensen, ME

President

Agreenability LLC

550 Kinderkamack Rd

Oradell, NJ 07649

845 536 0264