## Installed Projects
Installed Projects
Energy Storage System | [19 empty] | Generation
DG WR Number | Common Project Name | Policy Source 1 | Policy Source 2 | Other - Source | Year Procured | Customer Type | City/Town | Technology Type | Other - Technology | Manufactuer | Energy kWh (DC) | Capacity kW (DC) | Energy kWh (AC) | Capacity kW (AC) | Installation Type | Application/ Intended Use #1 | Application/ Intended Use #2 | Application/ Intended Use #3 | Other - Application/ Intended Use | DG WR Number | Storage Co-Located with DG/ Generation? | System Configuration Type | DG/ Generation Type | Capacity kW (DC) | Capacity kW (AC)
| 3625 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 4.08 | 4.15
| 3626 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Lunenburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 5.1 | 4.3
| 3627 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 5.13 | 4.5
| 3628 | MA - Energy Efficiency/ DR Program |  |  | 2019 | Residential | Fitchburg | Lithium Ion |  | LG Chem | 13 | 5 | 12 | 5 |  | Peak Shaving/ Load Leveling |  |  |  |  | Yes | AC Coupled | Solar | 4.95 | 4.2
| 3767 | MA - SMART Program |  |  | 2019 | Residential | Lunenburg | Lithium Ion |  | Tesla |  |  | 27 | 10 |  | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage) |  |  |  |  | Yes | AC Coupled | Solar | 9.1 | 7.6
[11 empty] | 52 | 20 | 75 | 30
Note on F3: Year DG Interconection Application Was Submitted/ Contract was Signed
Note on V3: Co-Located means DG and ESS being built on same piece of property, but separate points of common coupling
Note on W3: DC Coupled = ESS is connected to PV; but only PV is connected to the grid. AC Coupled = ESS is connected to the grid, and PV is connected to the grid; but, neither the ESS nor the PV is connected to each other.

## Pipeline Projects
Pipeline Projects
Energy Storage System | [20 empty] | Generation
DG WR Number | Common Project Name | Policy Source 1 | Policy Source 2 | Other - Source | Interconnection Status | Customer Type | City/Town | Year | Technology Type | Other - Technology | Manufactuer | Energy kWh (DC) | Capacity kW (DC) | Energy kWh (AC) | Capacity kW (AC) | Installation Type | Application/ Intended Use #1 | Application/ Intended Use #2 | Application/ Intended Use #3 | Other - Application/ Intended Use | DG WR Number | Storage Co-Located with DG/ Generation? | System Configuration Type | DG/ Generation Type | Capacity kW (DC) | Capacity kW (AC)
| 4099 | MA - SMART Program |  |  | ISA Issued | Commercial | Fitchburg | 2020 | Lithium Ion |  |  |  |  | 5564 | 2500 | FTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Renewable Energy Shifting |  |  |  | Yes | DC Coupled | Solar | 5977.14 | 4394
| 3316 | MA - SMART Program |  |  | Full Payment Received | Commercial | Lunenburg | 2018 | Lithium Ion |  |  | 2508 | 1000 | 2508 | 1000 | FTM | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  |  | Yes | DC Coupled | Solar | 2507.76 | 1000
| 3573 | MA - SMART Program |  |  | Full Payment Received | Commercial | Fitchburg | 2019 | Lithium Ion |  | NEC Energy Solutions |  |  | 4000 | 2000 | FTM | Power Quality (e.g., Voltage/VAR Support) | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  | Yes | AC Coupled | Solar | 5027 | 4000
| Unitil Townsend Substation | Utility-Owned Storage - T&D |  |  | ISA Issued | Utility-Owned Distribution | Townsend | 2019 | Lithium Ion |  | Lishen | 4054 | 2856 | 4000 | 2000 | FTM | Peak Shaving/ Load Leveling |  |  |  |  | No
| 4213 | MA - SMART Program | Other | Clean Peak | Application Submitted | Commercial | Fitchburg | 2020 | Lithium Ion |  | Tesla |  |  | 232 | 65 | FTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Peak Shaving/ Load Leveling |  |  |  | Yes | AC Coupled | Solar | 231 | 180
| 4270 |  |  |  | Application Submitted | Residential | Townsend | 2020 | Lithium Ion |  | Tesla |  |  | 13.5 | 5 | BTM | Other - Please elaborate |  |  | Non-export back-up only |  | Yes | AC Coupled | Solar | 3.78 | 3.8
| 4304 | MA - SMART Program | MA - Energy Efficiency/ DR Program | Clean Peak | Application Submitted | Residential | Fitchburg | 2020 | Lithium Ion |  | Generac |  |  | 68.4 | 22.8 | BTM | Generation Support (e.g., Peaker Replacement) |  |  |  |  | Yes | DC Coupled | Solar | 96 | 74.13
| 4350 | MA - SMART Program | MA - Energy Efficiency/ DR Program |  | Application Submitted | Residential | Lunenburg | 2020 | Lithium Ion |  | Tesla |  |  | 40.5 | 15 | BTM | Peak Shaving/ Load Leveling | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage) | Renewable Energy Shifting |  |  | Yes | AC Coupled | Solar | 16.32 | 15.2
| 4464 | MA - SMART Program |  |  | Application Submitted | Commercial | Fitchburg | 2020 | Lithium Ion |  | LG Chem |  |  | 10000 | 2000 | BTM | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  |  | Yes | DC Coupled | Solar | 5653.96 | 2738
| 4228 | MA - SMART Program |  |  | ISA Issued | Residential | Lunenburg | 2020 | Lithium Ion |  | Tesla |  |  | 27 | 10 | BTM |  | Peak Shaving/ Load Leveling |  |  |  | Yes | AC Coupled | Solar | 11.34 | 10
| 4307 | MA - SMART Program | Other | Clean Peak | Application Submitted | Commercial | Fitchburg | 2020 | Lithium Ion |  | EPC Power | 14400 | 4800 | 7500 | 2500 | FTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Renewable Energy Integration (e.g., Ramping, Smoothing) | Renewable Energy Shifting |  |  | Yes | AC Coupled | Solar | 5770.16 | 4937.5
| 4097 | MA - SMART Program |  |  | ISA Issued | Residential | Fitchburg | 2020 | Lithium Ion |  | Tesla |  |  | 13.5 | 5 | BTM | Peak Shaving/ Load Leveling | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage) | Renewable Energy Shifting |  |  | Yes | AC Coupled | Solar | 7.56 | 7.6
[12 empty] | 20962 |  | 33966.9 | 12122.8
Note on I3: Year DG Interconection Application Was Submitted/ Contract was Signed
Note on W3: Co-Located means DG and ESS being built on same piece of property, but separate points of common coupling
Note on X3: DC Coupled = ESS is connected to PV; but only PV is connected to the grid. AC Coupled = ESS is connected to the grid, and PV is connected to the grid; but, neither the ESS nor the PV is connected to each other.

## Data Validation
Policy Source | Interconnection Status | Customer Type | Technology Type | Installation Type | Application/ Intended Use | Storage Co-Located with DG/ Generation | System Configuration Type
MA - SMART Program | Application Submitted | Residential | Lithium Ion | FTM | Wholesale Market (i.e., Energy, Capacity, Ancillary Services) | Yes | AC Coupled
MA - Energy Efficiency/ DR Program | ISA Issued | Commercial | Lead Acid | BTM | Peak Shaving/ Load Leveling | No | DC Coupled
MA - DOER/ MassCEC Funded Projects | Full Payment Received | Utility-Owned Transmission | Sodium Chemistry |  | Generation Support (e.g., Peaker Replacement)
MA - Section 83 (c) or 83 (d) |  | Utility-Owned Distribution | Flow Battery |  | T&D Asset Deferral
Utility-Owned Storage - R&D |  |  | Pumped Hydro |  | Power Quality (e.g., Voltage/VAR Support)
Utility-Owned Storage - T&D |  |  | Compressed Air Energy Storage |  | Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage)
Other |  |  | Thermal Storage |  | Renewable Energy Integration (e.g., Ramping, Smoothing)
|  |  | Flywheel |  | Renewable Energy Shifting
|  |  | Ultracapacitor |  | Reliability and Resiliency
|  |  | Other - Please explain |  | Microgrid
Other - Please elaborate