## Attach 2 - Site Measurements
Attachment 2 - Site Measurements
| SITE ID | CITY | ADDRESS | O3 | CO | SO | Pb | NO | NO2 | NOx | NOY | METEOROLOGICAL | PM10 (LV) | PM10 FEM | PM2.5 FRM | PM2.5 FEM | VOC | CARBONYLS | BLACK CARBON | SPECIAL MONITORING
1 | 25-025-0045 | BOSTON | 125 KNEELAND STREET | [12 empty] | PM2.5
2 | 25-025-0002 | BOSTON | KENMORE SQUARE |  |  | SO2 |  | NO | NO2 | NOx |  |  |  |  | PM2.5 (6 DAY) | PM2.5
3 | 25-025-0042 | BOSTON | 1159 HARRISON AVENUE | O3 | CO | SO2 | Pb | NO | NO2 | NOx | NOy | WD, WS, TEMP, RH, BP, SOLAR | PM10 (2) (3-DAY) | PM10 | PM2.5 (3-DAY) | PM2.5 | VOC (6-DAY) | CARBONYLS (6-DAY) | BLACK CARBON | NCore; PM2.5 Speciation; Toxic Metals; PMcoarse; PAHS
4 | 25-025-0044 | BOSTON | 19 VON HILLERN STREET |  | CO |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  |  | PM2.5 (6-DAY) | PM2.5 (2) |  |  | BLACK CARBON
5 | 25-023-0005 | BROCKTON | 170 CLINTON STREET | O3 | [11 empty] | PM2.5
6 | 25-017-0009 | CHELMSFORD | EPA NERL | O3
7 | 25-017-0010 | CHELMSFORD | 5 MANNING ROAD | O3 |  |  |  | NO | NO2 | NOx | [5 empty] | PM2.5 |  |  | BLACK CARBON
8 | 25-025-1004 | CHELSEA | HIGHLAND PARK | [12 empty] | PM2.5 | VOC (6-DAY) | CARBONYLS (6-DAY)
9 | 25-013-0008 | CHICOPEE | ANDERSON ROAD | O3 |  |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  |  |  | PM2.5 |  |  |  | PM2.5 Speciation
10 | 25-005-1006 | FAIRHAVEN | HASTINGS SCHOOL | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
11 | 25-005-1004 | FALL RIVER | 659 GLOBE STREET | O3 |  | SO2 | [9 empty] | PM2.5
12 | 25-011-2005 | GREENFIELD | VETERANS FIELD | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  |  | PM2.5 (6-DAY) | PM2.5 |  |  | BLACK CARBON
13 | 25-009-5006 | HAVERHILL | 137 MONUMENT STREET | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  |  |  | PM2.5
14 | 25-009-2006 | LYNN | 390 PARKLAND | O3 |  |  |  |  | NO2 |  | NOy | WD, WS, TEMP, RH, BP, SOLAR, PRECIP |  |  |  | PM2.5 | VOC (6-DAY) | CARBONYLS (6-DAY) |  | PAMS Auto-GC; NO2 CAPS
15 | 25-021-3003 | MILTON | BLUE HILL | O3 |  |  |  | NO | NO2 | NOx |  | TEMP, RH, BP, SOLAR
16 | 25-003-6001 | NORTH ADAMS | 86 HOLDEN STREET | [12 empty] | PM2.5 |  |  | BLACK CARBON
17 | 25-003-0008 | PITTSFIELD | 25 SILVER LAKE DRIVE | O3 |  |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  |  |  | PM2.5 |  |  | BLACK CARBON
18 | 25-013-0018 | SPRINGFIELD | 600 LIBERTY STREET |  |  | SO2 |  | NO | NO2 | NOx |  |  |  |  | PM2.5 (6-DAY) | PM2.5 |  |  | BLACK CARBON
19 | 25-001-0002 | TRURO | FOX BOTTOM AREA | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR |  |  | IMPROVE PM2.5 (3-DAY) |  |  |  |  | IMPROVE Operated By U.S. NPS
20 | 25-027-0024 | UXBRIDGE | 366 E.HARTFORD AVE. | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
21 | 25-015-4002 | WARE | QUABBIN SUMMIT | O3 |  | SO2 |  | NO | NO2 | NOx | NOy | WD, WS, TEMP, RH, BP, SOLAR |  | PM10 |  | PM2.5 |  |  |  | IMPROVE Operated By U.S. NPS
22 | 25-021-2005 | WEYMOUTH | 59 MONATIQUOT STREET | O3 |  |  |  | NO | NO2 | NOx |  | WD, WS, TEMP, RH, BP, SOLAR |  |  |  | PM2.5 | VOC (6-DAY) | CARBONYLS (6-DAY)
23 | 25-027-0015 | WORCESTER | WORC. AIRPORT | O3 | [7 empty] | WD, WS, TEMP, RH, BP, SOLAR
24 | 25-027-0023 | WORCESTER | SUMMER STREET |  | CO | SO2 |  | NO | NO2 | NOx |  |  |  | PM10 |  | PM2.5 |  |  |  | RADNET HiVOL TSP
25 | 25-007-0001 | AQUINNAH | WAMPANOAG TRIBE | O3 | [10 empty] | IMPROVE PM2.5 (3-DAY) |  |  |  |  | IMPROVE
Note: (2) means collocated measurements.
FRM = Federal Reference Method (filter method)
FEM = Federal Equivalent Method (continuous)

## Attach 3 - Measurement Methods
Attachment 3 - Sampling and Analytical Methods
Parameter | Abbreviation | Sampling Methodology | Analytical Method | Sample Frequency
Ozone | O3 | Continuous Instrument | Ultra Violet (UV) Light Photometry | Continuous/Hourly
Carbon Monoxide | CO | Continuous Instrument | Gas Filter Correlation; Non-Dispersive Infared (NDIR) Detection | Continuous/Hourly
Sulfur Dioxide | SO2 | Continuous Instrument | UV Fluorescence | Continuous/Hourly
Nitric Oxide | NO | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Nitrogen Dioxide | NO2 | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Nitrogen Dioxide (direct) | NO2 | Continuous Instrument | Cavity Attenuated Phase Shift (CAPS) | Continuous/Hourly
Total Nitrogen Oxides | NOx | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Total Reactive Nitrogen | NOy | Continuous Instrument | Chemiluminescence | Continuous/Hourly
Lead | Pb | Low Volume; Size Selective | ICP/MS | 1 in 6 Day /24 hour
PM2.5 | PM2.5 (FRM) | Low Volume; Size Selective | Gravimetric | 1 in 3 Day, 1 in 6 Day/24 hour
PM10 | PM10 | Low Volume; Size Selective | Gravimetric | 1 in 6 Day/24 hour
PM2.5 Hourly | PM2.5 (FEM) | Continuous Instrument | Beta Attenuation | Hourly
PM2.5 Hourly | PM2.5 (FEM) | Continuous Instrument | Scattered light spectrometry | Continuous/Hourly
PM2.5 Speciation | PM2.5 Spec | Low Volume; Size Selective | ICPMS /Ion Chromatography/ Total Carbon | 1 in 3 Day/24 hour
PM Coarse | PM Coarse | Subtraction; PM10 minus PM2.5 | Gravimetric | 1 in 3 Day/24 hour
IMPROVE PM2.5 | IMPROVE | Low Volume; Size Selective | IMPROVE Protocol | 1 in 6h Day/24 hour
Black Carbon | BC | Continuous Instrument | Optical Transmittance | Continuous/Hourly
Toxic Elements | Toxic Metals | Low Volume/PM10 | ICP/MS | 1 in 6 Day/24 hour
Toxic VOCs | VOCs (Toxics) | Passivated Canister | GC/MS | 1 in 6 Day/24 hour
Toxic Carbonyls | Carbonyls | DNPH on Silica Gel Traps | HPLC | 1 in 6 Day/24 hour
PAMS VOCs | VOCs (PAMS) | Subambient Preconcentration | GC-FID | Hourly (Season)
PAMS VOCs | VOCs (PAMS) | Passivated Canister | GC-FID | 1 in 6 Day/24 hour
PAMS Carbonyls | Carbonyls (PAMS) | DNPH on Silica Gel Traps | HPLC | 3 8-hour 1 in 3 Day (Seasonal)
PAMS Carbonyls | Carbonyls (PAMS) | DNPH on Silica Gel Traps | HPLC | 1 in 6 Day/24 hour
Polyaromatic Hydrocarbons | PAHs | Quartz Filter; PUF Cartridge | GC/MS | 1 in 6 Day/24 hour
Wind Speed/Direction | WS/WD | Continuous Instrument | Ultrasonic Sensors | Hourly
Solar | Solar | Continuous Instrument | Pyranometer | Hourly
Relative Humidity | RH | Continuous Instrument | Electronic Sensor | Hourly
Ambient Temperature | Temp | Continuous Instrument | Electronic Thermister | Hourly
Barometric Pressure | BP | Continuous Instrument | Electronic Sensor | Hourly
Precipitation | Precip | Continuous Instrument | Tipping Bucket | Hourly