## WP 5.0, PG-1 DC POWER PER AMP
PHYSICAL COLLOCATION
VERIZON MASSACHUSETTS
POWER CONSUMPTION
| (A) | (B) | (C) | (D) | (E) | (F)
LINE NO. | ITEM | SOURCE | METRO | URBAN | SUBURBAN | RURAL
MICROPROCESSOR PLANT
1 | AMPs | ENGINEERING
2 | TOTAL MATERIAL INVESTMENT | ENGINEERING
3 | UNIT INVESTMENT PER AMP | LINE 2 / LINE 1
RECTIFIERS
4 | QUANTITY | ENGINEERING
5 | AMPS PER UNIT | ENGINEERING
6 | TOTAL AMPS | LINE 4 X LINE 5
7 | UTILIZATION | (LINE 4 -1) / LINE 4
8 | MATERIAL INVESTMENT | ENGINEERING
9 | TOTAL MATERIAL INVESTMENT | LINE 8 / LINE 7
10 | UNIT INVESTMENT PER AMP | LINE 9 / LINE 6
BATTERIES
11 | STRINGS | ENGINEERING
12 | AMPs PER STRING | ENGINEERING
13 | TOTAL AMPS | LINE 11 X LINE 12
14 | TOTAL MATERIAL INVESTMENT | ENGINEERING
15 | UNIT INVESTMENT PER AMP | LINE 14 / LINE 13
AUTOMATIC BREAKER
16 | AMPs PER BREAKER | ENGINEERING
17 | TOTAL MATERIAL INVESTMENT | ENGINEERING
18 | UNIT INVESTMENT PER AMP | LINE 17 / LINE 16
POWER DISTRIBUTION SERVICE CABINET
19 | AMPs | ENGINEERING
20 | TOTAL MATERIAL INVESTMENT | ENGINEERING
21 | UNIT INVESTMENT PER AMP | LINE 20 / LINE 19
AT&T DC POWER PLANT INVESTMENT
21A | AMPs | 8PB996 WORK PAPERS | 2400 | 2400 | 2400 | 2400
21B | TOTAL IN-PLACE INVESTMENT (EXCLUDING BDFBs) | 8PB996 WORK PAPERS | 630462 | 630462 | 630462 | 630462
21C | UNIT INVESTMENT PER AMP | LINE 21B / LINE 21A | 262.6925 | 262.6925 | 262.6925 | 262.6925
EMERGENCY ENGINE
22 | AMP CAPACITY | ENGINEERING | 7292 | 4167 | 4167 | 1667
23 | UTILIZATION | ENGINEERING | 70% | 70% | 70% | 70%
24 | UTILIZED AMPs | LINE 22 X LINE 23 | 5104.4 | 2916.9 | 2916.9 | 1166.9
25 | EMERGENCY ENGINE INVESTMENT | ENGINEERING | 55800 | 45600 | 45600 | 28000
26 | CONDUIT / EMERGENCY LIGHTS | ENGINEERING | 30000 | 25000 | 25000 | 20000
27 | UNIT INVESTMENT PER AMP | LINE 26 / LINE 24 | 15.0458 | 21.6326 | 21.6326 | 35.9928
27A | IN-PLACE UNIT INVESTMENT PER AMP | LINE 27 * LINE 29 | 21.8767 | 31.4537 | 31.4537 | 52.3335
28 | TOTAL UNIT INVESTMENT (> THAN 60 AMPS) | SUM (21C+27A) | 284.5692 | 294.1462 | 294.1462 | 315.026
29 | POWER INSTALLATION FACTOR - 377C | PART CA, WP 17.0, PG 1, LINE 10 | 1.454 | 1.454 | 1.454 | 1.454
30 | TOTAL INSTALLED INVESTMENT | LINE 28 | 284.5692 | 294.1462 | 294.1462 | 315.026
31 | LAND INVESTMENT FACTOR | PART CA, WP 17.0, PG 1, LINE 7 | 0.0024 | 0.0024 | 0.0024 | 0.0024
32 | BUILDING INVESTMENT FACTOR | PART CA, WP 17.0, PG 1, LINE 8 | 0.0599 | 0.0599 | 0.0599 | 0.0599
33 | LAND INVESTMENT | LINE 30 X LINE 31 | 0.68297 | 0.70595 | 0.70595 | 0.75606
34 | BUILDING INVESTMENT | LINE 30 X LINE 32 | 17.0457 | 17.6194 | 17.6194 | 18.8701
35 | LAND - ANNUAL COST FACTOR | PART CA, WP 17.0, PG 1, LINE 1 | 0.2097 | 0.2097 | 0.2097 | 0.2097
36 | LAND - ANNUAL COST | LINE 33 X LINE 35 | 0.14322 | 0.14804 | 0.14804 | 0.15855
37 | BUILDING - ANNUAL COST FACTOR (10C) | PART CA, WP 17.0, PG 1, LINE 3 | 0.3141 | 0.3141 | 0.3141 | 0.3141
38 | BUILDING - ANNUAL COST | LINE 34 X LINE 37 | 5.3541 | 5.5342 | 5.5342 | 5.9271
39 | DIGITAL CIRCUIT - ANNUAL COST FACTOR | PART CA, WP 17.0, PG 1, LINE 4.1 | 0.2388 | 0.2388 | 0.2388 | 0.2388
40 | DIGITAL CIRCUIT - ANNUAL COST | LINE 30 X LINE 39 | 67.9551 | 70.2421 | 70.2421 | 75.2282
41 | TOTAL ANNUAL COST PER DC AMP | LINE 36 + LINE 38 + LINE 40 | 73.4524 | 75.9244 | 75.9244 | 81.3138
42 | MONTHLY RECURRING COST PER AMP | LINE 41 / 12 | 6.121 | 6.327 | 6.327 | 6.7762
43 | STATEWIDE WEIGHTING FACTOR | PART CA, WP 17.0, PG 1, LINE 14 THRU 17 | 0.072287 | 0.39208 | 0.48867 | 0.046967
44 | WEIGHTED COST PER AMP | LINE 42 X LINE 43 | 0.44247 | 2.4807 | 3.0918 | 0.31826
45 | STATEWIDE COST PER AMP | SUM OF LINE 44 | 6.3332
46 | COMMON OVERHEAD FACTOR | PART CA, WP 17.0, PG 1, LINE 11 | 1.0463
47 | MONTHLY COST PER AMP | LINE 45 X LINE 46 | 6.6265
48 | GROSS REVENUE LOADING | PART CA, WP 17.0, PG 1, LINE 13 | 1
49 | TOTAL STATEWIDE MONTHLY COST PER AMP - GREATER THAN 60 AMPS | LINE 47 X LINE 48 | 6.6265
50 | GREATER THAN 60 AMPS WEIGHTING | LINE 49 X 0.05 | 0.33132
BATTERY DISTRIBUTION FUSE BAY
51 | AMP CAPACITY | ENGINEERING | 800 | 800 | 800 | 800
52 | TOTAL MATERIAL INVESTMENT | ENGINEERING | 18704 | 18704 | 18704 | 18704
53 | UNIT INVESTMENT PER AMP | LINE 51 / LINE 52 | 23.38 | 23.38 | 23.38 | 23.38
54 | DIGITAL SWITCH POWER INSTALLATION FACTOR | PART CA, WP 17.0, PG 1, LINE 10 | 1 | 1 | 1 | 1
55 | TOTAL INSTALLED INVESTMENT | LINE 53 X LINE 54 | 23.38 | 23.38 | 23.38 | 23.38
56 | LAND INVESTMENT FACTOR | PART CA, WP 17.0, PG 1, LINE 7 | 0.0024 | 0.0024 | 0.0024 | 0.0024
57 | BUILDING INVESTMENT FACTOR | PART CA, WP 17.0, PG 1, LINE 8 | 0.0599 | 0.0599 | 0.0599 | 0.0599
58 | LAND INVESTMENT | LINE 55 X LINE 56 | 0.056112 | 0.056112 | 0.056112 | 0.056112
59 | BUILDING INVESTMENT | LINE 55 X LINE 57 | 1.4005 | 1.4005 | 1.4005 | 1.4005
60 | LAND - ANNUAL COST FACTOR | PART CA, WP 17.0, PG 1, LINE 1 | 0.2097 | 0.2097 | 0.2097 | 0.2097
61 | LAND - ANNUAL COST | LINE 58 X LINE 60 | 0.011767 | 0.011767 | 0.011767 | 0.011767
62 | BUILDING - ANNUAL COST FACTOR | PART CA, WP 17.0, PG 1, LINE 3 | 0.3141 | 0.3141 | 0.3141 | 0.3141
63 | BUILDING - ANNUAL COST | LINE 59 X LINE 62 | 0.43989 | 0.43989 | 0.43989 | 0.43989
64 | DIGITAL CIRCUIT - ANNUAL COST FACTOR | PART CA, WP 17.0, PG 1, LINE 4.1 | 0.2388 | 0.2388 | 0.2388 | 0.2388
65 | DIGITAL CIRCUIT - ANNUAL COST | LINE 54 X LINE 64 | 5.5831 | 5.5831 | 5.5831 | 5.5831
66 | TOTAL ANNUAL COST PER DC AMP | LINE 61 + LINE 63 + LINE 65 | 6.0348 | 6.0348 | 6.0348 | 6.0348
67 | MONTHLY RECURRING COST PER AMP | LINE 66 / 12 | 0.5029 | 0.5029 | 0.5029 | 0.5029
68 | STATEWIDE WEIGHTING FACTOR | PART CA, WP 17.0, PG 1, LINE 14 THRU 17 | 0.072287 | 0.39208 | 0.48867 | 0.046967
69 | WEIGHTED COST PER AMP | LINE 67 X LINE 68 | 0.036353 | 0.19718 | 0.24575 | 0.02362
70 | STATEWIDE COST PER AMP | SUM OF LINE 69 | 0.5029
71 | COMMON OVERHEAD FACTOR | PART CA, WP 17.0, PG 1, LINE 11 | 1.0463
72 | MONTHLY COST PER AMP | LINE 70 X LINE 71 | 0.52618
73 | GROSS REVENUE LOADING | PART CA, WP 17.0, PG 1, LINE 13 | 1
74 | BATTERY DISTRIBUTION FUSE BAY COST PER AMP | LINE 72 X LINE 73 | 0.52618
75 | TOTAL STATEWIDE MONTHLY COST PER AMP - < THAN OR = TO 60 AMPS | LINE 49 + LINE 74 | 7.1526
76 | LESS THAN OR EQUAL TO 60 AMPS WEIGHTING | LINE 75 X 0.95 | 6.795
77 | TOTAL STATEWIDE MONTHLY COST PER AMP | LINE 50 + LINE 76 | 7.1263