|  | Massachusetts Department of Environmental Protection RTCR-2 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.0 | Distribution System If the PWS has multiple distribution systems, submit one sheet per system. |  |  |  |  |  |
|  | Identify Distribution System (if multiple): |  |  |  |  |  |
|  | Assessment Elements For any shaded box checked, it should be considered an issue and a description must be included. | Issue and/or Description *If any element has not been reviewed, you must include an explanation. |  |  |  |  |
|  |  |  | Yes | No | Not Reviewed* |  |
| 4.1 | Is there evidence that the system experienced low or negative pressure in the distribution system prior to sampling? If yes, describe event and when it occurred. |  |  |  |  |  |
| 4.2 | Have there been any water main breaks, repairs, or additions since the last clean sampling event? If yes, when, and what was the repair or addition? |  |  |  |  |  |
| 4.3 | Has there been: a recent fire fighting event, sheared hydrant, construction, etc.? |  |  |  |  |  |
| 4.4 | Are there previously identified unprotected cross connections in the distribution system? If yes, list them and identify if any of them are high hazard? |  |  |  |  |  |
| 4.5 | Are there any unsanitary conditions in the pump station(s)? |  |  |  |  |  |
| 4.6 | Are fire hydrants and blow-offs maintained without leaks? |  |  |  |  |  |
| 4.7 | Are any fire hydrant/blow-offs located in an area with a high water table or in pits? |  |  |  |  |  |
| 4.8 | Are critical components of the distribution system secured to prevent unauthorized access (such as: pump stations, vaults)? |  |  |  |  |  |
| 4.9 | Has there been any significant change in flow direction or demand? |  |  |  |  |  |
| 4.10 | When was the last flushing event? Was it unidirectional? Was the system chlorinating during flushing? |  |  |  |  |  |
| 4.11 | Is there any evidence of intentional contamination in the distribution system? IMMEDIATELY Contact MA State Police and MassDEP |  |  |  |  |  |
| 4.12 | Are there pipe materials, ages, or construction issues that might contribute to TC detections? |  |  |  |  |  |
| 4.13 | Are there dead ends or low-flow areas that might contribute to TC issues? |  |  |  |  |  |
| 4.14 | Other comments on the distribution system. |  |  |  |  |  |
| List all distribution corrective actions taken (including date). Include assessment element number. |  |  |  |  |  |  |