521 CMR 42.00:   GROUP 1 BATHROOMS

42.1	GENERAL

In Group 1 dwelling units, (see 521 CMR 9.2, Applicability) bathrooms and half bathrooms shall comply with the following:

42.1.1	Number:  If more than one bathroom is provided, whether a full bath or half bath, and one bathroom is a captive bathroom ( a bathroom only entered through a bedroom) then both must comply unless the captive bathroom has two entries, one from the bedroom and one from the corridor, then only the captive bathroom is required to comply.  If two common bathrooms are provided, then only one full bathroom must comply.  If two captive bathrooms are provided, then both must comply.

42.2	CLEAR FLOOR SPACE:

Shall be as defined in 521 CMR 6.4, Clear Floor or Ground Space for Wheelchairs.  Clear floor space shall be available at each fixture as shown below to enable users to reach fixture controls and to transfer out of a wheelchair.  When a bathroom is adapted, the clear floor space must be able to be made free of obstructions, other than those shown in the diagram.  The clear floor space for one fixture may overlap the clear floor space for other fixtures.    The clear floor space for the tub or the water closet is measured from the closest edge of that fixture. The clear floor space for the sink may extend a maximum of 19 inches (19" = 483mm) under the sink.  Wing walls may not intrude on the minimum clear floor space.

42.3	MANEUVERING SPACE:

Shall be available so that, at a minimum, a person using a wheelchair can enter, close the door, use each of the fixtures, reopen the door, and exit.  See Fig. 42a and 42b.

42.00:   GROUP 1 BATHROOMS

42.4	DOORS

Shall be capable of complying with 521 CMR 26.5, Width through 521 CMR 26.11, Door Hardware.

42.4.1	Operation:  Doors may swing into the bathroom if the swing of the door does not impede clear floor space.  If the door impedes the clear floor space, the doors shall be capable of being adapted to swing out, fold or slide.

42.5	WATER CLOSETS

Shall comply with the following:

42.5.1	Clear Floor Space:  As defined in 521 CMR 42.2, Clear Floor Space, shall be provided or shall be capable of being provided without structural change in at least one of two specific locations at the water closet.  One shall be beside the water closet with its short edge parallel to the wall behind the water closet.  The other shall be in front of the water closet with its long edge parallel to the wall behind the water closet.

42.5.2	Location:

a.	When a water closet is located between a wall and a fixture, its centerline shall be 18 inches (18" = 457mm) from the wall.  If the clear floor space is provided in front of the water closet, the centerline of the water closet shall be a minimum of 15 inches (15" = 381mm) from the closest edge of the fixture.  See Fig. 42c.

b.	When a water closet is located between two fixtures, its centerline shall be 18 inches (18" = 457mm) from a bathing fixture and a minimum of 15 inches (15" = 381mm) from other types of fixtures.  See Fig. 42c.

42.00:   GROUP 1 BATHROOMS

42.5.3	Wall reinforcement:  Walls adjacent to and behind the water closet shall be capable of structurally supporting the future installation of grab bars from 32 to 38 inches (32" to 38" = 813mm to 965mm) above the floor.  The back wall shall have reinforcement from the interior corner to a distance of six inches (6" = 152mm) beyond the widest part of the water closet.  The side wall shall have reinforcement from the interior corner to a distance of six inches (6" = 152mm) beyond the front edge of the water closet, unless interrupted by a door or other fixture, then the reinforcement shall be installed as far as possible.

When the water closet is located between two fixtures, the wall reinforcement behind the water closet shall be extend at least six inches (6" = 152mm) beyond the widest part of the water closet.

42.6	SINKS

At least one sink in a bathroom must meet the following:

42.6.1	Vanity Cabinets:  If a cabinet is provided under a sink, it shall be capable of being removed without structural change.

42.6.2	Knee Space Width:  The sink shall have or be capable of having a knee space of 30 inches (30" = 762mm) in width.

42.6.3	Knee Space Depth:  The front edge of the sink fixture, or the countertop in which a sink is located, shall be a minimum of 19 inches (19" = 482mm) from the back wall or shall be capable of being relocated to create a space of that depth under the sink.

42.6.4	Height:  The sink shall be capable of being relocated without structural change.

42.6.5	Clear Floor Space:  Shall be provided at the sink, as defined in 521 CMR 42.2, Clear Floor Space and shall be perpendicular to the face of the sink and may extend under the sink.  See Fig. 42d.

42.00:   GROUP 1 BATHROOMS

42.7	BATHING FIXTURES

If more than one bathing fixture is provided in a bathroom, at least one must meet the requirements of 521 CMR 42.

42.7.1	Bathtubs shall comply with the following:

a.	Size:  Bathtubs shall be at least a nominal 60 inches (60" = 1524mm) long.

b.	Clear Floor Space:  At the bathtub, as defined in 521 CMR 42.2, Clear Floor Space shall be parallel to the face of the tub.

c.	Wall Reinforcement:  All tub walls shall be capable of structurally supporting the future installation of grab bars from six inches (6" = 152mm) above the tub rim to a height of 48 inches (48" = 1219mm) above the tub bottom and shall extend the length and width of the tub.

d.	Door Enclosure:  Tracks for sliding doors or enclosures mounted on the rim of a bathtub must be capable of removal to provide a smooth tub rim for transfer.

42.7.2	Showers shall comply with the following:

a.	Size:  Shower stalls shall be a minimum, nominal dimension of 36 inches by 36 inches (36" x 36" = 914mm x 914mm).

b.	Minimum Clear Floor Space:  At the shower, as defined in 521 CMR 42.2, Clear Floor Space shall be located parallel to and centered on the shower stall opening.

c.	Wall Reinforcement:  All shower walls shall be capable of structurally supporting the future installation of grab bars, seats, etc., from a height of six inches (6" = 152mm) to 48 inches (48" = 1219mm) above the floor and shall extend the full width and length of the shower stall.  Grab bars shall not be located behind the seat.

d.	Door:  The opening of the shower stall must be 32 inches (32" = 813mm) wide.  If a shower door is provided, it shall be capable of swinging open 180 degrees or capable of being removed.

e.	Seat:  If a wall mounted seat is provided, it shall be located on a wall adjacent to the opening.  The seat shall be mounted with the edge as close as possible to the door opening to allow a safe transfer.

f.	Hardware Location:  Mixing valves shall be mounted on the wall opposite the seat.  The centerline of the shower controls shall be located between 38 inches and 48 inches (38" to 48" = 965mm to 1219mm).

g.	Where curbs are provided, they shall not exceed four inches (4" = 102mm) in height.

42.7.3	Soap Tray shall not have a hand hold feature unless it can support 250 lbs for five minutes.  Soap dispensers, holders, etc., shall be located within the zone of reach from the seat.

42.7.4	Prefabricated Units:  In prefabricated showers and tubs, structural reinforcement for grab bars must be in full contact with the surface of walls of the unit on which grab bars may be mounted as described in 521 CMR 42.7.1 (c) and 521 CMR 42.7.2 (c).

42.00:   GROUP 1 BATHROOMS

42.8	OUTLETS AND CONTROLS

Shall comply with 521 CMR 39.00:  CONTROLS.

42.9 	ALARMS

Shall comply with 521 CMR 40.00: ALARMS.