521 CMR 47.00:   GROUP 2 BEDROOMS

47.1	BEDROOMS IN GROUP 2 UNITS

Group 2A units shall provide or be capable of providing wheelchair turning space in compliance with 521 CMR 6.3, Wheelchair turning space.  Said wheelchair turning space shall be or capable of being clear of the door swing and located at one side of the bed in the primary bedroom (based on a full size bed).  Where more than one bedroom is provided, an additional bedroom shall also provide or be capable of providing such wheelchair turning space (based on one twin size bed).

In Group 2B units, the bedrooms shall provide wheelchair turning space in compliance with 521 CMR 6.3, Wheelchair Turning Space.  Said wheelchair turning space shall be provided, clear of the door swing and located at one side of the bed in the primary bedroom, (based upon a full size bed). Where more than one bedroom is provided, an additional bedroom shall also provide such wheelchair turning space (based on one twin size bed).

47.2	DOORS

Doors to all bedrooms shall comply with 521 CMR 26.00:  DOORS AND DOORWAYS.

47.3	CLOSETS

All closets in bedrooms required to be accessible shall comply with 521 CMR 9.5.9, Closets.

47.4	ELECTRICAL OUTLETS AND CONTROLS

Shall comply with 521 CMR 39.00:  CONTROLS.

47.5	ALARMS

Shall comply with 521 CMR 40.00:  ALARMS.