
521 CMR:   ARCHITECTURAL ACCESS BOARD

PUBLIC TOILET ROOMS


521 CMR:   ARCHITECTURAL ACCESS BOARD

PUBLIC TOILET ROOMS



30.1
GENERAL
Each public toilet room provided on a site or in a building shall comply with 521 CMR. 

a.
In each adult public toilet room, at least one water closet and one sink in each location shall be accessible to persons in wheelchairs, or a separate accessible unisex toilet room shall be provided at each location.  Adult water closets shall comply with the provisions of 521 CMR 30.1 through 30.13.

b.
Where children's toilet rooms are provided, at least one water closet and one sink in each location shall be accessible to children in wheelchairs, or a separate accessible unisex toilet room shall be provided at each location.  Children's toilet rooms shall comply with the provisions of 521 CMR 30.14 through 30.20.  For purposes of 521 CMR, pre‑kindergarten school is defined as a school which serves children from infancy up until but not including kindergarten.  Elementary school is defined as a school which serves grades kindergarten through six.

30.1.1
The installation of unisex toilet room in lieu of fully accessible men's and women's room is permitted by 521 CMR.  See also 521 CMR 30.2, Location.

30.1.2 
Portable Toilets: For single user portable toilets clustered at a single location, at least 5% but not less than one accessible toilet unit shall be installed at each cluster.  Accessible units shall be identified by the International Symbol of Accessibility. Portable units at construction sites used exclusively by construction personnel are not required to be accessible.


30.2
LOCATION
Accessible toilet rooms shall be on an accessible route.  Where unisex toilet room(s) are provided, they shall be located in the same area as other toilet rooms.


30.3
VESTIBULES
Where vestibules are provided, they shall comply with 521 CMR 25.3, Vestibules.


30.4
DOORS TO SINGLE USER TOILET ROOMS
Doors to single user toilet rooms may swing into the room if the door has a self‑closing device and maneuvering space is provided in accordance with 521 CMR 26.6.  The door may swing into the room is there is a clear floor space of 30 inches by 48 inches (30'"=762 by 48" =1220) beyond the swing of the door.


30.5
CLEAR FLOOR SPACE
An unobstructed turning space complying with 521 CMR 6.3, Wheelchair Turning Space shall be provided within an accessible toilet room.  The clear floor space at fixtures and controls, the accessible route, and the turning space may overlap. 


30.6
TOILET STALLS
If toilet stalls are provided, then at least one shall be a standard accessible toilet stall.  Where six or more stalls are provided in a toilet room, at least one alternate accessible toilet stall (See Fig. 30c) shall be provided in addition to the standard accessible toilet stall.  Accessible toilet stalls shall be on an accessible route.

30.6.1
Standard Accessible Toilet Stall:  Standard accessible toilet stalls shall be at least 60 inches (60" = 1524mm) wide and 72 inches (72" = 1829mm) deep.  See Fig. 30a and 30b.  Arrangements shown for standard accessible toilet stalls may be reversed to allow either a left‑ or right‑hand approach.  Water closets in accessible stalls shall be located on the 60 inch (60" = 1524mm) wall and shall comply with 521 CMR 30.7, Water closets. 

a.
Accessible toilet stalls shall have a door that swings out or slides and has a 32 inch (32" = 914mm) clear opening.

b.
The stall door shall have an automatic self‑closing hinge device, a pull device on both sides of the door to assist in closing and opening the door, and a lock located approximately 36 inches (36" = 914mm) above the floor that does not require tight grasping, pinching, or twisting of the wrist to operate.

c.
There shall be 18 inches (18" = 457mm) of clear space on the latch pull side of the door.

d.
A coat hook shall be provided at a maximum height of 54 inches (54" = 1372mm) above the floor.


[image: image1.png]72" min

L, 18" , 42" L
14571 1067 7

Accessible Toilet Stall (Left Approach)
Figure 30a






[image: image2.png]6" max

" 152
grab bar dimensions ¢
1067

y 42" ,18"

2" mip
305

1 36" min
914

Accessible Toilet Stall (Right Approach)
Figure 30b





[image: image3.png]Gﬁll
1676

36" min
914

1 n
457 B

32“
\, 813

| R B AR R R BN AR QSRS .7'.;-‘.-,-'._-'.'~_'-:-,-:-_-:~_-:-.ﬂ

Alternate Accessible Stall

(in addition to accessible stall)
Figure 30c





30.6.2
Alternate Accessible Stall:  Alternate accessible toilet stalls shall be 36 inches (36" = 914mm) wide with an outward swinging, self‑closing door and parallel grab bars.  See Fig. 30c.

a.
The alternate toilet stall shall have a door that swings out or slides and has a 32 inch (32" = 914mm) clear opening.

b.
The stall door shall have an automatic self‑closing hinge device, a pull device on both sides of the door to assist in closing and opening the door, and a lock located approximately 36 inches (36" = 914mm) above the floor that does not require tight grasping, pinching, or twisting of the wrist to operate.

c.
A coat hook shall be provided at a maximum height of 54 inches (54" = 1372mm) above the floor.


30.7
WATER CLOSETS
That are required to be accessible shall comply with the following: 

30.7.1
Clear floor space:  Clear floor space for water closets not in stalls shall comply with Fig. 30d.  Clear floor space may be arranged to allow either a left‑handed or right‑handed approach to the water closet.


[image: image4.png]" 42" L, 18"

1 1067 T 457

Clear
Floor
Space
30" x 48"

‘——
762 x 1219

|¢ 90"

( 2286

Accessible Unisex Toilet Room
Figure 30d

|, 12" max
1 305

42"
1067

72" min

1829




30.7.2
Location:  The centerline of the water closet shall be located 18 inches (18" = 457mm) from the nearest side wall and at least 42 inches (42" = 1067mm) from the farthest side wall or the closest edge of an adjacent fixture.  There shall be at least 42 inches (42" = 1067mm) clearance between the front edge of the water closet and the nearest wall or fixture.

30.7.3
Height:  Water closets shall be 17 inches to 19 inches (17" to 19" = 432mm to 483mm) high, measured to the top of the water closet seat.  See Fig. 30e. 


[image: image5.png]33" - 36"
838 - 914

33!1 - 36“
838 -914

Line of Wall

or Fixture

559
33" - 36"
838 - 914

152

J, 4211 J/18" ],
T 1067 Tas7’

: 6"
152
AT'—
Ah
= | <
:é O ™
0 NN
g~
z | ™
z = | o
< T o
< ﬂg

42" l,

1067 7

Accessible Toilet Stall
Figure 30e

L 420 |1s
7 1067 7457

Elevations




30.7.4
Seats:  Water closet seats shall not be spring mounted to return to a lifted position.

30.7.5
Flush Controls:  Flush controls shall be hand operated or automatic and shall comply with 521 CMR 39.5, Operation.  Controls for flush valves shall be mounted on the wide side of water closet  no more than 44 inches (44" = 1118mm) above the floor. 

30.7.6
Toilet Paper Dispensers:  Toilet paper dispensers shall be located on the side wall closest to the water closet.  The centerline of the roll shall be set at a minimum height of 24 inches (24" = 610mm) above the floor.  Dispensers that control delivery or that do not permit continuous paper flow are not allowed.


30.8
GRAB BARS
For the standard accessible toilet stall the water closet shall have two grab bars 42 inches (42" = 1067mm) long, one on the wall in back of the water closet and one on the side wall closest to the water closet.  

For the alternate accessible toilet stall the water closet shall have two parallel grab bars, 42 inches long (42" = 1067m) installed on the side walls and located a minimum of six inches (6" = 76mm) from the interior corner. 

30.8.1
Location:  The side grab bar shall be located a maximum of 12 inches (12" = 305mm) from the interior corner.  The rear grab bar shall be located a maximum of six inches (6" = 152mm) from the interior corner. 

30.8.2
Height:  Grab bars shall be set at a height of 33 to 36 inches (33" to 36" = 838mm to 914mm) above and parallel to the floor.  Where a tank prevents location of the rear grab bar, a bar may be installed three inches (3" = 76mm) above the tank. Where a flushometer prevents the location of a 42 inch (42" = 1067mm) rear grab bar, one grab bar, 36 inches (36" = 914mm) shall be installed to the side of the flushometer, located three inches (3" = 76mm) from the closest edge of the flushometer.

30.8.3
Thickness: Grab bars shall be between 1¼ inches and 1½ inches (1¼" to 1½" = 32mm to 38mm) in outside diameter, have a 1½ inch (1½" = 38mm) clearance between the bar and the wall.  See Fig. 30f. 


[image: image6.png]p1-1/2"]1-1/2" k=
38 ki

Roughened or
Rust Resistive Acid etched

Grab Bars
Figure 30f




30.8.4
Material:  Grab bars shall also be non‑rusting and acid‑etched or roughened.  Grab bars shall comply with the structural strength defined in 521 CMR 5, DEFINITIONS.  

30.8.5
Dispensers or other devices shall not be mounted above the grab bars.  


30.9
SINK
Sinks, including vanities, shall comply with the following:

30.9.1
Clear floor space:  A clear floor space complying with 521 CMR 6.3 Wheelchair Turning Space shall be provided in front of a sink to allow forward approach.  The clear floor space shall be on an accessible route and shall extend no more than a maximum of 19 inches (19" = 483mm) underneath the sink.  See Fig. 30g.


[image: image7.png]762

48"

, 19" |,
483
Clear Floor Space
Figure 309





30.9.2
Height: Sinks shall be mounted with the rim no higher than 34 inches (34" = 864mm) above the finish floor. See Fig. 30h.  Sinks shall also extend a minimum of 17 inches (17" = 432mm) from the wall to the front of the sink or counter.


[image: image8.png]9loL

—— mirror

«Ob
98

Xew ,p¢
yAA

uiur ,,6¢
| 5ce

8||

152

Sink Elevations

203

Figure 30h




30.9.3
 Knee clearance shall be provided underneath the sink which is 27 inches (27" = 685 mm) minimum from the floor to the underside of the sink and extends 8 inches (8" = 205mm) minimum measured from the front edge underneath the sink back towards the wall;  if a minimum of 9 inches (9"=230mm) of toe clearance is provided, a maximum of 6 inches (6" = 150mm)  of the 48 inches (48"= 1220 mm) of clear floor space required at the fixture may extend into the toe space.  See fig. 30h

30.9.4
Depth:  Sink depth shall not exceed six and ½  inches (6 ½ " = 165mm). 

30.9.5
Piping:  Sink traps and drains shall be located as close to rear walls as possible.  Hot water and drain pipes exposed under sinks shall be recessed, insulated, or guarded.  There shall be no sharp or abrasive surfaces under sinks.  

30.9.6
Faucets:  Faucets shall be operable with one hand and shall not require tight grasping, pinching, of twisting of the wrist.  Lever‑operated, push‑type, touch‑type, or electronically controlled mechanisms are acceptable designs.  If self‑closing valves are used the faucet shall remain open for at least ten seconds.


30.10
URINALS
Where one or more urinals is provided, at least one urinal shall be accessible.  See Fig. 30i.

30.10.1
Height:  Accessible urinals shall be stall‑type or wall‑hung with an elongated rim at a maximum of 17 inches (17" = 432mm) above the finish floor. 

30.10.2 
Clear floor space:  A clear floor space shall be provided in front of an accessible urinal to allow forward approach.  This clear space shall adjoin or overlap an accessible route and shall comply with 521 CMR 6.3 Wheelchair Turning Space.  Urinal shields that do not extend beyond the front edge of the urinal rim may be provided with 29 inches (29" = 737mm) clearance between them.

30.10.3
Flush Controls:  Flush controls shall be hand operated or automatic, and shall comply with 521 CMR 39.5, Operation and shall be mounted no more than 44 inches (44" = 1118mm) above the finish floor.  See Fig. 30i.


[image: image9.png]Folded Roll ' B

Paper Paper | Electric 8

L Mirror Towel Towel Dryer Urinal i
Flush RF

Control ¥

ey

Dispenser Elevations
Figure 30i

1118





30.11
MIRROR
The top of any shelf and or bottom of any mirror that is provided above a sink shall be set with the bottom edge of the reflecting surface no higher than 40 inches (40" = 1016mm) above the finish floor.  See Fig. 30i. 


30.12
DISPENSERS
Towel dispensers, drying devices, or other types of devices and dispensers shall have at least one of each device mounted within the zone of reach.  At least one of each device shall be located within reach of a person using the accessible sink and shall comply with 521 CMR 39.5, Operation.  See Fig. 30i.


30.13
CONTROLS AND RECEPTACLES
If controls, receptacles, or other equipment is provided, then at least one of each shall be on an accessible route and shall comply with 521 CMR 39, CONTROLS. 


30.14
CHILDREN'S WATER CLOSETS
Where provided, shall comply with the following:

30.14.1
Clear floor space:  Clear floor space for water closets shall comply with 521 CMR 30.5, Clear Floor Space.  Clear floor space may be arranged to allow either a left‑handed or right‑handed approach.

30.14.2
Location:  The centerline of the water closet shall be located 11 inches (11" = 279mm) from the nearest side wall for pre‑kindergarten; 11 to 15(11" to 15" = 279mm to 381mm) for kindergarten to third grade and 15 to 18 inches (15" to 18" = 381mm to 457mm) for fourth grade to sixth grade.  The water closet shall also be located 42 inches (42" = 1067mm) from the centerline of the water closet to the opposite wall or closest edge of next fixture.

30.14.3
Height:  Water closets shall be set at a height measured from the floor to the top of the seat as follows:

Pre‑kindergarten:

11½" to 12½" (292mm to 318mm)

Kindergarten to third grade:
12" to 15" (305mm to 381mm)

Fourth grade to sixth grade:
15" to 17" (381mm to 432mm)

30.14.4
Flush Controls:  Controls for flush valves on water closets used by children shall be mounted on the wide side of water closet within 20 to 30 inches (20" to 30" = 508mm to 762mm) above the floor.

30.14.5
Toilet paper dispensers:  Toilet paper dispensers used by children shall be centered above finished floor, as follows:

Pre‑kindergarten:

14" (356mm)

Kindergarten to third grade:
14" to 17" (356mm to 432mm)

Fourth grade to sixth grade:
17" to 19" (432mm to 483mm)


30.15
CHILDREN'S GRAB BARS
The water closet shall have two grab bars, 42 inches (42" = 1067mm) long, one mounted on the wall in back of the water closet and one on the side wall closest to the water closet and located no more than six inches (6" =152mm) from the interior corner.  Where a tank prevents location of the rear grab bar, a bar may be installed three inches (3" = 76mm) above the tank. Where a flushometer prevents the location of a 42 inch (42" = 1067mm) rear grab bar, one grab bar, 36 inches (36" = 914mm) shall be installed to the side of the flushometer, located three inches (3" = 76mm) from the closest edge of the flushometer.

30.15.1
Height:  Grab bars shall be mounted from the floor to the top of the grab bar as follows:

Pre‑kindergarten:
18" to 20" (457mm to 508mm)

Kindergarten to third grade:
20" to 25" (508mm to 635mm)

Fourth grade to sixth grade:
25" to 27" (635mm to 686mm)

30.15.2
Thickness:  The outside diameter of grab bars shall be as follows:

Pre‑kindergarten:
1" (25mm)

Kindergarten to sixth grade:
1¼4" to 1½" (32mm to 38mm)


30.16
CHILDREN'S SINK
Sinks including vanities shall comply with the following:

30.16.1
Clear floor space:  A clear floor space complying with 521 CMR 30.5, Clear Floor Space shall be provided in front of a sink to allow a forward approach.  The clear floor space shall be on an accessible route and shall extend no more than a maximum of 19 inches (19" = 483mm) underneath the sink.

30.16.2
Height:  Sinks shall be mounted with the rim no higher than 30 inches (30" = 762mm) above the finish floor.  A clearance of at least 25 inches (25" = 635mm) above the finish floor to the bottom of the apron shall be provided.  Knee and toe clearance shall be at least 30 inches (30"= 762mm) wide and 19 inches (19" = 483mm) deep.

30.16.3
Piping:  Sink traps and drains shall be located as close to rear walls as possible.  Hot water and drain pipes exposed under sinks shall be recessed, insulated, or guarded.  There shall be no sharp or abrasive surfaces under sinks.

30.16.4
Faucets:  Faucets shall be operable with one hand and shall not require tight grasping, pinching, or twisting of the wrist.  Lever‑operated push‑type, touch‑type, or electronically controlled mechanisms are acceptable designs.  If self‑ closing valves are used, the faucet shall remain open for at least ten seconds.


30.17
CHILDREN'S URINALS
Where one or more urinal is provided, at least one urinal shall be accessible.

30.17.1
Height:  The accessible urinal shall be stall‑type or wall‑hung with an elongated rim at a maximum of 15 inches (15" = 381mm) above the finish floor.

30.17.2
Flush Controls:  Flush controls shall be hand operated or automatic, and shall be mounted no more than 44 inches (44" = 1120mm) above the finish floor.


30.18
CHILDREN'S MIRROR
The top of any shelf and or bottom of any mirror which is provided above a sink shall be set with the bottom edge of the reflecting surface no higher than 31 inches (31" = 787mm) above the finish floor.


30.19
CHILDREN'S DISPENSERS
Towel dispensers, drying devices, or other types of devices and dispensers shall have at least one of each device mounted within the zone of reach, and at least one of each device shall be located within reach of a person using the accessible sink.


30.20
CHILDREN'S CONTROLS AND RECEPTACLES
If controls , receptacles, or other equipment are provided, then at least one of each shall be mounted no higher than 36 inches (36" = 914mm) above the floor to the centerline of the operable portion of the control.

NON-TEXT PAGE

2/23/96
521 CMR - 128
2/23/96
521 CMR - 129

