|  |  | Massachusetts Department of Environmental Protection RTCR-2 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6.0 | Hydropneumatic and Pressure Storage Tanks Complete one form for each tank. One form may be completed for multiple hydropneumatic storage tanks in the same location. |  |  |  |  |  |
|  | Source Name/Location: |  |  |  |  |  |
|  | Assessment Elements For any shaded box checked, it should be considered an issue and a description must be included. |  | Issue and/or Description *If any element has not been reviewed, you must include an explanation. |  |  |  |
|  |  |  |  | Yes | No | Not Reviewed* |
| 6.1 | Is the facility secured to prevent unauthorized access? |  |  |  |  |  |
| 6.2 | Is there any evidence of intentional contamination at the storage tank? IMMEDIATELY Contact MA State Police and MassDEP |  |  |  |  |  |
| 6.3 | Were there any observed leaks? |  |  |  |  |  |
| 6.4 | Was there any observed physical deterioration of the tank? If yes, could the physical condition of the tank be a potential source of contamination? |  |  |  |  |  |
| 6.5 | Is the pressure tank maintaining an appropriate minimum pressure (per manufacturer’s specifications)? |  |  |  |  |  |
| 6.6 | Has there been any recent tank maintenance (i.e. painting/coating)? If yes, when? Was disinfection performed? |  |  |  |  |  |
| 6.7 | Is there evidence of the tank being waterlogged? |  |  |  |  |  |
| 6.8 | Were samples representative of the water from this tank collected? If so, what were the results? |  |  |  |  |  |
| 6.9 | What was the measured chlorine residual (total/free) of the water exiting the storage tank on the date of the assessment? |  |  |  |  |  |
| 6.10 | Other comments on the storage tank? |  |  |  |  |  |
| List all hydropneumatic tank corrective actions taken (including date). Include assessment element number. |  |  |  |  |  |  |