
The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Health Professions Licensure

250 Washington Street, Boston, MA 02108-4619
Tel: 617-973-0960
TTY : 617-973-0960
www.mass.gov/dph/boards
[image: image1.png]___-E





Board of Registration in Pharmacy 
        Action Level Environmental Monitoring Result Disclosure 
Pharmacy Name ____________________________________MA License Number___________​​​​​
Pharmacy Address ______________________________________________________________
City/Town __________________________State_______________   Zip Code ______________
Pharmacy Tel. No.  _______________________
Name of Manager of Record (MOR) / Designated Pharmacist-in-Charge (PIC)  (print)_______________________________________________________________________ 
MOR / PIC MA License Number__________________________________________________
Pharmacy / MOR / PIC Email_____________________________________________________
Within 1 (one) business day of receipt of the microbiology report, a signed copy of this form must be scanned and emailed to: AbnormalResults@mass.gov  Specify the name of the pharmacy and license number in the subject line. 
Date report was received: ______________________________________
Have there been any other action level reports within the last 60 days?  Yes  /  No
If yes, date of report: _____________________

Confirm that BUDs for compounded preparations dispensed into, within, or from Massachusetts will be limited, or compounding suspended in accordance with Policy 2023-09: Action Level Environmental Monitoring Results  MOR/PIC initials:___________

If the action level occurred in an ISO 5 PEC, provide the date that it was removed from service. 

Date:__________

If the pharmacy has ceased all sterile compounding, indicate the effective date: ___________
	ISO Classification (e.g., 5, 7, 8) 
	Positive / Negative Pressure?
	Air / Surface Result?
	Organism Identification
required for ISO 5 PECs, ISO 7 buffer rooms, and any action level growth in other ISO classified areas
	CFU Count
	Non-Viable Particle Count 
(only report if action level)

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	Additional Questions
	Yes, No, N/A, or provide requested information

	1. If there has been a significant loss of control (>15 CFU) in the ISO 5 PEC, did/will the pharmacy recall any CSP that are within their BUDs, perform adverse event surveillance, contact prescribers, and engage a qualified microbiology professional?
	

	2. If the action level was associated with non-viable particles in any ISO classified area, did/will compounding be suspended until successfully remediated and all classified areas are recertified?  
	

	3. Did/will the continuity of care plan [as required by 247 CMR 9.19(15)] to meet patient needs be instituted in the event compounding must be suspended? 
	

	4. Have/will remedial cleaning activities been initiated with the appropriate cleaning agents based on the organism(s) identified?
	

	5. Has/will a risk assessment/risk mitigation plan been initiated to determine whether it is appropriate to compound during remediation in accordance with Policy 2023-09: Action Level Environmental Monitoring Results?
	

	6. For action levels identified in ISO Class 5 PECs, was/will all compounding be transitioned to unaffected PECs until proper remediation has been completed?
	

	7. If only one ISO Class 5 PEC is available for compounding, will BUDs be limited to “immediate use only” until proper remediation has been completed? 
	

	8. For action levels identified in ISO Class 7 Buffer Rooms, will BUDs for all CSPs be limited to 24 hours room temperature or 4 days refrigerated until proper remediation has been completed?
	

	9. Until proper remediation has been completed for action levels identified in ISO Class 7 Areas (except buffer rooms) and ISO Class 8 Areas, will BUDs be limited to:

a. 24 hours room temperature or 4 days refrigerated if prepared from one or more nonsterile starting component(s); or
b. 4 days room temperature or 10 days refrigerated if prepared from sterile starting component(s)?
	Describe:  

	10. Has repeat environmental monitoring (EM) of the entire affected classified area (air and surface samples) based on the pharmacy’s EM sampling plan been scheduled?  
	Date scheduled:   

	11. Has a root cause analysis (RCA) investigation been initiated?
	 

	12. Has a Corrective Action and Preventative Action plan (CAPA) been initiated and actions documented?
	

	13. Confirm that all documentation (microbiology reports, RCA, CAPA, disclosure forms, etc.) will be kept on site and available upon Board request.
	


See guidance to help ascertain root cause and develop a remediation plan.
Non-Viable Air Sample Action Levels:
	ISO Class 5
	>3520 particles 0.5 µm or larger per cubic meter of air 

	ISO Class 7
	>352,000 particles 0.5 µm or larger per cubic meter of air

	ISO Class 8
	>3,520,000 particles 0.5 µm or larger per cubic meter of air


Viable Air Sample Action Levels (cumulative count):
	ISO Class 5
	> 1 CFU

	ISO Class 7
	> 10 CFU

	ISO Class 8 
	> 100 CFU


Viable Surface Sample Action Levels (cumulative count):
	ISO Class 5
	> 3 CFU

	ISO Class 7
	> 5 CFU

	ISO Class 8 
	> 50 CFU


Attestation: 

I, __________________   (MOR / PIC), of _______________________​​​​​​(pharmacy name), attest that all steps for response and remediation will be completed according to the standards set forth in the current USP <797>, Board regulations and policies (including Policy 2023-09: Action Level Environmental Monitoring Results), and that all affected ISO classified spaces shall have repeat environmental sampling results within action levels prior to resuming the facility’s standard sterile compounding activities. 
MOR/PIC Signature: _____________________________________ Date: _______________

Revised: 10/9/25

Page 1 of 2 


