## Instructions
Commonwealth of Massachusetts Executive Office of Energy and Environmental Affairs DEPARTMENT OF ENERGY RESOURCES Clean Peak Energy Portfolio Standard (CPS) (225 CMR 21.00) Hour of Actual Monthly System Peak Report
Purpose of this report: This report documents and establishes the Hour of Actual Monthly System Peak. Per 225 CMR 21.02, the Actual Monthly System Peak is the highest net demand for electricity in a calendar month in the ISO-NE Control Area. This report is used by the Production Tracking System (PTS) for the purpose of determining the date and hour in which the Actual Monthly System Peak Multiplier shall apply to the performance of Clean Peak Resources for the purpose of determining the number of Clean Peak Energy Certificates (CPECs) produced by resources as described in 225 CMR 21.05 (5).
Data Source for Production of this Report: DOER sources the Actual Monthly System Peak data from the Real-Time Demand as published by the Independent System Operator- New England (ISO-NE) within it's annual SMD datasets which are updated from time-to-time, and historically have been published at:
https://www.iso-ne.com/isoexpress/web/reports/load-and-demand/-/tree/zone-info

## 2020
Last Edited: 01/11/2021
| Date of Actual Monthly System Peak | Hour of Actual Monthly System Peak (Hour Ending) | Hour of Actual Monthly System Peak: Start (DD:MM:YYYY HH:MM) | Hour of Actual Monthly System Peak: End (DD:MM:YYYY HH:MM)
2020-01-01 | 2020-01-20 | 18 | 2020-01-20 17:00 | 2020-01-20 18:00
2020-02-01 | 2020-02-14 | 19 | 2020-02-14 18:00 | 2020-02-14 19:00
2020-03-01 | 2020-03-01 | 19 | 2020-03-01 18:00 | 2020-03-01 19:00
2020-04-01 | 2020-04-27 | 18 | 2020-04-27 17:00 | 2020-04-27 18:00
2020-05-01 | 2020-05-29 | 18 | 2020-05-29 17:00 | 2020-05-29 18:00
2020-06-01 | 2020-06-23 | 18 | 2020-06-23 17:00 | 2020-06-23 18:00
2020-07-01 | 2020-07-27 | 18 | 2020-07-27 17:00 | 2020-07-27 18:00
2020-08-01 | 2020-08-11 | 18 | 2020-08-11 17:00 | 2020-08-11 18:00
2020-09-01 | 2020-09-10 | 18 | 2020-09-10 17:00 | 2020-09-10 18:00
2020-10-01 | 2020-10-30 | 19 | 2020-10-30 18:00 | 2020-10-30 19:00
2020-11-01 | 2020-11-18 | 18 | 2020-11-18 17:00 | 2020-11-18 18:00
2020-12-01 | 2020-12-17 | 18 | 2020-12-17 17:00 | 2020-12-17 18:00

## 2021
Last Edited: 01/18/22
| Date of Actual Monthly System Peak | Hour of Actual Monthly System Peak (Hour Ending) | Hour of Actual Monthly System Peak: Start (DD:MM:YYYY HH:MM) | Hour of Actual Monthly System Peak: End (DD:MM:YYYY HH:MM)
2021-01-01 | 2021-01-29 | 18 | 2021-01-29 17:00 | 2021-01-29 18:00
2021-02-01 | 2021-02-01 | 18 | 2021-02-01 17:00 | 2021-02-01 18:00
2021-03-01 | 2021-03-02 | 19 | 2021-03-02 18:00 | 2021-03-02 19:00
2021-04-01 | 2021-04-16 | 12 | 2021-04-16 11:00 | 2021-04-16 12:00
2021-05-01 | 2021-05-26 | 18 | 2021-05-26 17:00 | 2021-05-26 18:00
2021-06-01 | 2021-06-29 | 18 | 2021-06-29 17:00 | 2021-06-29 18:00
2021-07-01 | 2021-07-16 | 16 | 2021-07-16 15:00 | 2021-07-16 16:00
2021-08-01 | 2021-08-12 | 18 | 2021-08-12 17:00 | 2021-08-12 18:00
2021-09-01 | 2021-09-15 | 17 | 2021-09-15 16:00 | 2021-09-15 17:00
2021-10-01 | 2021-10-14 | 19 | 2021-10-14 18:00 | 2021-10-14 19:00
2021-11-01 | 2021-11-30 | 18 | 2021-11-30 17:00 | 2021-11-30 18:00
2021-12-01 | 2021-12-20 | 18 | 2021-12-20 17:00 | 2021-12-20 18:00

## 2022
Last Edited: 02/24/2023
| Date of Actual Monthly System Peak | Hour of Actual Monthly System Peak (Hour Ending) | Hour of Actual Monthly System Peak: Start (DD:MM:YYYY HH:MM) | Hour of Actual Monthly System Peak: End (DD:MM:YYYY HH:MM)
2022-01-01 | 2022-01-11 | 18 | 2022-01-11 17:00 | 2022-01-11 18:00
2022-02-01 | 2022-02-14 | 19 | 2022-02-14 18:00 | 2022-02-14 19:00
2022-03-01 | 2022-03-22 | 19 | 2022-03-22 18:00 | 2022-03-22 19:00
2022-04-01 | 2022-04-07 | 20 | 2022-04-07 19:00 | 2022-04-07 20:00
2022-05-01 | 2022-05-31 | 18 | 2022-05-31 17:00 | 2022-05-31 18:00
2022-06-01 | 2022-06-13 | 19 | 2022-06-13 18:00 | 2022-06-13 19:00
2022-07-01 | 2022-07-20 | 18 | 2022-07-20 17:00 | 2022-07-20 18:00
2022-08-01 | 2022-08-08 | 16 | 2022-08-08 15:00 | 2022-08-08 16:00
2022-09-01 | 2022-09-12 | 18 | 2022-09-12 17:00 | 2022-09-12 18:00
2022-10-01 | 2022-10-26 | 19 | 2022-10-26 18:00 | 2022-10-26 19:00
2022-11-01 | 2022-11-21 | 18 | 2022-11-21 17:00 | 2022-11-21 17:59
2022-12-01 | 2022-12-12 | 18 | 2022-12-12 17:00 | 2022-12-12 17:59

## 2023
Last Edited: 1/24/2024
| Date of Actual Monthly System Peak | Hour of Actual Monthly System Peak (Hour Ending) | Hour of Actual Monthly System Peak: Start (DD:MM:YYYY HH:MM) | Hour of Actual Monthly System Peak: End (DD:MM:YYYY HH:MM)
2023-01-01 | 2023-01-11 | 18 | 2023-01-11 17:00 | 2023-01-11 18:00
2023-02-01 | 2023-02-03 | 19 | 2023-02-03 18:00 | 2023-02-03 19:00
2023-03-01 | 2023-03-07 | 19 | 2023-03-07 18:00 | 2023-03-07 19:00
2023-04-01 | Thursday, April 13, 2023 | 20 | 2023-04-13 19:00 | 2023-04-13 19:59
2023-05-01 | Wednesday, May 31, 2023 | 19 | 2023-05-31 18:00 | 2023-05-31 18:59
2023-06-01 | 2023-06-26 | 18 | 2023-06-26 17:00 | 2023-06-26 17:59
2023-07-01 | 2023-07-28 | 18 | 2023-07-28 17:00 | 2023-07-28 17:59
2023-08-01 | 2023-08-21 | 18 | 2023-08-21 17:00 | 2023-08-21 17:59
2023-09-01 | 2023-09-07 | 18 | 2023-09-07 17:00 | 2023-09-07 17:59
2023-10-01 | Wednesday, October 4, 2023 | 18 | 2023-10-04 17:00 | 2023-10-04 17:59
2023-11-01 | Wednesday, November 29, 2023 | 18 | 2023-11-29 17:00 | 2023-11-29 17:59
2023-12-01 | 2023-12-07 | 18 | 2023-12-07 17:00 | 2023-12-07 17:59

## 2024
Last Edited: 3/27/2024
| Date of Actual Monthly System Peak | Hour of Actual Monthly System Peak (Hour Ending) | Hour of Actual Monthly System Peak: Start (DD:MM:YYYY HH:MM) | Hour of Actual Monthly System Peak: End (DD:MM:YYYY HH:MM)
2024-01-01 | 2024-01-17 | 18:00 | 2024-01-17 17:00 | 2024-01-17 17:59
2024-02-01 | 2024-02-15 | 19:00 | 2024-02-15 18:00 | 2024-02-15 18:59
2024-03-01 |  |  | #NUM! | #NUM!
2024-04-01 |  |  | #NUM! | #NUM!
2024-05-01 |  |  | #NUM! | #NUM!
2024-06-01 |  |  | #NUM! | #NUM!
2024-07-01 |  |  | #NUM! | #NUM!
2024-08-01 |  |  | #NUM! | #NUM!
2024-09-01 |  |  | #NUM! | #NUM!
2024-10-01 |  |  | #NUM! | #NUM!
2024-11-01 |  |  | #NUM! | #NUM!
2024-12-01 |  |  | #NUM! | #NUM!