MAURA T. HEALEY

Governor

The Commonwealth of Massachusetts

Executive Office of Health and Human Services Department of Public Health

Office of Emergency Medical Services 67 Forest Street, Marlborough, MA 01752

KIAME MAHANIAH, MD

Secretary

KIMBERLEY DRISCOLL

Lieutenant Governor

# ADVISORY 21-09-02

ROBERT GOLDSTEIN, MD, PhD

Commissioner

Tel: 617-624-6000

www.mass.gov/dph

TO:	Massachusetts Licensed Ambulance Service; Ambulance Manufacturers, Dealers and Purchasers of Ambulance Vehicles Used in Massachusetts

FROM:  Susan Lewis, Director

DATE:  September 20, 2021; updated September 20, 2023; updated April 8, 2026

RE:	Proof of Certification and Testing Data to Obtain Massachusetts Ambulance Certification

The Massachusetts Department of Public Health, Office of Emergency Medical Services (Department) has determined that the manufacturing delay issues affecting ambulance vehicle availability, which first prompted the issuance of this Advisory, remain only a little improved and likely to continue. There remains uncertainty in the industry regarding the factors causing the delays, but agreement that manufacturing reliability is unlikely to return to pre-COVID status. Therefore, the Department rescinds Advisory 20-12-01 effective immediately, and adopts this Advisory as its standard in its place.

The Department will look for the following documentation for all new, used, remounted or replacement Class I and II ambulances, in addition to the original placards or stickers from the original manufacturer, for remounted vehicles. For remounted vehicles, the Department will only inspect and certify these manufacturers, Registered Remounters – Ground Vehicle Standard, as remount facilities, as they are registered as meeting the Commission on Accreditation of Ambulance Services (CAAS) Ground Vehicle Standard (GVS).

- Star of Life / U.S. GSA KKK-A-1822-F certification, as amended

- Electrical load tests

- Weight / Payload Certification

- Suction test

- Oxygen test

- Ambulance preparation package on chassis

If the Department has any questions about any of this documentation, the Department may request additional verifications. The Department strongly recommends that remounted ambulances with lap belts for the EMS personnel in the patient compartment of the ambulance be retrofitted and brought up to current U.S. GSA KKK-A-1822-F specification standards, with four-point harnesses.

The Department also strongly recommends that services include a term requiring an OEMS predelivery inspection in their contract with any Final Stage Ambulance Manufacturer (FSAM), whenever ordering a new or remounted ambulance.

Ambulance services or their vehicle’s FSAM or dealers may direct any inquiries regarding these documents to the Department’s Ambulance Regulation Program, at oems.ambulance@mass.gov.