Provider ALMADAN INC Provider Address P. O. Box 518 , Amherst Survey Team Millet, Janina; Date(s) of Review 31-AUG-18 to 31-AUG-18

Follow-up Scope and results : Service Grouping Licensure level and duration # Critical Indicators std. met/ std. rated at follow-up # Indicators std. met/ std. rated at follow-up Sanction status prior to Follow-up Combined Results post- Follow-up; for Deferred, License level Sanction status post Follow-up Residential and Individual Home Supports Defer Licensure 1/1 1/1  Eligible for new business (Two Year License) 2 Year License with Mid-Cycle Review  Eligible for New Business (80% or more std. met; no critical std. not met) 8 Locations 9 Audits  Ineligible for new business. (Deferred Status: Two year mid-cycle review License)  Ineligible for New Business (<=80% std met and/or more critical std. not met)

| Summary of Ratings |  |
| --- | --- |
| Residential and Individual Home Supports Areas Needing Improvement on Standard not met - Identified by DDS Indicator # L12 Indicator Smoke detectors Area Need Improvement The agency will need to ensure carbon monoxide detectors are present and in the correct locations being 10 feet of an individual's bedrooms and are fully operational. Status at follow-up All smoke detectors and carbon monoxide detectors in the sample were tested and/or official documentation was provided on the current testing of these detectors for each location in the sample. The agency retrained staff to ensure that all smoke detectors and carbon monoxide detectors are fully operational during the monthly walk through home visit checks. The agency also reviewed with staff the responsibilities of the Fire Safety Officer's position which includes ensuring that all smoke detectors and carbon monoxide detectors are located where required per regulation. #met /# rated at followup 5/5 Rating Met Administrative Areas Needing Improvement on Standard not met - Identified by DDS Indicator # L65 Indicator Restraint report submit Area Need Improvement The agency will need to ensure restraint forms conform to the identified timelines. Status at follow-up A review of the HCSIS restraint reporting system was completed by DDS for the agency's follow-up review. The HCSIS restraint reporting system reveled there were no new restraints submitted in the last 60 days during the follow-up period. The agency confirmed these findings of no new restraints. The agency also retained all managers/directors on the standards for reporting critical incidents. This training included timelines for submission of all reports per DDS requirements. The agency will further ensure compliance on timely submission of documentation through a tracking system which will be monitored by their Quality Assurance Specialist. #met /# rated at followup Rating Not Rated Indicator # L66 Indicator HRC restraint review Area Need Improvement The agency will need to ensure restraint reports are reviewed by the committee within the required timeframes. Status at follow-up There were no new restraint reports submitted within the 60 day period therefore the Human Rights Committee did not review any restraints. #met /# rated at followup Rating Not Rated |