| Appendix |  |  |  |
| --- | --- | --- | --- |
|  |  | Definitions |  |
|  |  | Acronyms |  |
|  |  | Standard Nomenclature |  |
| DEFINITIONS |  |  |  |
| MALFUNCTION | Any sudden, infrequent, and not reasonably preventable failure of air pollution control equipment, process equipment, or a process to operate in a normal or usual manner. Failures that are caused in part by poor maintenance or careless operation are not malfunctions. Duration of the malfunction is limited to no more than three hours per occurrence during which time the standards do not apply. |  |  |
| PARAMETER | A characteristic of process and/or control equipment operation that is measured or observed as a surrogate for direct measurement of emissions for determining compliance. Examples of parameters are particulate matter control device inlet temperature and unit load for dioxin emissions, and carbon injection system screw feeder rate for mercury emissions. Generally parametric limits are added in situations where there is no continuous monitoring system available to directly determine compliance with a standard. |  |  |
| SHUTDOWN | The process of initiating standard operating procedures (excluding when prompted by malfunctions) for shutting down the unit. Duration of the shutdown period is limited to no more than three hours per occurrence during which time the standards do not apply. |  |  |
| STARTUP | The startup period commences when the affected facility begins the continuous burning of municipal sold waste and does not include any warm-up period when the affected facility is combusting fossil fuel or other non-municipal solid waste fuel, and no municipal solid waste is being fed to the combustor. Duration of the startup period is limited to no more than three hours per occurrence during which time the standards do not apply. |  |  |
| SUFFICIENT DATA | Valid data is required to be captured for 75% of the operating hours per day for 75% of the operating days per month, and 90% of the operating hours per quarter. |  |  |
| VALID DATA | Data from a monitor that has been properly installed, certified, calibrated, maintained, and operated in accordance with 40 CFR 60.58b and 310 CMR 7.08(2). Valid data does not include data collected during periods in which the monitor was improperly calibrated, or not working properly. In order to constitute a valid hour of data for compliance with an emission average, at a minimum two data points, one each in two different 15 minute quadrants must be collected during that specific hour of monitoring. If a continuous monitoring system is capable of completing a cycle of data sampling, analyzing, and recording in less than 15 minutes, then all data collected within that 15 minute quadrant may be averaged to collect one representative data point for that quadrant. See 40 CFR 60.13(h) for the regulatory language as to how the data should be used for averaging whether as an integrated average or arithmetic average. Note: All hourly valid data must be used in complying with the average emission rate or average parameter value. |  |  |

ACRONYMS

| ACFM | actual cubic feet per minute |
| --- | --- |
| CEMS | continuous emissions monitoring system |
| CMS | continuous monitoring system |
| Cd | Cadmium |
| CO | carbon monoxide |
| COHPAC | compact hybrid particulate collector. A fabric filter following an electrostatic precipitator for particulate matter control |
| DSCM | dry standard cubic meters |
| ESP | electrostatic precipitator. A particulate matter control device |
| FF | fabric filter. A particulate matter control device. |
| HCl | hydrochloric acid |
| Hg | Mercury |
| MSW | municipal solid waste |
| MWC | municipal waste combustor |

| NOx | nitrogen oxides |
| --- | --- |
| PCDD/PCDF | polychlorinated dibenzo dioxin/ polychlorinated dibenzo furans |

| pb | Lead |
| --- | --- |
| pm | particulate matter |
| PMCD | particulate matter control device |
| PMCDT | particulate matter control device inlet temperature |
| PPM | parts per million. For this regulation, normalized to 7% oxygen (O2) in the flue gas. Measured on a dry basis in PPM by volume. Note: Use of CO2 diluent monitor means normalized to 12% CO2. Normalizing to 12% CO2 is approximately equivalent to normalizing to 7% O2. |
| SDA | spray dryer absorber |
| SCFM | standard cubic feet per minute |
| SO2 | sulfur dioxide |
| UL | unit load (kilo-lbs/hr of steam) |
| Standard Nomenclature |  |
| DATE | MM/DD/YYYY - Month/Day/Year |
| TIME | HH:MM - hour, minute in military time- e.g. 8:50 p.m. is reported as 20:50 |
| REPORTING PERIOD | Report is for the first half of year, last half of year, or entire year |

See 310 CMR 7.08(2)(c) for additional Municipal Waste Combustor definitions