## Input
ASR BCA Tool v1.0
Step 1
General Information
|  | City: | Dry Spell
|  | State: | CA
Existing
|  | Population Served by Project (P): | 75000
|  | Average water use rate (gallons per capita per day) | 170
Step 2
Project and Cost Information
|  | Maximum Volumetric Pumping Rate (million gallons per day): | 5
|  | Average depth to recoverable water (feet) | 225
|  | Estimated Capital Cost of ASR Project (Present Value $US) | 3000000
|  | Annual Operations and Maintenance Cost (Present Value $US) | 100000
|  | Useful Life | 30
|  | Annualized Cost | 4240904.1184
Step 3
ASR Project Drought and Mitigation Information
|  | Drought Recurrence Interval (years) | 25 | 50 | 100 |  | Recommend three, minimum of one return periods
|  | Unconstrained Potable Water Demand (million gallons per day [mgd]) | 13.1 | 13.8 | 14.4
|  | Pre-mitigation System Supply Yield (SSYpre,mgd) | 12.4688 | 11.7 | 10.8
|  | Pre-mitigation Duration of Impact (DOIpre, days) | 30 | 45 | 60
|  | Pre-mitigation Conditions % of Unmet Demand (DLFpre, %) | 4.819% | 15.22% | 25% | 0%
|  | Post-mitigation System Supply Yield (SSYpost, mgd) | 13.125 | 12.8 | 12.3
|  | Post-mitigation Duration of Impact (DOIpost, days) | 0 | 35 | 45
|  | Post-mitigation Conditions % of Unmet Demand (DLFpost, %) | -0.1908% | 7.246% | 14.58% | 0%
|  | Average Yield of ASR Project (mgd) | 0.65625 | 1.1 | 1.5 | -
Step 4
ASR BCA Module Output
|  | Drought Recurrence Interval (years) | 25 | 50 | 100
|  | Pre-mitigation Damages (PreDmg) | 11167342.5573 | 52899456.5217 | 115875000 | 0 | Last step for spreadsheet prior to input into FEMA BCA Tool v5.2
|  | Pre-mitigation Annualized Damages | 486105 | 782926 | 1158738 | 0 | FEMA BCA Tool equation
|  | Post-mitigation Damages (PostDmg) | 0 | 19592391.3043 | 50695312.5 | 0 | Last step for spreadsheet prior to input into FEMA BCA Tool v5.2
|  | Post-mitigation Annualized Damages | 0 | 315157 | 506948 | 0 | FEMA BCA Tool equation
|  | Total Pre-mitigation Annualized Damages | 2427769 |  |  |  | FEMA BCA Tool equation
|  | Pre-mitigation Annualized Damages Present Value | 30126285.505 |  |  |  | FEMA BCA Tool equation
|  | Total Post-mitigation Annualized Damages | 822105 |  |  |  | FEMA BCA Tool equation
|  | Post-mitigation Annualized Damages Present Value | 10201534.8022 |  |  |  | FEMA BCA Tool equation
|  | Mitigation Benefits | 19924750.7029 |  |  |  | FEMA BCA Tool equation
|  | Mitigation Cost | 4240904.1184 |  |  |  | FEMA BCA Tool equation
|  | Benefits Minus Costs | 15683846.5845 |  |  |  | FEMA BCA Tool equation
|  | Benefit-Cost Ratio | 4.6982 |  |  |  | FEMA BCA Tool equation
Additional Standard Values
|  | Discount Rate | 7% |  |  |  | Standard FEMA value
|  | Economic Value of Loss of Water Service (LWS, per person per day) | 103 |  |  |  | Standard FEMA value