| ITEM |  |  | # |  | DESCRIPTION |  |  | MIN. SIZE | TOTAL MINIMUM QUANTITY REQUIRED |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | PER ITEM |  |  |
| First-Aid Kit/Bag |  |  | 1.1 |  | First-aid kit items may be incorporated into other units (i.e., portable oxygen unit) and vice versa. Each first-aid kit must include the following: |  |  |  | 1 |  |
|  |  |  | 1.2 |  | Oropharyngeal airways (individually wrapped and sterile) |  |  | ADULT CHILD INFANT | 1 ea. |  |
|  |  |  | 1.3 |  | Small dressings gauze (sterile) |  |  | 4" x 4" | 4 |  |
|  |  |  | 1.4 |  | Medium dressings gauze (sterile) |  |  | 5" x 9" | 4 |  |
|  |  |  | 1.5 |  | Large dressings gauze (sterile) |  |  | 10" x 30" | 2 |  |
|  |  |  | 1.6 |  | Hemostatic dressing approved by the Committee on Tactical Combat Casualty Care |  |  |  | 4 |  |
|  |  |  | 1.7 |  | Soft roller, self-adhering bandage |  |  | 4" x 5 yds | 2 |  |
|  |  |  | 1.8 |  | Bioclusive dressing with one-way release valve (individually packaged) |  |  |  | 1 |  |
|  |  |  | 1.9 |  | Cravats/triangular bandages |  |  | 40" wide | 4 |  |
|  |  |  | 1.10 |  | Tourniquets approved by the Committee on Tactical Combat Casualty Care for control of arterial bleeding |  |  |  | 2 |  |
|  |  |  | 1.11 |  | Adhesive tape (2") hypoallergenic |  |  | 5 yds | 1 |  |
|  |  |  | 1.12 |  | Bandage scissors (7") or equivalent |  |  |  | 1 |  |
|  |  |  | 1.13 |  | Sphygmomanometer |  |  | ADULT | 1 |  |
|  |  |  | 1.14 |  | Stethoscope |  |  |  | 1 |  |
|  |  |  | 1.15 |  | Penlight-type flashlight |  |  |  | 1 |  |
|  |  |  | 1.16 |  | Sterile water or saline solution (in an unbreakable container) |  |  | 500 ml | 1 |  |
|  |  |  | 1.17 |  | Bulb syringe (sterile/wrapped) 3oz for irrigation purposes |  |  |  | 1 |  |
|  |  |  | 1.18 |  | Cold packs (instant) |  |  |  | 2 |  |
|  |  |  | 1.19 |  | Carbon Monoxide monitor (CO monitor) for measuring ambient air |  |  |  | 1 |  |
|  |  |  | 1.20 |  | Adhesive bandages (i.e., Band-Aids) |  |  | 3/4" | 6 |  |
|  |  |  | 1.21 |  | Exam type gloves (single use, latex-free) |  |  |  | 2 pairs |  |
|  |  |  | 1.22 |  | Glucometer (kit with control solution, test strips, antiseptic wipes, small gauze, and Band-Aids) |  |  |  | 1 |  |
|  |  |  | 1.23 |  | Lancets (single use, self-retracting) |  |  |  | 8 |  |
|  |  |  | 1.24 |  | Sharps Container (self- closing) |  |  |  | 1 |  |
| Portable Oxygen Unit |  |  | 2.1 |  | Oxygen cylinder |  |  | D or E | 1 |  |
|  |  |  | 2.2 |  | Oxygen cylinder pressure gauge and regulator capable of delivering a range of 0-25 LPM |  |  |  | 1 |  |
|  |  |  | 2.3 |  | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP) |  |  | ADULT CHILD INFANT | 1 each |  |
|  |  |  | 2.4 |  | Pulse Oximetry |  |  |  | 1 |  |
|  |  |  | 2.5 |  | Non-Rebreather: High concentration oxygen masks (transparent, disposable) with delivery tubes |  |  | ADULT PEDI | 2 each |  |
|  |  |  | 2.6 |  | Nasal cannula with delivery tube |  |  | ADULT | 2 |  |
|  |  |  | 2.7 |  | Cylinder wrench or wheel secured to unit |  |  |  | 1 |  |
|  |  |  | 2.8 |  | Spare oxygen cylinder. All spare cylinders to be maintained in vehicle, but not part of a kit or stretcher. All spare cylinders must be stored in crash stable devices per AR 2-405 minimum specifications for ambulance vehicles. |  |  | D or E | 1 |  |
| Portable Suction Unit |  |  | 3.1 |  | One manually operated suction device (such as V-Vac, Res-Q-Vac, or equivalent), OR Portable suction apparatus (battery powered) capable of delivering a minimum vacuum of 600 millimeters of mercury. |  |  |  | 1 |  |
|  |  |  | 3.2 |  | Wide bore suction tubing (transparent/translucent, non-kinking) |  |  |  | 1 |  |
|  |  |  | 3.3 |  | Semi-rigid pharyngeal suction tip |  |  |  | 1 |  |
|  |  |  | 3.4 |  | Collection bottle or bag (non-breakable, disposable transparent) |  |  | 550 ml | 1 |  |
|  |  |  | 3.5 |  | Exam-type gloves (single use, latex-free) |  |  |  | 1 pair |  |
|  |  |  | 3.6 |  | French suction catheter |  |  | 14 Fr | 1 |  |
| Automatic External Defibrillator |  |  | 4.1 |  | AED appropriate to ambulance staffing configuration, with appropriate accessories to provide care in accordance with the Statewide Treatment Protocols and ILCOR/CoSTR standards |  |  |  | 1 |  |
|  |  |  | 4.2 |  | AED Pads |  |  | ADULT PEDI | 2 each |  |
|  |  |  | 4.3 |  | Razor (single-use) |  |  |  | 1 |  |
| Airway Management |  |  | 5.1 5.2 5.3 |  | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP) Nasopharyngeal airways (individually wrapped) PEDI Nasopharyngeal airways (individually wrapped) |  |  | ADULT CHILD INFANT 20F 22F 24F 26F 28F 30F 32F 34F 12F 14F 16F 18F | 1 each 1 each 1 each |  |
| Glucometer Kit |  |  | 6.1 |  | Glucometer (with control solution; antiseptic wipes; small gauze; bandages) |  |  |  | 1 |  |
|  |  |  | 6.2 |  | Glucometer test strips |  |  |  | 8 |  |
|  |  |  | 6.3 |  | Lancets (single use, self-retracting) |  |  |  | 8 |  |
| Obstetrical Kit |  | 7.1 |  | Obstetrical kit (sterile) each containing the following items: |  |  |  |  |  | 2 |
|  |  | 7.2 |  | Large towel |  |  |  |  |  | 1 |
|  |  | 7.3 |  | Receiving blanket, or equivalent |  |  |  |  |  | 1 |
|  |  | 7.4 |  | Sterile disposable plastic or rubber gloves; |  |  |  |  |  | 1 pair |
|  |  | 7.5 |  | Sterile gauze pads |  |  | 3" x 3" |  |  | 6 |
|  |  | 7.6 |  | Kelly clamps or sterile ties |  |  |  |  |  | 2 |
|  |  | 7.7 |  | Sanitary napkins |  |  |  |  |  | 6 |
|  |  | 7.8 |  | Infant bulb syringe |  |  |  |  |  | 1 |
|  |  | 7.9 |  | Bandage or surgical blade scissors |  |  |  |  |  | 1 |
|  |  | 7.10 |  | Container with lid for carrying placenta |  |  |  |  |  | 1 |
|  |  | 7.11 |  | Newborn swaddle system (i.e., space blanket, foil swaddle, or equivalent to retain body temperature) |  |  |  |  |  | 1 |
| Spinal Immobilization |  | 8.1 |  | ADULT Cervical Collar (rigid) *Adjustable collar is equivalent to all 4 sizes* |  |  | NO-NECK SMALL MEDIUM LARGE |  |  | 2 each |
|  |  | 8.2 |  | PEDI Cervical Collar (rigid) *Adjustable collar is equivalent to all 3 sizes* |  |  | CHILD TODDLER INFANT |  |  | 2 each |
| Accessories |  | 9.1 |  | Blanket |  |  |  |  |  | 1 |
|  |  | 9.2 |  | Covered, secure, rigid container for sharp items (i.e., needles), minimum of 8" height or width (to accommodate EpiPens). |  |  |  |  |  | 1 |
|  |  | 9.3 |  | Biohazard bags (with ties) |  |  |  |  |  | 2 |
|  |  | 9.4 |  | Motion sickness bags, or equivalent, capable of being sealed |  |  |  |  |  | 2 |
| Personal Protection |  | 10.1 |  | Infection control kit, containing two (2) each of disposable, fluid resistant gowns, masks, caps, protective eye wear, and two (2) different sizes of gloves. |  |  |  |  |  | 1 kit |
|  |  | 10.2 |  | Exam- type gloves (single use, latex-free) |  |  | SMALL MEDIUM LARGE X-LARGE |  |  | 1 box each |
|  |  | 10.3 |  | NIOSH approved N95 Mask or better (disposable) |  |  | All sizes per mfr. |  |  | 3 each |
|  |  | 10.4 |  | Facemask and protective eye wear (combination face mask/eye shield equivalent) |  |  |  |  |  | 4 each |
|  |  | 10.5 |  | Antiseptic hand sanitizer dispenser or 25 individually wrapped antiseptic hand wipes |  |  |  |  |  | 1 |

| Communication Equipment | 11.1 | a) Capability to provide recorded communication directly with on-line medical control physician, and b) Capacity to reach service dispatch center |  |  |
| --- | --- | --- | --- | --- |

Optional Equipment: Required Only for Services That Have Implemented Medical Director Options Under the Statewide Treatment Protocols

| BLS Bronchodilator Kit | 12.1 | Nebulizers with mouthpiece |  | 2 |
| --- | --- | --- | --- | --- |
| Supraglottic Airway Kit | 12.2 | Supraglottic Airway - sizes covering adult and large adult patients per manufacturer. Include: Syringe for inflation of cuff (if required), Lubricant (water soluble), Commercial securing device (or equivalent) |  | 1 each |
| Check and Inject Kit (labeled not for IV use) | 12.3 | Sterile 1 cc graduated syringes with 21-25 gauge, 3/8 – 1” needles already attached with appropriate sheath or engineered for safety |  | 2 |
|  | 12.4 | Direction card inside the kit |  | 1 |
| CPAP Kit | 12.5 | CPAP machine set up with designated oxygen tank and the ability to provide in-line nebulizer treatments. Must include appropriately sized masks. | Masks: Small Medium Large | 1 Kit 2 each Masks |