| **ITEM** | | | **#** | | **DESCRIPTION** | | | **MIN. SIZE** | **TOTAL MINIMUM QUANTITY REQUIRED** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PER ITEM** |
|  | | |  | |  | | |  |  | |
| **First-Aid Kit/Bag** | | | 1.1 | | First-aid kit items may be incorporated into other units (i.e., portable oxygen unit) and vice versa. Each first-aid kit must include the following: | | |  | 1 | |
| 1.2 | | Oropharyngeal airways (individually wrapped and sterile) | | | ADULT CHILD INFANT | 1 ea. | |
| 1.3 | | Small dressings gauze (sterile) | | | 4" x 4" | 4 | |
| 1.4 | | Medium dressings gauze (sterile) | | | 5" x 9" | 4 | |
| 1.5 | | Large dressings gauze (sterile) | | | 10" x 30" | 2 | |
| 1.6 | | Hemostatic dressing approved by the Committee on Tactical Combat Casualty Care | | |  | 4 | |
| 1.7 | | Soft roller, self-adhering bandage | | | 4" x 5 yds | 2 | |
| 1.8 | | Bioclusive dressing with one-way release valve (individually packaged) | | |  | 1 | |
| 1.9 | | Cravats/triangular bandages | | | 40" wide | 4 | |
| 1.10 | | Tourniquets approved by the Committee on Tactical Combat Casualty Care for control of arterial bleeding | | |  | 2 | |
| 1.11 | | Adhesive tape (2") hypoallergenic | | | 5 yds | 1 | |
| 1.12 | | Bandage scissors (7") or equivalent | | |  | 1 | |
| 1.13 | | Sphygmomanometer | | | ADULT | 1 | |
| 1.14 | | Stethoscope | | |  | 1 | |
| 1.15 | | Penlight-type flashlight | | |  | 1 | |
| 1.16 | | Sterile water or saline solution (in an unbreakable container) | | | 500 ml | 1 | |
| 1.17 | | Bulb syringe (sterile/wrapped) 3oz for irrigation purposes | | |  | 1 | |
| 1.18 | | Cold packs (instant) | | |  | 2 | |
| 1.19 | | Carbon Monoxide monitor (CO monitor) for measuring ambient air | | |  | 1 | |
| 1.20 | | Adhesive bandages (i.e., Band-Aids) | | | 3/4" | 6 | |
| 1.21 | | Exam type gloves (single use, latex-free) | | |  | 2 pairs | |
| 1.22 | | Glucometer (kit with control solution, test strips, antiseptic wipes, small gauze, and Band-Aids) | | |  | 1 | |
| 1.23 | | Lancets (single use, self-retracting) | | |  | 8 | |
| 1.24 | | Sharps Container (self- closing) | | |  | 1 | |
|  | | |  | |  | | |  |  | |
|  | | |  | |  | | |  |  | |
| **Portable Oxygen Unit** | | | 2.1 | | Oxygen cylinder | | | D or E | 1 | |
| 2.2 | | Oxygen cylinder pressure gauge and regulator capable of delivering a range of 0-25 LPM | | |  | 1 | |
| 2.3 | | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP) | | | ADULT CHILD INFANT | 1 each | |
| 2.4 | | Pulse Oximetry | | |  | 1 | |
| 2.5 | | Non-Rebreather: High concentration oxygen masks (transparent, disposable) with delivery tubes | | | ADULT PEDI | 2 each | |
| 2.6 | | Nasal cannula with delivery tube | | | ADULT | 2 | |
| 2.7 | | Cylinder wrench or wheel secured to unit | | |  | 1 | |
| 2.8 | | Spare oxygen cylinder. All spare cylinders to be maintained in vehicle, but not part of a kit or stretcher. All spare cylinders must be stored in crash stable devices per AR 2-405 minimum specifications for ambulance vehicles. | | | D or E | 1 | |
|  | | |  | |  | | |  |  | |
| **Portable Suction Unit** | | | 3.1 | | One manually operated suction device (such as V-Vac, Res-Q-Vac, or equivalent),  OR  Portable suction apparatus (battery powered) capable of delivering a minimum vacuum of 600 millimeters of mercury. | | |  | 1 | |
| 3.2 | | Wide bore suction tubing (transparent/translucent, non-kinking) | | |  | 1 | |
| 3.3 | | Semi-rigid pharyngeal suction tip | | |  | 1 | |
| 3.4 | | Collection bottle or bag (non-breakable, disposable transparent) | | | 550 ml | 1 | |
| 3.5 | | Exam-type gloves (single use, latex-free) | | |  | 1 pair | |
| 3.6 | | French suction catheter | | | 14 Fr | 1 | |
|  | | |  | |  | | |  |  | |
| **Automatic External Defibrillator** | | | 4.1 | | AED appropriate to ambulance staffing configuration, with appropriate accessories to provide care in accordance with the Statewide Treatment Protocols and ILCOR/CoSTR standards | | |  | 1 | |
| 4.2 | | AED Pads | | | ADULT PEDI | 2 each | |
| 4.3 | | Razor (single-use) | | |  | 1 | |
|  | | |  | |  | | |  |  | |
| **Airway Management** | | | 5.1  5.2  5.3 | | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP)  Nasopharyngeal airways (individually wrapped)  PEDI Nasopharyngeal airways (individually wrapped) | | | ADULT CHILD INFANT  20F  22F  24F 26F  28F  30F  32F  34F  12F  14F  16F  18F | 1 each    1 each    1 each | |
|  | | |  | |  | | |  |  | |
|  | | |  | |  | | |  |  | |
| **Glucometer Kit** | | | 6.1 | | Glucometer (with control solution; antiseptic wipes; small gauze; bandages) | | |  | 1 | |
| 6.2 | | Glucometer test strips | | |  | 8 | |
| 6.3 | | Lancets (single use, self-retracting) | | |  | 8 | |
|  |  | | | | |
| **Obstetrical Kit** | | 7.1 | | Obstetrical kit (sterile) each containing the following items: | | |  | | | 2 |
| 7.2 | | Large towel | | |  | | | 1 |
| 7.3 | | Receiving blanket, or equivalent | | |  | | | 1 |
| 7.4 | | Sterile disposable plastic or rubber gloves; | | |  | | | 1 pair |
| 7.5 | | Sterile gauze pads | | | 3" x 3" | | | 6 |
| 7.6 | | Kelly clamps or sterile ties | | |  | | | 2 |
| 7.7 | | Sanitary napkins | | |  | | | 6 |
| 7.8 | | Infant bulb syringe | | |  | | | 1 |
| 7.9 | | Bandage or surgical blade scissors | | |  | | | 1 |
| 7.10 | | Container with lid for carrying placenta | | |  | | | 1 |
| 7.11 | | Newborn swaddle system (i.e., space blanket, foil swaddle, or equivalent to retain body temperature) | | |  | | | 1 |
|  | | | | | | | | | | |
| **Spinal Immobilization** | | 8.1 | | ADULT Cervical Collar (rigid)  *\*Adjustable collar is equivalent to all 4 sizes\** | | | NO-NECK SMALL MEDIUM LARGE | | | 2 each |
|  | | 8.2 | | PEDI Cervical Collar (rigid)  \**Adjustable collar is equivalent to all 3 sizes\** | | | CHILD TODDLER INFANT | | | 2 each |
|  |  | | | | |
| **Accessories** | | 9.1 | | Blanket | | |  | | | 1 |
| 9.2 | | Covered, secure, rigid container for sharp items (i.e., needles), minimum of 8" height or width (to accommodate EpiPens). | | |  | | | 1 |
| 9.3 | | Biohazard bags (with ties) | | |  | | | 2 |
|  | | 9.4 | | Motion sickness bags, or equivalent, capable of being sealed | | |  | | | 2 |
| **Personal Protection** | | 10.1 | | Infection control kit, containing two (2) each of disposable, fluid resistant gowns, masks, caps, protective eye wear, and two (2) different sizes of gloves. | | |  | | | 1 kit |
| 10.2 | | Exam- type gloves (single use, latex-free) | | | SMALL MEDIUM LARGE  X-LARGE | | | 1 box each |
| 10.3 | | NIOSH approved N95 Mask or better (disposable) | | | All sizes per mfr. | | | 3 each |
| 10.4 | | Facemask and protective eye wear (combination face mask/eye shield equivalent) | | |  | | | 4 each |
| 10.5 | | Antiseptic hand sanitizer dispenser or 25 individually wrapped antiseptic hand wipes | | |  | | | 1 |

| **Communication Equipment** | 11.1 | a) Capability to provide recorded communication directly with on-line medical control physician, and  b) Capacity to reach service dispatch center |  |  |
| --- | --- | --- | --- | --- |

| **Optional Equipment: Required Only for Services That Have Implemented Medical Director Options Under the Statewide Treatment Protocols** |
| --- |

| **BLS**  **Bronchodilator Kit** | 12.1 | Nebulizers with mouthpiece |  | 2 |
| --- | --- | --- | --- | --- |
| **Supraglottic Airway Kit** | 12.2 | Supraglottic Airway - sizes covering adult and large adult patients per manufacturer. Include: Syringe for inflation of cuff (if required), Lubricant (water soluble), Commercial securing device (or equivalent) |  | 1 each |
| **Check and Inject Kit (labeled not for IV use)** | 12.3 | Sterile 1 cc graduated syringes with 21-25 gauge, 3/8 – 1” needles already attached with appropriate sheath or engineered for safety |  | 2 |
| 12.4 | Direction card inside the kit |  | 1 |
| **CPAP Kit** | 12.5 | CPAP machine set up with designated oxygen tank and the ability to provide in-line nebulizer treatments. Must include appropriately sized masks. | Masks: Small  Medium  Large | 1 Kit  2 each Masks |