| **ITEM** | | | **#** | | **DESCRIPTION** | | **MIN. SIZE** | | **TOTAL QUANTITY** | | **CLASS** | | | | | | | | **CC** | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PER ITEM** | | I | | II | | IV | | V | |  | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **First-In Kit/Bag** | | | 1.1 | | First-In kit items may be incorporated into other units (i.e., portable oxygen unit) and vice versa. Each first-In kit must include the following: | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.2 | | Oropharyngeal airways (individually wrapped and sterile) | | ADULT CHILD INFANT | | 2 ea. | | I | | II | | IV | | V | | CC | | |
| 1.3 | | Small dressings gauze (sterile) | | 4" x 4" | | 4 | | I | | II | | IV | | V | | CC | | |
| 1.4 | | Medium dressings gauze (sterile) | | 5" x 9" | | 4 | | I | | II | | IV | | V | | CC | | |
| 1.5 | | Large dressings gauze (sterile) | | 10" x 30" | | 2 | | I | | II | | IV | | V | | CC | | |
| 1.6 | | Hemostatic dressing approved by the Committee on Tactical Combat Casualty Care | |  | | 4 | | I | | II | | IV | | V | | CC | | |
| 1.7 | | Soft roller, self-adhering bandage | | 4" x 5 yds | | 2 | | I | | II | | IV | | V | | CC | | |
| 1.8 | | Bioclusive dressing with one-way release valve (individually packaged) | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.9 | | Cravats/triangular bandages | | 40" wide | | 4 | | I | | II | | IV | | V | | CC | | |
| 1.10 | | Tourniquets approved by the Committee on Tactical Combat Casualty Care for control of arterial bleeding | |  | | 2 | | I | | II | | IV | | V | | CC | | |
| 1.11 | | Adhesive tape (2") hypoallergenic | | 5 yds | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.12 | | Bandage scissors (7") or equivalent | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.13 | | Sphygmomanometer | | ADULT | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.14 | | Stethoscope | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.15 | | Penlight-type flashlight | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.16 | | Sterile water or saline solution (in an unbreakable container) | | 500 ml | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.17 | | Bulb syringe (sterile/wrapped) 3oz for irrigation purposes | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.18 | | Cold packs (instant) | |  | | 2 | | I | | II | | IV | | V | | CC | | |
| 1.19 | | Carbon Monoxide monitor (CO monitor) for measuring ambient air | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.20 | | Adhesive bandages (i.e. Band-Aids) | | 3/4" | | 6 | | I | | II | | IV | | V | | CC | | |
| 1.21 | | Exam type gloves (single use, latex-free) | |  | | 2 pairs | | I | | II | | IV | | V | | CC | | |
| 1.22 | | Glucometer (kit with control solution, test strips, antiseptic wipes, small gauze, and Band-Aids) | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 1.23 | | Lancets (single use, self-retracting | |  | | 8 | | I | | II | | IV | | V | | CC | | |
| 1.24 | | Sharps Container (self- closing) | |  | |  | | I | | II | | IV | | V | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Portable Oxygen Unit** | | | 2.1 | | Oxygen cylinder | | D or E | | 1 | | I | | II | | IV | | V | | CC | | |
| 2.2 | | Oxygen cylinder pressure gauge and regulator capable of delivering a range of 0-25 LPM | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 2.3 | | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP) | | ADULT CHILD INFANT | | 1 ea. | | I | | II | | IV | | V | | CC | | |
| 2.4 | | Pulse Oximetry | |  | | 1 | |  | |  | |  | |  | |  | | |
| 2.5 | | Non-Rebreather: High concentration oxygen masks (transparent, disposable) with delivery tubes | | ADULT PEDI | | 2 ea. | | I | | II | | IV | | V | | CC | | |
| 2.6 | | Nasal cannula with delivery tube | | ADULT | | 2 | | I | | II | | IV | | V | | CC | | |
| 2.7 | | Cylinder wrench or wheel secured to unit | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 2.8 | | Spare oxygen cylinder. All spare cylinders to be maintained in vehicle, but not part of a kit or stretcher. All spare cylinders must be stored in crash stable devices per AR 2-405 minimum specifications for ambulance vehicles. | | D or E | | 1 | | I | | II | | IV | | V | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Portable Suction Unit** | | | 3.1 | | Portable suction apparatus (battery powered) capable of delivering a minimum vacuum of 600 millimeters of mercury. | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 3.2 | | Wide bore suction tubing (transparent/translucent, non-kinking) | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 3.3 | | Semi-rigid pharyngeal suction tip | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 3.4 | | Collection bottle or bag (non-breakable, disposable transparent) | | 550 ml | | 1 | | I | | II | | IV | | V | | CC | | |
| 3.5 | | Exam-type gloves (single use, latex-free) | |  | | 1 pair | | I | | II | | IV | | V | | CC | | |
| 3.6 | | French suction catheter | | 14 Fr | | 1 ea. | | I | | II | | IV | | V | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Automatic External Defibrillator** | | | 4.1 | | AED appropriate to ambulance staffing configuration, with appropriate accessories to provide care in accordance with the Statewide Treatment Protocols and ILCOR/CoSTR standards | |  | | 1 | | I | | II | | - | | V | | - | | |
| 4.2 | | AED Pads | | ADULT PEDI | | 2 ea. | | I | | II | | - | | V | | - | | |
| 4.3 | | Razor (single-use) | |  | | 1 | | I | | II | | - | | V | | - | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Diagnostic Equipment** | | | 5.1 | | ADULT Sphygmomanometer | | LG-ADULT ADULT | | 1 ea. | | I | | II | | IV | | - | | CC | | |
| 5.2 | | PEDI Sphygmomanometer | | CHILD INFANT | | 1 ea. | | I | | II | | IV | | V | | CC | | |
| 5.3 | | Stethoscope | |  | | 1 | | I | | II | | IV | | - | | CC | | |
| 5.4 | | Penlight-type flashlight | |  | | 2 | | I | | II | | IV | | - | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Installed Oxygen System** | | | 6.1 | | An installed oxygen system conforming to AR 2-405 minimum specifications for ambulance vehicles. | |  | | 1 | | I | | II | | IV | | - | | CC | | |
| 6.2 | | Flow meters capable of delivering a range of 0-15 LPM (min.) | |  | | 2 | | I | | II | | IV | | - | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
|  | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | |
| **Installed Suction** | | | 7.1 | | Electrically powered suction aspirator system furnished with an illuminated switch, and panel mounted (as required by AR 2-405 minimum specifications for ambulance vehicles.) | |  | | 1 | | I | | II | | IV | | - | | CC | | |
| 7.2 | | Collection bottle or bag (non-breakable, disposable transparent); | | 1000 ml capacity | | 1 | | I | | II | | IV | | - | | CC | | |
| 7.3 | | Spare collection bags when bag-type system is furnished | |  | | 4 | | I | | II | | IV | | - | | CC | | |
| 7.4 | | Semi-rigid pharyngeal suction tip | |  | | 2 | | I | | II | | IV | | - | | CC | | |
| 7.5 | | Wide-bore suction tubing (transparent/translucent, non-kinking) | | 1/4" diameter | | 2 | | I | | II | | IV | | - | | CC | | |
|  | | | 7.6 | | French suction catheters | | 5 Fr  8 Fr  14 Fr | | 2 each | | I | | II | | IV | | - | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Airway Management** | | | 8.1 | | Bag-valve mask with oxygen supply reservoir (hand-operated, single use, with HEPA filter, pediatric/infant must include PEEP) | | ADULT CHILD INFANT | | 1 each | | I | | II | | IV | | - | | CC | | |
| 8.2 | | Non-Rebreather: High concentration oxygen masks (transparent, disposable) with delivery tubes | | ADULT PEDI  INFANT | | 3 each | | I | | II | | IV | | - | | CC | | |
| 8.3 | | Nasal cannula with delivery tube | | ADULT PEDI | | 3 each | | I | | II | | IV | | - | | CC | | |
| 8.4 | | Oropharyngeal airways (individually wrapped) | | ADULT CHILD INFANT | | 2 each | | I | | II | | IV | | - | | CC | | |
| 8.5 | | Neonate oxygen delivery masks | | NEONATE | | 2 | | I | | II | | IV | |  | | CC | | |
| 8.6 | | Nasopharyngeal airways (individually wrapped) | | 20F 22F 24F 26F 28F 30F  32F  34F | | 1 each | | I | | II | | IV | | - | | CC | | |
| 8.7 | | PEDI Nasopharyngeal airways (individually wrapped) | | 12F 14F 16F 18F | | 1 each | | I | | II | | IV | | - | | CC | | |
| 8.8 | | Water soluble lubricant (single use package) | |  | | 12 | | I | | II | | IV | | - | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Glucometer Kit** | | | 9.1 | | Glucometer (with control solution; antiseptic wipes; small gauze; bandages) | |  | | 1 | | I | | II | | IV | | V | | CC | | |
| 9.2 | | Glucometer test strips | |  | | 8 | | I | | II | | IV | | V | | CC | | |
| 9.3 | | Lancets (single use, self-retracting) | |  | | 8 | | I | | II | | IV | | V | | CC | | |
|  | | |  | |  | |  | |  | |  | |  | |  | |  | |  | | |
| **Wound Care** | | 10.1 | | Small dressings gauze (sterile) | | 4" x 4" | | 4 | | I | | II | | IV | | - | | CC | |
| 10.2 | | Medium dressings gauze (sterile) | | 5" x 9" | | 4 | | I | | II | | IV | | - | | CC | |
| 10.3 | | Large dressings gauze (sterile) | | 10" x 30" | | 2 | | I | | II | | IV | | - | | CC | |
| 10.4 | | Soft roller, self-adhering bandage | | 4" x 5 yds | | 2 | | I | | II | | IV | | - | | CC | |
| 10.5 | | Cravats / triangular bandages | | 40" wide | | 4 | | I | | II | | IV | | - | | CC | |
| 10.6 | | Adhesive tape (1") hypoallergenic | | 5 yds | | 2 | | I | | II | | IV | | - | | CC | |
| 10.7 | | Adhesive tape (2") hypoallergenic | | 5yrds | | 2 | | I | | II | | IV | | - | | CC | |
| 10.8 | | Bandage scissors (7") or equivalent | |  | | 2 | | I | | II | | IV | | - | | CC | |
| 10.9 | | Sterile water or saline solution (in an unbreakable container) | | 3000cc total | | 3 containers min. | | I | | II | | IV | | - | | CC | |
| 10.10 | | Bioclusive dressing with 1-way release valve (individually packaged) | |  | | 1 | | I | | II | | IV | | - | | CC | |
| 10.11 | | Cold packs (instant) | |  | | 4 | | I | | II | | IV | | - | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Burn Kit** | | 11.1 | | Burn sheets (sterile) linen or disposable | |  | | 2 | | I | | II | | IV | | V | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Obstetrical Kit** | | 12.1 | | Obstetrical kit (sterile) containing the following | |  | | 2 | | I | | II | | IV | | V | | CC | |
| 12.2 | | Large towel | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 12.3 | | Receiving blanket, or equivalent | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 12.4 | | Sterile disposable plastic or rubber gloves; | |  | | 1 pair | | I | | II | | IV | | V | | CC | |
| 12.5 | | Sterile gauze pads | | 3" x 3" | | 6 | | I | | II | | IV | | V | | CC | |
| 12.6 | | Kelly clamps or sterile ties | |  | | 2 | | I | | II | | IV | | V | | CC | |
| 12.7 | | Sanitary napkins | |  | | 6 | | I | | II | | IV | | V | | CC | |
| 12.8 | | Infant bulb syringe | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 12.9 | | Bandage or surgical blade scissors | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 12.10 | | Container with lid for carrying placenta | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 12.11 | | Newborn swaddle system (i.e., space blanket, foil swaddle, or equivalent to retain body temperature) | |  | | 1 | | I | | II | | IV | | V | | CC | |
| **(Commercial equivalent kit acceptable)** | | | | | | | | | | | | | | | | | | | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Splints or equivalent immobilization devices** | | 13.1 | | Traction splint (femur) device or equivalent; with ankle hitch and leg ties or equivalent. All accessory items to be stored with splints. | | ADULT PEDI | | 1 each | | I | | II | | IV | | - | | CC | |
| 13.2 | | 4.5' x 3" covered padded board splint (single-use) or equivalent (impervious to saturation) | |  | | 2 | | I | | II | | - | | V | | CC | |
| 13.3 | | 3' x 3" covered padded board splint (single-use) or equivalent (impervious to saturation) | |  | | 2 | | I | | II | | - | | V | | CC | |
| 13.4 | | 15" x 3" covered padded board splint (single-use) or equivalent (impervious to saturation) | |  | | 2 | | I | | II | | - | | V | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Spinal Immobilization** | | 14.1 | | Full spine board, with easily cleanable 9' straps or functional equivalent and sufficient padding to maintain in-line head & cervical support/stabilization with head strap (2" tape or equivalent) | |  | | 1 board 4 straps | | I | | II | | - | | - | | CC | |
| 14.2 | | ADULT Cervical Collar (rigid)  *\*Adjustable collar is equivalent to all 4 sizes\** | | NO-NECK SMALL MEDIUM LARGE | | 2 each | | I | | II | | IV | | V | | CC | |
| 14.3 | | PEDI Cervical Collar (rigid)  *\*Adjustable collar is equivalent to all 3 sizes\** | | CHILD TODDLER INFANT | | 2 each | | I | | II | | IV | | V | | CC | |
| **(Accessories must be stored together near boards; all must be antibacterial/impervious to contaminates, or disposable)** | | | | | | | | | | | | | | | | | | | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Stretcher** | | 15.1 | | 4-wheeled, multi-level ambulance cot | |  | | 1 | | I | | II | | - | | - | | CC | |
| 15.2 | | Standard cot mattress with waterproof cover | |  | | 1 | | I | | II | | - | | - | | CC | |
| 15.3 | | Patient restraining devices at chest (commercial shoulder harness or equal) hip, and knee to prevent lateral or longitudinal displacement of the patient during transport | |  | | 1 set each | | I | | II | | - | | - | | CC | |
| 15.4 | | IV holder, capable of being cot mounted and holding 2 IV bags | |  | | 1 | | I | | II | | - | | - | | CC | |
| 15.5 | | Padded wrist and ankle restraints | |  | | 1 set | | I | | II | | - | | - | | CC | |
| 15.6 | | For power- type units, one extra battery, and charger (as recommended by manufacturer) | |  | | 1 | | I | | II | | - | | - | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Stair Chair** | | 16.1 | | Stair chair with patient restraint straps | |  | | 1 | | I | | II | | - | | - | | - | |
| 16.2 | | For power-type units, one extra battery, and charger (as recommended by manufacturer) | |  | | 1 | | I | | II | | - | | - | | - | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Auxiliary Stretcher** | | 17.1 | | Auxiliary stretcher with patient restraint straps, or equivalent (i.e., orthopedic "scoop" stretcher, "Reeves"- type stretcher, long spine board) | |  | | 1 | | I | | II | | - | | - | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Transfer Sheet** | | 18.1 | | Transfer sheet with a minimum of six (6) handles, or equivalent | |  | | 1 | | I | | II | | - | | - | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Accessories** | | 19.1 | | ADULT bed pan urinal, large basin or equivalent | |  | | 1 ea. | | I | | II | | IV | | - | | CC | |
| 19.2 | | Motion sickness bags, or equivalent, capable of being sealed | |  | | 2 | | I | | II | | IV | | V | | CC | |
| 19.3 | | Sheets (disposable or linen) | |  | | 4 (I, II, CC) 1 (IV, V) | | I | | II | | IV | | V | | CC | |
| 19.4 | | Blankets | |  | | 4 (I, II, CC) 1 (IV, V) | | I | | II | | IV | | V | | CC | |
| 19.5 | | Towels | |  | | 4 | | I | | II | |  | | - | | CC | |
| 19.6 | | Paper tissues (disposable) | |  | | 1 package | | I | | II | | IV | | - | | CC | |
| 19.7 | | Drinking cups (disposable, individually wrapped) | |  | | 2 | | I | | II | | IV | | - | | CC | |
| 19.8 | | Trash bin liners, plastic (with ties) | |  | | 2 | | I | | II | | IV | | - | | CC | |
| 19.9 | | Biohazard bags (with ties) | |  | | 2 | | I | | II | | IV | | - | | CC | |
| 19.10 | | Ring Cutter (with extra blade) | |  | | 1 | | I | | II | | IV | | - | | CC | |
| 19.11 | | CPR board or functionally equivalent (i.e., short board or back plate of a mechanical CPR device): must have hard washable surface for patient torso, and be accessible in patient compartment. | |  | | 1 | | I | | II | | IV | | - | | CC | |
| 19.12 | | Child appropriate restraint device to provide safe transport of an infant/pediatric patient ˃5kg on stretcher | |  | | 1 | | I | | II | | IV | | - | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Personal Protection** | | 20.1 | | Exam- type gloves (single use, latex-free) | | SMALL MEDIUM LARGE X-LARGE | | 1 box each | | I | | II | | IV | | V | | CC | |
| 20.2 | | NIOSH approved N95 Mask or better (disposable) | | All sizes per mfr. | | 3 each | | I | | II | | IV | | V | | CC | |
| 20.3 | | Facemask and protective eye wear (combination face mask/eye shield equivalent) | |  | | 4 each | | I | | II | | IV | | V | | CC | |
| 20.4 | | Antiseptic hand sanitizer dispenser or 25 individually wrapped antiseptic hand wipes | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 20.5 | | Infection control kit, containing two (2) each of disposable, fluid resistant gowns, masks, caps, protective eye wear, and two (2) different sizes of gloves. | |  | | 1 kit | | I | | II | | IV | | V | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Safety/Access Equipment** | | 21.1 | | ANSI vest or equivalent (Class II/III) | |  | | 2 | | I | | II | | IV | | V | | CC | |
|  | |  | |  | |  | |  | |  | |  | |  | |  | |  | |
| **Vehicle Equipment** | | 22.1 | | Warning Lights: Emergency warning beacon, visible 360 degrees, as permitted by M.G.L. c.90, s.7, or as required per AR 2-405 minimum specifications for ambulance vehicles | |  | |  | | I | | II | | IV | | V | | CC | |
| 22.2 | | Audible Warning Device: A siren, per AR 2-405 minimum specifications for ambulance vehicles & AMD Standard 023 | |  | |  | | I | | II | | - | | V | | CC | |
| 22.3 | | Global positioning system (GPS) navigation system, and street directories and road maps for primary and backup areas served. | |  | |  | | I | | II | | IV | | V | | CC | |
| 22.4 | | Fire Extinguishers: CO2 or dry pounder, UL approved. Mounted in patient compartment | | 5 lbs. | | 2 (I, II, CC) 1 (IV, V) | | I | | II | | IV | | V | | CC | |
| 22.5 | | Handlights: (6-volt/4.5-volt if rechargeable) bulb or LED or equivalent | |  | | 2 | | I | | II | | IV | | V | | CC | |
| 22.6 | | Road Reflectors (US DOT approved triangles or equivalent) | |  | | 3 | | I | | II | | - | | V | | CC | |
| 22.7 | | US DOT Emergency Response Guidebook (current edition) or electronic equivalent | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 22.8 | | National Institute of Occupational Health & Safety (NIOSH) pocket guide to Chemical Hazards (current edition) or electronic equivalent | |  | | 1 | | I | | II | | IV | | V | | CC | |
| 22.9 | | Binoculars | | 7 x 35mm | | 1 | | I | | II | | IV | | V | | CC | |
| 22.10 | | SMART triage tags | |  | | 25 | | I | | II | | IV | | V | | CC | |
| 22.11 | | Additional protective equipment to adequately safeguard crew from anticipated exposures as defined by the licensee. | |  | |  | | I | | II | | IV | | V | | CC | |

| **Optional Equipment: Required Only for Services That Have Implemented Medical Director Options Under the Statewide Treatment Protocols** |
| --- |

| **BLS Bronchodilator Kit** | 23.1 | Nebulizers with mouthpiece |  | 2 | I | II | - | - | - |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 23.2 | Facemasks | Adult  Pedi | 2 each | I | II | - | - | - |
|  |  |  |  |  |  |  |  |  |  |
| **Check and Inject Kit (labeled not for IV use)** | 24.1 | Sterile 1 cc graduated syringes with 21-25 gauge, 3/8 – 1” needles already attached with appropriate sheath or engineered for safety |  | 2 | I | II | - | - | - |
| 24.2 | Direction card inside the kit |  | 1 | I | II | - | - | - |
|  |  |  |  |  |  |  |  |  |  |
| **CPAP Kit** | 25.1 | CPAP machine set up with designated oxygen tank and the ability to do in-line nebulizer treatments. Must include appropriately sized masks. | Masks: Small  Medium  Large | 1 Kit  2 each Masks | I | II | - | - | - |
|  |  |  |  |  |  |  |  |  |  |
| **Supraglottic Airway Kit** | 26.1 | Supraglottic Airway | Sizes covering adult and large adult patients per mfr. | 1 each | I | II | - | V | - |
|  | 26.2 | Syringe for inflation of cuff (if required) |  | 1 | I | II | - | V | - |
|  | 26.3 | Lubricant (water soluble) |  | 1 | I | II | - | V | - |
|  | 26.4 | Commercial securing device (or equivalent) |  | 1 | I | II | - | V | - |