| ITEM | # | DESCRIPTION | MIN. SIZE | TOTAL QUANTITY | CLASS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | PER ITEM |  | I | II | IV | V |
| Tight-fitting K9 oxygen mask | K9.2 | Must be “anesthesia type”, tightly fitting to nose/face, without exhalation ports, and able to connect to Adult BVM for positive pressure ventilation | Large | 1 | I | II | IV | - |
| SWAT-T-type tourniquet | K9.3 | Arterial tourniquet reserved for Police K9 Use only. Must not be windlass-type. |  | 1 | I | II | IV | - |