| **ITEM** | **#** | **DESCRIPTION** | **MIN. SIZE** | **TOTAL QUANTITY** | **CLASS** |
| --- | --- | --- | --- | --- | --- |
| **PER ITEM** | I | II | IV | V |
|  |  |  |  |  |  |  |  |  |
| **Tight-fitting K9 oxygen mask** | K9.2 | Must be “anesthesia type”, tightly fitting to nose/face, without exhalation ports, and able to connect to Adult BVM for positive pressure ventilation | Large | 1 | I | II | IV | - |
| **SWAT-T-type tourniquet** | K9.3 | Arterial tourniquet reserved for Police K9 Use only. Must not be windlass-type.  |  | 1 | I | II | IV | - |