## EX, Pg 1, Costs
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
COST SUMMARY
| (A) | (B) | (C) | (D) | (E)
LINE |  |  | NON- |  | MONTHLY
NO | ITEM | SOURCE | RECURRING | SOURCE | RECURRING
APPLICATION FEE
1 | INITIAL | PART CD, WP 1.0, PG 2, LINE 15 | 2500
2 | SUBSEQUENT | PART CD, WP 1.1, PG 2, LINE 15 | 1500
3 | AUGMENT - REARRANGEMENT OF EQUIPMENT | PART CD, WP 1.2, PG 2, LINE 15 | 1000
4 | SOFTWARE UPGRADE AUGMENT | PART CD, WP 1.3, PG 2, LINE 15 | 1000
5 | ADDITIONAL CARD PER SHELF | PART CD, WP 1.4, PG 2, LINE 15 | 1000
ENGINEERING & IMPLEMENTATION
6 | INITIAL | PART CD, WP 1.0, PG 2, LINE 16 | 710.5484
7 | SUBSEQUENT | PART CD, WP 1.1, PG 2, LINE 16 | 964.5693
8 | AUGMENT - REARRANGEMENT OF EQUIPMENT | PART CD, WP 1.2, PG 2, LINE 16 | 1654.7934
9 | SOFTWARE UPGRADE AUGMENT | PART CD, WP 1.3, PG 2, LINE 16 | 342.4204
10 | ADDITIONAL CARD PER SHELF | PART CD, WP 1.4, PG 2, LINE 16 | 637.2491
11
INSTALLATION/ACCEPTANCE TESTING
12 | OC3 EQUIPMENT | PART CD, WP 1.5, PG 1, LINE 20 | 1140.7067
13 | OC12 EQUIPMENT | PART CD, WP 1.5, PG 1, LINE 20 | 1140.7067
14 | OC48 EQUIPMENT | PART CD, WP 1.5, PG 1, LINE 20 | 1140.7067
15 | LITESPAN EQUIPMENT | PART CD, WP 1.5, PG 1, LINE 20 | 1140.7067
IAC CABLE & FRAME TERMINATION
16 | PER (100) VOICE GRADE | PART CD, WP 2.0, PG 1, LINE 8E | 391.2022 | PART CD, WP 2.0, PG 1, LINE 24 | 4.5539
17 | PER (28) DS1 | PART CD, WP 3.0, PG 2, LINE 8E | 784.0683 | PART CD, WP 3.0, PG 2, LINE 24 | 9.1272
18 | PER (1) DS3 | PART CD, WP 4.0, PG 3, LINE 8E | 333.0687 | PART CD, WP 4.0, PG 3, LINE 24 | 3.8772
19 | PER (12) FIBER | PART CD, WP 5.0, PG 4, LINE 6E | 1331.3453 | PART CD, WP 5.0, PG 4, LINE 22 | 15.4979
CABLE PLACEMENT & SPLICING
20 | CABLE PULL & SPLICE (MH TO ASA) | T&M
21 | OSP TECHNICIAN PER HOUR | PART CA, EXHIBIT, PG 1, LINE 36 | 42.89
22 | OSP ENGINEERING PER HOUR | PART CA, EXHIBIT, PG 1, LINE 37 | 50.72
23 | EXTERNAL CONTRACT LABOR | T&M
ENTRANCE FIBER TERMINATION
24 | ASA/SPLICE POINT TO FDF - PER 12 FIBERS |  |  | PART CD, WP 6, PG 1, LINE 25 | 9.814
FIBER DISTRIBUTION FRAME (FDF)
25 | FDF TO VSA - PER 2 FIBERS |  |  | PART CD, WP 7.0, PG 1, LINE 22 | 3.3092
POWER CONSUMPTION
26 | PER DC AMP |  |  | PART CA, EXHIBIT, PG 1, LINE 19E | 22.79
POWER DISTRIBUTION
27 | PER CABLE RUN FUSED UP TO 15 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 20E | 5.9216
28 | PER CABLE RUN FUSED UP TO 30 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 21E | 15.1584
29 | PER CABLE RUN FUSED UP TO 45 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 22E | 33.037
30 | PER CABLE RUN FUSED UP TO 60 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 23E | 38.7536
31 | PER CABLE RUN FUSED UP TO 70 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 24E | 60.9438
32 | PER CABLE RUN FUSED UP TO 100 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 25E | 164.5215
33 | PER CABLE RUN FUSED UP TO 125 AMPS |  |  | PART CA, EXHIBIT, PG 1, LINE 26E | 190.0557
EQUIPMENT SUPPORT CHARGE
34 | EQUIPMENT SUPPORT |  |  | PART CD, WP 8.0, PG 1, LINE 23 | 31.1552
35 | SPARE CABINET CHARGE
36 | SPARE CABINET CHARGE |  |  | PART CD, WP 8.0, PG 1, LINE 22 | 14.0715
EQUIPMENT MAINTENANCE CHARGE
37 | PER TECHNICIAN - FIRST 1/2 HOUR | (PART CD, WP 10.0, PG 1, LN 17J / 2) X (PART CD, WP 9.0, PG 1, LNs 9 & 10) | 23.9856
38 | PER TECHNICIAN - ADDITIONAL 1/4 HOUR | (PART CD, WP 10.0, PG 1, LN 17J / 4) X (PART CD, WP 9.0, PG 1, LNs 9 & 10) | 11.9928
ESCORTING FEE
39 | PER TECHNICIAN - FIRST 1/2 HOUR | PART CA, EXHIBIT, PG 1, LINE 39 | 23.99
40 | PER TECHNICIAN - ADDITIONAL 1/4 HOUR | PART CA, EXHIBIT, PG 1, LINE 40 | 11.99
TRAINING COST
41 | PER TECHNICIAN - FIRST 1/2 HOUR | (PART CD, WP 10.0, PG 1, LN 17J / 2) X (PART CD, WP 9.0, PG 1, LNs 9 & 10) | 23.9856
42 | PER TECHNICIAN - ADDITIONAL 1/4 HOUR | (PART CD, WP 10.0, PG 1, LN 17J / 4) X (PART CD, WP 9.0, PG 1, LNs 9 & 10) | 11.9928

## EX, Pg 2, Diagrams
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
NETWORK DIAGRAM
| IAC CHARGES |  |  | VIRTUAL SERVING ARRANGEMENT (VSA)
A. | VOICE GRADE
MDF
B. | DSX-1
| BAY |  |  |  |  | VIRTUAL
EQUIPMENT
C. | DSX-3 |  |  |  |  | BAY
BAY
D. | FIBER
FDF
l
l
¦
|  |  | E. 2 FIBERS ON CABLE RACK (FDF TO VSA) |  |  | ¦
¦
CENTRAL OFFICE SIDE
FIBER DISTRIBUTION FRAME (FDF)
OUTSIDE PLANT SIDE
FIBER DISTRIBUTION FRAME (FDF)
l
¦
|  |  | F. 12 FIBERS ON CABLE RACK (VAULT TO FDF) |  |  | ¦
l
¦
G. PULL & SPLICE CABLE FROM MH TO VAULT
|  | MANHOLE |  |  |  | VAULT
H. CONDUIT FROM MH TO VAULT
NOTES:
A. | IAC VOICE GRADE (VG) CIRCUITS TERMINATE ON A MDF (MAIN DISTRIBUTION FRAME) AND BLOCK.
B. | IAC DS1 CIRCUITS TERMINATE ON A DIGITAL CROSS CONNECT (DSX) BAY AND PANEL.
C. | IAC DS3 CIRCUITS TERMINATE ON A DIGITAL CROSS CONNECT SYSTEM (DSX) BAY AND PANEL.
D. | IAC FIBER CROSS CONNECTS TERMINATE ON A FIBER DISTRIBUTION FRAME (FDF) AND SHELF.
E. | 2 FIBERS ON CABLE RACKING FROM CENTRAL OFFICE SIDE OF FDF TO VIRTUAL EQUIPMENT BAY.
F. | 12 FIBERS ON CABLE RACKING FROM VAULT AREA TO OUTSIDE PLANT SIDE OF FDF.
G. | PULL AND SPLICE CLEC-PROVIDED CABLE FROM MANHOLE TO VAULT AREA (TIME AND MATERIALS).
H. | CLEC-PROVIDED FIBER CABLE IS PLACED IN CONDUIT FROM MANHOLE TO VAULT AREA.

## WP 1.0, Virtual - Initial
PART CD
WORKPAPER 1.0
PAGE 1 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - INITIAL
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
1 | REVIEW REQUIREMENTS AND DESIGN
| A | RECEIVE APPLICATION, REVIEW FOR COMPLETENESS, AND REQUIREMENTS | 1.5
| B | CREATE / RESOLVE CLLI , GEO, ACTL IDENTIFICATION CODES |  | 0.5
| C | RECEIVE / REVIEW APPLICATION (CLEC DATA, COLLOCATION TYPE) |  |  | 0.5
| D | ANALYZE CLEC REQUIREMENTS (ENTRANCE FACILITIES, SPACE, POWER, SAC) |  |  | 2.25
| E | DISTRIBUTE APPLICATION |  |  | 0.5
| F | RECEIVE & REVIEW CCR, INITIALIZE JOB, FORWARD QUOTE DOC TO VENDOR |  |  |  | 1
| G | RECEIVE APPLICATION AND ANALYZE OSP REQUIREMENTS |  |  |  |  | 0.75
| H | REVIEW OF BUILDING AND SECURITY FEASIBILITY ANALYSIS
| I | RECEIVE, REVIEW AND ANALYZE CCR, CREATE JOB PACKAGE | [7 empty] | 1
| J | RECEIVE, REVIEW "FYI" AND ANALYZE R.E. ISSUES
| K | OBTAIN AND ANALYZE EXISTING FLOOR PLAN DATA | [5 empty] | 1.5
2 | SPACE ASSESSMENT
| A | SITE SURVEY | [5 empty] | 7 |  | 7.5
| B | RECEIVE / REVIEW IPOR FROM R.E. AND FORWARD TO WNS |  |  | 0.5
| C | COMPILE AND PROVIDE SITE SURVEY RESULTS TO WNS |  |  | 0.25
| D | IDENTIFY MANHOLE "0", DETERMINE CABLE PATH AND LENGTH TO TRANSITION SPLICE OR COLLOCATION AREA |  |  |  |  | 2.25
| E | ANALYZE BUILDING SPACE, COORDINATE BUILDING READY DATE | [7 empty] | 2
| F | DEVELOP BUILDINGS PACKAGE
| G | FINALIZE SECURITY PROVISIONS WITH SECURITY CONSULTANT
| H | NOTIFY CLEC OF SITE SURVEY RESULTS AND AVAILABILITY | 1
3 | PREPARATION OF ENGINEERING RECOMMENDATION AND ESTIMATE CASE
| A | PREPARE AND ISSUE ENGINEERING REQUEST |  |  | 1
| B | PREPARE AND FORWARD OSP RESULTS TO LCC |  |  |  |  | 0.25
| C | REVIEW AND FINALIZE VENDOR QUOTE |  |  |  | 0.5
| D | ANALYZE SITE SURVEY RESULTS FROM FIELD ENGINEER |  |  |  | 0.5
| E | PRICE JOB AND TEO USING SEPOC |  |  |  | 1
| F | DISTRIBUTE VERIZON SPECIFICATION AND TEO |  |  |  | 0.25
| G | MISCELLANEOUS (RESOLVE TEO / BILLING ISSUES) |  |  |  | 0.5
| H | DEVELOP BUILDING DESIGN AND CONSTRUCTION REQUIREMENTS - SEND TO R.E.
4 | ORDER ADMINISTRATION AND BILLING
| A | QUERY / CREATE BAN, APPLICATION FEE PROCESSING | 1.5
| B | PREPARE AND SUBMIT BILLING FORM |  |  | 0.5
| C | ESTABLISH SPECIAL BILLING NUMBER (SBN) | 0.33
| D | RESOLVE CLAIMS AND COLLECTION ISSUES | 0.25
PART CD
WORKPAPER 1.0
PAGE 2 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - INITIAL
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
5 | PROJECT MANAGEMENT
| A | PROVIDE AND TRACK PLANNING PACKAGE |  |  | 1
| B | ONGOING PROJECT MAINTENANCE (RESPONSIBILITIES, SERVICE DATE, ESCALATION) |  |  | 1.5
| C | DISCUSS MOP, TURN-UP, DOCUMENTATION WITH COLLOCATOR |  |  | 2.25
| D | REVEIVE / REVIEW TEO |  |  | 0.35
| E | REVIEW DATES, REQUIREMENTS, TRAINING, DOCUMENTATION WITH COLLOCATOR |  |  | 2.5
| F | MOP AND / OR SITE VISIT FOR CLEC / VERIZON CHECK LIST
| G | SCHEDULE MEETING WITH CLEC FOR TURNOVER
| H | VERIFY AND UPDATE CLLI / ACTL INFO WITH RESPECT TO JOB CHANGES |  | 1
| I | TRACKING AND REPORTING OF APPLICATION STATUS |  | 0.7
| J | VERIFICATION OF CFA ASSIGNMENTS IN VERIZON OSS SYSTEMS |  | 1
6 | CONTACT MEETING / ACCEPTANCE / MOP / FACILITIES / EQUIP
| A | SITE WALK-THROUGH PRIOR TO JOB CLOSE-OUT & DATABASE UPDATE
| B | ESTABLISH MAINTENANCE / EMERGENCY PROCEDURES |  |  | 1
| C | PROVIDE TIE DOWN INFORMATION (CFA) |  |  | 0.5
| D | REVIEW C.O. RULES
| E | VERIFY DSX LOCATIONS / INPUTS FRAME AND CABLE DATA INTO TIRKS | [6 empty] | 1
| F | INPUT CABLE AND FRAME ASSIGNMENTS INTO FOMS | [8 empty] | 2
| G | ESTABLISH CLEC, CABLE ID AND COUNT IN LFACs VIA MYNAH | [9 empty] | 1
| H | INPUT CABLE ID AND COUNT INTO LFACS | [9 empty] | 2.5
| I | COLLECTION, SUMMARIZATION, AND DISTRIBUTION OF PRE-ACCEPTANCE AND FINAL CHECK LIST DATA
7 | TOTAL HOURS (SUM LINES 1 THROUGH 6) |  | 4.58 | 3.2 | 14.6 | 3.75 | 3.25 | 8.5 | 1 | 10.5 | 2 | 3.5 | 0 | 0
8 | LABOR RATES: (PART CD, WP 10.0, PG 1) |  | 43.6703 | 50.7228 | 54.6898 | 54.6898 | 46.4362 | 64.1776 | 58.6017 | 54.6898 | 48.0891 | 42.381 | 43.4058 | 46.1056
9 | TOTAL COSTS BY FUNCTION ( LINE 7 X LINE 8) |  | 200.0099 | 162.3128 | 798.4707 | 205.0867 | 150.9176 | 545.5093 | 58.6017 | 574.2426 | 96.1782 | 148.3335 | 0 | 0
10 | ENGINEERING AND ADMINISTRATION FEE ( SUM LINE 9 COLUMNS) |  | 2939.663
11 | COMMON OVERHEAD LOADING FACTOR |  | 1.0892
12 | ENGINEERING AND ADMINISTRATION ( LINE 10 X LINE 11) |  | 3201.8809
13 | GROSS REVENUE LOADING FACTOR |  | 1.0027
14 | ENGINEERING AND ADMINISTRATION FEE (LINE 12 X LINE 13) |  | 3210.5484
15 | APPLICATION FEE - INITIAL |  | 2500
16 | ENGINEERING AND ADMINISTRATION FEE - INITIAL |  | 710.5484
(LINE 14 - LINE 15)

## WP 1.1, Virtual - Subsequent
PART CD
WORKPAPER 1.1
PAGE 1 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - SUBSEQUENT
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
1 | REVIEW REQUIREMENTS AND DESIGN
| A | RECEIVE APPLICATION, REVIEW FOR COMPLETENESS, AND REQUIREMENTS | 1.5
| B | CREATE / RESOLVE CLLI , GEO, ACTL IDENTIFICATION CODES |  | 0.5
| C | RECEIVE / REVIEW APPLICATION (CLEC DATA, COLLOCATION TYPE) |  |  | 0.5
| D | ANALYZE CLEC REQUIREMENTS (ENTRANCE FACILITIES, SPACE, POWER, SAC) |  |  | 2.25
| E | DISTRIBUTE APPLICATION |  |  | 0.5
| F | RECEIVE & REVIEW CCR, INITIALIZE JOB, FORWARD QUOTE DOC TO VENDOR |  |  |  | 1
| G | RECEIVE APPLICATION AND ANALYZE OSP REQUIREMENTS |  |  |  |  | 0.75
| H | REVIEW OF BUILDING AND SECURITY FEASIBILITY ANALYSIS
| I | RECEIVE, REVIEW AND ANALYZE CCR, CREATE JOB PACKAGE | [7 empty] | 1
| J | RECEIVE, REVIEW "FYI" AND ANALYZE R.E. ISSUES
| K | OBTAIN AND ANALYZE EXISTING FLOOR PLAN DATA | [5 empty] | 1.5
2 | SPACE ASSESSMENT
| A | SITE SURVEY | [7 empty] | 6
| B | RECEIVE / REVIEW IPOR FROM R.E. AND FORWARD TO WNS |  |  | 0.5
| C | COMPILE AND PROVIDE SITE SURVEY RESULTS TO WNS |  |  | 0.25
| D | IDENTIFY MANHOLE "0", DETERMINE CABLE PATH AND LENGTH TO TRANSITION SPLICE OR COLLOCATION AREA |  |  |  |  | 2.25
| E | ANALYZE BUILDING SPACE, COORDINATE BUILDING READY DATE
| F | DEVELOP BUILDINGS PACKAGE
| G | FINALIZE SECURITY PROVISIONS WITH SECURITY CONSULTANT
| H | NOTIFY CLEC OF SITE SURVEY RESULTS AND AVAILABILITY | 1
3 | PREPARATION OF ENGINEERING RECOMMENDATION AND ESTIMATE CASE
| A | PREPARE AND ISSUE ENGINEERING REQUEST |  |  | 1
| B | PREPARE AND FORWARD OSP RESULTS TO LCC |  |  |  |  | 0.25
| C | REVIEW AND FINALIZE VENDOR QUOTE |  |  |  | 0.5
| D | ANALYZE SITE SURVEY RESULTS FROM FIELD ENGINEER |  |  |  | 0.5
| E | PRICE JOB AND TEO USING SEPOC |  |  |  | 1
| F | DISTRIBUTE VERIZON SPECIFICATION AND TEO |  |  |  | 0.25
| G | MISCELLANEOUS (RESOLVE TEO / BILLING ISSUES) |  |  |  | 0.5
| H | DEVELOP BUILDING DESIGN AND CONSTRUCTION REQUIREMENTS - SEND TO R.E.
4 | ORDER ADMINISTRATION AND BILLING
| A | QUERY / CREATE BAN, APPLICATION FEE PROCESSING | 1.5
| B | PREPARE AND SUBMIT BILLING FORM |  |  | 0.5
| C | ESTABLISH SPECIAL BILLING NUMBER (SBN) | 0.33
| D | RESOLVE CLAIMS AND COLLECTION ISSUES | 0.25
PART CD
WORKPAPER 1.1
PAGE 2 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - SUBSEQUENT
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
5 | PROJECT MANAGEMENT
| A | PROVIDE AND TRACK PLANNING PACKAGE |  |  | 1
| B | ONGOING PROJECT MAINTENANCE (RESPONSIBILITIES, SERVICE DATE, ESCALATION) |  |  | 1.5
| C | DISCUSS MOP, TURN-UP, DOCUMENTATION WITH COLLOCATOR |  |  | 2.25
| D | REVEIVE / REVIEW TEO |  |  | 0.35
| E | REVIEW DATES, REQUIREMENTS, TRAINING, DOCUMENTATION WITH COLLOCATOR |  |  | 2.5
| F | MOP AND / OR SITE VISIT FOR CLEC / VERIZON CHECK LIST
| G | SCHEDULE MEETING WITH CLEC FOR TURNOVER
| H | VERIFY AND UPDATE CLLI / ACTL INFO WITH RESPECT TO JOB CHANGES |  | 1
| I | TRACKING AND REPORTING OF APPLICATION STATUS |  | 0.7
| J | VERIFICATION OF CFA ASSIGNMENTS IN VERIZON OSS SYSTEMS |  | 1
6 | CONTACT MEETING / ACCEPTANCE / MOP / FACILITIES / EQUIP
| A | SITE WALK-THROUGH PRIOR TO JOB CLOSE-OUT & DATABASE UPDATE
| B | ESTABLISH MAINTENANCE / EMERGENCY PROCEDURES |  |  | 1
| C | PROVIDE TIE DOWN INFORMATION (CFA) |  |  | 0.5
| D | REVIEW C.O. RULES
| E | VERIFY DSX LOCATIONS / INPUTS FRAME AND CABLE DATA INTO TIRKS | [6 empty] | 1
| F | INPUT CABLE AND FRAME ASSIGNMENTS INTO FOMS | [8 empty] | 2
| G | ESTABLISH CLEC, CABLE ID AND COUNT IN LFACs VIA MYNAH
| H | INPUT CABLE ID AND COUNT INTO LFACS | [9 empty] | 2.5
| I | COLLECTION, SUMMARIZATION, AND DISTRIBUTION OF PRE-ACCEPTANCE AND FINAL CHECK LIST DATA
7 | TOTAL HOURS (SUM LINES 1 THROUGH 6) |  | 4.58 | 3.2 | 14.6 | 3.75 | 3.25 | 1.5 | 1 | 7 | 2 | 2.5 | 0 | 0
8 | LABOR RATES: (PART CD, WP 10.0, PG 1) |  | 43.6703 | 50.7228 | 54.6898 | 54.6898 | 46.4362 | 64.1776 | 58.6017 | 54.6898 | 48.0891 | 42.381 | 43.4058 | 46.1056
9 | TOTAL COSTS BY FUNCTION (LINE 7 X LINE 8) |  | 200.0099 | 162.3128 | 798.4707 | 205.0867 | 150.9176 | 96.2663 | 58.6017 | 382.8284 | 96.1782 | 105.9525 | 0 | 0
10 | ENGINEERING AND ADMINISTRATION FEE (SUM LINE 9 COLUMNS) |  | 2256.6248
11 | COMMON OVERHEAD LOADING FACTOR |  | 1.0892
12 | ENGINEERING AND ADMINISTRATION (LINE 10 X LINE 11) |  | 2457.9157
13 | GROSS REVENUE LOADING FACTOR |  | 1.0027
14 | ENGINEERING AND ADMINISTRATION FEE (LINE 12 X LINE 13) |  | 2464.5693
15 | APPLICATION FEE - SUBSEQUENT |  | 1500
16 | ENGINEERING AND ADMINISTRATION FEE - SUBSEQUENT |  | 964.5693
(LINE 14 - LINE 15)

## WP 1.2, Virtual - Rearrangement
PART CD
WORKPAPER 1.2
PAGE 1 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - REARRANGEMENT OF EQUIPMENT
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
1 | REVIEW REQUIREMENTS AND DESIGN
| A | RECEIVE APPLICATION, REVIEW FOR COMPLETENESS, AND REQUIREMENTS | 1.5
| B | CREATE / RESOLVE CLLI , GEO, ACTL IDENTIFICATION CODES |  | 0.5
| C | RECEIVE / REVIEW APPLICATION (CLEC DATA, COLLOCATION TYPE) |  |  | 0.5
| D | ANALYZE CLEC REQUIREMENTS (ENTRANCE FACILITIES, SPACE, POWER, SAC) |  |  | 2.25
| E | DISTRIBUTE APPLICATION |  |  | 0.5
| F | RECEIVE & REVIEW CCR, INITIALIZE JOB, FORWARD QUOTE DOC TO VENDOR |  |  |  | 1
| G | RECEIVE APPLICATION AND ANALYZE OSP REQUIREMENTS
| H | REVIEW OF BUILDING AND SECURITY FEASIBILITY ANALYSIS
| I | RECEIVE, REVIEW AND ANALYZE CCR, CREATE JOB PACKAGE | [7 empty] | 1
| J | RECEIVE, REVIEW "FYI" AND ANALYZE R.E. ISSUES
| K | OBTAIN AND ANALYZE EXISTING FLOOR PLAN DATA | [5 empty] | 1
2 | SPACE ASSESSMENT
| A | SITE SURVEY | [5 empty] | 6 |  | 6.5
| B | RECEIVE / REVIEW IPOR FROM R.E. AND FORWARD TO WNS |  |  | 0.5
| C | COMPILE AND PROVIDE SITE SURVEY RESULTS TO WNS |  |  | 0.25
| D | IDENTIFY MANHOLE "0", DETERMINE CABLE PATH AND LENGTH TO TRANSITION SPLICE OR COLLOCATION AREA
| E | ANALYZE BUILDING SPACE, COORDINATE BUILDING READY DATE
| F | DEVELOP BUILDINGS PACKAGE
| G | FINALIZE SECURITY PROVISIONS WITH SECURITY CONSULTANT
| H | NOTIFY CLEC OF SITE SURVEY RESULTS AND AVAILABILITY | 1
3 | PREPARATION OF ENGINEERING RECOMMENDATION AND ESTIMATE CASE
| A | PREPARE AND ISSUE ENGINEERING REQUEST |  |  | 1
| B | PREPARE AND FORWARD OSP RESULTS TO LCC
| C | REVIEW AND FINALIZE VENDOR QUOTE |  |  |  | 0.5
| D | ANALYZE SITE SURVEY RESULTS FROM FIELD ENGINEER |  |  |  | 0.5
| E | PRICE JOB AND TEO USING SEPOC |  |  |  | 1
| F | DISTRIBUTE VERIZON SPECIFICATION AND TEO |  |  |  | 0.25
| G | MISCELLANEOUS (RESOLVE TEO / BILLING ISSUES) |  |  |  | 0.5
| H | DEVELOP BUILDING DESIGN AND CONSTRUCTION REQUIREMENTS - SEND TO R.E.
4 | ORDER ADMINISTRATION AND BILLING
| A | QUERY / CREATE BAN, APPLICATION FEE PROCESSING | 1.5
| B | PREPARE AND SUBMIT BILLING FORM |  |  | 0.5
| C | ESTABLISH SPECIAL BILLING NUMBER (SBN) | 0.33
| D | RESOLVE CLAIMS AND COLLECTION ISSUES | 0.25
PART CD
WORKPAPER 1.2
PAGE 2 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - REARRANGEMENT OF EQUIPMENT
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
5 | PROJECT MANAGEMENT
| A | PROVIDE AND TRACK PLANNING PACKAGE |  |  | 1
| B | ONGOING PROJECT MAINTENANCE (RESPONSIBILITIES, SERVICE DATE, ESCALATION) |  |  | 1.5
| C | DISCUSS MOP, TURN-UP, DOCUMENTATION WITH COLLOCATOR |  |  | 2.25
| D | REVEIVE / REVIEW TEO |  |  | 0.35
| E | REVIEW DATES, REQUIREMENTS, TRAINING, DOCUMENTATION WITH COLLOCATOR |  |  | 2.5
| F | MOP AND / OR SITE VISIT FOR CLEC / VERIZON CHECK LIST
| G | SCHEDULE MEETING WITH CLEC FOR TURNOVER
| H | VERIFY AND UPDATE CLLI / ACTL INFO WITH RESPECT TO JOB CHANGES |  | 2
| I | TRACKING AND REPORTING OF APPLICATION STATUS |  | 0.7
| J | VERIFICATION OF CFA ASSIGNMENTS IN VERIZON OSS SYSTEMS |  | 1
6 | CONTACT MEETING / ACCEPTANCE / MOP / FACILITIES / EQUIP
| A | SITE WALK-THROUGH PRIOR TO JOB CLOSE-OUT & DATABASE UPDATE
| B | ESTABLISH MAINTENANCE / EMERGENCY PROCEDURES |  |  | 1
| C | PROVIDE TIE DOWN INFORMATION (CFA) |  |  | 0.5
| D | REVIEW C.O. RULES
| E | VERIFY DSX LOCATIONS / INPUTS FRAME AND CABLE DATA INTO TIRKS | [6 empty] | 1
| F | INPUT CABLE AND FRAME ASSIGNMENTS INTO FOMS | [8 empty] | 2
| G | ESTABLISH CLEC, CABLE ID AND COUNT IN LFACs VIA MYNAH
| H | INPUT CABLE ID AND COUNT INTO LFACS
| I | COLLECTION, SUMMARIZATION, AND DISTRIBUTION OF PRE-ACCEPTANCE AND FINAL CHECK LIST DATA
7 | TOTAL HOURS (SUM LINES 1 THROUGH 6) |  | 4.58 | 4.2 | 14.6 | 3.75 | 0 | 7 | 1 | 7.5 | 2 | 0 | 0 | 0
8 | LABOR RATES: (PART CD, WP 10.0, PG 1) |  | 43.6703 | 50.7228 | 54.6898 | 54.6898 | 46.4362 | 64.1776 | 58.6017 | 54.6898 | 48.0891 | 42.381 | 43.4058 | 46.1056
9 | TOTAL COSTS BY FUNCTION (LINE 7 X LINE 8) |  | 200.0099 | 213.0356 | 798.4707 | 205.0867 | 0 | 449.243 | 58.6017 | 410.1733 | 96.1782 | 0 | 0 | 0
10 | ENGINEERING AND ADMINISTRATION FEE (SUM LINE 9 COLUMNS) |  | 2430.799
11 | COMMON OVERHEAD LOADING FACTOR |  | 1.0892
12 | ENGINEERING AND ADMINISTRATION (LINE 10 X LINE 11) |  | 2647.6263
13 | GROSS REVENUE LOADING FACTOR |  | 1.0027
14 | ENGINEERING AND ADMINISTRATION FEE (LINE 12 X LINE 13) |  | 2654.7934
15 | APPLICATION FEE - REARRANGEMENT |  | 1000
16 | ENGINEERING AND ADMINISTRATION FEE - REARRANGEMENT |  | 1654.7934
(LINE 14 - LINE 15)

## WP 1.3, Virtual - Soft Upgrade
PART CD
WORKPAPER 1.3
PAGE 1 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - SOFTWARE UPGRADE
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
1 | REVIEW REQUIREMENTS AND DESIGN
| A | RECEIVE APPLICATION, REVIEW FOR COMPLETENESS, AND REQUIREMENTS | 1.5
| B | CREATE / RESOLVE CLLI , GEO, ACTL IDENTIFICATION CODES |  | 0.5
| C | RECEIVE / REVIEW APPLICATION (CLEC DATA, COLLOCATION TYPE) |  |  | 0.5
| D | ANALYZE CLEC REQUIREMENTS (ENTRANCE FACILITIES, SPACE, POWER, SAC) |  |  | 1
| E | DISTRIBUTE APPLICATION |  |  | 0.5
| F | RECEIVE & REVIEW CCR, INITIALIZE JOB, FORWARD QUOTE DOC TO VENDOR |  |  |  | 1
| G | RECEIVE APPLICATION AND ANALYZE OSP REQUIREMENTS
| H | REVIEW OF BUILDING AND SECURITY FEASIBILITY ANALYSIS
| I | RECEIVE, REVIEW AND ANALYZE CCR, CREATE JOB PACKAGE
| J | RECEIVE, REVIEW "FYI" AND ANALYZE R.E. ISSUES
| K | OBTAIN AND ANALYZE EXISTING FLOOR PLAN DATA
2 | SPACE ASSESSMENT
| A | SITE SURVEY
| B | RECEIVE / REVIEW IPOR FROM R.E. AND FORWARD TO WNS |  |  | 0.5
| C | COMPILE AND PROVIDE SITE SURVEY RESULTS TO WNS |  |  | 0.25
| D | IDENTIFY MANHOLE "0", DETERMINE CABLE PATH AND LENGTH TO TRANSITION SPLICE OR COLLOCATION AREA
| E | ANALYZE BUILDING SPACE, COORDINATE BUILDING READY DATE
| F | DEVELOP BUILDINGS PACKAGE
| G | FINALIZE SECURITY PROVISIONS WITH SECURITY CONSULTANT
| H | NOTIFY CLEC OF SITE SURVEY RESULTS AND AVAILABILITY | 1
3 | PREPARATION OF ENGINEERING RECOMMENDATION AND ESTIMATE CASE
| A | PREPARE AND ISSUE ENGINEERING REQUEST |  |  | 1
| B | PREPARE AND FORWARD OSP RESULTS TO LCC
| C | REVIEW AND FINALIZE VENDOR QUOTE |  |  |  | 0.5
| D | ANALYZE SITE SURVEY RESULTS FROM FIELD ENGINEER |  |  |  | 0.5
| E | PRICE JOB AND TEO USING SEPOC |  |  |  | 1
| F | DISTRIBUTE VERIZON SPECIFICATION AND TEO |  |  |  | 0.25
| G | MISCELLANEOUS (RESOLVE TEO / BILLING ISSUES) |  |  |  | 0.5
| H | DEVELOP BUILDING DESIGN AND CONSTRUCTION REQUIREMENTS - SEND TO R.E.
4 | ORDER ADMINISTRATION AND BILLING
| A | QUERY / CREATE BAN, APPLICATION FEE PROCESSING | 1.5
| B | PREPARE AND SUBMIT BILLING FORM |  |  | 0.5
| C | ESTABLISH SPECIAL BILLING NUMBER (SBN) | 0.33
| D | RESOLVE CLAIMS AND COLLECTION ISSUES | 0.25
PART CD
WORKPAPER 1.3
PAGE 2 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - SOFTWARE UPGRADE
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
5 | PROJECT MANAGEMENT
| A | PROVIDE AND TRACK PLANNING PACKAGE |  |  | 1
| B | ONGOING PROJECT MAINTENANCE (RESPONSIBILITIES, SERVICE DATE, ESCALATION) |  |  | 1.5
| C | DISCUSS MOP, TURN-UP, DOCUMENTATION WITH COLLOCATOR |  |  | 2.25
| D | REVEIVE / REVIEW TEO |  |  | 0.35
| E | REVIEW DATES, REQUIREMENTS, TRAINING, DOCUMENTATION WITH COLLOCATOR |  |  | 1.75
| F | MOP AND / OR SITE VISIT FOR CLEC / VERIZON CHECK LIST
| G | SCHEDULE MEETING WITH CLEC FOR TURNOVER
| H | VERIFY AND UPDATE CLLI / ACTL INFO WITH RESPECT TO JOB CHANGES |  | 2
| I | TRACKING AND REPORTING OF APPLICATION STATUS |  | 0.7
| J | VERIFICATION OF CFA ASSIGNMENTS IN VERIZON OSS SYSTEMS
6 | CONTACT MEETING / ACCEPTANCE / MOP / FACILITIES / EQUIP
| A | SITE WALK-THROUGH PRIOR TO JOB CLOSE-OUT & DATABASE UPDATE
| B | ESTABLISH MAINTENANCE / EMERGENCY PROCEDURES |  |  | 1
| C | PROVIDE TIE DOWN INFORMATION (CFA)
| D | REVIEW C.O. RULES
| E | VERIFY DSX LOCATIONS / INPUTS FRAME AND CABLE DATA INTO TIRKS
| F | INPUT CABLE AND FRAME ASSIGNMENTS INTO FOMS
| G | ESTABLISH CLEC, CABLE ID AND COUNT IN LFACs VIA MYNAH
| H | INPUT CABLE ID AND COUNT INTO LFACS
| I | COLLECTION, SUMMARIZATION, AND DISTRIBUTION OF PRE-ACCEPTANCE AND FINAL CHECK LIST DATA
7 | TOTAL HOURS (SUM LINES 1 THROUGH 6) |  | 4.58 | 3.2 | 12.1 | 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | LABOR RATES: (PART CD, WP 10.0, PG 1) |  | 43.6703 | 50.7228 | 54.6898 | 54.6898 | 46.4362 | 64.1776 | 58.6017 | 54.6898 | 48.0891 | 42.381 | 43.4058 | 46.1056
9 | TOTAL COSTS BY FUNCTION (LINE 7 X LINE 8) |  | 200.0099 | 162.3128 | 661.7463 | 205.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | ENGINEERING AND ADMINISTRATION FEE (SUM LINE 9 COLUMNS) |  | 1229.1556
11 | COMMON OVERHEAD LOADING FACTOR |  | 1.0892
12 | ENGINEERING AND ADMINISTRATION (LINE 10 X LINE 11) |  | 1338.7963
13 | GROSS REVENUE LOADING FACTOR |  | 1.0027
14 | ENGINEERING AND ADMINISTRATION FEE (LINE 12 X LINE 13) |  | 1342.4204
15 | APPLICATION FEE - SOFTWARE UPGRADE |  | 1000
16 | ENGINEERING AND ADMINISTRATION FEE - SOFTWARE UPGRADE |  | 342.4204
(LINE 14 - LINE 15)

## WP 1.4, Virtual - Add'l Cards
PART CD
WORKPAPER 1.4
PAGE 1 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - ADDITIONAL CARDS PER SHELF
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
1 | REVIEW REQUIREMENTS AND DESIGN
| A | RECEIVE APPLICATION, REVIEW FOR COMPLETENESS, AND REQUIREMENTS | 1.5
| B | CREATE / RESOLVE CLLI , GEO, ACTL IDENTIFICATION CODES |  | 0.5
| C | RECEIVE / REVIEW APPLICATION (CLEC DATA, COLLOCATION TYPE) |  |  | 0.5
| D | ANALYZE CLEC REQUIREMENTS (ENTRANCE FACILITIES, SPACE, POWER, SAC) |  |  | 2
| E | DISTRIBUTE APPLICATION |  |  | 0.5
| F | RECEIVE & REVIEW CCR, INITIALIZE JOB, FORWARD QUOTE DOC TO VENDOR |  |  |  | 1
| G | RECEIVE APPLICATION AND ANALYZE OSP REQUIREMENTS
| H | REVIEW OF BUILDING AND SECURITY FEASIBILITY ANALYSIS
| I | RECEIVE, REVIEW AND ANALYZE CCR, CREATE JOB PACKAGE
| J | RECEIVE, REVIEW "FYI" AND ANALYZE R.E. ISSUES
| K | OBTAIN AND ANALYZE EXISTING FLOOR PLAN DATA
2 | SPACE ASSESSMENT
| A | SITE SURVEY
| B | RECEIVE / REVIEW IPOR FROM R.E. AND FORWARD TO WNS |  |  | 0.5
| C | COMPILE AND PROVIDE SITE SURVEY RESULTS TO WNS |  |  | 0.25
| D | IDENTIFY MANHOLE "0", DETERMINE CABLE PATH AND LENGTH TO TRANSITION SPLICE OR COLLOCATION AREA
| E | ANALYZE BUILDING SPACE, COORDINATE BUILDING READY DATE
| F | DEVELOP BUILDINGS PACKAGE
| G | FINALIZE SECURITY PROVISIONS WITH SECURITY CONSULTANT
| H | NOTIFY CLEC OF SITE SURVEY RESULTS AND AVAILABILITY | 1
3 | PREPARATION OF ENGINEERING RECOMMENDATION AND ESTIMATE CASE
| A | PREPARE AND ISSUE ENGINEERING REQUEST |  |  | 1
| B | PREPARE AND FORWARD OSP RESULTS TO LCC
| C | REVIEW AND FINALIZE VENDOR QUOTE |  |  |  | 0.5
| D | ANALYZE SITE SURVEY RESULTS FROM FIELD ENGINEER |  |  |  | 0.5
| E | PRICE JOB AND TEO USING SEPOC |  |  |  | 1
| F | DISTRIBUTE VERIZON SPECIFICATION AND TEO |  |  |  | 0.25
| G | MISCELLANEOUS (RESOLVE TEO / BILLING ISSUES) |  |  |  | 0.5
| H | DEVELOP BUILDING DESIGN AND CONSTRUCTION REQUIREMENTS - SEND TO R.E.
4 | ORDER ADMINISTRATION AND BILLING
| A | QUERY / CREATE BAN, APPLICATION FEE PROCESSING | 1.5
| B | PREPARE AND SUBMIT BILLING FORM |  |  | 0.5
| C | ESTABLISH SPECIAL BILLING NUMBER (SBN) | 0.33
| D | RESOLVE CLAIMS AND COLLECTION ISSUES | 0.25
PART CD
WORKPAPER 1.4
PAGE 2 OF 2
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENGINEERING AND ADMINISTRATION FEE - ADDITIONAL CARDS PER SHELF
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
LINE NO |  | WORK OPERATION | WNS HRS | CNE-R HRS | LCC HRS | CO ENGR HRS | OSP ENGR HRS | COMMON SYSTEMS HRS | IOF TRANS HRS | FE HRS | FOMS HRS | LFACS HRS | REAL ESTATE HRS | SECURITY HRS
5 | PROJECT MANAGEMENT
| A | PROVIDE AND TRACK PLANNING PACKAGE |  |  | 1
| B | ONGOING PROJECT MAINTENANCE (RESPONSIBILITIES, SERVICE DATE, ESCALATION) |  |  | 1.5
| C | DISCUSS MOP, TURN-UP, DOCUMENTATION WITH COLLOCATOR |  |  | 2.25
| D | REVEIVE / REVIEW TEO |  |  | 0.35
| E | REVIEW DATES, REQUIREMENTS, TRAINING, DOCUMENTATION WITH COLLOCATOR |  |  | 2.5
| F | MOP AND / OR SITE VISIT FOR CLEC / VERIZON CHECK LIST
| G | SCHEDULE MEETING WITH CLEC FOR TURNOVER
| H | VERIFY AND UPDATE CLLI / ACTL INFO WITH RESPECT TO JOB CHANGES |  | 2
| I | TRACKING AND REPORTING OF APPLICATION STATUS |  | 0.7
| J | VERIFICATION OF CFA ASSIGNMENTS IN VERIZON OSS SYSTEMS |  | 1
6 | CONTACT MEETING / ACCEPTANCE / MOP / FACILITIES / EQUIP
| A | SITE WALK-THROUGH PRIOR TO JOB CLOSE-OUT & DATABASE UPDATE
| B | ESTABLISH MAINTENANCE / EMERGENCY PROCEDURES |  |  | 1
| C | PROVIDE TIE DOWN INFORMATION (CFA) |  |  | 0.5
| D | REVIEW C.O. RULES
| E | VERIFY DSX LOCATIONS / INPUTS FRAME AND CABLE DATA INTO TIRKS
| F | INPUT CABLE AND FRAME ASSIGNMENTS INTO FOMS | [8 empty] | 2
| G | ESTABLISH CLEC, CABLE ID AND COUNT IN LFACs VIA MYNAH
| H | INPUT CABLE ID AND COUNT INTO LFACS
| I | COLLECTION, SUMMARIZATION, AND DISTRIBUTION OF PRE-ACCEPTANCE AND FINAL CHECK LIST DATA
7 | TOTAL HOURS (SUM LINES 1 THROUGH 6) |  | 4.58 | 4.2 | 14.35 | 3.75 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
8 | LABOR RATES: (PART CD, WP 10.0, PG 1) |  | 43.6703 | 50.7228 | 54.6898 | 54.6898 | 46.4362 | 64.1776 | 58.6017 | 54.6898 | 48.0891 | 42.381 | 43.4058 | 46.1056
9 | TOTAL COSTS BY FUNCTION (LINE 7 X LINE 8) |  | 200.0099 | 213.0356 | 784.7983 | 205.0867 | 0 | 0 | 0 | 0 | 96.1782 | 0 | 0 | 0
10 | ENGINEERING AND ADMINISTRATION FEE (SUM LINE 9 COLUMNS) |  | 1499.1086
11 | COMMON OVERHEAD LOADING FACTOR |  | 1.0892
12 | ENGINEERING AND ADMINISTRATION (LINE 10 X LINE 11) |  | 1632.8291
13 | GROSS REVENUE LOADING FACTOR |  | 1.0027
14 | ENGINEERING AND ADMINISTRATION FEE (LINE 12 X LINE 13) |  | 1637.2491
15 | APPLICATION FEE - ADDITIONAL CARDS PER SHELF |  | 1000
16 | ENGINEERING AND ADMINISTRATION FEE - ADDITIONAL CARDS PER SHELF |  | 637.2491
(LINE 14 - LINE 15)

## WP 1.5 INSTALL & TEST
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
INSTALLATION / ACCEPTANCE TESTING
| (A) | (B) | (C)
LINE NO. | WORK OPERATION | SOURCE | COEI HRS
1 | METHOD OF PROCEDURE IS COMPLETED - EQUIPMENT PLACEMENT SAFETY | COEI | 1
2 | SPECIFICATIONS AND DRAWINGS RECEIVED AND REVIEWED | COEI | 1
3 | RECEIVE MATERIAL AT JOB SITE AND CHECK OFF MATERIAL RECEIVED ON INVOICE SHEET | COEI | 1
4 | UNPACK MATERIALS | COEI | 1
5 | MOUNT AND BOLT THE EQUIPMENT TO THE FRAME | COEI | 3
6 | CONNECT POWER WIRING FROM THE FUSE PANEL IN THE RELAY RACK TO THE EQUIPMENT ITSELF | COEI | 2
PLACE ANY REQUIRED FUSES
7 | ALL CABLES ARE THEN CONNECTED | COEI | 2
8 | CABLES ARE RUN FROM THE EQUIPMENT TO THE ALARM REPORTING CIRCUITRY | COEI | 2
9 | ANY INTERCONNECTION CABLES SPECIFIED BY THE CLEC TO PROVIDE THE SERVICE | COEI | 2
ORDERED ARE CONNECTED TO THE EQUIPMENT (SHELVES ARE INTERCONECTED)
10 | PUT CIRCUIT PACKS-BOARDS IN PLACE | COEI | 1
11 | TEST VIA PORT IN BAY - VOICE, DATA, ALARM, POWER
| A. CONTINUITY OF ALARMS IS TESTED TO ENSURE PROPER SIGNALLING | COEI | 2
12 | OPERATIONAL TESTING CONDUCTED
| A. ANY MANUFACTURER REQUIRED TESTING IS PERFORMED TO ENSURE THAT THE | COEI | 3
EQUIPMENTHAS BEEN PROPERLY INSTALLED. STENCIL INFORMATION ONTO THE
FRAME AND THE EQUIPMENT
13 | UPON COMPLETION OF INSTALLATION, MAKE OUT FINAL REPORTS-FORMS | COEI | 2
14 | TOTAL INSTALLATION AND TESTING HOURS | SUM OF LINES 1 THRU 13 | 23
15 | CENTRAL OFFICE EQUIPMENT INSTALLATION LABOR RATE | PART CD, WP 10.0, PG 1, LINE 16J | 45.4114
16 | INSTALLATION / ACCEPTANCE TESTING EXPENSE | LINE 14 X LINE 15 | 1044.4612
17 | COMMON OVERHEAD FACTOR | PART CD, WP .0, PG 1, LINE 9 | 1.0892
18 | TOTAL INSTALLATION / ACCEPTANCE TESTING EXPENSE | LINE 17 X LINE 18 | 1137.6272
19 | GROSS REVENUE LOADING | PART CD, WP .0, PG 1, LINE 10 | 1.0027
20 | TOTAL INSTALLATION / ACCEPTANCE TESTING COSTS | LINE 18 X LINE 19 | 1140.7067

## WP 2.0 VG C&F TERM
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
VG - IAC CABLE AND FRAME TERMINATION
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | AVERAGE VG CABLE LENGTH (FEET) | ENGINEERING STUDY | 133.3
2 | CABLE COST (PER FT) PER 100 VG | VENDOR MATERIAL PRICE | 0.65
3 | CABLE INVESTMENT PER 100 VG | LINE 1 X LINE 2 | 86.645
4 | MDF FRAME INVESTMENT PER 100 VG | VENDOR MATERIAL PRICE | 113
5 | MDF TERMINATION BLOCK PER 100 VG | VENDOR MATERIAL PRICE | 36.09
6 | TOTAL MATERIAL INVESTMENT PER 100 VG | LINE 3 + LINE 4 + LINE 5 | 235.735
7 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
8A | TOTAL INSTALLED INVESTMENT | LINE 6 X LINE 7 | 361.146
8B | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
8C | NON-RECURRING COST PER 100 VG | LINE 8A X LINE 8B | 390.146
8D | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
8E | TOTAL NONRECURRING COST PER 100 VG | LINE 8C X LINE 8D | 391.2022
9 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
10 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
11 | LAND INVESTMENT | LINE 8A X LINE 9 | 1.0834
12 | BUILDING INVESTMENT | LINE 8A X LINE 10 | 27.0498
13 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
14 | LAND - ANNUAL COST | LINE 11 X LINE 13 | 0.30454
15 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
16 | BUILDING - ANNUAL COST | LINE 12 X LINE 15 | 11.0852
17 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR (EXPENSE ONLY) | PART CD, WP 8.0, PG 1, LINE 4 | 0.10815
18 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 8A X LINE 17 | 39.0587
19 | TOTAL ANNUAL COST | LINE 14 + LINE 16 + LINE 18 | 50.4484
20 | MONTHLY RECURRING COST PER 100 VG | LINE 19 / 12 | 4.204
21 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
22 | MONTHLY COST PER 100 VG | LINE 20 X LINE 21 | 4.5416
23 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
24 | TOTAL MONTHLY COST PER 100 VG | LINE 22 X LINE 23 | 4.5539

## WP 3.0 DS1 C&F TERM
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
DS1 - IAC CABLE AND FRAME TERMINATION
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | AVERAGE DS1 CABLE LENGTH (FEET) | ENGINEERING STUDY | 93.8
2 | CABLE COST (PER FT) PER 28 DS1s | VENDOR MATERIAL PRICE | 0.56
3 | CABLE INVESTMENT PER 28 DS1s | (LINE 1 X LINE 2) X 2 | 105.056
4A | DS1 FRAME INVESTMENT | VENDOR MATERIAL PRICE | 1720
4B | DS1 FRAME CAPACITY | MATERIAL SPECIFICATION | 840
4C | DS1 FRAME INVESTMENT PER 28 DS1s | (LINE 4A / LINE 4 B) X 28 | 57.3333
5A | DS1 TERMINATION PANEL INVESTMENT | VENDOR MATERIAL PRICE | 930.25
5B | DS1 TERMINATION PANEL CAPACITY | MATERIAL SPECIFICATION | 84
5C | DS1 TERMINATION PANEL INVESTMENT PER 28 DS1s | (LINE 5A / LINE 5 B) X 28 | 310.0833
6 | TOTAL MATERIAL INVESTMENT PER 28 DS1s | LINE 3 + LINE 4C + LINE 5C | 472.4727
7 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
8A | TOTAL INSTALLED INVESTMENT | LINE 6 X LINE 7 | 723.8281
8B | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
8C | NONRECURRING COST PER 28 DS1s | LINE 8A X LINE 8B | 781.9515
8D | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
8E | TOTAL NON-RECURRING COST PER 28 DS1s | LINE 8C X LINE 8D | 784.0683
9 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
10 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
11 | LAND INVESTMENT | LINE 8A X LINE 9 | 2.1715
12 | BUILDING INVESTMENT | LINE 8A X LINE 10 | 54.2147
13 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
14 | LAND - ANNUAL COST | LINE 11 X LINE 13 | 0.61037
15 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
16 | BUILDING - ANNUAL COST | LINE 12 X LINE 15 | 22.2176
17 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR (EXPENSE ONLY) | PART CD, WP 8.0, PG 1, LINE 4 | 0.10815
18 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 8A X LINE 17 | 78.2835
19 | TOTAL ANNUAL COST | LINE 14 + LINE 16 + LINE 18 | 101.1114
20 | MONTHLY RECURRING COST PER 28 DS1s | LINE 19 / 12 | 8.426
21 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
22 | MONTHLY COST PER 28 DS1s | LINE 20 X LINE 21 | 9.1026
23 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
24 | TOTAL MONTHLY COST PER 28 DS1s | LINE 22 X LINE 23 | 9.1272

## WP 4.0 DS3 C&F TERM
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
DS3 - IAC CABLE AND FRAME TERMINATION
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | AVERAGE DS3 CABLE LENGTH (FEET) | ENGINEERING STUDY | 95.9
2 | CABLE COST (PER FT) PER DS3 | VENDOR MATERIAL PRICE | 0.27
3 | CABLE INVESTMENT PER DS3 | (LINE 1 X LINE 2) X 2 | 51.786
4A | DS3 FRAME INVESTMENT | VENDOR MATERIAL PRICE | 1466.99
4B | DS3 FRAME CAPACITY | MATERIAL SPECIFICATION | 216
4C | DS3 FRAME INVESTMENT PER DS3 | LINE 4A / LINE 4B | 6.7916
5A | DS3 TERMINATION INVESTMENT | VENDOR MATERIAL PRICE | 3411.04
5B | DS3 TERMINATION PANEL CAPACITY | MATERIAL SPECIFICATION | 24
5C | DS3 TERMINATION PANEL INVESTMENT PER DS3 | LINE 5A / LINE 5B | 142.1267
6 | TOTAL MATERIAL INVESTMENT PER DS3 | LINE 3 + LINE 4C + LINE 5C | 200.7043
7 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
8A | TOTAL INSTALLED INVESTMENT | LINE 6 X LINE 7 | 307.479
8B | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
8C | NONRECURRING COST PER DS3 | LINE 8A X LINE 8B | 332.1695
8D | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
8E | TOTAL NON-RECURRING COST PER DS3 | LINE 8C X LINE 8D | 333.0687
9 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
10 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
11 | LAND INVESTMENT | LINE 8A X LINE 9 | 0.92244
12 | BUILDING INVESTMENT | LINE 8A X LINE 10 | 23.0302
13 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
14 | LAND - ANNUAL COST | LINE 11 X LINE 13 | 0.25928
15 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
16 | BUILDING - ANNUAL COST | LINE 12 X LINE 15 | 9.4379
17 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR (EXPENSE ONLY) | PART CD, WP 8.0, PG 1, LINE 4 | 0.10815
18 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 8A X LINE 17 | 33.2545
19 | TOTAL ANNUAL COST | LINE 14 + LINE 16 + LINE 18 | 42.9517
20 | MONTHLY RECURRING COST PER DS3 | LINE 19 / 12 | 3.5793
21 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
22 | MONTHLY COST PER DS3 | LINE 20 X LINE 21 | 3.8667
23 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
24 | TOTAL MONTHLY COST PER DS3 | LINE 22 X LINE 23 | 3.8772

## WP 5.0 FIBER C&F TERM
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
FIBER - IAC CABLE AND FRAME TERMINATION
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | INVESTMENT FOR 100 FT OF 12 FIBER CABLE | VENDOR MATERIAL PRICE | 655.48
2A | FDF INVESTMENT | VENDOR MATERIAL PRICE | 896.96
2B | FDF CAPACITY | MATERIAL SPECIFICATION | 648
2C | FDF INVESTMENT PER 12 FIBERS | (LINE 2A / LINE 2B) X 12 | 16.6104
3A | FDF TERMINATION SHELF INVESTMENT | VENDOR MATERIAL PRICE | 781
3B | FDF TERMINATION SHELF CAPACITY | MATERIAL SPECIFICATION | 72
3C | FDF SHELF INVESTMENT PER 12 FIBERS | (LINE 3A / 3B) X 12 | 130.1667
4 | TOTAL MATERIAL INVESTMENT PER 12 FIBERS | LINE 1 + LINE 2C + LINE 3C | 802.257
5 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
6A | TOTAL INSTALLED INVESTMENT | LINE 4 X LINE 5 | 1229.0578
6B | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
6C | TOTAL NONRECURRING COST PER 12 FIBERS | LINE 6A X LINE 6B | 1327.7511
6D | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
6E | NONRECURRING COST PER 12 FIBERS | LINE 6C X LINE 6D | 1331.3453
7 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
8 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
9 | LAND INVESTMENT | LINE 6A X LINE 7 | 3.6872
10 | BUILDING INVESTMENT | LINE 6A X LINE 8 | 92.0564
11 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
12 | LAND - ANNUAL COST | LINE 9 X LINE 11 | 1.0364
13 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
14 | BUILDING - ANNUAL COST | LINE 10 X LINE 13 | 37.7254
15 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR (EXPENSE ONLY) | PART CD, WP 8.0, PG 1, LINE 4 | 0.10815
16 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 6A X LINE 15 | 132.9251
17 | TOTAL ANNUAL COST | LINE 12 + LINE 14 + LINE 16 | 171.6868
18 | MONTHLY RECURRING COST PER 12 FIBERS | LINE 17 / 12 | 14.3072
19 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
20 | MONTHLY COST PER 12 FIBERS | LINE 18 X LINE 19 | 15.4561
21 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
22 | TOTAL MONTHLY COST PER 12 FIBERS | LINE 20 X LINE 21 | 15.4979

## WP 6.0 ASA TO FDF
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
ENTRANCE FIBER TERMINATION CHARGE - ASA TO FDF
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | FIBER DISTRIBUTION PANEL (W / STUB) | VENDOR MATERIAL PRICE | 2044
2 | FIBER SPLICE CABINET | VENDOR MATERIAL PRICE | 228.56
3 | FIBER SPLICE TRAY INVESTMENT | VENDOR MATERIAL PRICE | 118.95
4 | FDF BAY INVESTMENT PER 72 FIBERS | PART CD, WP 5.0, PG 1, LINE 2C X 6 | 99.6622
5 | TOTAL MATERIAL INVESTMENT ("72" FIBERS) | LINE 1 + LINE 2 + LINE 3 + LINE 4 | 2491.1722
6 | FIBER ARRANGEMENT | ARRANGEMENT OFFERING | 12
7 | TOTAL MATERIAL INVESTMENT PER 12 FIBERS | LINE 5 / LINE 6 | 207.5977
8 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
9 | TOTAL INSTALLED INVESTMENT | LINE 7 X LINE 8 | 318.0397
10 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
11 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
12 | LAND INVESTMENT | LINE 9 X LINE 10 | 0.95412
13 | BUILDING INVESTMENT | LINE 9 X LINE 11 | 23.8212
14 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
15 | LAND - ANNUAL COST | LINE 12 X LINE 14 | 0.26819
16 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
17 | BUILDING - ANNUAL COST | LINE 13 X LINE 16 | 9.7621
18 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 3 | 0.3103
19 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 9 X LINE 18 | 98.6893
20 | TOTAL ANNUAL COST | LINE 15 + LINE 17 + LINE 19 | 108.7196
21 | MONTHLY RECURRING COST PER 12 FIBERS | LINE 20 / 12 | 9.06
22 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
23 | MONTHLY COST PER 12 FIBERS | LINE 21 X LINE 22 | 9.7875
24 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
25 | TOTAL MONTHLY COST ENTRANCE TERM PER 12 FIBERS | LINE 23 X LINE 24 | 9.814

## WP 7.0 FDF TO VSA
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
FIBER DISTRIBUTION FRAME - FDF TO VIRTUAL SERVING ARRANGEMENT
LINE NO. | ITEM | SOURCE | DATA
1 | QUAD FIBER JUMPER CABLE - PER FOOT | VENDOR MATERIAL PRICE | 1.4
2 | INVESTMENT PER 2 FIBERS | LINE 1 / 2 | 0.7
3 | AVERAGE CABLE LENGTH | ENGINEERING ESTIMATE | 100
4 | TOTAL MATERIAL INVESTMENT FOR 2 FIBERS | LINE 2 X LINE 3 | 70
5 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
6 | TOTAL INSTALLED INVESTMENT | LINE 4 X LINE 5 | 107.24
7 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
8 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
9 | LAND INVESTMENT | LINE 6 X LINE 7 | 0.32172
10 | BUILDING INVESTMENT | LINE 6 X LINE 8 | 8.0323
11 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
12 | LAND - ANNUAL COST | LINE 9 X LINE 11 | 0.09043
13 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
14 | BUILDING - ANNUAL COST | LINE 10 X LINE 13 | 3.2917
15 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 3 | 0.3103
16 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 6 X LINE 15 | 33.2771
17 | TOTAL ANNUAL COST | LINE 12 + LINE 14 + LINE 16 | 36.6592
18 | MONTHLY RECURRING COST PER 2 FIBERS | LINE 17 / 12 | 3.0549
19 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
20 | MONTHLY COST PER 2 FIBERS | LINE 18 X LINE 19 | 3.3002
21 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
22 | TOTAL MONTHLY COST FDF PER 2 FIBERS | LINE 20 X LINE 21 | 3.3092

## WP 8.0 EQUIP SUPPORT-SPARE CAB
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
EQUIPMENT SUPPORT - SPARE CABINET CHARGES
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
1 | EQUIPMENT BAY MATERIAL INVESTMENT | VENDOR MATERIAL PRICE | 722.75
2 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | PART CD, WP 8.0, PG 1, LINE 7 | 1.532
3 | TOTAL INSTALLED INVESTMENT - 1/2 EQUIPMENT BAY | (LINE 1 X LINE 2) / 2 | 553.6265
4 | LAND INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 5 | 0.003
5 | BUILDING INVESTMENT FACTOR | PART CD, WP 8.0, PG 1, LINE 6 | 0.0749
6 | LAND INVESTMENT | LINE 3 X LINE 4 | 1.6609
7 | BUILDING INVESTMENT | LINE 3 X LINE 5 | 41.4666
8 | LAND - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 1 | 0.28108
9 | LAND - ANNUAL COST | LINE 6 X LINE 8 | 0.46684
10 | BUILDING - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 2 | 0.40981
11 | BUILDING - ANNUAL COST | LINE 7 X LINE 10 | 16.9933
12 | DIGITAL CIRCUIT OTHER - ANNUAL COST FACTOR | PART CD, WP 8.0, PG 1, LINE 3 | 0.3103
13 | DIGITAL CIRCUIT OTHER - ANNUAL COST | LINE 3 X LINE 12 | 171.7931
14 | TOTAL ANNUAL COST | LINE 9 + LINE 11 + LINE 13 | 189.2532
15 | MONTHLY RECURRING COST | LINE 14 / 12 | 15.7711
16 | COMMON OVERHEAD FACTOR | PART CD, WP 8.0, PG 1, LINE 8 | 1.0803
17 | MONTHLY COST PER 1/2 EQUIPMENT BAY | LINE 15 X LINE 16 | 17.0375
18 | GROSS REVENUE LOADING | PART CD, WP 8.0, PG 1, LINE 10 | 1.0027
19 | MONTHLY COST PER 1/2 EQUIPMENT BAY | LINE 17 X LINE 18 | 17.0836
20 | TOTAL MONTHLY COST PER SQUARE FOOT | PART CA, WP 3.0, LN 15 | 4.0204
21 | TOTAL MONTHLY COST PER BAY | Line 20 X 7 | 28.143
22 | MONTHLY FLOOR COSTS PER SPARE CABINET | LINE 21 / 2 | 14.0715
23 | TOTAL MONTHLY COSTS - 1/2 EQUIPMENT BAY "PLUS" | LINE 19 + LINE 22 | 31.1552
ASSOCIATED FLOOR SPACE

## WP 9.0 FACTORS
VIRTUAL COLLOCATION
VERIZON MASSACHUSETTS
FACTORS
| (A) | (B) | (C)
LINE NO. | ITEM | SOURCE | DATA
ANNUAL COST FACTOR
1 | LAND - ACCOUNT 2111 - FRC 20C | VCOST | 0.28108
2 | BUILDING - ACCOUNT 2121 - FRC 13C | VCOST | 0.40981
3 | DIGITAL CIRCUIT OTHER - ACCOUNT 2232.19 - FRC 357C | VCOST | 0.3103
4 | ADJUSTED DIGITAL CIRCUIT OTHER - FRC 357C | VCOST | 0.10815
(EXPENSE ONLY)
OTHER FACTORS
5 | LAND INVESTMENT FACTOR | VCOST | 0.003
6 | BUILDING INVESTMENT FACTOR | VCOST | 0.0749
7 | DIGITAL CIRCUIT OTHER INSTALLATION FACTOR - 357C | VCOST | 1.532
8 | COMMON OVERHEAD FACTOR | VCOST | 1.0803
9 | COMMON OVERHEAD FACTOR - LABOR ONLY | VCOST | 1.0892
10 | GROSS REVENUE LOADING | VCOST | 1.0027

## WP 10.0, Labor Rates
VERIZON MASSACHUSETTS
DIRECTLY ASSIGNED LABOR RATES
| Labor Trend Factor (ltf) = | 1.04
| At Interest Rate of: | 12.6%
| Present Worth Factor year1 (pwf1) = | 0.8881
| Present Worth Factor year2 (pwf2) = | 0.78872
| 2-year Annuity Factor (apf) = | 0.59637
Line | Functional Organization | Job Function Code (JFC) | Current Labor Rate (Hourly) | Trended Labor Rate Year 1 | Trended Labor Rate Year 2 | Present Worth Labor Rate Year1 | Present Worth Labor Rate Year2 | Sum of Present Worth Labor Rates | Levelized Labor Rate (Hourly)
A | B | C | D | E=(D*ltf)*ltf | F=E*ltf | G=E*pwf1 | H=F*pwf2 | I=G+H | J=I*apf
1 | RISK MANAGEMENT | 0920 | 61.37 | 66.3778 | 69.0329 | 58.9501 | 54.4477 | 113.3978 | 67.6267
2 | SECURITY | 0900 | 41.84 | 45.2541 | 47.0643 | 40.1902 | 37.1206 | 77.3108 | 46.1056
3 | LFACS - IS MANAGER | 1550 | 58.98 | 63.7928 | 66.3445 | 56.6543 | 52.3273 | 108.9816 | 64.993
4 | WHOLESALE NETWORK SERVICES | 2303 | 39.63 | 42.8638 | 44.5784 | 38.0673 | 35.1599 | 73.2272 | 43.6703
5 | CUSTOMER NETWORK ENGINEERING - REG | 3111 | 46.03 | 49.786 | 51.7775 | 44.215 | 40.838 | 85.0529 | 50.7228
6 | SPACE/FRAME ENGINEERING | 3121 | 58.24 | 62.9924 | 65.5121 | 55.9435 | 51.6707 | 107.6142 | 64.1776
7 | LOCAL COLLOCATION COORDINATOR | 3170 | 49.63 | 53.6798 | 55.827 | 47.673 | 44.0319 | 91.7049 | 54.6898
8 | CO FIELD ENGINEERING | 3170 | 49.63 | 53.6798 | 55.827 | 47.673 | 44.0319 | 91.7049 | 54.6898
9 | CENTRAL OFFICE ENGINEERING | 3170 | 49.63 | 53.6798 | 55.827 | 47.673 | 44.0319 | 91.7049 | 54.6898
10 | LFACS - OSPE STAFF | 324D | 52.11 | 56.3622 | 58.6167 | 50.0552 | 46.2322 | 96.2874 | 57.4226
11 | OUTSIDE PLANT ENGINEERING | 3250 | 42.14 | 45.5786 | 47.4018 | 40.4784 | 37.3868 | 77.8651 | 46.4362
12 | INTEROFFICE FACILITIES ENGINEERING | 3380 | 53.18 | 57.5195 | 59.8203 | 51.083 | 47.1815 | 98.2645 | 58.6017
13 | LFACS - OSPE ASSOCIATE | 4000 | 38.46 | 41.5983 | 43.2623 | 36.9435 | 34.1218 | 71.0653 | 42.381
14 | SWITCH/FOMS | 40TN | 43.64 | 47.201 | 49.0891 | 41.9192 | 38.7176 | 80.6368 | 48.0891
15 | OSP CONSTRUCTION | 4220 | 35.64 | 38.5482 | 40.0902 | 34.2347 | 31.6199 | 65.8546 | 39.2735
16 | CO EQUIPMENT INSTALLATION | 4300 | 41.21 | 44.5727 | 46.3556 | 39.585 | 36.5617 | 76.1467 | 45.4114
17 | CO WIRING - FRAME TECHNICIAN | 4350 | 39.86 | 43.1126 | 44.8371 | 38.2883 | 35.3639 | 73.6522 | 43.9237
18 | CO SWITCH SERVICES ENGINEERING | 43TA | 65.3 | 70.6285 | 73.4536 | 62.7251 | 57.9344 | 120.6595 | 71.9573
19 | CORPORATE REAL ESTATE MANAGER | SG 3 | 49.4 | 53.431 | 55.5683 | 47.4521 | 43.8279 | 91.2799 | 54.4363
20 | CORPORATE REAL ESTATE ENGINEERING | SG 4 | 39.39 | 42.6042 | 44.3084 | 37.8368 | 34.9469 | 72.7837 | 43.4058