Attestation Statement

Life Safety Code Attestation for Exempt ESRD Facilities

Facility Name: ___________________________________________________

CMS six digit provider number:  22 __ __ __ __

Facility Address: _________________________________________________

(Check which applies to your facility either “exemption claimed” or “exemption not claimed”.)

On behalf of the Facility, I attest to the following

□ Exemption Claimed to chapters 20 and 21 of the NFPA 101 LSC, 2000 Edition as the facility meets the following two conditions.

The above named facility provides one or more exits to the outside at grade level from the patient treatment area level.  (Note that the patients’ exit path from the treatment area may include an accessibility ramp that complies with the American Disabilities Act (ADA));

And,

The above named facility is not adjacent to a high hazardous occupancy.  (Note:  This type of occupancy is defined in NFPA 101, 2000 Edition at A.3.3.134.8.2 as “occupancies where gasoline and other flammable liquids are handled, used, or stored under such conditions that involve possible release of flammable vapors; where grain dust, wood flour, or plastic dusts, aluminum or magnesium dust, or other explosives are manufactured, stored, or handled; where cotton or other combustible fibers are processed or handled under conditions that might produce flammable flyings; and where other situations of similar hazard exist.”)

□  Exemption not claimed:

The above named facility does not provide one or more exits to the outside at grade level from the patient treatment area level.

Or,

The above named facility is adjacent to a high hazardous occupancy.

I attest on behalf of the Facility that the above checked information accurately reflects the condition for the abovementioned facility as of the date signed. The facility agrees to notify CMS if there are any changes that would cause the facility to no longer meet the exemption requirements.

_______________________________________	 ___________________

Signature of Facility Administrator			Date

Being “adjacent” means an ESRD facility that shares a common wall, floor, or ceiling.