The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700

Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

November 9, 2021

James M. Cummings, Sheriff

Barnstable County Correctional Facility

6000 Sheriff’s Place

Bourne, MA 02532		(electronic copy)

Re: Facility Inspection - Barnstable County Correctional Facility, Bourne

Dear Sheriff Cummings:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Barnstable County Correctional Facility on November 2, 2021 accompanied by Lieutenant Ken Shaffer. Violations noted during the inspection are listed below including 28 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Nicholas Gale

Environmental Analyst, CSP, BEH

cc: 	Margret R. Cooke, Acting Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Robert Ahonen, Superintendent							(electronic copy)

Terri Guarino, RS, Health Agent, Bourne Board of Health 				(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entrance

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Administration Area

Staff Break Room

No Violations Noted

Fitness Room

No Violations Noted

Female Locker Room

No Violations Noted

Male Locker Room

No Violations Noted

House 1

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in main hallway

Triage

No Violations Noted

Pod A				Empty – No Inmates Housed

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Interview Room

No Violations Noted

Storage

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall tile grout dirty in shower # 1 and 2

Day Room Shower – 1st Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

No Violations Noted

Pod B	Empty – No Inmates Housed

Main Area

No Violations Noted

Storage Room

No Violations Noted

Staff Bathroom

No Violations Noted

Multi-Use Room

No Violations Noted

Interview Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on floor outside showers

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

No Violations Noted

Pod B/C Bubble

Staff Bathroom

No Violations Noted

Pod C	Empty – No Inmates Housed

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Storage

No Violations Noted

Multi-Use Room

No Violations Noted

Interview Room

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

Day Room Shower – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123	Maintenance: Orange staining on floor in shower # 1, 2, and 3

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 21 and 23

Recreation Area

No Violations Noted

House 2

Main Hallway

Triage Room

No Violations Noted

Pod D

Main Area

No Violations Noted

Storage Room

No Violations Noted

Shower – 1st Floor

105 CMR 451.123	Maintenance: Floor coving damaged

Janitor’s Closet – 1st Floor

No Violations Noted

Shower – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

No Violations Noted

D/E Corridor

Staff Bubble

No Violations Noted

Staff Bathroom

No Violations Noted

Triage

No Violations Noted

Storage

No Violations Noted

Pod E

Main Area

No Violations Noted

Storage Room

No Violations Noted

Shower – 1st Floor

No Violations Noted

Day Room Shower

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

No Violations Noted

Pod F

Main Area

No Violations Noted

Storage

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Debris on the floor

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside-down

Cells

No Violations Noted

Recreation Area

No Violations Noted

F/G Bubble

No Violations Noted

Staff Bathroom

No Violations Noted

Pod G

Main Area

No Violations Noted

Storage Closet

No Violations Noted

Shower – 1st Floor

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

Janitor’s Closet – 1st Floor

No Violations Noted

Shower – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink faucet leaking

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 7

105 CMR 451.103	Mattresses: Mattress damaged in cell # 4

Recreation Area

No Violations Noted

Pod H – Closed (No Inmates Housed)

Main Area

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Shower – 1st Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Shower – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

105 CMR 451.353	Interior Maintenance: Wet mop stored upside-down

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

No Violations Noted

House 3

Main Hallway

Triage Room

No Violations Noted

PRC Corridor

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight

Pod J

Main Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom

No Violations Noted

Storage Closet

No Violations Noted

Showers – 1st Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Wall tile grout damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall tile grout moldy in shower # 2

Janitor’s Closet – 2nd Floor

105 CMR 451.353	Interior Maintenance: Wet mop stored upside-down

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Wall surface damaged near door in cell # 24

105 CMR 451.353	Interior Maintenance: Wall surface damaged near door in cell # 30

Recreation Area

No Violations Noted

Pod K

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Closet

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Wall stained in shower # 1

105 CMR 451.123	Maintenance: Floor dirty in shower # 2

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.103	Mattresses: Mattress damaged in cell # 33

Recreation Area

No Violations Noted

Pod L

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Storage

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

Recreation Area

105 CMR 451.344	Illumination in Habitable Areas: Lights not functioning properly, light out

Pod M

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Closet

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Wall tile grout moldy in shower # 1

Janitor’s Closet – 1st Floor

105 CMR 451.353	Interior Maintenance: Wet mop stored in slop sink

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Orange staining on floor in shower # 2 and 3

105 CMR 451.123	Maintenance: Wall tile grout moldy in shower # 3

Janitor’s Closet – 2nd Floor

Unable to Inspect – Lock Not Working

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Light shield dirty in cell # 15, 28, and 32

Recreation Area

No Violations Noted

Food Service

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Staff Dining

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed in the milk dispensing nozzles

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, external temperature gauge not working properly on the Midnight Food Cooler

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, Midnight Food Cooler gaskets dirty

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior of microwave oven dirty

Kitchen

Staff Bathroom # 121

No Violations Noted

Inmate Bathroom # 122

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling dirty

Pots and Pans Storage

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, drying racks dirty

Handwash Sink (near Pots and Pans Storage)

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink faucet loose

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, sink does not drain appropriately

Ice Machine

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Handwash Sink (near Ice Machine)

No Violations Noted

Chemical Closet # SV123

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, debris left in slop sink

Tool Room # SV119

No Violations Noted

Handwash Sink (near # SV124)

No Violations Noted

Spice Rack

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, appearance of flour residue covering the exterior of food containers while stored on rack

Walk-In Freezer

No Violations Noted

Cooler # 1

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, hot dogs left uncovered

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, prepared rice left uncovered

Cooler # 2

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, cooler fans dirty

2-Compartment Sink Area

No Violations Noted

Prep Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, oven handles dirty

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior and exterior of oven doors dirty

FC 3-304.14(B)(1) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Wet cloth not stored in sanitizer solution

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty under kettles and water boiling unit

FC 4-202.11(A)(2)	Design and Construction; Cleanability: Multiuse food contact surface not free of breaks, open seams, cracks, chips, inclusions, pits, and similar imperfectionsPf, kettle stirring utensil not easily cleanable

True Cooler

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises

True Warming Units

No Violations Noted

Tool Closet # SV 129

No Violations Noted

Dry Storage # SV126

No Violations Noted

Dry Storage # SV125

No Violations Noted

Inmate Break Area

No Violations Noted

Dishwashing Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf

FC 4-302.13	Numbers and Capacities, Utensils, Temperature Measuring Devices, and Testing Devices: No irreversible registering temperature measuring device readily accessible to measure the surface temperature of the utensilPf

Loading Dock

No Violations Noted

Warehouse

Bathroom

No Violations Noted

Laundry

Inmate Bathroom

No Violations Noted

Office

No Violations Noted

Storage

No Violations Noted

Visiting

No Violations Noted

Programs

Female Bathroom # PR127

No Violations Noted

Male Bathroom # PR126

105 CMR 451.123	Maintenance: Debris on floor

Offices

No Violations Noted

Education

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Inmate Bathroom # PR117

No Violations Noted

Inmate Bathroom # PR116

No Violations Noted

H.S.U.

Medical Waste

No Violations Noted

Inmate Bathroom # 138

No Violations Noted

Exam Room # 136

No Violations Noted

Lab # 135

No Violations Noted

Watch Cell # 134

No Violations Noted

Janitor’s Closet # 133

No Violations Noted

Biohazard Closet # 132

No Violations Noted

Storage Closet # 131

No Violations Noted

Storage Closet # 130

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Exam Room # 128

No Violations Noted

Medical Records # 127

No Violations Noted

Conference Room # 125

No Violations Noted

Dental Suite # 124

No Violations Noted

Storage # 123

No Violations Noted

Mental Health # 122

No Violations Noted

Offices # 117

No Violations Noted

Medical Cart Storage # 116

No Violations Noted

Equipment Storage # 115

No Violations Noted

Female Staff Bathroom # 113

No Violations Noted

Male Staff Bathroom # 111

No Violations Noted

Booking/Intake

Holding Cells 112-114

No Violations Noted

Count Office # IN116

No Violations Noted

Records # IN111

No Violations Noted

Property # 118

No Violations Noted

Male Release Dressout # 122

No Violations Noted

Female Release Dressout # 121

No Violations Noted

Search Showers # 123 and 124

No Violations Noted

Female Staff Bathroom # 119

No Violations Noted

Officer’s Area

No Violations Noted

Janitor’s Closet # 132

No Violations Noted

Triage # 128

No Violations Noted

Male Staff Bathroom # 127

No Violations Noted

Office # 125

No Violations Noted

Male Inmate Bathroom # 134

No Violations Noted

Female Inmate Bathroom # 151

No Violations Noted

Staff Bathroom # 145

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom # 147

No Violations Noted

Holding Cells # 135 - 137

No Violations Noted

Transportation Office

No Violations Noted

Wood Shop

No Violations Noted

Print Shop

Staff Bathroom # 158

No Violations Noted

Inmate Bathroom # 159

No Violations Noted

Observations and Recommendations

- The inmate population was 182 at the time of inspection.

- At the time of inspection:

  - The Department recommended that all showers be identified with a numbering system. This will assist the Department and correctional employees to better recognize where issues exist; and

  - The warewash machine in the Kitchen did not reach the appropriate temperature to properly sanitize trays. As an interim measure, the CSP recommended that the Kitchen staff use disposable (or Styrofoam) trays until repairs can be made.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Analyst, CSP, BEH