The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA  01060

Telephone: 413-586-7525

Fax: 413-784-1037 TTY: (800)-769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, M.D. SECRETARY JOHN AUERBACH COMMISSIONER

January 19, 2012

Donald J. Levesque, Superintendent

Bay State Correctional Center

28 Clark Street

Norfolk, MA 02056

Re: Facility Inspection

Dear Superintendent Levesque:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Bay State Correctional Center on January 18, 2012 accompanied by Jeff Gonsalves, EHSO. Violations noted are listed below

(* indicates conditions documented on previous inspection reports).

CONTROL

Waiting Area

No Violations Noted

Vending Area

105 CMR 451.350*	Structural Maintenance: Floor tile damaged behind vending machine

Women’s Room

Unable to Inspect - In use

Men’s Room

No Violations Noted

Locker Room/Role Call

No Violations Noted

Chemical Closet

No Violations Noted

VISITOR’S BUILDING

Visiting Area

No Violations Noted

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Supply Room

No Violations Noted

Staff Bathroom

No Violations Noted

Strip Search Area

No Violations Noted

Janitorial Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MODULAR UNITS

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

2nd Floor

West Bathroom

No Violations Noted

West Rooms

105 CMR 451.350	Structural Maintenance: Cove molding damaged

Laundry

105 CMR 451.353	Interior Maintenance: Dryer vent is disconnected

105 CMR 451.346	Safe Wiring: GFI not operable

Janitor’s Room

105 CMR 451.353	Interior Maintenance: Loose cove molding

Supplies

105 CMR 451.353	Interior Maintenance: Damaged floor tile

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Standing water left under the water cooler

105 CMR 451.353	Interior Maintenance: Broken toaster oven handle

East Bathroom

105 CMR 451.123*	Maintenance: Shower floors damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor cracked in toilet area

East Rooms

No Violations Noted

Laundry

No Violations Noted

Staff Storage

No Violations Noted

Electrical Room

No Violations Noted

1st Floor

Vending Area

No Violations Noted

West Bathroom

105 CMR 451.123	Maintenance: Damaged cove molding

105 CMR 451.346	Safe Wiring: Ground plug missing on buffer model # 1ANZ7A

West Rooms

No Violations Noted

Slop Sink

No Violations Noted

Supply

No Violations Noted

Laundry

105 CMR 451.346	Safe Wiring: Two fans with missing ground plugs

Common Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Dirty toaster oven

105 CMR 451.353*	Interior Maintenance: Standing water in water cooler tray

East Bathroom

105 CMR 451.130	Hot Water: Shower side hand sink # 2 water temperature recorded at 570F

105 CMR 451.123	Maintenance: Shower side hand sink # 1 not operable

East Rooms

No Violations Noted

Laundry

No Violations Noted

Storage

No Violations Noted

Barber Shop

No Violations Noted

MAIN HOUSING

3rd Floor

South Bathroom

105 CMR 451.123	Maintenance: Missing control handle in shower # 4

105 CMR 451.123	Maintenance: Wall by mirror not easily cleanable

South Rooms

No Violations Noted

Janitor’s Closet

No Violations Noted

Common Area

No Violations Noted

North Bathroom

Unable to Inspect – In Use

North Rooms

No Violations Noted

Slop Sink Room

No Violations Noted

Central Rooms

No Violations Noted

Central Corridor

105 CMR 451.353*	Interior Maintenance: Standing water under water cooler

2nd Floor

South Bathroom

No Violations Noted

South Rooms

No Violations Noted

Janitor’s Closet

No Violations Noted

Common Area

105 CMR 451.346	Safe Wiring: Fan with missing ground plug model # 4C154F

North Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Missing control handle in shower # 3

Slop Sink Room

No Violations Noted

North Rooms

105 CMR 451.103	Mattresses: Mattress damage in cell # 217

Central Rooms

No Violations Noted

Central Corridor

No Violations Noted

Library

No Violations Noted

Supply Closet

No Violations Noted

1st Floor

Entrance

No Violations Noted

South Bathroom

105 CMR 451.123	Maintenance: Floor tile missing in shower # 4

Janitor’s Closet

No Violations Noted

Common Area

No Violations Noted

North Bathroom

No Violations Noted

North Rooms

No Violations Noted

Slop Sink

No Violations Noted

Central Rooms

No Violations Noted

Central Corridor

105 CMR 451.353*	Interior Maintenance: Standing water under water cooler

Gym

Weight Room

105 CMR 451.353	Interior Maintenance: Most weight equipment has cracked seat padding

ADMINISTRATION BUILDING

Kitchen

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Dirty can opener

FC 60501.12(A) 	Cleaning: Floor dirty behind fryer

Dry Goods

No Violations Noted

Dining Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

1st Floor

HSU

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Dirty microwave oven

Bathroom

No Violations Noted

Women’s Staff Bathroom

No Violations Noted

Men’s Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Med Room

No Violations Noted

Dental Office

No Violations Noted

Inner Control

No Violations Noted

Administrative Area

No Violations Noted

Basement

Laundry

No Violations Noted

Dry Goods

No Violations Noted

2nd Floor

Women’s Room

Unable to Inspect - In use

Men’s Room

No Violations Noted

Staff Break Room

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

Observations and Recommendations

- The inmate population was 325 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter A. Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Jeff Gonsalves, EHSO

Norfolk Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS