The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 21, 2010

Michael Corsini, Superintendent

Bay State Correctional Center

28 Clark Street

Norfolk, MA 02056

Re: Facility Inspection

Dear Superintendent Corsini:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bay State Correctional Center on January 20, 2010 accompanied by Jeff Gonsalves, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

CONTROL

Vending Area

No Violations Noted

Women’s Room

105 CMR 451.126	Hot Water: Hot water temperature 690F

Men’s Room

No Violations Noted

Locker Room

105 CMR 451.350	Structural Maintenance: Baseboard damage

Role Call Room

No Violations Noted

VISITOR’S BUILDING

Bathrooms

No Violations Noted

Supply Room

No Violations Noted

Staff Bathroom

No Violations Noted

Visiting Area

FC 3-501.18(C)			Temperature and Time Control: Expired sandwiches in vending machine

MODULAR UNITS

105 CMR 451.320	Cell Size: Inadequate floor space

Second Floor

West Bathroom

105 CMR 451.123	Maintenance: Soap scum on shower walls

105 CMR 451.123	Maintenance: Paint peeling on shower walls

105 CMR 451.123	Maintenance: Standing water on floor

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: Electric hand dryer out of order

Rooms

105 CMR 451.350	Structural Maintenance: Ceiling damage in M230

Laundry

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in 2B

East Bathroom

Under Construction

Day Room

No Violations Noted

First Floor

West Bathroom

105 CMR 451.123	Maintenance: Floor damaged in showers

105 CMR 451.126	Hot Water: Hot water temperature 1050F

105 CMR 451.130	Hot Water: Shower water temperature 920F

105 CMR 451.123	Maintenance: How water doesn’t work in shower #2

Common Area

105 CMR 451.353*	Interior Maintenance: Standing water in tray

105 CMR 451.350	Structural Maintenance: Baseboard damage

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Slop Sink Room

No Violations Noted

Laundry

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, washer leaking in L1

105 CMR 451.350*	Structural Maintenance: Wall not finished behind washers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipes behind the washer leak when laundry upstairs is being done in L2

East Bathroom

No Violations Noted

Barber Shop

No Violations Noted

MAIN HOUSING

Third Floor

South Bathroom

105 CMR 451.123*	Maintenance: Tiles need grouting

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

No Violations Noted

Common Area

No Violations Noted

North Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Showers dirty, possible mold growth

105 CMR 451.123*	Maintenance: Tiles need grouting

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Floor damage

Second Floor

South Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Ceiling rusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal leaks

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Common Area

No Violations Noted

North Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Possible mold growth in showers

First Floor

South Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in shower #

105 CMR 451.123	Maintenance: Slimy build-up on shower walls

105 CMR 451.123	Maintenance: Ceiling rusty

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Ceiling damage

Common Area

105 CMR 451.353	Interior Maintenance: Standing water in fountain tray

North Bathroom

Unable to inspect

ADMINISTRATION BUILDING

Kitchen

FC 2-301.15	Personal Cleanliness; Hands and Arms: No designated handwash sink, handwash sink broken near the serving line

FC 3-701.11(A)	Contaminated Food, Disposition: Unsafe, adulterated, or not honestly presented food not properly reconditioned or discarded, moldy lemons in the right walk in

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in left walk in cooler dusty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered, paper plates

FC 5-202.12(A)	Plumbing System, Design: Serving line sink water temperature recorded at 1420F

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	four/sugar bins have old product on the bottom of the bins

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Slime build-up observed on interior	surfaces of ice machine

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	interior of victory refrigerator has food build-up inside

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty food product left on the equipment

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop not stored properly in chicken base

FC 5-203.14	Plumbing System, Design: No backflow prevention device on back sink

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered, exposed silverware in dry goods area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold growth on condensation lines on the ceiling, in dry goods

Inmate Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

First Floor

HSU

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 640F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Dental Office

No Violations Noted (see observations and recommendations)

Women’s Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature 1050F

Men’s Staff Bathroom

No Violations Noted

Inmate Bathroom

In Use

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Administrative Wing

No Violations Noted

Basement

Laundry Room

No Violations Noted

Dry Good Storage

No Violations Noted

Second Floor

Women’s Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Staff Break Room

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Observations and Recommendations

- Did not inspect Gym

- Dishwasher is not working in the kitchen, they are utilizing paper plates and the 3 bay to clean the utensils, the necessary part was ordered for the dishwasher and should be installed within the week

- Radiation certificate has expired in dental office

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Jeff Gonsalves, EHSO

Norfolk Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Kevin M. Burke, EOPS