| CHARLES D. BAKER Governor KARYN E. POLITO Lt. Governor | The Commonwealth of Massachusetts Executive Office of Public Safety and Security One Ashburton Place, Room 2133 Boston, Massachusetts 02108 Tel: (617) 727-7775 TTY Tel: (617) 727-6618 Fax: (617) 727-4764 www.mass.gov/eops | DANIEL BENNETT Secretary |
| --- | --- | --- |

Meeting Minutes

Building Code Coordinating Council (BCCC)

One Ashburton Place, Boston MA 02108

21st Floor, Conference Room 2

April 21, 2016

1:00PM – 4:00PM

- Welcome

- Roll Call:

| - Jennifer Queally Co-Chair (JQ) EOPSS | Present | Absent |
| --- | --- | --- |
| - Liz Minnis Co-Chair (LM) EOAF | Present | Absent |
| - Ian Finlayson (IF) EOEEA | Present | Absent |
| - Matt Carlin (MC) DPS | Present | Absent |
| - William Miller (WM) DHCD | Present | Absent |
| - Anthony Caputo (AC) BFPR | Present | Absent |
| - Jennifer Hoyt (JH)* DFS | Present | Absent |
| - Felix Zemel (FZ)* BBRS | Present | Absent |
| - Peter Senopoulos (PS) BSEE | Present | Absent |
| - Wayne Thomas (WT)*** BSEPG | Present | Absent |
| - Peter Kelly (PK) BSESM | Present | Absent |
| - Paul Halfmann (PH)* DPH | Present | Absent |
| - David Bragg (DB)** DEP | Present | Absent |
| - Tom Hopkins (TH) AAB | Present | Absent |
| - Stephen Sampson (SS) BER | Present | Absent |
| - Edward Kawa (EK) BPRS | Present | Absent |
| - Maurice Pilette (MP) FSC | Present | Absent |
| - Matthew Berge (MB) AGO | Present | Absent |

*=new

*DPH New designee: Paul Halfmann

*BBRS New designee: Felix Zemel

*DFS New designee: Jennifer Hoyt

**Designee: Laurel Mackay for David Bragg

***Designee: Charles Kilb

Others in attendance:

Sarah Weinstein, MassDEP

- Minutes: Review and Approval of April 21, 2016 draft meeting minutes.

•	Motion to approve: (MC, FZ, ALL).

•	Abstained: (JH).

- Old Business:

  - None

- New Business:

Jennifer Hoyt from DFS gives a thorough explanation of each CMR update and indicates that there are no conflicts or duplications.

  - 527 CMR 1.00: 1.12.8.1 and 10.11.1

    - These provisions were edited to reference DEP regulations for outdoor fires and M.G.L. c.48 s.13.

    - Motion to approve: (PS, FZ, ALL).

  - 527 CMR 1.00: 1.12.8.40.1.1 and 66.21.7.4.3.4

    - These provisions were updated to reflect a reference to 502 CMR 3.00.

    - Motion to approve: (MC, FZ, ALL).

  - 527 CMR 1.00: 10.11.6(2)

    - This section regarding use of open flame for cooking on grills and similar appliances was updated to clarify permitted locations for grill use and storage.

    - Motion to approve: (FZ, PS, ALL).

  - 527 CMR 1.00: 18.2.3

    - This provision was updated to clearly reference authority for building sprinkler system requirements within 780 CMR.

    - 1st and 2nd Read Only

    - Motion to Approve:  (FZ, PS, ALL).

  - 527 CMR 1.00: 13.7

    - Is in regards to smoke detection, carbon monoxide detection, and maintenance of those devices for the 2015 edition of 527 CMR 1.00.

-JH indicates that there is a lot of information to go through and the new proposed provisions will be easier to read. These provisions pertain to pre 1975 homes upon sale and transfer with regard to smoke detection and carbon monoxide detection and would be included in the next promulgation  of 527 CMR 1.00 which may be sooner than the “2015 edition”.

-PS provides a short summary of the 10 year sealed battery and why is cost effective.

-FZ is looking for a 1st and 2nd read only but reserves the right to bring it back to BCCC if he discovers conflicts, because he needs more time to review it.

-MP indicates that carbon monoxide in kitchen restaurants, plumbing inspector are all over the place. That needs to be cleaned up and that is a conflict with the gas, fire and building codes.

-CK in 2012 Plumbing Board did act on it and there is no conflict and that was reviewed by the BCCC in 2012.

-MP there is a conflict and needs to be fixed.

-FZ Plumbing Board it’s not in the agenda today.

-JQ this item is not on the agenda today and should not be discussed further as result of Open Meeting Law Concerns.

-MP this needs to be fixed because it’s a continued problem. People who regulate this can’t push it under or be ignored.

-JH states that this is only a regulatory change with no conflict, or expansion of scope under 527 CMR 1.00. She understands his concerns but that won’t get resolved here.

-MP there is a problem

-FZ not saying that there isn’t a problem but Gas Code it’s not on the Agenda today. FZ is looking for a second on his motion.

AC-2nd

-MC does it make sense to come back to this?

-JH we could work with everyone and make sure that there are no conflicts.

-PS we don’t anticipate any conflicts.

-JQ what if there are any conflicts?

-FZ they won’t.

-JQ but what if?

-FZ if there is conflict, the BCCC can revisit this issue prior to promulgation.

-IF I support this: will the 10 year sealed battery be wireless?

JH: The provisions include an allowance for wireless technology.

MP-wants to make sure that this discussion is included in the minutes.

    - Motion to approve: (FZ, AC)

    - Abstained: (MC)

- New Business:

  - Review of the Draft 9th Edition of 780 CMR: State Building Code.  Said code will comprise of the following:

    - 2015 International Building Code, with MA front-end amendments;

    - 2015 International Residential Code, with MA front-end amendments;

    - 2015 International Energy Conservation Code, with MA front-end amendments;

    - Portions of  the 2015 International Fire Code, with MA front-end amendments; and

    - Portions of the 2015 International Mechanical Code, with MA front-end amendments

Even though the agenda indicated above is exactly as the November 15, 2015 meeting, Chapter 2: Definitions defines The Head of the fire department, or his/her designee, as defined in MGL c. 148 § 1. and Chapter 9: Fire Protection Systems needs language change.

-FZ provides an explanation for each section. He noted that the BBRS voted to amend the language posted on the BCCC website, specifically Section 901.3.3 and Tabled 902.3. The information proposed for consideration at BCCC are those amended sections approved by BBRS at their 4.12.16 meeting.

901.3 Maintenance.

901.3.1 Water-based fire protection systems

901.3.3 Fire alarm, smoke detection, fire detection, and heat detection systems.

901.3.3 Carbon monoxide detection systems.

901.3.4 Other fire protection systems.

34:302.6 Fire protection of R-use buildings.

RESIDENTIAL CODE

R313.1	Restore exception to base code language and delete Exception 2. [NOTE: relevant to Townhouse sprinklers].

-FZ explained that these provisions are all in order to make the building code more in-line with the Fire Code in areas where concurrent jurisdiction may exist.

    - Motion to approve: (JH,TH)

    - Unanimous

- New Business:

  - MassDEP:  Amendments of the Asbestos Regulation (310 CMR 7.15)

Sarah Weinstein, Deputy Assistant Commissioner for MassDEP’s Bureau of Air and Waste described the agency’s two-phased response to issues raised about its Asbestos Regulation (310 CMR 7.15) during the E.O. 562 public input process.  In Phase 1, MassDEP is proposing to incorporate provisions for repairing and replacing underground asbestos cement pipe owned by water, sewerage, gas and electrical utilities.  These provisions are currently in guidance, and allow the pre-repair or replacement “survey” to determine whether asbestos is present and the post-repair or replacement “visual inspection” be performed by a trained member of the utility contractor’s work crew rather than an inspector or project monitor who holds a certification from the Dept. of Labor Standards.  In Phase 1, MassDEP will also propose some technical corrections for the regulation, which was last amended in 2014.  MassDEP expects to hold public hearings on the Phase 1 proposals this spring.

Laurel Mackay, Chief Bureau Counsel in the MassDEP Office of General Counsel described MassDEP’s plan for Phase 2 of this effort. MassDEP is planning to address suggestions for improving the regulation (particularly practical issues that affect compliance), without weakening the regulation’s protection of public health and the environment.  Some of the issues that have been raised by stakeholders will need a longer time frame to resolve than the E.O. 562 process affords.  The agency has held one stakeholder meeting to get input on the issues that Phase 2 should addressed.  Two stakeholder meetings have been scheduled for mid- and late May, in which MassDEP will discuss the issues and ideas raised and get further stakeholder input on areas that MassDEP would propose for regulatory amendment MassDEP would then draft amendments and propose them for public comment through the usual process.  For more information about Phase 2, please contact Michael Gorski, Regional Director, MassDEP Western Region.  Mr. Gorski can be reached by email at:  Michael.Gorski@state.ma.us or by telephone at:  413/755- 2213.

- Any additional matters not reasonably anticipated by the co-chairs two (2) business days in advance of meeting.

- Adjourn: (PS, MC, ALL)