

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center Road, Northampton, MA 01060

Phone: 413-586-7525 Fax: 413-784-1037

TTY 800-769-9991

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor  |

MARYLOU SUDDERS

Secretary

MARGARET R. COOKE Commissioner

Tel: 617-624-6000

www.mass.gov/dph

February 11, 2022

Thomas Bowler, Sheriff

Berkshire County Jail and House of Correction

467 Cheshire Road

Pittsfield, MA 01201 (electronic copy)

Re: Facility Inspection - Berkshire County Jail and House of Correction, Pittsfield

Dear Sheriff Bowler:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations

105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Berkshire County Jail and House of Correction on February 9, 2022 accompanied by

Danielle Tyer, Compliance and Training Supervisor; Captain Robert McCluskey; Captain Thomas Morton; and

Allen Cetti, Fire and Safety Officer. Violations noted during the inspection are listed below including 54 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

 Sincerely,

 

 Scott Koczela

 Environmental Analyst, CSP, BEH

cc: Margaret R. Cooke, Commissioner, DPH

Nalina Narian, Director, BEH

 Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services (electronic copy)

 Carol A. Mici, Commissioner, DOC (electronic copy)

Terrence Reidy, Secretary, EOPSS (electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit (electronic copy)

 Brad Little, Superintendent (electronic copy)

Alan Cetti, Fire and Safety Officer (electronic copy)

 Danielle Tyer, Compliance and Training Supervisor (electronic copy)

Andy Cambi, Health Director, Pittsfield Board of Health (electronic copy)

 Clerk, Massachusetts House of Representatives (electronic copy)

 Clerk, Massachusetts Senate (electronic copy)

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**FRONT ENTRY**

*Lobby*

 No Violations Noted

*Mail Room*

 No Violations Noted

*Female Bathroom*

 No Violations Noted

*Male Bathroom*

 No Violations Noted

**ADMINISTRATION (OUTSIDE)**

*Female Staff Bathroom*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*Break Room*

 No Violations Noted

**STAFF GYM**

 No Violations Noted

*Break Area*

 No Violations Noted

*Janitor’s Closet*

 No Violations Noted

*Female Locker Room*

 No Violations Noted

*Male Locker Room*

 No Violations Noted

**INTAKE/BOOKING**

*Female Search Room # 1*

 No Violations Noted

*Male Search Room # 2*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*Female Staff Bathroom*

 No Violations Noted

*Cells*

 No Violations Noted

*Medical Screening Room*

 No Violations Noted

*Records*

 No Violations Noted

*Urinalysis Lab*

 No Violations Noted

*Storage Room # BR18*

 No Violations Noted

*Janitor’s Closet # BR20*

 No Violations Noted

*Transportation Room*

 No Violations Noted

*Sally Port*

 No Violations Noted

**Mental Health Interview Room**

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

**PROPERTY**

 No Violations Noted

*Office*

 No Violations Noted

**HOUSING**

**A-POD**

*Triage Office*

 No Violations Noted

*Counselor’s Office*

 No Violations Noted

*Recreation Deck*

 No Violations Noted

*Cells*

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # A105, A117, A215, and A218

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 2 and 3

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-3

*Upper Showers # 4-7*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 4, 5, and 7

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4 and 5

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 4-7

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

 No Violations Noted

**A and B POD CONTROL**

 No Violations Noted

*Control Bathroom*

 No Violations Noted

**B-POD**

*Offices*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Recreation Deck*

 No Violations Noted

*Cells*

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # B206 and B210

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3* Unable to Inspect Shower # 2 – In Use

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 1 and 3

105 CMR 451.123 Maintenance: Soap scum on walls in shower #1

105 CMR 451.123 Maintenance: Mold observed on walls in shower # 3

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1 and 3, floor finish damaged

*Upper Showers # 4-7*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 4-7, floor finish damaged

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 5 and 6

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 4

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower, floor finish damaged

**C-POD**

*Triage Office*

 No Violations Noted

*Offices*

 No Violations Noted

*Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1040F at handwash sink

*Recreation Deck*

 No Violations Noted

*Cells*

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # C107

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2 and 3

*Upper Showers # 4-7*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # 6 out-of-order

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 7

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 4, 5, and 7, floor finish damaged

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 4, 5, and 7

105 CMR 451.123 Maintenance: Walls dirty in shower # 5

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower, floor finish damaged

**D-POD**

*Offices*

 No Violations Noted

*Staff Bathroom*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1000F at handwash sink

*Recreation Deck*

 No Violations Noted

*Cells*

 No Violations Noted

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

*Upper Showers # 4-7*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 7

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 4-7, floor finish damaged

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

105 CMR 451.130 Hot Water: Shower water temperature recorded at 910F

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower, floor finish damaged

**E-POD**

*Triage Office*

 No Violations Noted

*Offices*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Recreation Deck*

 No Violations Noted

*Cells*

 No Violations Noted

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

*Upper Showers # 4-7*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 4-7, floor finish damaged

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower, floor finish damaged

**F-POD**

*Triage Office*

 No Violations Noted

*Offices*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Recreation Deck*

 No Violations Noted

*Cells*

 No Violations Noted

*Lower Janitor’s Closet*

 Unable to Inspect - Locked

*Storage Closet*

 Unable to Inspect - Locked

*Lower Showers # 1-3*

105 CMR 451.123 Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 1-3

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-3

*Upper Showers # 4-7*

105 CMR 451.123 Maintenance: Floor not easily cleanable in shower # 4-7, floor finish damaged

*Upper Janitor’s Closet*

 Unable to Inspect - Locked

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

105 CMR 451.123 Maintenance: Floor not easily cleanable in shower, floor finish damaged

**G-POD**

*Triage Room*

 No Violations Noted

*Office*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Recreation Deck*

 No Violations Noted

*Cells*

 No Violations Noted

*Lower Janitor’s Closet*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Lower Showers # 1-3*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 1-3, floor finish damaged

*Upper Showers # 4-7*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 5

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 4 and 6

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123\* Maintenance: Floor not easily cleanable in shower # 4-7, floor finish damaged

*Upper Janitor’s Closet*

 No Violations Noted

**Sub Day Room**

 No Violations Noted

*Cells*

 No Violations Noted

*Shower*

 No Violations Noted

**MULTI-PURPOSE ROOMS (Outside G and H PODS)**

 No Violations Noted

**GYM**

 No Violations Noted

*Weight Room*

105 CMR 451.353\* Interior Maintenance: Padding damaged on several machines

*Office # RE07*

 No Violations Noted

*Storage # RE05*

 No Violations Noted

*Janitor’s Closet # RE04*

 No Violations Noted

*Staff Bathroom # RE03*

 No Violations Noted

*Inmate Bathroom # RE02*

 No Violations Noted

**COMMISSARY**

 No Violations Noted

**KITCHEN HALLWAY**

*Female Staff Bathroom*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*Cert Room # FS02*

 No Violations Noted

**KITCHEN**

The following Food Code violations listed in **BOLD** were observed to be corrected on-site.

*Handwash Sink*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1020F at handwash sink

*Cart Room*

 No Violations Noted

*Dry Storage*

 No Violations Noted

*Walk-in-Cooler*

 No Violations Noted

*Walk-in-Freezer*

 No Violations Noted

*Produce Cooler*

 No Violations Noted

*Office*

 No Violations Noted

*Bakery*

 No Violations Noted

*Hobart Coolers*

 No Violations Noted

*Hoods*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

*Worker’s Changing Room*

**FC 6-501.16 Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket**

*Worker’s Bathroom # FS09 (located in changing room)*

 No Violations Noted

*Reach-in-Freezer*

 No Violations Noted

*Inmate Bathroom # FS07*

 No Violations Noted

*Storage Closet # FS06*

 No Violations Noted

*Worker’s Serving Line*

 No Violations Noted

*Dishwashing Area*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

*Worker’s Dining Area*

 No Violations Noted

*Ice Machine*

 No Violations Noted

*Chemical Storage*

 No Violations Noted

**Staff Dining Area**

 No Violations Noted

*Serving Line*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

**LAUNDRY**

 No Violations Noted

*Bathroom # LA02*

 No Violations Noted

*Storage Closet # LA03*

 No Violations Noted

*Office # LA04*

 No Violations Noted

*Maintenance Closet # LA05*

 No Violations Noted

**VOCATIONAL EDUCATION**

*Carpentry Shop*

 No Violations Noted

*Maintenance Shop*

 No Violations Noted

*Graphic Arts*

 No Violations Noted

*IT Office*

 No Violations Noted

*Staff Bathroom*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 990F at handwash sink

*Inmate Bathroom*

 No Violations Noted

**Maintenance Area # MA01A**

*Chemical Closet # MA02*

 No Violations Noted

*Trash Room # MA09*

 No Violations Noted

*Dumpster Area*

 No Violations Noted

**Office Area**

 No Violations Noted

*Bathroom # MA05*

 No Violations Noted

*Bathroom # MA06*

 No Violations Noted

*Supply Closet # MA07*

 No Violations Noted

**Education Area**

*Classrooms*

 No Violations Noted

*Library*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

**HUMAN SERVICES**

*Staff Bathroom # HS10*

 No Violations Noted

*Break Room # HS13*

 No Violations Noted

**MEDICAL**

*Medical Storage # MS07*

 No Violations Noted

*Medical Waste Storage/Records # MS06*

 No Violations Noted

*Janitor’s Closet # MS05*

 No Violations Noted

**Dental**

*Dental Office # MS12*

 No Violations Noted

*Exam Room # 1*

 No Violations Noted

*Exam Room # 2*

 No Violations Noted

*Staff Bathroom # MS04*

 No Violations Noted

*Tub Room*

 No Violations Noted

**Inmate Waiting Area**

 No Violations Noted

*Storage (former Inmate Bathroom)*

 No Violations Noted

**VISITING AREA**

 No Violations Noted

*Strip Search Room*

 No Violations Noted

*Non-Contact Visiting*

 No Violations Noted

**CENTRAL CONTROL**

 No Violations Noted

*Control Bathroom*

 No Violations Noted

*Key Room*

 Unable to Inspect – Locked

**WAREHOUSE**

 No Violations Noted

*Office*

 No Violations Noted

*Walk-in-Cooler*

 No Violations Noted

*Walk-in-Freezer*

 No Violations Noted

*Bathroom*

 No Violations Noted

*Storage Room*

 No Violations Noted

*Vehicle Maintenance Garage*

 No Violations Noted

**Observations and Recommendations**

1. The inmate population was 131 at the time of inspection.
2. Hot water temperature range for handwash sinks is 1100F-1300F.
3. Hot water temperature range for showers is 1000F-1120F.
4. At the time of the inspection Housing Pod-F was not occupied.
5. The CSP recommends relocating or installing a new warewash machine data plate near the machine’s mechanical temperature gauges to more easily monitor its performance.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

 Sincerely,

 

 Scott Koczela

 Environmental Analyst, CSP, BEH