The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-753-8000

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

Diagram

Description automatically generated with medium confidence

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE Commissioner

**Tel: 617-624-6000**

**www.mass.gov/dph**

March 28, 2022

Thomas Neville, Superintendent

Boston Pre-Release Center

430 Canterbury Street

Roslindale, MA 02131 (electronic copy)

Re: Facility Inspection – Boston Pre-Release Center, Roslindale

Dear Superintendent Neville:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments

(State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Boston Pre-Release Center on March 16, 2022 accompanied by Matthew Knarr, Environmental Health and Safety Officer and Officer Kerri Kwasek. Violations noted during the inspection are listed below including 49 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc: Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services (electronic copy)

Carol A. Mici, Commissioner, DOC (electronic copy)

Terrence Reidy, Secretary, EOPSS (electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit (electronic copy)

Matthew Knarr, EHSO (electronic copy)

Daniel J. Prendergast, Assistant Commissioner, ISD/Health Division, City of Boston (electronic copy)

Clerk, Massachusetts House of Representatives (electronic copy)

Clerk, Massachusetts Senate (electronic copy)

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**FIRST FLOOR**

*Lobby*

No Violations Noted

*Visitor’s Room # A1-4*

105 CMR 451.350 Structural Maintenance: Windows do not open and close properly

*Female Visitor’s Bathroom # A1-5*

No Violations Noted

*Male Visitor’s Bathroom # A1-6*

No Violations Noted

*Janitor’s Closet # A1-7*

No violations Noted

**A Wing**

*Shift Commander’s Office # A1-8*

No Violations Noted

*Female Staff Bathroom # A1-9*

No Violations Noted

*Male Staff Bathroom # A1-10*

No Violations Noted

*Intake Holding Area # A1-12*

No Violations Noted

*Property # A1-17*

No Violations Noted

*Holding Cell # A1-18*

No Violations Noted

*Weight Room # A1-19*

No Violations Noted

*Male Staff Locker Room # A1-29/30*

No Violations Noted

*Janitor’s Closet # A1-31*

No Violations Noted

*Female Staff Locker Room # A1-32/33*

No Violations Noted

*Mechanical Room # A1-36 (Medical Waste Storage)*

105 CMR 451.350 Structural Maintenance: Door leading to exterior not rodent and weathertight

*Storage/Warehouse # A1-38*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

*Maintenance # A1-39*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, untreated wood used for shelving in refrigerator

*Office # A1-41*

No Violations Noted

*Tool Crib #A1-10*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

**Health Service Unit**

*Bathroom # A1-23*

No Violations Noted

*Medical Lab # A1-24*

No Violations Noted

*Exam Room # A1-25*

No Violations Noted

*Dental Room # A1-26*

No Violations Noted

**Food Service Area**

The following Food Code violations listed in **BOLD** were observed to be corrected on-site.

*Walk-in Freezer (Outside)*

No Violations Noted

*Bathroom*

No Violations Noted

*Walk-in Freezer*

No Violations Noted

*Walk-in Refrigerator*

No Violations Noted

*Prep Table*

No Violations Noted

*Dry Storage Room # A1-46*

**FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor under dry storage shelves**

*Traulsen Refrigerator*

No Violations Noted

*Office # A1-47*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, window does not open and close properly

*Mechanical Warewashing Room*

FC 5-205.15(B)\* Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, 2 sprayer heads damaged

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, caulking above 3 compartment sink in disrepair and no longer cleanable

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, water dripping from ceiling tiles near warewash machine

*Handwash Sink*

No Violations Noted

*Traulsen Refrigerator*

No Violations Noted

*Food Service Line*

No Violations Noted

*Traulsen Warmer*

No Violations Noted

*Rubbish Room (Chemical Storage) # A1-51*

No Violations Noted

*Supply Room # A1-50*

No Violations Noted

*Ice Machine*

No Violations Noted

*Grease Hood*

No Violations Noted

*Traulsen Freezer*

No Violations Noted

*Inmate Dining Room # A1-52*

No violations Noted

*Staff Dining Room # A1-53*

No Violations Noted

**B Wing – P1 Unit**

*Day Room*

No Violations Noted

*Bathroom # B1-31*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Shower Room # B1-33*

105 CMR 451.123\* Maintenance: Soap scum on floors in shower # 1-7

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-7

105 CMR 451.123\* Maintenance: Gap between floor and wall

105 CMR 451.123\* Maintenance: Floor dirty throughout

105 CMR 451.123\* Maintenance: Door frame paint damaged at entrance

105 CMR 451.123 Maintenance: Door frame rusted in shower # 1

105 CMR 451.123 Maintenance: Wall partition rusted in showers # 2, 3, 6, and 7

105 CMR 451.123 Maintenance: Wall dirty in shower # 4

*Janitor’s Closet # B1-34*

105 CMR 451.360 Protective Measures: Drain flies observed

105 CMR 451.353 Interior Maintenance: Water pooling on floor

*Laundry Room*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells triple bunked

105 CMR 451.353 Interior Maintenance: Floor tile damaged in cell # 102 and 104

**C Wing – M1 Unit**

*Day Room*

No Violations Noted

*Janitor’s Closet # C1-34*

No Violations Noted

*Laundry Room # C1-31*

No Violations Noted

*Bathroom # C1-32*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123 Maintenance: Wall partition rusted in showers # 2 and 3

105 CMR 451.123 Maintenance: Wall rusted in shower # 3

105 CMR 451.123 Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Ceiling damaged in showers # 2 and 3

105 CMR 451.123 Maintenance: Caulking damaged in handicapped shower

105 CMR 451.123 Maintenance: Toilet # 1 clogged

105 CMR 451.123 Maintenance: Panel of heating unit lifting from wall closest to toilet # 3

*Cells*

No Violations Noted

**SECOND FLOOR**

**A Wing**

*Office # A2-6*

No Violations Noted

*Office # A2-7*

No Violations Noted

*Office # A2-9*

No Violations Noted

*Office # A2-10*

No Violations Noted

*Closet # A2-8*

Unable to Inspect – Locked

*Multi-Purpose Room # A2-2*

105 CMR 451.350 Structural Maintenance: Door hinge detached from wall

*Classroom # A2-4*

No Violations Noted

*Classroom # A2-5*

No Violations Noted

*Staff Bathroom # A2-34*

No Violations Noted

*Office # A2-35*

No Violations Noted

*Storage # A2-36*

Unable to Inspect – Locked

*Barber Shop # A2-11*

Unable to Inspect – In Use

*Work Release Offices*

No Violations Noted

*Janitor’s Closet # A2-12*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, backflow preventor leaking

**Administration Area**

*Janitor’s Closet # A2-24*

No Violations Noted

*Female Staff Bathroom # A2-25*

No Violations Noted

*Male Staff Bathroom # A2-26*

No Violations Noted

*Kitchenette*

No Violations Noted

*IPS*

Unable to Inspect – Locked

**B Wing – P2 Unit**

*Day Room*

No Violations Noted

*Bathroom # B2-31*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, urinal # 1L out-of-order

105 CMR 451.123 Maintenance: Ceiling louver/grill damaged

*Janitor’s Closet # B2-32*

No Violations Noted

*Shower Room # B2-33*

105 CMR 451.123\* Maintenance: Soap scum on floors in shower # 1-7

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2, 3, 5, 6, and 7

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1 and 4

105 CMR 451.123\* Maintenance: Gap between wall and floor

105 CMR 451.123\* Maintenance: Floor dirty throughout

105 CMR 451.123 Maintenance: Wall damaged in shower # 4

*Laundry Room # B2-34*

105 CMR 451.353 Interior Maintenance: Dryer vent duct not connected

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells triple bunked

**C Wing – M2 Unit**

*Computer Classroom*

No Violations Noted

*Laundry Room # C2-31*

105 CMR 451.353\* Interior Maintenance: Window damaged

*Bathroom # C2-32*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-3

105 CMR 451.123\* Maintenance: Shower partitions rusted and corroded in shower # 1-3

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 1-3

105 CMR 451.123 Maintenance: Caulking damaged in shower # 3

105 CMR 451.123 Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Floor dirty throughout

*Janitor’s Closet # C2-34*

No Violations Noted

*Cells*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 48 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH