

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph St., Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7910 Fax: 781-774-6700

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor  |

May 31, 2018

Thomas Neville, Superintendent

Boston Pre-Release Center

430 Canterbury Street

Roslindale, MA 02131

Re: Facility Inspection – Boston Pre-Release Center, Roslindale

Dear Superintendent Neville:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Boston Pre-Release Center on May 25, 2018, accompanied by Sergeant Loreli Brooks,

Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 72 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**FIRST FLOOR**

*Lobby*

105 CMR 451.353 Interior Maintenance: Floor tiles damaged outside bathroom # A1-5

*Visitor’s Room # A1-4*

 No Violations Noted

*Female Visitor’s Bathroom # A1-5*

 No Violations Noted

*Male Visitor’s Bathroom # A1-6*

 No Violations Noted

*Janitor’s Closet # A1-7*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Water pooling on floor

**A Wing**

*Shift Commander’s Office # A1-8*

No Violations Noted

*Female Staff Bathroom # A1-9*

No Violations Noted

*Male Staff Bathroom # A1-10*

 No Violations Noted

*Intake Holding # A1-12*

 No Violations Noted

*Property # A1-17*

 No Violations Noted

*Holding Cell # A1-18*

 No Violations Noted

*Weight Room # A1-19*

 No Violations Noted

*Male Staff Locker Room # A1-29/30*

 No Violations Noted

*Janitor’s Closet # A1-31*

 No Violations Noted

*Female Staff Locker Room # A1-32/33*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Mechanical Room # A1-36 (Medical Waste Storage)*

 No Violations Noted

*Storage/Warehouse # A1-38*

 No Violations Noted

*Maintenance # A1-39*

 No Violations Noted

*Office # A1-41*

 No Violations Noted

*Tool Crib #A1-10*

 No Violations Noted

**Health Service Unit**

*Bathroom # A1-23*

 No Violations Noted

*Medical Lab # A1-24*

 No Violations Noted

*Exam Room # A1-25*

No Violations Noted

*Dental Room # A1-26*

 No Violations Noted

**Food Service Area**

*Bathroom*

 No Violations Noted

*Walk-in Freezer*

 No Violations Noted

*Walk-in Refrigerator*

 No Violations Noted

*Prep Table*

No Violations Noted

*Dry Storage Room # A1-46*

 No Violations Noted

*Traulsen Refrigerator*

No Violations Noted

*Office # A1-47*

 No Violations Noted

*Mechanical Warewashing Room*

 No Violations Noted

*Handwash Sink*

No Violations Noted

*Traulsen Freezer*

 No Violations Noted

*Food Service Line*

 No Violations Noted

*Traulsen Warmer*

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, warmer gaskets damaged

*Rubbish Room (Chemical Storage) # A1-51*

 No Violations Noted

*Supply Room # A1-50*

FC 6-501.14 Maintenance and Operation; Cleaning: Ventilation systems, ceiling vent dusty

*Ice Machine*

 No Violations noted

*Grease Hood*

 No Violations Noted

*Inmate Dining Room # A1-52*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

*Staff Dining Room # A1-53*

FC 4-602.12(B)\* Cleaning of Equipment and Utensils; Frequency: Interior of coffee maker dirty

**B Wing**

*Day Room*

 No Violations Noted

*Bathroom # B1-31*

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Toilet dirty, cigarette ash on toilet seat

*Shower Room # B1-33*

105 CMR 451.123\* Maintenance: Soap scum on floors in shower # 1-7

105 CMR 451.123\* Maintenance: Exposed drywall in shower # 4

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1, 2, 3, 5, 6, and 7

105 CMR 451.123\* Maintenance: Ceiling paint peeling

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, shower # 4 out-of-order

105 CMR 451.123 Maintenance: Gap between floor and wall

105 CMR 451.123 Maintenance: Floor dirty throughout

105 CMR 451.123 Maintenance: Mold growth observed on ceiling

105 CMR 451.123 Maintenance: Curtain dirty in shower # 1, 2, 3, and 5

*Janitor’s Closet # B1-34*

105 CMR 451.353\* Interior Maintenance: Floor damaged

105 CMR 451.353\* Interior Maintenance: Walls covered in mold near baseboard

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Laundry Room*

 No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells triple bunked

105 CMR 451.344 Illumination in Habitable Areas: Light not functioning properly, light out in cell # B102

105 CMR 451.350 Structural Maintenance: Window cracked on door to cell # B105

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # B101, B109, and B113

**C Wing**

*Day Room*

 No Violations Noted

*Janitor’s Closet # C1-34*

105 CMR 451.353\* Interior Maintenance: Standing water left in a bucket

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Laundry Room # C1-31*

 No Violations Noted

*Bathroom # C1-32*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-4

105 CMR 451.123\* Maintenance: Ceiling damaged

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Mold in shower # 3 and 4

105 CMR 451.123 Maintenance: Urinal # 1 dirty

105 CMR 451.344 Illumination in Habitable Areas: Light not functioning properly, light out above sinks

105 CMR 451.123 Maintenance: Light fixtures rusted

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

105 CMR 451.123 Maintenance: Water pooling on floor outside showers

*Cells*

105 CMR 451.353\* Interior Maintenance: Light shield damaged in cell # C120

**SECOND FLOOR**

**Administrative Area**

*Office # A2-6*

No Violations Noted

*Office # A2-7*

No Violations Noted

*Office # A2-9*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with

 105 CMR 590.000, no functioning thermometer in refrigerator

*Office # A2-10*

 Unable to Inspect – Locked

*Janitor’s Closet # A2-24*

 No Violations Noted

*Female Staff Bathroom # A2-25*

 No Violations Noted

*Male Staff Bathroom # A2-26*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*IPS*

 Unable to Inspect – Locked

**A Wing**

*Multi-Purpose Room # A2-2*

 No Violations Noted

*Classroom # A2-4*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Classroom # A2-5*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Work Release Offices*

 No Violations Noted

*Barber Shop # A2-11*

 No Violations Noted

*Janitor’s Closet # A2-12*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Staff Bathroom # A2-34*

 No Violations Noted

*Office # A2-35*

Unable to Inspect - Locked

*Storage # A2-36*

 Unable to Inspect - Locked

**B Wing**

*Day Room*

105 CMR 451.353\* Interior Maintenance: Water fountain dirty

*Office # B2-2*

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Bathroom # B2-31*

105 CMR 451.123\* Maintenance: Ceiling paint peeling

105 CMR 451.123 Maintenance: Toilet dirty in handicap stall on left side

105 CMR 451.123 Maintenance: Ceiling vents dusty

*Janitor’s Closet # B2-32*

 No Violations Noted

*Shower Room # B2-33*

105 CMR 451.123\* Maintenance: Soap scum on floors in shower # 1-7

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-7

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123 Maintenance: Soap scum on curtains in shower # 1-7

105 CMR 451.123 Maintenance: Gap between wall and floor

105 CMR 451.123 Maintenance: Floor dirty throughout

105 CMR 451.123 Maintenance: Ceiling paint damaged

*Laundry Room # B2-34*

105 CMR 451.353 Interior Maintenance: Wall damaged near washing machines

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells triple bunked

105 CMR 451.353 Interior Maintenance: Floor tiles damaged in cell # B201, B204, and B217

**C Wing**

*Computer Classroom*

105 CMR 451.353 Interior Maintenance: Wall paint damaged near water fountains

*Laundry Room # C2-31*

 No Violations Noted

*Bathroom # C2-32*

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-4

105 CMR 451.123\* Maintenance: Shower partitions rusted and corroded in shower # 1 and 2

105 CMR 451.123\* Maintenance: Ceiling paint peeling

105 CMR 451.123\* Maintenance: Wall tile damaged in shower # 3

105 CMR 451.123 Maintenance: Light fixtures rusted

*Janitor’s Closet # C2-34*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Cells*

105 CMR 451.353 Interior Maintenance: Curtain damaged in cell # C222

**Observations and Recommendations**

1. The inmate population was 128 at the time of inspection.
2. Throughout the facility, bathrooms and shower areas were observed to be poorly maintained resulting in unsanitary conditions. Specifically, the 1st floor B wing showers were in complete disrepair, including the exposure of drywall to chronic dampness in 1 unfinished shower. The Department is concerned with the increased risk of disease transmission with the high number of inmates being exposed to such unsanitary conditions.

We recommend ensuring all bathroom and shower areas are finished with smooth and easily cleanable surfaces as well as developing a higher frequency shower cleaning policy.

1. At the time of inspection, the Department recommended numbering all showers, sinks and toilets throughout the institution. This will assist the Department and Department of Correction employees to better recognize where issues exist

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

 Sincerely,

 Patrick Wallace

 Environmental Health Inspector, CSP, BEH

cc: Jana Ferguson, Director, BEH

 Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services

 Thomas Turco, Commissioner, DOC

 Sergeant Loreli Brooks, EHSO/FSO

John Heavy, EHSO

John Meaney, Assistant Commissioner of Health, Boston Inspectional Services Department

 Clerk, Massachusetts House of Representatives

 Clerk, Massachusetts Senate

 Daniel Bennett, Secretary, EOPSS

Nelson Alves, Director, Policy Development and Compliance Unit