The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 781-223-7503

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

October 18, 2022

Thomas Neville, Superintendent

Boston Pre-Release Center

430 Canterbury Street

Roslindale, MA 02131		(electronic copy)

Re: Facility Inspection – Boston Pre-Release Center, Roslindale

Dear Superintendent Neville:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments

(State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Boston Pre-Release Center on October 13, 2022 accompanied by Matthew Knarr, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 16 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Matthew Knarr, EHSO									(electronic copy)

Daniel J. Prendergast, Assistant Commissioner, ISD/Health Division, City of Boston	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

FIRST FLOOR

Lobby

No Violations Noted

Visitor’s Room # A1-4

No Violations Noted

Female Visitor’s Bathroom # A1-5

No Violations Noted

Male Visitor’s Bathroom # A1-6

No Violations Noted

Janitor’s Closet # A1-7

No violations Noted

A Wing

Shift Commander’s Office # A1-8

No Violations Noted

Female Staff Bathroom # A1-9

No Violations Noted

Male Staff Bathroom # A1-10

No Violations Noted

Intake Holding Area # A1-12

No Violations Noted

Property # A1-17

No Violations Noted

Holding Cell # A1-18

No Violations Noted

Weight Room # A1-19

No Violations Noted

Male Staff Locker Room # A1-29/30

No Violations Noted

Janitor’s Closet # A1-31

No Violations Noted

Female Staff Locker Room # A1-32/33

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control not functioning properly

Mechanical Room # A1-36 (Medical Waste Storage)

No Violations Noted

Storage/Warehouse # A1-38

No Violations Noted

Maintenance # A1-39

No Violations Noted

Tool Crib #A1-10

No Violations Noted

Office # A1-41

No Violations Noted

Health Service Unit

Bathroom # A1-23

No Violations Noted

Medical Lab # A1-24

No Violations Noted

Exam Room # A1-25

No Violations Noted

Dental Room # A1-26

105 CMR 451.353	Interior Maintenance: Upholstery damaged on patient chair

Food Service Area

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Walk-in Freezer (Outside)

No Violations Noted

Bathroom

No Violations Noted

Walk-in Freezer

No Violations Noted

Walk-in Refrigerator

No Violations Noted

Prep Table

No Violations Noted

Dry Storage Room # A1-46

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor under dry storage shelves

FC 6-501.112	Maintenance and Operations; Removing Dead or Trapped Birds, Insects, Rodents and other Pest: Dead mouse observed on trap under dry storage shelves

Office # A1-47

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window does not open and close properly

Mechanical Warewashing Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, water dripping from ceiling tiles near warewash machine

Handwash Sink

No Violations Noted

Traulsen Refrigerator

No Violations Noted

Food Service Line

No Violations Noted

Traulsen Warmer

No Violations Noted

Rubbish Room (Chemical Storage) # A1-51

No Violations Noted

Supply Room # A1-50

No Violations Noted

Ice Machine

No Violations Noted

Grease Hood

No Violations Noted

Asber Freezer

No Violations Noted

Inmate Dining Room # A1-52

No violations Noted

Staff Dining Room # A1-53

No Violations Noted

B Wing – P1 Unit

Day Room

No Violations Noted

Bathroom # B1-31

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicapped toilet out-of-order

Shower Room # B1-33

105 CMR 451.123	Maintenance: Floor paint damaged and no longer cleanable throughout shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3 and 7

105 CMR 451.123*	Maintenance: Door frame paint damaged at entrance

105 CMR 451.123	Maintenance: Wall dirty in shower # 2

105 CMR 451.123*	Maintenance: Wall dirty in shower # 4

Janitor’s Closet # B1-34

105 CMR 451.353*	Interior Maintenance: Water pooling on floor

105 CMR 451.353	Interior Maintenance: Water leaking from closet into hallway

Laundry Room

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

105 CMR 451.360	Protective Measures: Rodent droppings observed on floor in cell # B106

C Wing – M1 Unit

Unable to Inspect – Quarantine/Isolation Unit

SECOND FLOOR

A Wing

Office # A2-6

No Violations Noted

Office # A2-7

No Violations Noted

Office # A2-9

No Violations Noted

Office # A2-10

No Violations Noted

Closet # A2-8

Unable to Inspect – Locked

Multi-Purpose Room # A2-2

105 CMR 451.353*	Interior Maintenance: Door hinge detached from wall

Classroom # A2-4

No Violations Noted

Classroom # A2-5

No Violations Noted

Staff Bathroom # A2-34

No Violations Noted

Office # A2-35

No Violations Noted

Storage # A2-36

Unable to Inspect – Locked

Barber Shop # A2-11

Unable to Inspect – Locked

Work Release Offices

No Violations Noted

Janitor’s Closet # A2-12

No Violations Noted

Administration Area

Janitor’s Closet # A2-24

No Violations Noted

Female Staff Bathroom # A2-25

No Violations Noted

Male Staff Bathroom # A2-26

No Violations Noted

Kitchenette

No Violations Noted

IPS

Unable to Inspect – Locked

B Wing – P2 Unit

Day Room

No Violations Noted

Bathroom # B2-31

105 CMR 451.123		Maintenance: Ceiling louver/grill cover missing in handicapped stall

Janitor’s Closet # B2-32

No Violations Noted

Shower Room # B2-33

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 4, 5, and 7

105 CMR 451.123	Maintenance: Floor paint damaged and no longer cleanable throughout shower area

105 CMR 451.123	Maintenance: Wall dirty in shower # 1 and 5

105 CMR 451.123	Maintenance: Ceiling dirty throughout shower area, possible mold/mildew

Laundry Room # B2-34

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

C Wing – M2 Unit

105 CMR 451.350	Structural Maintenance: Window does not open and close properly in hallway

near stairwell # 4

Computer Classroom

No Violations Noted

Laundry Room # C2-31

No Violations Noted

Bathroom # C2-32

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1

105 CMR 451.123	Maintenance: Floor paint damaged and no longer cleanable throughout shower area

105 CMR 451.123	Maintenance: Wall dirty in shower # 3

Janitor’s Closet # C2-34

No Violations Noted

Cells

No Violations Noted

Observations and Recommendations

- The inmate population was 46 at the time of inspection.

- M1 Unit of C Wing was the COVID-19 quarantine/isolation area. There were 3 inmates housed in the M1 Unit.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH