The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

February 6, 2013

Tanja Gray, Superintendent

Boston Pre-Release Center

430 Canterbury Street

Roslindale, MA 02131

Re: Boston Pre-Release Center Facility Inspection

Dear Superintendent Gray:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Boston Pre-Release Center on January 25, 2013 accompanied by Laura Clarke, EHSO, Brian Brady, Industrial Instructor II and Paul Halfmann, Assistant Director of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Front Lobby

Lobby

No Violations Noted

Visitor’s Room A1-4

No Violations Noted

Female Visitor’s Bathroom A1-5

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Visitor’s Bathroom A1-6

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Sink dirty

Janitor’s Closet A1-7

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

A Wing First Floor

Hallway

No Violations Noted

Female Staff Bathroom A1-9

No Violations Noted

Male Staff Bathroom A1-10

105 CMR 451.123	Maintenance: Ceiling vent dusty

Intake Holding A1-12

No Violations Noted

Closet A1-17

No Violations Noted

Holding Cell A1-18

No Violations Noted

Right Weight Room

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353*	Interior Maintenance: Bench no longer easily cleanable, cover damaged

105 CMR 451.353*	Interior Maintenance: Wall cover edge detached

Left Weight Room

105 CMR 451.353*	Interior Maintenance: Bench no longer easily cleanable, cover damaged

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353	Interior Maintenance: Ceiling tile damaged

Male Staff Locker Room A1-29/30

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1190F

Janitor’s Closet A1-31

No Violations Noted

Female Staff Locker Room A1-32/33

105 CMR 451.123*	Maintenance: Standing water observed on shower room floor, floor not sloped 	properly

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1190F

Emergency Electrical Room A1-34A

No Violations Noted

Emergency Electrical Room A1-34

No Violations Noted

Electrical Room A1-35

No Violations Noted

Mechanical Room A1-36 (Medical Waste Storage)

No Violations Noted

Storage/Warehouse A1-38

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Tool Crib A1-39

No Violations Noted

Health Service Unit

Bathroom A1-23

No Violations Noted

Medical Lab A1-24

No Violations Noted

Exam Room A1-25

No Violations Noted

Dental Room A1-26

No Violations Noted

Food Service Area

Bathroom

No Violations Noted

Coffee Station

No Violations Noted

Ice Machine

No Violations Noted

Grease Hood and Prep Table

No Violations Noted

Walk-in Refrigerator

No Violations Noted

Walk-in Freezer

No Violations Noted

Office A1-42

No Violations Noted

Dry Storage Room A1-46

No Violations Noted

Mechanical Warewashing Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, caulking dirty 	above metal rinse table

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, caulking damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sprayer hose leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, caulking damaged

Food Service Line

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on Traulsen refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on warmer

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris observed under service line

Supply Room A1-50

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food container, spice not labeled

Rubbish Room (Chemical Storage) A1-51

No Violations Noted

Inmate Dinning Room A1-52

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, several light fixtures not functioning properly

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Dinning Room A1-53

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 550F

Administrative Area

Janitor’s Closet A2-24

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Female Staff Bathroom A2-25

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Staff Bathroom A2-26

105 CMR 451.123	Maintenance: Lock missing from paper towel holder

105 CMR 451.123	Maintenance: Ceiling vent dusty

Kitchenette

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 550F

B Wing First Floor

Hallway

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Baseboard damaged behind drink machine

Laundry Room B1-31

105 CMR 451.353	Interior Maintenance: Sprinkler head cap missing

105 CMR 451.353	Interior Maintenance: Walls dusty

105 CMR 451.350	Structural Maintenance: Wall damaged behind washer # 1

105 CMR 451.350	Structural Maintenance: Ceiling damaged above washer # 1

Bathroom B1-32

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 2

Shower Room B1-33

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower units

105 CMR 451.123*	Maintenance: Ceiling damaged in shower stall # R1

105 CMR 451.123	Maintenance: Wall paint damaged in shower stall # L3, L4, and R3

Janitor’s Closet B1-34

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Slop sink drain cover loose

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

105 CMR 451.353*	Interior Maintenance: Window shade damaged in cell # B123

C Wing First Floor

Day Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

Laundry Room C1-31

105 CMR 451.353	Interior Maintenance: Debris behind washer and dryer units

Bathroom C1-32

105 CMR 451.123	Maintenance: Ceiling vent dusty

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on floor in all shower units

105 CMR 451.123*	Maintenance: Shower floors and baseboard finish damaged in all shower units

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	# 2

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly above sink

Janitor’s Closet C1-34

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet leaking in slop sink

Cells

No Violations Noted

A Wing Second Floor

Multi Purpose Room A2-2

No Violations Noted

Employment Connection Offices

No Violations Noted

Barber Shop A2-11

No Violations Noted

Janitor’s Closet A2-12

No Violations Noted

Staff Bathroom A2-34

No Violations Noted

B Wing Second Floor

Day Room

105 CMR 451.350	Structural Maintenance: Wall damaged behind drink machine

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

Bathroom B2-31

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water faucet leaking in sink 	# 1

105 CMR 451.123	Maintenance: Ceiling vents throughout bathroom dusty

Janitor’s Closet B2-32

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Shower Room B2-33

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower units

105 CMR 451.123	Maintenance: Wall paint damaged on shower stall # R3, L3, and L2

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Shower dividers rust damaged along bottom of all shower stalls

Laundry Room B2-34

105 CMR 451.353	Interior Maintenance: Debris behind washer and dryer units

105 CMR 451.353	Interior Maintenance: Washer # 2 malfunctioning at time of inspection, soap coming out of return hose

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

C Wing Second Floor

Day Room

105 CMR 451.353	Interior Maintenance: Several chair coverings damaged

Laundry Room C2-31

No Violations Noted

Bathroom C2-32

No Violations Noted

Shower Room C2-33

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower units

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower room

105 CMR 451.123	Maintenance: Wall tile damaged in shower # 3

Janitor’s Closet C2-34

105 CMR 451.353*	Interior Maintenance: Vent cover damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Observations and Recommendations

- The inmate count was 168 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Laura Clarke, EHSO

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS