|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection - Title 5 Program Bottomless Sand Filter Technology Checklist |  |  |  |
| --- | --- | --- | --- | --- |
|  | A. General Information |  |  |  |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | Pilot Approval Date |  | DEP Transmittal Number |  |
|  | Address |  | Owner |  |
|  | Date of Inspection |  |  |  |
|  | Water Meter Reading: see attached Technology Inspection Form |  |  |  |
|  | Septic Tank: see attached Technology Inspection Form |  |  |  |
|  | Pump Chamber: see attached Technology Inspection Form |  |  |  |
|  | Treatment Unit: see attached Technology Inspection Form |  |  |  |
|  | B. Bottomless Sand Filter |  |  |  |
|  | Ponding on surface of pea gravel ? |  |  |  |
|  | Settling of pea gravel or possible animal activity? |  |  |  |
|  | Any odor? |  |  |  |
|  | Move pea gravel to expose sand interface. Depth of ponding (if any): |  |  |  |
|  | Check Inspection Well - Depth of ponding at sand/soil interface (if any) |  |  |  |
|  | Pressure-Distribution Laterals: |  |  |  |
|  | Original Distal Head | Date (mm./dd/yyyy) | feet from top of cap of | Lateral # |
|  | Check & measure distal head from top of cap of Lateral # |  |  | Lateral # |
|  | (Note: All other Laterals should remain closed when test is performed ) |  |  |  |
|  | Snake & flush all laterals (req'd min. once/year). |  | Date last done |  |
|  | Close all Laterals and turn pump on. Listen for distribution? |  |  |  |
|  | Comments: |  |  |  |
|  | Signature |  | Certificate # |  |
|  | Name |  |  |  |