|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection - Title 5 Program Bottomless Sand Filter Technology Checklist |
| --- | --- |
|  | A. General Information |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | Pilot Approval Date | DEP Transmittal Number |
|  | Address | Owner |
|  | Date of Inspection |  |  |
|  | Water Meter Reading: see attached Technology Inspection Form |
|  | Septic Tank: see attached Technology Inspection Form |
|  | Pump Chamber: see attached Technology Inspection Form |
|  | Treatment Unit: see attached Technology Inspection Form |
|  | B. Bottomless Sand Filter |
|  | Ponding on surface of pea gravel ? |  |
|  | Settling of pea gravel or possible animal activity? |  |
|  | Any odor? |  |
|  | Move pea gravel to expose sand interface. Depth of ponding (if any): |  |
|  | Check Inspection Well - Depth of ponding at sand/soil interface (if any) |  |
|  | Pressure-Distribution Laterals: |  |
|  | Original Distal Head | Date (mm./dd/yyyy) | feet from top of cap of | Lateral # |
|  | Check & measure distal head from top of cap of Lateral # | Lateral # |
|  | (Note: All other Laterals should remain closed when test is performed ) |
|  | Snake & flush all laterals (req'd min. once/year). | Date last done |
|  | Close all Laterals and turn pump on. Listen for distribution? |  |
|  | Comments: |
|  | Signature | Certificate # |
|  | Name |  |