|  | # SKETCH PLAN PREPARATION # CHECKLIST |
| --- | --- |

CITY/TOWN:

DISTRICT:

ROADWAY ON BRIDGE:

FEATURE INTERSECTED:

FOR EXISTING BRIDGE:

BRIDGE No.:	     	BIN:

FOR PROPOSED BRIDGE:	 Pending

BRIDGE No.	     	BIN:

The Principal in Charge certifies that he/she has reviewed the Sketch Plans in accordance with this checklist and that all responses on this checklist are correct and accurately reflect the information presented on the submitted Sketch Plans.

SUBMITTED BY:

Signature of Principal in Charge	Date

# PURPOSE OF SKETCH PLANS

Bridge Sketch Plans are a preliminary presentation of the overall concept of the proposed structure or proposed rehabilitation.  It allows the Designer and MassHighway to agree on the principal components of the structure type or the rehabilitation scheme to be pursued in the final design phase.  The Designer shall not proceed with the final design phase until the Sketch Plans have been approved by MassHighway and FHWA (when applicable)

# GENERAL INFORMATION

Sketch Plans must be approved for all structures that require design in accordance with the Bridge Manual, except for structures taken from the MassHighway Construction Standards and Bridge Betterment and Preservation Projects.  Exceptions to the above will be made only with the approval of the Director of Bridges and Structures.  The Designer must obtain a Bridge No. and/or BIN (Bridge Identification Number)  in writing from the Director of Bridges and Structures prior to the submission of Sketch Plan mylars for signature.

CHECKLIST INSTRUCTIONS

The purpose of this checklist is to help the designer and reviewer ensure that all information required by MassHighway has been presented on the Sketch Plans.  A NO (N) response for items so designated indicates a FATAL OMISSION that will result in an automatic rejection of the Sketch Plans.  In all other instances, a NO (N) response or a NOT APPLICABLE (N/A) response will require a written explanation in the space provided.  Numbers along the left hand margin refer to applicable sections, subsections and paragraphs in Part I of the Bridge Manual.

  - SKETCH PLANS

#### DEVELOPMENT OF PROPOSED BRIDGE CONCEPT

Y	N	N/A

Is the proposed bridge structure developed on the Sketch Plans consistent with the structure type approved by MassHighway.

Explanation:

Y	N	N/A

Are the bridge foundations shown on the Sketch Plans consistent with the findings and recommendations of the Geotechnical Report.

Explanation:

Y	N	N/A

Are the dimensions and shape of the hydraulic opening of the bridge structure consistent with the Hydraulic Report.

Explanation:

Y	N	N/A

Does the structure provide 2 feet of clearance between the design approach water surface elevation and the low chord of the bridge in accordance with Subsection 1.3.2 of Part I of the Bridge Manual.

Explanation:

Y	N	N/A

Are all proposed bridge structure details in accordance with Part II of the Bridge Manual.

Explanation:

Y	N	N/A

Has the use of each non-standard detail received prior written approval individually from the Director of Bridges and Structures.

Explanation:

Y	N	N/A

If the access for inspection is restricted, as is the case with a bridge spanning over existing abutments that have been retained, have the absolute bridge inspection clearances in accordance with Drawing 2.1.14 of Part II of the Bridge Manual been provided (a NO (N) response indicates a FATAL OMISSION).

Explanation:

Y	N	N/A

If the bridge is over a railroad, have the need and limits for permanent sheeting for support of excavation been established based on the railroad slope lines for the railroad company involved and the limits of excavation (a NO (N) response indicates a FATAL OMISSION).

Y	N	N/A

Has the constructability of the proposed bridge structure in relation to the site constraints and parameters been verified.

Explanation:

Y	N	N/A

Can the excavation for the foundations and substructure units be made without undermining or de-stabilizing the existing bridge structure and/or any other adjacent structure.

Explanation:

Y	N	N/A

Is there a feasible means of control of water to construct the proposed bridge structure.

Explanation:

Y	N	N/A

Can the proposed beams and other major bridge components be delivered to the construction site from the nearest principal road (interstate, primary or secondary route).

Explanation:

### ORGANIZATION:	A NO (N) response in this section represents a FATAL OMISSION

Y	N

Have the Sketch Plans been organized in the following sequence:

- First Sheet

- Boring Sheets

- Structural Detail Sheets

Y	N

Were the latest MassHighway AutoCAD Standard Blocks and Drawing Templates for Sketch Plans used to prepare the Sketch Plans (downloadable from the MassHighway website or from the Bridge Manual CD).

Y	N

Were the standard MassHighway AutoCAD layers, linetypes, lineweights, text fonts and symbols used in the preparation of the Sketch Plans (downloadable as the Plot Style File from the MassHighwyay website of from the Bridge Manual CD).

Y	N

Do the printed Sketch Plans conform to the standard sheet sizes, border dimensions, title block and standard data block dimensions as detailed on Drawing 1.2.1 of Part II of the Bridge Manual.

      - FIRST SHEET: does the first sheet contain the following information:

A NO (N) response in this section represents a FATAL OMISSION

Y	N

Standard Title Block: has the correct project description been provided (see paragraph 4.2.2.2 for the standard project descriptions and their definitions).

Y	N

Are the correct Bridge No. and BIN for the proposed bridge or rehabilitated bridge on the Sketch Plans.

Y	N

Standard Data Block: has the correct project information and traffic data been provided in the format required by Drawing 1.2.4 of Part II of the Bridge Manual.

Y	N

Locus: of approximate scale 1” = 2000’ and does it provide sufficient landmarks and adjacent highways so that the bridge project site can be located within a city/town.

Y	N

Key Plan: should show only those CAD layers that are relevant to the bridge and provide:

N/A

all relevant roadway geometry data, baseline and stations

intersecting baselines and baseline equations

relocated and proposed utilities

configuration of all existing and proposed buildings and structures

the existing bridge and its substructure and footings along with wingwalls and approach highway walls

the proposed bridge and its substructure and footings along with wingwalls and approach highway walls

riprap treatment and channel paving

locations of all borings, test pits and other subsurface investigations using standard MassHighway boring symbols

Explanation:

Y	N

Profile (for the road on the proposed bridge): drawn directly under the Key Plan showing all vertical highway geometry, grades and elevations along with:

- an outline of the existing and proposed structures

- the stations on the Profile line up as best as is possible with the stations on the Key Plan

Y	N	N/A

Profiles (for each road, railroad, or stream bed under the proposed bridge): shall be provided adjacent to the Profile of the road on the proposed bridge showing:

- all vertical elevations of profile grade, top of rail, stream bed and water elevations

- outline of the existing bridge

- outline of the proposed bridge and its relation to the profile of the feature below the bridge.

Explanation:

Y	N

Design Specification: does the note specify the actual loading and design specifications to be used for design and/or are any variations from the AASHTO Standard Specifications or MassHighway Bridge Manual noted.

Y	N	N/A

Have the variations from the AASHTO Standard Specifications or MassHighway Bridge Manual received approval in writing from the Director of Bridges and Structures.

Explanation:

Y	N

Notes: have all of the required notes been provided.

Y	N

If the profile grades have been approved, has this note been deleted.

Y	N	N/A

Hydraulic Data: has the hydraulic data from the Hydraulic Report been provided correctly.

Explanation:

      - BORING SHEETS: A NO (N) response in this section represents a FATAL OMISSION

Y	N	N/A

Have Boring Logs been provided for all subsurface explorations indicated on the Key Plan on the First Sheet.

Explanation:

Y	N	N/A

Are the Boring Logs plotted in groups as they relate to the substructure units and to the same base elevation.

Explanation:

Y	N	N/A

Has the water level at each boring been plotted to scale and the date of observation shown.

Explanation:

Y	N	N/A

Has the bottom of footing elevation for each proposed substructure unit been indicated and plotted to scale in relation to the Boring Logs (top of footing for substructure units founded on ledge).

Explanation:

Y	N	N/A

Has the elevation of the pile tip or the bottom of the drilled shaft been indicated and plotted to scale in relation to the Boring Logs.

Explanation:

Y	N	N/A

Do the required Boring Notes appear on the first sheet of the Boring Logs and has all required information been provided.

Explanation:

Y	N	N/A

If ground water observation wellpoints have been installed, have the observed water levels been tabulated on the Sketch Plans along with the Ground Water note.

Explanation:

      - STRUCTURE DETAIL SHEETS: A NO (N) response in this section represents a FATAL OMISSION

Y	N

Longitudinal Section: normally at 1/8” = 1’-0” scale, but will vary depending on the length of the structure.  This is a section parallel to the centerline of the structure showing its relationship to the highway, railroad, or stream under the proposed structure.  The following items are to be shown:

Y	N	N/A

all square and skew horizontal dimensions and vertical clearances

if the proposed structure modifies or replaces an existing structure, existing and proposed clearances

elevation of bottom of footings (top of footings if on ledge) or approximate pile tip or bottom of shaft

location of fixed and expansions bearings (if applicable)

factored soil bearing pressures and capacities of factored pile or shaft loads and capacities for Group X loading (define critical group number)

type of pile (if applicable)

limits of gravel borrow for bridge foundations or crushed stone for bridge foundations (if applicable)

existing ground

individual span lengths and overall span length, both square and skew (centerline to centerline of bearings)

tremie seal and sheeting (if applicable)

proposed cross section of road, railroad, or stream under the structure, providing all pertinent dimensions such as sidewalk and roadway widths, track to track centerlines as well as their distances from all proposed or retained substructure elements.

Explanation:

Y	N	N/A

Elevation of Pier: scale view along the length of the pier, showing all critical dimensions to be used in its design.

Explanation:

Y	N

Transverse Section of Superstructure: a cross section of the superstructure showing:

Y	N	N/A

all critical dimensions either from the highway plans or from the standard Bridge Manual details

roadway cross slopes

type of railing or barrier

location of all utilities to be provided for on the proposed bridge

spacing, depth and type of beam

slab thickness and type

type of wearing surface

Explanation:

Y	N	N/A

Channel Section: a cross section of the waterway approaches to the bridge showing (not applicable if bridge is not over water):

Y	N	N/A

existing and proposed channel dimensions

treatment of slopes

existing water elevation

design water elevation

Explanation:

Y	N

Approach Section: a cross section of the approach to the superstructure showing all applicable dimensions and details.

Y	N	N/A

Stage Construction Details: if stage construction is involved, show the limits of both the existing and proposed structure for all stages of construction.  These details should show all details and dimensions necessary to determine the adequacy of the proposed staging from both a structural and traffic safety standpoint and to show the relationship of the proposed work to the existing structure.

Explanation:

    - SUBMISSION AND APPROVALS: A NO (N) response in this section represents a FATAL OMISSION

Y	N

Has the correct number of copies for an initial submittal been provided:

N/A

MBTA crossing – 3 sets

Other RR crossing – 6 sets

Waterway crossing – 3 sets

Highway crossing – 2 sets

Utilities – 2 sets for each utility involved

Explanation:

Y	N	N/A

FHWA Review: if FHWA review and approval is required, 2 sets to be submitted after all initial MassHighway comments have been resolved.

Explanation:

      - REVIEW PROCESS: A NO (N) response in this section represents a FATAL OMISSION

Y	N	N/A

Have all comments been addressed and corrections made.

Explanation:

Y	N	N/A

Have corrected prints and all marked-up review prints been submitted to MassHighway for review and/or approval.

Explanation:

Y	N

##### Submission of Sketch Plans for Signature: have the final, corrected Sketch Plans as approved by MassHighway been printed on mylar and submitted for signature.