The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Phone: 617-356-5387

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

May 26, 2023

Christopher Gendreau, Director Food Services

Bridgewater Complex Food Service

1 Administration Road

Bridgewater, MA 02324		(electronic copy)

Re: Facility Inspection – Bridgewater Complex Food Service, Bridgewater

Dear Mr. Gendreau:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Bridgewater Complex Food Service on May 24, 2023, accompanied by Joseph Eugenio, Food Service Director, Donald Wright, Deputy Director of Food Service, and Lieutenant Jared Porada. Violations noted during the inspection are listed below including 22 repeat violations.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Joseph Eugenio, Food Service Director						(electronic copy)

Kenneth Finn, Core Compliance Officer						(electronic copy)

Eric J. Badger, Health Agent, CHO, Bridgewater Board of Health		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Loading Dock

Trap Office

No Violations Noted

Main Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor damaged in several areas

Hallway

No Violations Noted

Swill Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor damaged outside swill room

Director’s Office

No Violations Noted

Handwash Sink

105 CMR 451.126		Hot Water: Hot water temperature 60°F

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking

Pot Storage Room

No Violations Noted

Cooler # 9

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Diet Kitchen

No Violations Noted

Office # 155

No Violations Noted

Grease Hood Area

No Violations Noted

Kettle Area

No Violations Noted

Office # 157

No Violations Noted

Office # 158

No Violations Noted

Oven Area

No Violations Noted

Slicer Table

No Violations Noted

Bakery Area

No Violations Noted

Trauslen Refrigerator # 1294

No Violations Noted

Ice Machine

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, bolt missing on door hinge

Handwash Sink

105 CMR 451.126		Hot Water: Hot water temperature 60°F

Dry Storage

No Violations Noted

Cooler # 1

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling surface damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall surface damaged

FC 6-501.12(A)		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed on ceiling

FC 6-501.12(A)		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing water observed on floor

FC 6-501.12(A)		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Freezer # 1

FC 6-501.12(A)*		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed on ceiling

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

Cooler # 2

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 6-501.12(A)*		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling surface dirty, possible mold/mildew

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling surface damaged

Utensil Closet # 164

No Violations Noted

Handwash Sink

105 CMR 451.126		Hot Water: Hot water temperature 60°F

Inmate Bathroom # 165

105 CMR 451.123*	Maintenance: Door damaged

New Pot Room

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at right side 3-compartment sink

Market Area

Cooler # 3

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged at entrance

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

FC 6-501.12(A)*		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling surface dirty, possible mold/mildew

Freezer # 2

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged at entrance

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, door frame damaged at entrance

Cooler # 5

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, walls dirty

Cooler # 6

Unable to Inspect – Not in Use

Staff Bathroom # 168

No Violations Noted

Freezer # 7

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up on ceiling

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up on both entrances

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window cracked on door

Cooler # 4

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged

FC 6-501.12(A)		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling surface dirty, possible mold/mildew

Old Bakery

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout

Handwash Sink

105 CMR 451.126		Hot Water: Hot water temperature 60°F

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, sink drain clogged

Office # 124

No Violations Noted

Office # 125

Unable to Inspect – Locked

Bathroom # 126

105 CMR 451.123		Maintenance: One light out

Records # 127

No Violations Noted

Cooler # 12

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty, possible mold/mildew

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty, possible mold/mildew

Storage Room # 121

No Violations Noted

Freezer

No Violations Noted

Traulsen 2-Door Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

Traulsen 3-Door Freezer

No Violations Noted

Hallway

Toxic/Caustic Closet # 118

No Violations Noted

Female Bathroom # 115

No Violations Noted

Inmate Bathroom # 114

Unable to Inspect – Not Used

Male Bathroom # 112

No Violations Noted

Slop Sink Room # 111

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing water observed on floor

Inmate Dining Area

Warewashing Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine leaking

Handwash Sink

105 CMR 451.126		Hot Water: Hot water temperature 60°F

Kitchen Area

No Violations Noted

Food Service Line

No Violations Noted

True Refrigerator

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior of refrigerator dirty

Traulsen Double Door Warmer

No Violations Noted

Main Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Exterior door not tight-fitting

Receiving Office # 175

No Violations Noted

Store House

Warehouse Storage Office # 139

No Violations Noted

Storage Cage

No Violations Noted

Storage Closet # 128

No Violations Noted

Staff Bathroom # 129

No Violations Noted

New Freezer

No Violations Noted

Server Room

Unable to Inspect – Locked

Observations and Recommendations

- At the time of inspection, hot water temperatures were found to be outside of the acceptable range at handwash sinks throughout the facility. Facility staff informed the CSP that the hot water was shut off at 5:00 a.m. on May 24, 2023 and was scheduled to be restored at 10:00 a.m. that same day due to repairs being made to the steam system. The CSP is concerned with the lack of hot water for such a prolonged period of time and the inability for staff and inmates to properly wash their hands or sanitize food service equipment and utensils. For future repair work, the Department recommends implementing a plan to ensure a sufficient hot water supply is available while the kitchen is in operation.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH