The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

May 31, 2019

Suzanne Thibault, Superintendent

Bridgewater State Hospital

20 Administration Road

Bridgewater, MA 02324	(electronic copy)

Re: Facility Inspection – Bridgewater State Hospital

Dear Superintendent Thibault:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Bridgewater State Hospital on May 16 and 17, 2019 accompanied by Sergeant Norberto Melo, Environmental Health and Safety Officer; Steven Proulx, Facility Manager, and Community Sanitation Program Staff. Violations noted during the inspection are listed below including 404 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

BUILDING # 1 – ADMINISTRATION

Main Entrance

Waiting Room

No Violations Noted

Male Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Privacy partition rusted

Female Bathroom

105 CMR 451.123*	Maintenance: Privacy partition rusted

Administration Building

Front Control

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Ceiling water damaged

Main Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Legal Records # AD-149

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Visitor’s Bathroom # AD-148

105 CMR 451.123*	Maintenance: Ceiling water damaged

Judge Lobby # AD-146

No Violations Noted

Visiting Room

No Violations Noted

Roll Call Room

No Violations Noted

Toxic/Caustic Closet # AD-110

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Office # AD-111

No Violations Noted

CPO Office # AD-112

No Violations Noted

Radio Room # AD-114

No Violations Noted

Office # AD-115

No Violations Noted

Archives Room # AD-117

No Violations Noted

Basement

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet not working at handwash sink # 2

Equipment/Mail Room

No Violations Noted

Uniform Storage

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Female Locker Room

No Violations Noted

Storage Cage

No Violations Noted

Custodian Closet

No Violations Noted

Court Room Corridor

Rear Control # AD-129

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Rear Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Secure Visiting Room

No Violations Noted

Patient Holding # AD-134

105 CMR 451.353*	Interior Maintenance: Wall paint damaged under air conditioning unit

Attorney Visiting Room # AD-135 & 136

No Violations Noted

Toxic/Caustic Closet # AD-137

No Violations Noted

Staff Breakroom # AD-138

No Violations Noted

Staff Bathroom # AD-139

No Violations Noted

Court Room # AD-141

No Violations Noted

Records Module

Entrance Area

No Violations Noted

Offices

No Violations Noted

Break Room # RM-13

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Records Area # RM-19, 20, & 21

No Violations Noted

Patient Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Ceiling paint damaged

Control Center Corridor

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Director of Safety Office # AD-127

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Room # AD-125

Unable to Inspect – Locked

Facility Manager’s Office # AD-124

No Violations Noted

Room # AD-123

Unable to Inspect – Locked

Administration Module

First Floor

Lobby

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged

Male Bathroom

105 CMR 451.123	Maintenance: Toilet partitions rusted

Chemical Closet # AM-125

No Violations Noted

Female Bathroom

No Violations Noted

Deputy’s Office # AM-123

No Violations Noted

Superintendent’s Office # AM-121

No Violations Noted

Room # AM-119

No Violations Noted

Room # AM-117

No Violations Noted

Room # AM-115

No Violations Noted

Room # AM-110

No Violations Noted

Copy Room # AM-109

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Wall water damaged

Room # AM-108

No Violations Noted

Room # AM-104

No Violations Noted

Conference Room # AM-106

No Violations Noted

Second Floor

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Bathroom # AM-202

105 CMR 451.123*	Maintenance: Ceiling damaged

Storage # AM-203

No Violations Noted

Break Room # AM-204

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Storage # AM-205

No Violations Noted

Room # AM-207

No Violations Noted

Room # AM-209

No Violations Noted

Room # AM-210

No Violations Noted

Room # AM-212

No Violations Noted

Room # AM-213

No Violations Noted

Room # AM-215

No Violations Noted

Room # AM-216

No Violations Noted

Room # AM-218

No Violations Noted

Room # AM-220

105 CMR 451.353		Interior Maintenance: Ceiling water stained

Room # AM-222

No Violations Noted

Room # AM-223

No Violations Noted

Room # AM-225

No Violations Noted

Room # AM-227

No Violations Noted

Room # AM-228 & 229

No Violations Noted

BUILDING # 2 – ADAMS

A1 Unit

Control

No Violations Noted

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Common Room

No Violations Noted

Office # A1-116

No Violations Noted

Treatment Team Office # A1-117

No Violations Noted

Main Area

MHW Office # A157

No Violations Noted

Nurse’s Station/Bathroom # A119

No Violations Noted

Room # A121

No Violations Noted

Transfer Room # A124

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.350	Structural Maintenance: Door to exterior not rodent and weathertight

Nurse’s Treatment Room # A125

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Clothing Room # A126

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Slop Sink Closet # A155

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Staff Break Room # A156

No Violations Noted

Room Corridor

Quiet Room # A1-125

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 117

105 CMR 451.353	Interior Maintenance: Floor surface damaged in room # 121

Dorm Corridor

Dorm Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

Dorm Shower

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123*	Maintenance: Floor rust stained

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Dorm/Storage Room # 1

No Violations Noted

Dorm # 3

No Violations Noted

Dorm # 6

No Violations Noted

Dorm # 5

No Violations Noted

Dorm # 4

No Violations Noted

Dorm # 2 (Quiet Room)

No Violations Noted

A2 Unit

Control

No Violations Noted

Control Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

Common Room

No Violations Noted

Treatment Office

No Violations Noted

MHW Office

No Violations Noted

Main Area

Unit Director’s Office # A2-252

No Violations Noted

Staff Break Room # A2-251

No Violations Noted

Nurse’s Station # A-217

No Violations Noted

Nurse’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Interview Room # A2-219

No Violations Noted

Slop Sink Closet # A2-250

No Violations Noted

Toxic/Caustic Closet # A2-248

No Violations Noted

Corrections Program Office # A2-220

No Violations Noted

Room Corridor

Treatment Room # A2-221

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F at handwash sink

Linen Room # A2-222

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor rust stained in room # 209, 213, and 217

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 201, 203, 204, 205, 209, 213, 215, 217, 219, 221, 223, and 225

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 204, 211, 216, 218, and 225

105 CMR 451.353	Interior Maintenance: Floor paint damaged in room # 215 and 217

105 CMR 451.103	Mattresses: Mattress damaged in room # 204, 213, 218, 220, and 221

Dorm Corridor

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Dorm Bathroom

105 CMR 451.123*	Maintenance: Paint damaged on side of sink counter

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Floor surface left unfinished next to sinks

105 CMR 451.123*	Maintenance: Wall tiles damaged/missing behind toilets

105 CMR 451.123*	Maintenance: Paint damaged on partitions

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Wall vent dusty

Dorm Shower

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

Dorm # 7

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 3 and 4

Dorm # 9

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 4

Dorm # 11

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 3

Dorm # 12

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Dorm # 10

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 1 and 4

Dorm # 8 (Quiet Room)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

BUILDING # 3 – BRADFORD

B1 Unit

Control

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent filled with debris

Control Bathroom

No Violations Noted

Common Room

No Violations Noted

RTA Office

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Game Room

105 CMR 451.353*	Interior Maintenance: Table damaged

Main Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Nurse’s Station

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Interview Room # B-121

No Violations Noted

Transfer Room # B-124

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

RTA Office # B1-156

105 CMR 451.353	Interior Maintenance: Paint damaged on radiator

TST Office # B1-157

105 CMR 451.353*	Interior Maintenance: Paint damaged on radiator

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Room Corridor

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Treatment Room # B-125

No Violations Noted

Laundry Room

No Violations Noted

Treatment Room # B1-125

105 CMR 451.353*		Interior Maintenance: Floor surface damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Rooms

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 104, 105, 106, 107, 108, 109, 110, 113, 114, 115, 116, 119, 120, 121, 123, and 125

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 102, 104, 105, 106, 108, 110, 114, 117, 119, 120, and 123

105 CMR 451.353	Interior Maintenance: Wall paint damaged in room # 101 and 103

105 CMR 451.353	Interior Maintenance: Floor paint damaged in room # 103, 111, and 118

105 CMR 451.353	Interior Maintenance: Ceiling dirty in room # 106

Dorm Corridor

105 CMR 451.350		Structural Maintenance: Ceiling damaged

105 CMR 451.353		Interior Maintenance: Wall paint damaged

Dorm Bathroom

105 CMR 451.123*	Maintenance: Paint damaged on toilet partitions

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Paint damaged on sink unit

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, drain clogged at handwash sink # 5

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, urinal # 2 clogged

105 CMR 451.123	Maintenance: Water pooling on floor

Dorm Shower

105 CMR 451.123*	Maintenance: Floor surface damaged

Dorm # 1

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Consult Room # 1

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Consult Room # 2

No Violations Noted

Consult Room # 3

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Table paint damaged

Treatment Team Conference Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Treatment Team Office

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

B2 Unit

Control

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control Bathroom

No Violations Noted

Common Room

105 CMR 451.353*	Interior Maintenance: Window frame paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Treatment Team Office

No Violations Noted

Recreational Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Main Area

Mental Health Worker’s Office

No Violations Noted

Staff Break Room

105 CMR 451.353*	Interior Maintenance: Paint damaged on radiator

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Mop Closet # B-250

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Toxic/Caustic Closet # B2-248

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain cover missing

Interview Room # 1

No Violations Noted

Interview Room # 2

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Nurse’s Station/Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at bathroom handwash sink

Room Corridor

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Treatment Room # B2-221

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at handwash sink

Linen Room # B2-222

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 204, 205, 210, 211, and 218

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 219 and 225

Dorm Corridor

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Dorm Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet # 3 clogged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F at slop sink

Dorm Shower

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out-of-order

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1380F

Dorm # 7

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 1

Dorm # 9

105 CMR 451.353*	Interior Maintenance: Door paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Mold observed on ceiling above door

105 CMR 451.103*	Mattresses: Mattress damaged at bed # 1

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Dorm # 11

105 CMR 451.353*	Interior Maintenance: Floor surface damaged and rust stained

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Dorm # 12

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Dorm # 10

105 CMR 451.353*	Interior Maintenance: Light covered in toothpaste

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.103	Mattresses: Mattress damaged at bed # 2 and 6

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Dorm # 8 (Quiet Room)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

BUILIDING # 4 – COTTER

C1 Unit

Control

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Window cracked

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Common Room

No Violations Noted

Activity Room # C-116

No Violations Noted

Activity Room # C-117

105 CMR 451.353*	Interior Maintenance: Hole in wall

Main Area

Treatment Room # C-157

No Violations Noted

Nurse’s Station # C-156

No Violation Noted

Mop Closet # C-155

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Transfer Room # C-124

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Door frame damaged

Storage Room # C-121

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Staff Break Room

No Violations Noted

Staff Bathroom

No Violations Noted

Room Corridor

Quiet Room # C-125

105 CMR 451.103	Mattresses: Mattress damaged

Laundry Room # C-126

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor cracked in room # 107, 109, 112, and 115

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 103, 105, and 107

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 103, 106, 108, 111, 112, 114, 115, and 116

105 CMR 451.353	Interior Maintenance: Floor paint damaged in room # 107 and 109

105 CMR 451.353	Interior Maintenance: Wall paint damaged in room # 101, 106, 109, 114, 116, and 120

Dorm Corridor

105 CMR 451.353*	Interior Maintenance: Floor tiles rust stained outside dorm bathroom

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside showers

Dorm Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 running continuously

105 CMR 451.123*	Maintenance: Wall tiles damaged behind toilets

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at slop sink

105 CMR 451.123*	Maintenance: One light out

105 CMR 451.123*	Maintenance: Floor surface damaged at entrance

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain clogged

105 CMR 451.123*	Maintenance: Toilet # 3 continuously running

105 CMR 451.123*	Maintenance: Countertop and handwash sink # 1-5 dirty

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Paint damaged on sink unit

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Water pooling on floor

105 CMR 451.360	Protective Measures: Ants observed on countertop and handwash sinks

Dorm Shower

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Soap scum on floor

Hygiene, Shaves, & Storage # C-105

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit Director’s Office # C-106

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Treatment Team Office # C-107

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Sensory Room # C-110

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Group Room # C-111

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Classroom # C-112

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged above whiteboard

105 CMR 451.353	Interior Maintenance: Wall paint damaged

C2 Unit

Control

No Violations Noted

Control Bathroom

105 CMR 451.123*	Maintenance: Baseboard missing

105 CMR 451.123	Maintenance: Ceiling paint damaged

Common Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Day Room # C-214

No Violations Noted

Game Room # C-215

No Violations Noted

Main Area

Staff Break Room/Bathroom # C2-217

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1460F at bathroom handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

Storage Room # C-219

No Violations Noted

Room # C-220

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Nurse’s Treatment Room # C-252

No Violations Noted

Medical Room # C-251

No Violations Noted

Slop Sink Closet # C2-250

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Room Corridor

Laundry Room # C-221

No Violations Noted

Linen Room # C-222

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 208, 221, and 225

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 205, 211, 213, and 220

Dorm Corridor

Dorm Bathroom

105 CMR 451.123*	Maintenance: Hand dryer rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 running continuously

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 5 leaking

105 CMR 451.123	Maintenance: Water pooling on floor

Dorm Shower

105 CMR 451.123*	Maintenance: Soap scum on floors

105 CMR 451.123*	Maintenance: Floor paint damaged

Hygiene, Shaves, & Storage # C-204

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Unit Director’s Office # C-205

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Treatment Team Office # C-206

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Sensory Room # C-208

No Violations Noted

Group Room # C-209

No Violations Noted

Classroom # C-210

105 CMR 451.353	Interior Maintenance: Floor paint damaged

BUILDING # 5 – MINIMUM MOD

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance and throughout hallways

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Room # CM02

No Violations Noted

Staff Break Room # CM45

No Violations Noted

Patient Bathroom

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Group Rooms

No Violations Noted

Room # CM26

No Violations Noted

BUILDING # 7 – COMMONS

Lobby Area

105 CMR 451.353*	Interior Maintenance: Floor cracked

Best Pro Cleaning Office

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet # SL-01

No Violations Noted

Laundry

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

Control

105 CMR 451.353*	Interior Maintenance: Paint damaged on window frames

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Main Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor cracked

Female Bathroom # CL-08

105 CMR 451.123*	Maintenance: Floor damaged near floor drain

105 CMR 451.123*	Maintenance: Partition rusted

Patient Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Partitions dirty

105 CMR 451.123*	Maintenance: Partitions paint damaged

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 4 continuously running

105 CMR 451.123	Maintenance: Radiator rusted

Storage Area # CL-11

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles rust stained

105 CMR 451.353	Interior Maintenance: Door damaged

Barbershop # CL-13

No Violations Noted

Food Service Manager’s Office

No Violations Noted

Chair Cot/Stretcher Room # CL-15

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Gym

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Ceiling damaged above stage

105 CMR 451.350*	Structural Maintenance: Floor water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling rusted above workout equipment

105 CMR 451.353*	Interior Maintenance: Stage surface damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water fountain out-of-order

105 CMR 451.353*	Interior Maintenance: Water pooling on floor

105 CMR 451.353*	Interior Maintenance: Exercise equipment rusted

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Gym Control

No Violations Noted

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Storage Room # CG-23

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Male Bathroom # CG-13

No Violations Noted

Female Bathroom # CG-14

105 CMR 451.123*	Maintenance: Ceiling damaged, hole in ceiling

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order

Storage Closet # CG-15

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Recreational Office

No Violations Noted

Room # CG-16

No Violations Noted

Room # CG-17

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Storage Room # CG-12

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Recycle Room # CG-11

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

School Corridor

105 CMR 451.350*	Structural Maintenance: Ceiling damaged above rear exit

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Staff Bathroom # CS-01

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Partitions rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Toxic/Caustic Closet # CS-02

No Violations Noted

Library # CS-03

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in several areas throughout library

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

Law Library

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Life Skills Group Room # CS-10

105 CMR 451.353	Interior Maintenance: Table tops damaged

Storage Room # CS-09

No Violations Noted

Clubhouse Room # CS-11

No Violations Noted

Mental Health Supervisor’s Office # CS-15

No Violations Noted

Bridge to Recovery # CS-14

No Violations Noted

Classroom # CS-16

No Violations Noted

Chapel

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Office # CS-25

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Room # CS-26

105 CMR 451.353	Interior Maintenance: Floor tile missing

Offices # CS-28

No Violations Noted

Kitchen

Office

No Violations Noted

Handwash Sink

No Violations Noted

Ice Machine

No Violations Noted

Small Dry Storage # CK-22

No Violations Noted

Patient Bathroom # CK-21

105 CMR 451.123*	Maintenance: Wall vent dusty

Staff Bathroom/Locker Room

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Wall damaged

Prep Area

No Violations Noted

Dishwashing Machine Area

No Violations Noted

Refrigerator A

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets moldy

Refrigerator B

No Violations Noted

Refrigerator C

No Violations Noted

3-Compartment Sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, grease trap rusted

Freezer # 1

No Violations Noted

2-Compartment Sink

No Violations Noted

Walk-In Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator out-of-order

Steam Kettles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, insulation damaged on pipes

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged around floor drain

Hoods

No Violations Noted

Handwash Sink

No Violations Noted

Slop Sink Closet

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint peeling

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, access panel rusted on ceiling

Milk Refrigerator # 2068

No Violations Noted

Supply Area

No Violations Noted

Serving Line

No Violations Noted

Diet Cooler E

No Violations Noted

Traulsen Diet Warmer # 2

No Violations Noted

Dining Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling water damaged

Transfer Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and

vermin tight

Toxic/Caustic Closet

No Violations Noted

Basement

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in hallway

Maintenance Department

Bathroom/Slop Sink

No Violations Noted

Tool Crib

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator temperature recorded at 47°F

Metal/Electrical/Plumbing Shop

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator temperature recorded at 460F

Welder’s Area

No Violations Noted

Break Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Wood Shop

No Violations Noted

Mechanical Room A # CB-10

No Violations Noted

Mechanical Room B # CB-06

No Violations Noted

Elevator Machine Room # CB-09

No Violations Noted

Electrical Room # CB-07

No Violations Noted

BUILDING # 8 – HADLEY

Closet # M-102

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Control

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

A-Corridor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain out-of-order

105 CMR 451.353	Interior Maintenance: Floor tiles broken

Day Dining Room

No Violations Noted

MHT Office # M-108

No Violations Noted

Broom Closet # M-130

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance

105 CMR 451.353	Interior Maintenance: Light out

Transfer Room

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Nurse’s Treatment Room

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 111, 114, 115, and 123

105 CMR 451.353	Interior Maintenance: Floor paint damaged in room # 102, 104, 105, 106, 107, 108,

and 112

B-Corridor

Treatment Team Conference Room

No Violations Noted

Treatment Team Office

No Violations Noted

Closet # M-176

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Doctor’s Office

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Nursing Station Medication Room

No Violations Noted

Rooms

105 CMR 451.353	Interior Maintenance: Floor paint damaged in room # 117, 118, 119, 122, 124, 131,

and 132

105 CMR 451.353	Interior Maintenance: Wall paint damaged in room # 122, 124, 126, and 128

C-Corridor

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Staff Break Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Staff Bathroom

No Violations Noted

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Secured Interview 1

No Violations Noted

Secured Interview 2

No Violations Noted

Secured Interview 3

No Violations Noted

Game Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Clothing Storage

No Violations Noted

Clothing Storage 2

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Work Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Comfort Room

No Violations Noted

Group Room

No Violations Noted

Storage Room

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Paint damaged on radiator

105 CMR 451.123*	Maintenance: Floor surface damaged at entrance

105 CMR 451.123	Maintenance: Hand dryer out-of-order

Shower Area

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Mold observed on ceiling

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1, 3, and 4 out-of-order

BUILDING # 9 – Lenox

Closet # M-202

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Control

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Control Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

A Corridor

Day Room # M-207

No Violations Noted

Room # M-208

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Closet # M-230

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Transfer Room # M-228

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Treatment Room # M-227

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in room # 104 and 114

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in room # 112

B Corridor

Treatment Team Conference Room # M-274

No Violations Noted

Treatment Team Office # M-275

No Violations Noted

Manager’s Office # M-254

No Violations Noted

Nurse’s Station # M-255

No Violations Noted

Rooms

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in room # 119, 122, and 125

105 CMR 451.353	Interior Maintenance: Floor surface damaged in room # 128

C Corridor

Staff Break Room # M-252

No Violations Noted

Staff Bathroom # M-253

No Violations Noted

Slop Sink Closet # M-251

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Toxic/Caustic Closet # M-250

No Violations Noted

Storage Room # M-248

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Secure Interview Room # M-274

No Violations Noted

TV Room # M-245

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Laundry Room # 1

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Laundry Room # 2

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Group Rooms

105 CMR 451.103	Mattresses: Mattress damaged in room # M-235

Secure Interview Room # M-234

No Violations Noted

Patient Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.126	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 1 and 3

Shower Room

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*		Maintenance: Floor drain rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2, 3, and 4 out-of-order

105 CMR 451.123		Maintenance: Door frame rusted

BUILDING # 10 – Berkshire

Right Side

105 CMR 451.353*	Interior Maintenance: Floor tiles broken in hallway

Patient Bathroom

Unable to Inspect – No Longer Used

Slop Sink # MM-03

No Violations Noted

Security Trap

No Violations Noted

Offices

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in office # MM-11

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

Slop Sink Closet # MM-30

No Violations Noted

Female Bathroom

No Violations Noted

Staff Break Room # MM-28

No Violations Noted

Left Side

No Violations Noted

Vending Machines

No Violations Noted

Staff Break Room # M-47

No Violations Noted

Offices

No Violations Noted

Training Room

No Violations Noted

BUILDING # 11 – LIGHTHOUSE (Medical)

CCRS Shift Supervisor’s Office

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

Basement

105 CMR 451.353*	Interior Maintenance: Stair tread damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Mechanical Room

105 CMR 451.353*	Interior Maintenance: Walls dirty, possible mildew/mold

105 CMR 451.353*	Interior Maintenance: Paint damaged on ducts

105 CMR 451.353*	Interior Maintenance: Pipe insulation damaged

First Floor

Clinic Corridor

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

Clinic # H-168

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Radiator rusted

Doctor’s Office # H-166

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Blood Lab # H-165

No Violations Noted

Nurse Director’s Office # H-164

No Violations Noted

Pharmacy # H-161

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Nurse Management Office # H-159

No Violations Noted

Nursing Supervisor’s Office # H-158

No Violations Noted

X-Ray Lab

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Dark Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Dental Office # H-152

No Violations Noted

Room # H-154

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Old Seclusion Area

105 CMR 451.350	Structural Maintenance: Back door to exterior not rodent and weathertight

Chief Nursing Officer’s Office # H-210

No Violations Noted

Holding/Strip Room

No Violations Noted

Room # H-204

No Violations Noted

Bathroom

No Violations Noted

Security Trap/Bathroom

No Violations Noted

Slop Sink Closet # H-201

No Violations Noted

Staff Break Room # H-200

No Violations Noted

Cells

Unable to Inspect – No Longer In Use

Nursing Admin. Office

No Violations Noted

Bathroom # H-182

No Violations Noted

Shower Room (Storage)

No Violations Noted

Storage Room # H-180

No Violations Noted

Booking Corridor

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Admissions Office # H-149

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Holding Room # H-170

105 CMR 451.353*	Interior Maintenance: Floor left unfinished

Doctor’s Office # H-171

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in refrigerator

Booking Assessment # H-219

No Violations Noted

Female Bathroom # H-172

105 CMR 451.123*	Maintenance: Floor cracked

105 CMR 451.123*	Maintenance: Ceiling water stained

105 CMR 451.123*	Maintenance: Partitions rusted

Male Bathroom # H-173

105 CMR 451.123*	Maintenance: Floor cracked

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

Medical Supply # H-175

No Violations Noted

Record Storage # H-220

No Violations Noted

Strip Room # H-222 (In Property)

No Violations Noted

Bathroom # H-221 (In Property)

No Violations Noted

Mechanical Room # H-217

No Violations Noted

Medical Waste Storage Room # H-215

105 CMR 451.350*	Structural Maintenance: Ceiling cracked

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished

105 CMR 451.350	Structural Maintenance: Wall water damaged

Booking Trap # H-212

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Holding Room # H-211

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Toxic/Caustic Closet # H-177

No Violations Noted

Slop Sink Closet # H-176

No Violations Noted

Infirmary

Trauma Room

105 CMR 451.353*	Interior Maintenance: Cabinet missing door

Trauma Bathroom

No Violations Noted

Trauma Supply Room

No Violations Noted

Room # 1

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Room # 2/Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Handwash sink unit rusted

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Dorm # 1/Bathroom

105 CMR 451.353*	Interior Maintenance: Floor rust stained

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Dorm # 2/Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in dorm

105 CMR 451.123*	Maintenance: Ceiling paint damaged in bathroom

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Dorm # 3/Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Nurse’s Office # H-145

105 CMR 451.353*	Interior Maintenance: Cabinet door broken

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Light shield broken

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Nurse’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Dorm # 4/Shower

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Door frame to shower room rusted

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower

105 CMR 451.123*	Maintenance: Radiator rusted in shower

Dorm # 5

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Shower Room

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.123*	Maintenance: Wall tiles rust stained

105 CMR 451.123*	Maintenance: Caulking moldy

Laundry

No Violations Noted

Supply # H-114

No Violations Noted

TV Room # H-140

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

RTA Office

No Violations Noted

Medical West Unit

Treatment Team Office # H-120

No Violations Noted

Bathroom # 138

Unable to Inspect – Not in Use

Janitor’s Closet # H-123

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Shower # H-137

Unable to Inspect – In Use

Toxic/Caustic Closet # H-136

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, paper cups stored on floor

TV Room # H-124

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance

Dorm # 7 # H-125

105 CMR 451.353*	Interior Maintenance: Floor surface damaged and rust stained

105 CMR 451.123*	Maintenance: Wall tiles damaged in bathroom

105 CMR 451.123	Maintenance: Wall vent dusty in bathroom

Dorm # 8 # H-126

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor surface damaged and rust stained

RTA’s Trap # H-133

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

Dorm # 9 # H-127

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Mental Health Worker’s Office # H-132

No Violations Noted

Room # 5 # H-131

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor rust stained

Dorm # 10/Bathroom

105 CMR 451.123*	Maintenance: Light out in bathroom

105 CMR 451.123	Maintenance: Wall vent dusty in bathroom

Room # 6 # H-130

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

BUILDING # 12 – VEHICLE TRAP

Bathroom

105 CMR 451.123	Maintenance: Wall rusted

STAFF GYM

Common Area

105 CMR 451.353*	Interior Maintenance: Carpet damaged

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

Female Locker Room

Unable to Inspect – In Use

Male Locker Room

105 CMR 451.123	Maintenance: Baseboard damaged

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

POWER PLANT

Kitchenette

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Observations and Recommendations

- The Patient population was 228 at the time of inspection.

- Throughout the facility, bathrooms and shower areas were observed to be poorly maintained resulting in unsanitary conditions. Specifically, the shower area in building # 8 which had recently been renovated.

CSP is concerned with the high number of inmates being exposed to such unsanitary conditions.

We recommend ensuring all bathroom and shower areas are finished with smooth and easily cleanable surfaces as well as developing a higher frequency shower cleaning policy.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 			(electronic copy)

Sergeant Norberto Melo, EHSO								(electronic copy)

Eric J. Badger, Health Agent, CHO, Bridgewater Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate