

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-828-7703

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

April 5, 2019

Thomas M. Hodgson, Sheriff

Bristol County Sheriff’s Office

Dartmouth I.C.E. Facility

400 Faunce Corner Road

North Dartmouth, MA 02747 (electronic copy)

Re: Facility Inspection - Dartmouth Women’s Center, North Dartmouth

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Dartmouth Women’s Center on March 18, 2019 accompanied by Lieutenant Andrew Mitzan, Environmental Health and Safety Officer; and Amy Riordan, Community Sanitation Program. Violations noted during the inspection are listed below including 9 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Control Room**

No Violations Noted

**Lobby**

No Violations Noted

**Visiting Area**

No Violations Noted

**Staff Break Room**

*Male Bathroom*

No Violations Noted

*Female Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

**Food Service Area**

*Dining*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water damaged

*Kitchen*

FC 5-202.13 Plumbing System, Design: Air gap between water supply inlet (sink hose) and the flood level rim of sink (top of sink) is missing, sink sprayer hanging inside the sink

*Staff Bathroom*

No Violations Noted

**Laundry**

No Violations Noted

*Janitor’s Closet*

No Violations Noted

**A Wing**

*Bathroom*

105 CMR 451.123 Maintenance: Ceiling paint flaking

*Bathroom Janitor’s Closet*

No Violations Noted

*Trauma Room*

Unable to Inspect – Locked

*Showers*

No Violations Noted

*Day Room*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**B Wing**

*Bathroom*

No Violations Noted

*Bathroom Janitor’s Closet*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Mold in ceiling grout in shower # 1, 2, 3, and 4

*Day Room*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.353 Interior Maintenance: Ceiling dirty in cell # B16

**C Wing**

*Bathroom*

No Violations Noted

*Bathroom Janitor’s Closet*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, hot water out-of-order at sink next to Janitor’s Closet

*Showers*

No Violations Noted

*Day Room*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**D Wing**

*Bathroom*

105 CMR 451.123 Maintenance: Wall paint flaking

*Bathroom Janitor’s Closet*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Mold in ceiling grout in shower # 1-4

*Day Room*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Observations and Recommendations**

1. The inmate population was 66 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,



Nicholas Gale Environmental Health Inspector, CSP, BEH

cc: Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services (electronic copy)

Carol A. Mici, Commissioner, DOC (electronic copy)

Thomas Turco, Secretary, EOPSS (electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit (electronic copy)

Steven Sousa, Superintendent (electronic copy)

Andrew Mitzan, Lieutenant, EHSO (electronic copy)

Christopher Michaud, RS, Health Director, Dartmouth Board of Health (electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate