The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

November 13, 2019

Thomas M. Hodgson, Sheriff

Bristol County Sheriff’s Office

Bristol County Jail and House of Correction

400 Faunce Corner Road

North Dartmouth, MA 02747	(electronic copy)

Re: Facility Inspection – Bristol County Jail and House of Correction, North Dartmouth

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Bristol County Jail and House of Correction on October 22, 2019 accompanied by Lieutenant Andrew Mitzan and Michael Moreira, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 93 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 			(electronic copy)

Steven Sousa, Superintendent							(electronic copy)

Andrew Mitzan, Lieutenant, EHSO  						(electronic copy)

Christopher Michaud, RS, Health Director, Dartmouth Board of Health  		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entrance

Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Shower Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in handicapped stall

Female Shower Room

No Violations Noted

Conference Room

No Violations Noted

Inside Area

Rotunda

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Janitor’s Closet

No Violations Noted

Inmate Bathroom

No Violations Noted

Storage Closet

No Violations Noted

Barber Shop

No Violations Noted

Civilian Visiting Rooms

No Violations Noted

Non-Contact Visiting Room

105 CMR 451.353	Interior Maintenance: Walls dirty under visiting stations on inmate side

Inmate Bathroom # C1-79

No Violations Noted

Main Hallway

Medical Administration Room

No Violations Noted

Male Bathroom # B1-44

105 CMR 451.123*	Maintenance: Partition rusted

Female Bathroom # B1-45

No Violations Noted

Disciplinary Room

No Violations Noted

Laundry

No Violations Noted

Trash Room

No Violations Noted

Receiving Yard

No Violations Noted

Male Bathroom # B1-16

No Violations Noted

Male Bathroom # B1-17

No Violations Noted

Staff Bathroom # B1-9

No Violations Noted

Staff Bathroom # B1-10

No Violations Noted

Maintenance Shop

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Old Print Shop - Offices

No Violations Noted

Wood Shop

No Violations Noted

Cart Storage Room
	No Violations Noted

Welding Shop

No Violations Noted

Food Service

Kitchen

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Janitor’s Closet

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Dry Food Storage

No Violations Noted

Cooler # 1

No Violations Noted

Cooler # 2

No Violations Noted

Freezer # 1

No Violations Noted

3-Compartment Sink

No Violations Noted

Handwash Sink (near 3-compartment sink)

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, hot water handle continuously spins

Kettle Area

FC 4-901.11(A)*	Protection of Clean Items, Drying: Clean and sanitized stainless steel covers not allowed to air dry fully, clean covers stored wet on rack

Ice Machine

No Violations Noted

Dishwashing Machine Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf

FC 6-201.11	Design, Construction, and Installation; Cleanability: Ceiling not smooth and easily cleanable, paint damaged around ceiling vents

Handwash Sink (near dishwashing machine)

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

Prep Serving Line

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall cooling fan dusty

Inmate Dining

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, paint damaged

HSU

Staff Bathroom

No Violations Noted

Inmate Bathroom # BLI-17

No Violations Noted

Office # BLI-19b

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Large Nurse Office Space

No Violations Noted

Trauma Room BLI-18 # 6

No Violations Noted

Dental Area # 3

No Violations Noted

Eye Exam Room # BLI-21

No Violations Noted

Lab # 5

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

Exam Room # 1

No Violations Noted

Exam Room # 2

No Violations Noted

Control Area

No Violations Noted

Nurse’s Station

No Violations Noted

Janitor’s Closet # BLI-11

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Single Cells

No Violations Noted

Staff Bathroom # 2

No Violations Noted

Inmate Bathroom # BLI-10

No Violations Noted

Administrative Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Biohazard Closet

No Violations Noted

Inmate Bathroom # BLI-28

No Violations Noted

Inmate Shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Orange staining on wall

Ward A

No Violations Noted

Ward B

105 CMR 451.103	Mattresses: One mattress damaged in ward

Dispatch/Receiving

Property

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with 	        105 CMR 590.000, ice build-up in freezer

Sally Port

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Female Staff Bathroom # ALI-45

No Violations Noted

Male Staff Bathroom # ALI-44

No Violations Noted

Janitor’s Closet # ALI-25

No Violations Noted

Intake Office

No Violations Noted

Medical Offices

No Violations Noted

Group Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in group cell # 1

Male Cells

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # M5

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # M3

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # M1, M2, M3, and M4

Female Cells

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # F1

105 CMR 451.353	Interior Maintenance: Food on floor in cell # F1

Inmate Bathroom # ALI - 21

No Violations Noted

Sector D

Muster Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of toaster oven dirty

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Chapel

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Classrooms

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged in classroom A, B, and C

105 CMR 451.350	Structural Maintenance: Hole in ceiling surface in classroom D

Classification

No Violations Noted

Inmate Bathroom # DI-13

No Violations Noted

Inmate Bathroom # DI-14

No Violations Noted

Staff Bathroom # DI-23

No Violations Noted

Staff Bathroom # DI-24

Unable to Inspect – In Use

Janitor’s Closet

No Violations Noted

Units

EC Unit

Main Area

No Violations Noted

Officer’s Room

No Violations Noted

Storage – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Shower – 2nd Floor # F2-C10

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Orange staining on wall

Janitor’s Closet – 1st Floor

No Violations Noted

Storage – 1st Floor

No Violations Noted

Shower – 1st Floor # E1-C10

105 CMR 451.123*	Maintenance: Floor dirty

Handicapped Shower

105 CMR 451.123*	Maintenance: Orange staining on floor

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

ED Unit

Main Area

No Violations Noted

Computer Room

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

EE Unit

Main Area

No Violations Noted

Cage Room

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Showers – 1st Floor

No Violations Noted

Cells

No Violations Noted

EA/EB Units

EA/EB Control

No Violations Noted

Staff Bathroom

No Violations Noted

Caseworker’s Office

No Violations Noted

Nurse’s Office

No Violations Noted

EA Unit – Female

Main Area

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Shower – 1st Floor

No Violations Noted

Shower – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in cells, cells double bunked

EB Unit – Female

Main Area

105 CMR 451.353*	Interior Maintenance: Floor covering damaged

Bathroom – 2nd Floor

105 CMR 451.123*	Maintenance: Floor surface damaged

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Interior door paint damaged in shower # E2-B11

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # E2-B11

Bathroom – 1st Floor

105 CMR 451.123*	Maintenance: Wall paint damaged in stall # 1

105 CMR 451.123*	Maintenance: Floor covering damaged

105 CMR 451.123*	Maintenance: Wall paint damaged behind handwash sink on left

Shower – 1st Floor

105 CMR 451.123*	Maintenance: Door frame paint damaged

105 CMR 451.123	Maintenance: Interior of door paint damaged

Janitor’s Closet – 1st Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room attached to cell block

FA Unit

Control

No Violations Noted

Main Area

No Violations Noted

Classroom

No Violations Noted

Storage – 2nd Floor # FM-A23

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor surface damaged outside shower # FM-A18

105 CMR 451.123*	Maintenance: Shower encasing paint damaged in shower # FM-A21

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # FM-A19

Janitor’s Closet # FG-A20

No Violations Noted

Janitor’s Closet – 1st Floor # FG-A23

No Violations Noted

Handicapped Shower

No Violations Noted

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Floor damaged outside shower # FG-A18 and FG-A21

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # FG-A18 leaking

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # M5

FB Unit

Control

No Violations Noted

Main Area

105 CMR 451.353*	Interior Maintenance: Floor covering damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Medical Room

No Violations Noted

Janitor’s Closet – 2nd Floor # FM-B23

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Orange staining on walls in shower # FM-B21

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # FM-B18 and FM-B19

Janitor’s Closet – 1st Floor # FG-B20

No Violations Noted

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # FG-B22

105 CMR 451.123	Maintenance: Soap scum on walls in shower # FG-B18

105 CMR 451.123*	Maintenance: Floor surface damaged outside shower # FG-B21

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Floor surface damaged in all cells

Courtyard Units

HA Unit

Main Area

105 CMR 451.141*	Screens: Screen missing from window near entrance

Caseworker’s Office

No Violations Noted

Staff Bathroom

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Door rusted in shower # HM-A23 and HM-A26

Janitor’s Closet – 1st Floor

No Violations Noted

Storage – 1st Floor

No Violations Noted

Handicapped Shower

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Door paint damaged in shower # HG-A22 and HG-A23

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.103	Mattresses: Mattress damaged in cell # G1

HB Unit

Main Area

105 CMR 451.141*	Screens: Screen missing from window near entrance

Caseworker’s Office

No Violations Noted

Staff Bathroom

No Violations Noted

Storage – 1st Floor # HG-B24

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Storage – Near Shower # HG-B26

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Mold on ceiling outside shower # HM-B26 and HM-B27

105 CMR 451.123*	Maintenance: Floor dirty in shower # HM-B26

105 CMR 451.123*	Maintenance: Door frame rusted in shower # HM-B23, HM-B26, and HM-B27

105 CMR 451.123	Maintenance: Door paint damaged in cell # HM-B23, HM-B26, and HM-B27

Janitor’s Closet – 1st Floor

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Handicapped Shower

No Violations Noted

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Door rusted in shower # HG-B22 and HG-B23

105 CMR 451.123*	Maintenance: Door frame rusted in shower # HG-B22 and HG-B23

105 CMR 451.123	Maintenance: Door frame rusted in shower # HG-B26

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # HG-B26 leaking

105 CMR 451.123	Maintenance: Floor dirty in shower # HG-B26

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

105 CMR 451.353*	Interior Maintenance: Exterior of door paint damaged in cell # G1, G5, G6, G7, G9, G19, M1, and M3

105 CMR 451.103	Mattresses: Mattress damaged in cell # M8

GA Unit

Main Area

105 CMR 451.141*	Screens: Screen missing from window near entrance

Caseworker’s Office

No Violations Noted

Staff Bathroom

No Violations Noted

Handicapped Shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Storage # GG-A29

No Violations Noted

Storage # GG-A32

No Violations Noted

Janitor’s Closet (near handicapped cell)

No Violations Noted

Bathroom – 2nd Floor

No Violations Noted

Janitor’s Closet – 2nd Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # GM-A27 and GM-A28

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # GM-A31

105 CMR 451.123*	Maintenance: Door frame rusted in shower # GM-A28

105 CMR 451.123	Maintenance: Door paint damaged in shower # GM-A27

Bathroom – 1st Floor

105 CMR 451.123*	Maintenance: Floor surface removal left unfinished

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Door rusted in shower # GG-A31

105 CMR 451.123	Maintenance: Door rusted in shower # GG-A30

105 CMR 451.123	Maintenance: Door frame rusted in shower # GG-A27

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

GB Unit

Main Area

No Violations Noted

Staff Bathroom

No Violations Noted

Handicapped Shower

No Violations Noted

Storage – 1st Floor

No Violations Noted

Janitor’s Closet – 1st Floor

No Violations Noted

Bathroom – 2nd Floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 out-of-order

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

Showers – 2nd Floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # GM-B27 and GM-B28 leaking

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # GM-B27, GM-B28, and GM-B31

105 CMR 451.123	Maintenance: Door rusted in shower # GM-B31

105 CMR 451.123	Maintenance: Wall left unfinished, soap tray removed in shower # GM-B31

Bathroom – 1st Floor

No Violations Noted

Showers – 1st Floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # GG-B23 leaking

105 CMR 451.123	Maintenance: Soap scum on walls in shower # GG-B30 and GG-B31

105 CMR 451.123	Maintenance: Orange staining on wall in shower # GG-B23

Janitor’s Closet – 2nd Floor

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells, cells double bunked

GC Unit – Former Gym

Main Area

105 CMR 451.353*	Interior Maintenance: Floor damaged in several areas

Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 8 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 sink out-of-order

Showers

105 CMR 451.123	Maintenance: Floor drain cover missing in shower # 5

105 CMR 451.123	Maintenance: Floor dirty in shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 leaking

Library

No Violations Noted

Janitor’s Closet

No Violations Noted

Storage Closet

No Violations Noted

Sleeping Area

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm sleeping area

Observations and Recommendations

- The inmate population was 455 at the time of inspection.

- During the inspection, the Department found many shower identification tags damaged or painted over and therefore, made them difficult or impossible to read. The Department recommended implementing a simple numbering system to all toilet and shower stalls to allow the Department and Correctional staff to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH