The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT ACTING COMMISSIONER

June 5, 2013

Thomas M. Hodgson, Sheriff

Bristol County Jail, Ash Street Facility

400 Faunce Corner Road

Dartmouth, MA 02747

Re: Facility Inspection – Bristol County Jail, Ash Street Facility, New Bedford

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bristol County Jail, Ash Street Facility on May 30, 2013 accompanied by Lieutenant Andrew Mitzan, Environmental Health and Safety Officer. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

MAIN BUILDING

(4th Floor)

4 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 57

8 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 115 and 125

12 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in all cells

16 Alley

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 215

Plant 4

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling in shower area

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 4 and 5

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 3

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 1, 3, 5, and 10

(3rd Floor)

3 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, rusty wall in cell # 33, 37, 44, 45, and 46

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 34

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 34

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling in cell # 48

7 Alley

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 100 and 109

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 97, 99, 105, 107, and 109-112

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 108

11 Alley

No Violations Noted

15 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 205 and 209

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 203 and 206

Plant 3

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123	Maintenance: Floor damaged, paint peeling in shower area

105 CMR 451.123	Maintenance: Wall damaged, paint peeling in shower area

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling in shower area

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling, cell # 2, 4, 5, 6, 7, 8, and 10

(2nd Floor)

Health Services

Women’s Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 710F

Nurse’s Station

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Offices

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in all offices

Exam Room

No Violations Noted

14 Alley

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 195 and 197

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 196

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 195

10 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 144

6 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 82

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 85, 89, 90, 93, and 94

2 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 28

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 20, 27, and 28

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 17, 18, 29, and 32

(1st Floor)

1 Alley

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 13

105 CMR 451.103	Mattresses: Mattress damaged in cell # 3, 5, 10, and 11

5 Alley

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 65 and 66

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 76

9 Alley

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 135, 137, and 138

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 136

Barbershop

No Violations Noted

13 Alley

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged, paint peeling in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

Cells

No Violations Noted

Slop Sink – Maintenance Closet

No Violations Noted

KITCHEN

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, exhaust vent dusty near kettles

FC 5-202.12(A)	Plumbing System, Design: Handwashing sink water temperature recorded at 1410F

FC 6-403.11(B)	Location and Placement; Employee Accommodations: No locker room area 	designated for employees, personal belongings stored near food product

Cooler # 1

No Violations Noted

Mop Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Dishwashing Machine Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink out-of-order

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking at 3-bay sink

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Food trays not stored in the inverted/self-draining position above sink

Kitchen Office

No Violations Noted

Dishwashing Machine Area

FC 4-501.112(A)(2)*	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged under warewashing machine

Dry Storage

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, paint peeling

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, roof leaking

FC 3-304.12(A)	Preventing Contamination from Utensils: Cup stored inside cheese product

Dining Area

No Violations Noted

Freezer

No Violations Noted

Milk Cooler

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

DAY ROOM

105 CMR 451.331*	Radiators and Heating Pipes: Pipe insulation damaged

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

105 CMR 451.350	Structural Maintenance: Wall damaged, holes in wall

105 CMR 451.353	Interior Maintenance: Exposed wires

Bathrooms

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in common shower area

105 CMR 451.121(A)*	Privacy: No privacy partition in between showers

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 6 showers to 180 inmates

105 CMR 451.123*	Maintenance: Wall damaged, paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink in shower area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink in shower area

105 CMR 451.123	Maintenance: Walls dirty

Mop Closet

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling

LAUNDRY ROOM

105 CMR 451.350*	Structural Maintenance: Roof leaking

ADMINISTRATION AREA

Intake

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged in inmate bathroom # 1

Female Bathroom

No Violations Noted

Holding Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Air vent dusty in cell block area

Vehicle Trap

No Violations Noted

Staff Break Room with Lockers

No Violations Noted

Roll Call Area

No Violations Noted

Officer’s Bathroom

No Violations Noted

Staff Break Room

Unable to Inspect – Meeting in Progress

Observations and Recommendations

- The inmate population was 192 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, EOHHS

Luis S. Spencer, Commissioner, DOC

Steven Sousa, Superintendent

Andrew Mitzan, EHSO

Brenda Weis, Health Director, New Bedford Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS