|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I. PWS INFORMATION: Please refer to your DEP Water Quality Sampling Schedule (WQSS) to help complete this form | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **PWS ID #:** | | | | |  | | | | |  | | | | | **City / Town:** | | | |  | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **PWS Name:** | | | | |  | | | | | | | | | | | | | |  | **PWS Class:** | | | | **COM**  **NTNC** | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **DEP LOCATION**  **(LOC) ID#** | | | | **DEP Location Name** | | | | | | | | | | | | | Sample Information | | | | | **Date Collected** | | | | **Collected By** | | |
| **A** | |  | |  | | | | | | | | | | | | | (**M**)ultiple  (**S**)ingle | | | (**R**)aw  (**F**)inished | |  | | | |  | | |
| **B** | |  | |  | | | | | | | | | | | | | (**M**)ultiple  (**S**)ingle | | | (**R**)aw  (**F**)inished | |  | | | |  | | |
|  | | **Routine or**  **Special Sample** | | **Original, Resubmitted or**  **Confirmation Report** | | | | | | | | | | **If Resubmitted Report, list below:** | | | | | | | | | | | | | | |
| **(1) Reason for Resubmission** | | | | | | | | | **(2) Collection Date of Original Sample** | | | | | |
| **A** | | RS  SS | | Original  Resubmitted  Confirmation | | | | | | | | | | Resample  Reanalysis  Report Correction | | | | | | | | |  | | | | | |
| **B** | | RS  SS | | Original  Resubmitted  Confirmation | | | | | | | | | | Resample  Reanalysis  Report Correction | | | | | | | | |  | | | | | |
|  | | **SAMPLE COMMENTS** – (Such as, if a Manifold/Multiple sample, list the sources that were on-line line during sample collection). | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **A** | |  | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **B** | |  | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **II. ANALYTICAL LABORATORY INFORMATION:** Attach copy of subcontracted lab analysis report (as applicable) | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **Primary Lab MA Cert.#:** | | | | | | |  | | **Primary Lab Name:** | | | |  | | | | | | | | | | | | **Subcontracted?** **(Y/N)** | |  | |
| **Analysis Lab MA Cert.#:** | | | | | | |  | | **Analysis Lab Name:** | | | |  | | | | | | | | | | | |  | |  | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| BROMATEResult (mg/L) | | | **Result Qualifier** | | | **MCL**  **(mg/L)** | | **Lab**  **MDL**  **(mg/L)** | | | **Lab**  **MRL**  **(mg/L)** | **Dilution Factor** | | | | **Lab Method** | | **Date Analyzed** | | | **Primary Lab Sample ID** | | | | | | |
| **Analysis Lab Sample ID** | | | | | | |
| **A** |  | |  | | | **0.010** | |  | | |  |  | | | |  | |  | | |  | | | | | | |
|  | | | | | | |
| **B** |  | |  | | | **0.010** | |  | | |  |  | | | |  | |  | | |  | | | | | | |
|  | | | | | | |
| Bromate monitoring is required for community and non-transient non-community systems using ozone for disinfection or oxidation.  Treated (finished) water BROMATE sampling shall be collected at the entry-point to the distribution system while the ozonation system is operating under normal conditions.  Effective 4/1/2009, the running annual average for finished water bromate concentrations must remain equal to or less than 0.0025 mg/L to qualify for and remain on reduced bromate monitoring using EPA method: 302.0, 317.0 (rev. 2), 326.0, 321.8, or 557. | | | | | | | | | | | | | | | | | | | | | | | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
|  | LAB ANALYSIS COMMENTS | Result Qualifier | Result Qualifier Description |
| **A** |  |  |  |
| **B** |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | | | | | |
| *I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge.* | | **Primary Lab Director Signature:** | |  | |
|  | |  | |
| **Date:** | |  | |
|  | | | | | |
| *In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above.* | | | | | |
| DEP REVIEW STATUS (Initial & Date)  Accepted \_\_\_\_\_\_\_\_\_\_\_  Disapproved \_\_\_\_\_\_\_\_\_\_\_ | Review Comments | |  | | WQTS Data Entered |