|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection – Title 5 PermittingBRP WP 58bApproval for Installation of Shared System for State and Federal Facilities and Facilities Specifically Required by MassDEP to Apply | Please do not mail.Submit through ePLACE.See Instructions. |
| --- | --- | --- |
|  |  Please read the instructions and supporting materials before filling out this form.  |
|  | A. General Information  |
| **Important:** When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | 1. Applicant:  |
|  FaciName  |
|       Doing Business as (dba) |
|       Street Address  |       City/Town  |
|       State  |       Zip Code  |
|       Telephone |
| 2. Facility Address / Location (if different from Applicant): |
|       Address    |
|       City/Town  |       State |
|        Zip Code  |  |
|  | 3. System Designer Information (Registered Sanitarian [RS] or Professional Engineer [PE] for systems under 2,000 gallons per day; PE for systems 2,000 gallons or more per day):  |
|  |       Name |
|  |       Address    |
|  |       City/Town  |       State  |
|  |        Zip Code   |        Telephone  |
|  | 4. Registration: |
|  |       P.E. |
|  |       Sanitarian |
|  |       Registration Number |
|  | 5. Does this project require a filing under 301 CMR 11.00, the Massachusetts Environmental Policy Act? |
|  |  [ ]  Yes [ ]  No |
|  |  If yes, has a filing been made? [ ]  Yes [ ]  No |       If yes, EOEA File # |
|  |   |  |
|  |  |  |
|  | A. General Information (cont.) |
|  | 6. The legal entity which owns or will own this facility is: |
|  |  [ ]  Individual  |  [ ]  Federal |
|  |  [ ]  Municipality |  [ ]  State / County |
|  |  [ ]  Private Partnership |  [ ]  Corporation |
|  |  [ ]  Other (specify): |        |
|  | 7a. Two sets of plans and specifications, including a locus map, properly stamped and signed by a Massachusetts Registered Professional Engineer or Massachusetts Registered Sanitarian, must accompany the application. The plans must be prepared in accordance with 310 CMR 15.220. |
|  |
|  | 7b. Are plans and specifications enclosed? [ ]  Yes [ ]  No |
|  | 7c. Have the plans been revised? [ ]  Yes [ ]  No |
|  |       If yes, date of revision |  |
|  | 8. A description of how the proposed shared system compares to systems constructed in full compliance with 310 CMR 15.100 through 15.293 in terms of its ability to protect public health, safety, welfare and the environment must accompany this application. |
|  |
|  |  Is a description attached? [ ]  Yes [ ]  No  |
|  | 9. Does the proposed system satisfy all technical requirements of 310 CMR 15.100 through 15.293 except setbacks from property lines between facilities served by the shared system? |
|  |  [ ]  Yes [ ]  No |
|  | 10. A proposed operation and maintenance plan for the shared system must accompany this application. |
|  |  Is the plan attached? [ ]  Yes [ ]  No  |
|  | 11a.A description of the form of ownership which any component of the system serving more than one building or dwelling will take, together with relevant legal documentation describing or establishing that ownership including, without limitation, easements, condominium master deed, or homeowners’ association documents must accompany this application. |
|  |
|  |  Is the description and documentation attached? [ ]  Yes [ ]  No |
|  | 11b. Does the form of ownership establish that each user of the system has the legal ability to accomplish any necessary maintenance, repair, or upgrade of the shared components?  |
|  |  [ ]  Yes [ ]  No |
|  | 12. A description of the financial assurance mechanism proposed to ensure effective long-term operation and maintenance of the system must be attached. |
|  |  Is the description attached? [ ]  Yes [ ]  No |
|  |  |
|  | A. General Information (cont.) |
|  | 13. A copy of a proposed Grant of Title 5 Covenant and Easement essentially identical to that contained in Appendix 1 of 310 CMR 15.000, must be attached.  |
|  |  Is a copy attached? [ ]  Yes [ ]  No |
|  | 14a. Is the shared system proposed as an upgrade to existing systems? |
|  |  [ ]  Yes [ ]  No |
|  | 14b. If it is an upgrade to existing systems, does the proposed shared system satisfy all technical requirements of 310 CMR 15.100 through 15.293 without the need for a variance except setbacks from property lines between facilities served by the shared system? |
|  |
|  |  [ ]  Yes [ ]  No |
|  | 14c. If it is an upgrade to existing systems, will there be any increase in design flow from the facility or facilities to be served by the shared system?  |
|  |  [ ]  Yes [ ]  No |
|  | 15a. Is the shared system proposed for new construction or increased flow to existing systems? |
|  |  [ ]  Yes [ ]  No |
|  | 15b. If it is for new construction or increased flow to existing systems, does the design flow from the facility or facilities to be served by the shared system exceed the design flow which could have been constructed in compliance with 310 CMR 15.100 without the use of a shared system? |
|  |
|  |  [ ]  Yes [ ]  No |
|  | 15c. Are documents to support the design flow proposed in #15b attached?  |
|  |  [ ]  Yes [ ]  No |
|  | B. Certification |
|  | “I certify under penalty of law that this document and all attachments, to the best of my knowledge and belief, are true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.” |  Applicant’s signature |
|  |            Print Name |
|  |       Name of Preparer |
|  |       Date |