- Massachusetts Department of Environmental Protection

- Drinking Water Program

- Water Supply

- Business Plan

for

New Community

and

Non-Transient Non-Community

Public Water Systems

Please complete the    following information and submit it along with any required    Source Approval Process Information (BRP WS 13, BRP WS 15    or    BRP WS 17, 18, 19, 20) to the Regional DEP office for review.

PWS NAME: _______________________________________

CITY/TOWN: ______________________________________

PWS ID #: _________________________________________

To be completed by DEP

Table of Contents

Section								Page

Background Information 					3

1. Administration							4

PWS Organization,    Operator Staffing, Policy Activities

2. Basic Planning 						6

General Data, Water Demand, Municipalities Served,

Permanent Interconnections

3.    Financial			 				7

Financial Information, Source of Revenue,

Estimated Income, Estimated Operation Expenses,

Financial Tables A, B, and C.

4. System Description						10

General,    Source Information, Treatment,							Treated Water Storage, Distribution System

5. Operation Maintenance			          		16

General, Distribution Protection Cross

Connection Program, Water Quality Monitoring,

Emergency Plans, Water Quantity / Conservation

Coliform Sampling Report Form				19

Lead and Copper Sampling Plan				20

Send Correspondence To:

Name:    ________________________________          Title: ________________________

Address:    ______________________________________________________________

_______________________________________________________________________

Telephone: _________________________    e-mail:    ____________________________

# Water Commissioners/Selectmen/Governing Body Member:

Name:    ________________________________ Title: __________________________

Address:    ______________________________________________________________

_______________________________________________________________________

Telephone: _________________________    e-mail:    ____________________________

Note Key Official And Consultant To See Regarding Changes, Improvements, Etc.

Name:    ________________________________          Title: ________________________

Address:    ______________________________________________________________

_______________________________________________________________________

Telephone: _________________________    e-mail:    ____________________________

Name:

Address: 							    Telephone:

##### A.    PWS Organization

###### 1.	Ownership/Governing Body (check applicable category and complete names, addresses, telephone numbers,    # of members)

¨ Water Commissioner	#___			¨    Board of Public Works			#___

¨ Selectmen			#___			¨    Operator					#___

¨ Trustees 			#___			¨    Other    responsible parties		#___

¨ Town Manager		#___			¨    Public (Town/City/District/State	#___

| Name | Address | Phone Number | E - Mail | Term (Yrs) |
| --- | --- | --- | --- | --- |

2.	Number of Governing Body meetings for the year & Dates___________________________

3.	If an organizational chart, is available, please provide OR (put on blank page) identifying the hierarchy of decision making for the PWS.

### B.    Operator Staffing

4.	Grade of system_______________________(please see 310CMR22.11B(4) regarding system classification.    DEP will verify system classification for official recording)

5.	Provide staffing plan of all certified operators or complete information below.

| Name/Title | F/P* | Duties | Certification/ Grade | Total Yrs. Exp. | DEP Comments |
| --- | --- | --- | --- | --- | --- |

F/P = Full Time / Part Time	(Use blank page for additional information)

- Personnel Distribution Coverage: (Number of operators and grade certification)

- Weekdays:    									________

________

________

__

Shifts:    											__

Weekends and Holidays:    								__

- Who is directly responsible for the following?

Emergency operations 				 phone:

Communications with state regulators 		 phone:

Customer relations 					 phone:

Media relations 					 phone:

- Operator Training Budget    (Please attach if available)

### C.    Policy Related Activities

- Who sets the system’s operating policies?

¨ Owner				¨    Operator		¨ Council / Board

¨ General Manager		¨    Other

- Do you have or are you developing policies or Standard Operating Procedures (SOP) for the following situations:

Connections / New Hookups		¨    YES	¨ NO	      	¨ IN DEVELOPMENT

Water Main Extensions		¨		¨		¨

General Purchases			¨		¨		¨

Purchases over $10,000		¨		¨		¨

Metering & Unaccounted-for Water	¨		¨		¨

Delinquent Bills			¨		¨		¨

Other    					¨		¨		¨

- Do you have a written Capital Improvement Plan (CIP) and / or a written Infrastructure Improvement Plan?    If yes, identify and attach.

- Do you have insurance?

Liability		¨    YES          ¨    NO	Amount    $

Property		¨  YES          ¨ NO	Amount    $

Bonding		¨  YES          ¨ NO	Amount    $

Other:    					Amount    $

- Do you have a contractual or as-needed arrangement with any of the following outside services?

¨    Accountant		¨    Certified Operator		¨    Laboratory

¨    Attorney			¨    Technical Consultant		¨    Other

- General Data

Total number connections:    _____________________        	% Metered: _____________________

Equivalent Residential Units: _____________________	Population: _____________________

- Water Demand

Estimated daily consumption: Maximum (mgd): _______________        Average (mgd):__________________ Projected population in 20 years: ___________ Projected average daily demand(mgd):________________

- C.    Municipalities/District Served by Water Supply

| Municipality/District | Total Population | Population Served | Average Consumption |
| --- | --- | --- | --- |

- D.    Permanent Interconnections with Other Water Supplies

| Water Survey Purveyor | Give location and arrangement for use. What is the maximum daily flow in mgd for this interconnection? * |
| --- | --- |
|  | POSSIBLE TEMPORARY INTERCONNECTIONS |

*    This figure does not compensate for commercial and industrial consumption.

- A.    Financial Information - FY 		        From:            /          /                    To:            /          /

- If you are not a rate-collecting system, please briefly describe the system’s financial organization, including the billing and bookkeeping department.

B.    Source Of Revenue    (rate-collecting systems only)

- Explain the water rate structure of your system?    (Description should include all types of customers and all fees charged.)

|  | Billing Cycle | Rate Type (i.e. fixed, declining, increasing, variable) | Rate $/1000gal | Cost per 90,000 Gallons per Year |
| --- | --- | --- | --- | --- |
| Residential |  |  | $ | $ |
| Commercial |  |  | $ | $ |
| Industrial |  |  | $ | $ |

- Who approves expenditures?    					 Title:

Who is the responsible financial officer (i.e. signs the checks, responsible for the books, etc.)

- Will you employ enterprise accounting?      ¨    YES          ¨    NO

- Will you have a reserve / emergency account?      ¨    YES          ¨    NO

If yes, how much?    $

What percentage of your total estimated expenses is this?    _________%

- How did you (will you) finance your last (and next) major repair or improvement?

(Please “Ö” those which apply)

Last		    Next		          Amount

Commercial Bank Loan						$

Bonds									$

State or Federal Grants / Loans					$

Surcharges								$

Revenue from Other Businesses					$

Personal Capital							$

Reserve Fund								$

Annual Budget							$

Town General Fund							$

- If a budget is available, provide it and proceed to Table A.    If not, please fill out Questions #8 through #10 below.

- C.    Estimated Income/Revenue    (rate-collecting systems only)

- Please list all projected income and revenue for the first year.

A.    Taxes					$

B.    Flat Fee					$

C.    User Fee					$

D.    Other: 					$

E.    TOTAL INCOME			$

- D.    Estimated Operation Expenses    (all systems)

- Please list all projected operating expenses for the first year.

A.    Personnel / Overtime			$

B.    Water Quality Testing			$

C.    Supplies					$

D.    Operating Expenses			$

E.    Contract Services			$

F.    Repairs					$

G.    Reserve / Emergency Fund		$

H.    Debt Service (Principal & Interest)	$

I.    TOTAL EXPENSES			$

- Total Income (Question #8E)		$			 minus

Total Expenses (Question #9I) 		 $			 equals	$

Financial Table A – Estimated Needs (all systems)

List all projects that you may need to address in the next 10 years to remain in compliance with DEP regulations?

| Project | Original Year | Estimated Useful Life | Years Left Until Replacement | Cost Estimate |
| --- | --- | --- | --- | --- |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |
|  |  | yrs. | yrs. | $ |

Financial Table B - Capital Debt    (all systems)

What capital debt do you have (outstanding loans, bonds, etc.)?

| Capital Improvement | Funder | Loan Amount | Annual Payment | Finish Date |
| --- | --- | --- | --- | --- |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |
|  |  | $ | $ per yr. |  |

Financial Table C - Capital Costs    (all systems)

Use this table to estimate what your capital cost will be in each year by combining all the capital costs that occur in a particular year.    Use next year as Year 1.    The year after that would be Year 2 etc.

| Year | Cost |  | ## Year | ## Cost |
| --- | --- | --- | --- | --- |
| Year 1 _____ | $ |  | Year 6 _____ | $ |
| Year 2 _____ | $ |  | Year 7 _____ | $ |
| Year 3 _____ | $ |  | Year 8 _____ | $ |
| Year 4 _____ | $ |  | Year 9 _____ | $ |
| Year 5 _____ | $ |  | Year 10 _____ | $ |

A.    General

Describe briefly but completely the water supply from each separate source to the distribution system, giving for each source the various treatment processes proposed in order of occurrence.    This description should be complete but simple and clear so as to be understandable by one unfamiliar with the supply.    Indicate the availability of emergency power necessary to operate all portions of the supply.    (Draw flow diagram on reverse side show bypass arrangements.)    Show the location of all sources of supply, treatment facilities and outline the area owned by the public water supply on a 7.5 minute, U.S.G.S. Topographic Map.    In addition, list all current public water supply permits including permit number, date issued, short summary of permitted facilities and available plans.

B.    Source Information – Pumping Stations

| Pumping Facility |  | Regular | Emergency |
| --- | --- | --- | --- |
| A | Location: |  |  |
|  | Function: |  |  |
| B | Location: |  |  |
| C | Location: |  |  |
| D | Location: |  |  |
|  | Function: |  |  |

| Pumping Facility | Type | Date Installed | Standby/ Emergency Power | Capacity (GPM) | SUCTION |  |  | DISCHARGE |  |  | MOTOR |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Size (in) | Combined or Separate | Head (ft) | Size (in) | Combined/ or Separate | Head (ft) | HP | Source of Power | Auto/Manual |
| A #1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

C.    Treatment

# Chemical Feed

- Do chemical feed facilities provide adjustable feed ranges that are easily set for operation at all required dosages?      ¨    Yes            ¨    No

- Who will maintain and / or operate chemical feed?    Name and Grade.    ____________________________________________________________

- Is 110% containment provided for all chemical tanks?        ¨ Yes        ¨ No

CHEMICAL FEED EQUIPMENT

Plant Name: ____________________________ 								Source: _____________________________________

| Chemical(s) | Point of Application of Unit | Chemical Feed Unit |  |  | Feed |  |  |  |  | Operation |  |  |  |  | Scales |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Reg. | Emer. | anti- Siphon Valve | Solu- tion | Dry | Range mg/l | Average used lb/day | Supply (Days) |  | Auto-matic | Manual | X-Conn | Pacing |  | Yes | No |

4.    Is the chemical feed equipment in a separate room?      ¨ Yes      ¨ No

5.    Is it properly ventilated?      ¨ Yes        ¨ No

6.    Are the feed lines color coded?      ¨ Yes        ¨ No

7.    Can chemical storage be measured?	    ¨ Yes        ¨ No

8.    Is there adequate chemical containment?    ¨ Yes        ¨ No

9.      Is there an eye wash and/or shower?	    ¨ Yes        ¨ No

10.    If phosphates are used is a chorine residual maintained in the feed? ¨ Yes        ¨ No

11.    If fluoride is used is an upflow saturator used?      ¨ Yes        ¨ No

### D.    Treated Water Storage

| Storage Unit | Type of Storage |  |  |  | Location of Storage |  |  | Frequency of Inspections |  | Date Last Cleaned |  | Material of Construction | Capacity (m-gal) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Under-ground | Ground Level | Elevated | Hydro- pneumatic Tank | Plant/ Pumphouse | Distribution System | Condition of Tank |  |  |  |  |  |  |  |

| Storage Unit | Protection and Safety |  |  |  |  |  | Site Protection |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Proper Over- Flow Structure | Covered/ Locked | Vented/ Screened | Sample Tap | High Level Control/ Alarm | Low Level Control/ Alarm | Flood | Runoff | Fenced | Tank Overflow Elevation |

1. Can each storage unit be bypassed for repair and cleaning without interrupting service?      ¨ Yes        ¨ No

2.    Is there sufficient storage for fire protection?    ¨ Yes        ¨ No

E.    Distribution System

- Maps and Records

A.    Attach a distribution system map, showing valve and hydrant locations in addition to water main location and diameters.

B.    Are there dead end areas in the distribution system?     ¨ Yes        ¨ No

If yes how many?      ________________

Are terminal hydrants available on dead ends?

- Show the proposed coliform bacteria sampling locations on the Distribution Map.

D.      Describe the proposed flushing program.

E.    The program should address the dead end areas.

F.    Include the locations, type and size of master meters    on the distribution system map.

- Distribution System Data

- PIPE USED IN WATER SUPPLY

| Portion of Transmission line and Distribution System | Source | Type of Pipe | Miles of Pipe | Pipe Diameter (inches) | Date Line Installed |
| --- | --- | --- | --- | --- | --- |

- PRESSURE

| Location | Pressure in Distribution System (psig) | Minimum (must be >20 psig) | Maximum (psig) |
| --- | --- | --- | --- |

A.    General

How will maintenance be scheduled?

### 1.    Spare Parts Inventory

What are the spare parts inventory?    _______________________________________________________

___________________________________________________________________________________________

Is it adequate to prevent long delays in equipment repairs?        ¨ Yes        ¨ No

### 2.    Pump Maintenance

Is a maintenance schedule available for pump?	¨ Yes        ¨ No

valves?	¨ Yes        ¨ No

Chemical feed pump? 	¨ Yes        ¨ No

Turbine pumps?	¨Yes          ¨ No

High and low lift pumps? 	¨ Yes        ¨ No

Have pump maintenance records been prepared?    	¨ Yes        ¨ No

### 3.    Operation and Maintenance Manual

Is an O & M Manual available and accessible to staff? 	¨ Yes        ¨ No

Does manual conform to DWS policy? 				¨ Yes        ¨ No

Does manual provide guidance for operational decisions? 	¨ Yes        ¨ No

### 4.    Instrumentation/Process Automation

Are there alarms or instrumentation for process automation?    (Such as chlorine, turbidity,

etc.) List.      ¨ Yes        ¨ No

Do you have agreements in place for outside support/contractors for service/updating of	 instrumentation?        ¨ Yes        ¨ No

### 5.    Safety and Protective Equipment

Are there adequate safety and personnel protective equipment provided?     ¨ Yes        ¨ No

- B.    Distribution Protection -    Cross Connection Program

1.    Complete the attached cross connection control program plan.

2.    Will a third party be used to survey or test as part of your programs?      ¨ Yes        ¨ No

If yes, Name & contact person.    __________________________________________________________________

3.    Have all industrial, commercial, and institutional facilities been surveyed by the PWS?

¨ Yes        ¨ No

If no, what is the estimated completion date for surveying all facilities?    ____________________________

4.    Are backflow prevention devices installed at all PWS OWNED locations?

¨ Yes        ¨ No              ¨    Not applicable

- C.    Water Quality Monitoring

- 1.    Pumping Test Water Quality Results

Attach the water quality results from the prolonged pumping test.

List any water quality parameters, which were found to be above the MCL (Maximum Contaminant Level).    ______________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

Will the water receive treatment?      ¨ Yes        ¨ No

List the proposed water treatment processes. 	_____________________________________________

___________________________________________________________________________________________

- 2.    Lead and Copper Rule Compliance

- Complete the attached lead and copper sampling locations plan

- 3.    Coliform Bacteria Sampling Locations Plan

Complete the attached coliform bacteria sampling locations plan.    Both an upstream and downstream sampling site must be identified in case of a positive bacteria result.

4. Water Quality Monitoring Waiver Program

If the water quality monitoring conducted during the pumping test did not detect any Synthetic Organic compounds (SOC’s), the system may qualify for a waiver from further testing for SOC’s.    If you choose to do so, please complete the attached waiver application for SOC monitoring only.    The other possible waivers require additional rounds of sampling with no detects before the system is eligible to apply.

# D.    Emergency Plans

1.    Complete the attached    Emergency Response Plan Phone and Contact List.

- E.    Water Quantity/Conservation

1.    Does this system have adequate plans for meeting its water quantity for the next twenty years?          ¨ Yes        ¨ No

2.    Will the system need a Water Management Act ( WMA) withdrawal permit?        ¨ Yes        ¨ No

Describe threshold: (It is important to note that systems need a Water Management Act withdrawal permit if their cumulative system withdrawal volumes exceed 100,000 gpd on average for any period of three consecutive months, from a total withdrawal of not less than nine (9) million gallons, or an average daily volume of 100,000 gallons for periods which exceed three consecutive months, calculated by dividing the total withdrawal by the period of operation).

3.    If a WMA withdrawal permit is required, attach a completed water conservation plan.

# MASSACHUSETTS DEP – DRINKING WATER PROGRAM

Coliform Sampling Locations

PWS ID# __________________ PWS Name: ________________________________ Town: ____________________

Community PWS ______            Non-Community PWS ______              Non-Transient Non-Community PWS ______

Groundwater ____                      Surface Water ____                    Both Ground and Surface Water ____

Population:    Winter ____          Summer ____      Explain:__________________________________________

Number of samples required by 310 CMR 22.05, Table 1: __________

Number of excess sites identified: ________

Are you requesting to sample each location more than once?    Yes ____            No ____

# Sample

Number	Sampling Point - Name and/or address	          Sampling Frequency (# of times/month)

001

1a.

1b.

002

2a

2b

003

3a

3b

004

4a

4b

005

5a

5b

006

6a

6b

007

7a

7b

008

8a

8b

009

9a

9b

Public Water Supplier Signature: ________________________________________    Date: ___________________

Please submit this form to your Regional DEP Office.

Use additional sheets if necessary.

For DEP/DWP use:

Action:__________________________________________________________________________

DWP Name: ___________________________Signature: ______________________________ Date: ___________

# MASSACHUSETTS DEPARTMENT OF ENVIRONMENTAL PROTECTION

Lead & Copper Sampling Plan

PWS ID# _____________________          PWS Name: ______________________________Town: ___________________________

PWS Address:______________________________________________________________________________________________

Telephone # __________________________      Population: ______________        # of Samples Required: ________________

| Sample Category | Location | How will the sample be collected? |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | PWS | Homeowner Resident | Lab | Other |
| 1. |  |  |  |  |  |
| 2. |  |  |  |  |  |
| 3. |  |  |  |  |  |
| 4. |  |  |  |  |  |
| 5. |  |  |  |  |  |
| 6. |  |  |  |  |  |
| 7. |  |  |  |  |  |
| 8. |  |  |  |  |  |
| 9. |  |  |  |  |  |
| 10. |  |  |  |  |  |
| 11. |  |  |  |  |  |
| 12. |  |  |  |  |  |
| 13. |  |  |  |  |  |
| 14. |  |  |  |  |  |
| 15. |  |  |  |  |  |
| 16. |  |  |  |  |  |
| 17. |  |  |  |  |  |
| 18. |  |  |  |  |  |
| 19. |  |  |  |  |  |
| 20. |  |  |  |  |  |
| 21. |  |  |  |  |  |
| 22. |  |  |  |  |  |
| 23. |  |  |  |  |  |
| 24. |  |  |  |  |  |
| 25. |  |  |  |  |  |

Public Water Supplier Signature: ______________________________________            Date: ___________________

Please submit this form to your Regional DEP Office.

For DEP-DWP use

Action:_________________________________________________________________________

DWP Name: ____________________________ Signature: _____________________________ Date: ___________