# INTRODUCTION

The Massachusetts Watershed Initiative is a collaborative effort between state and federal environmental agencies, citizens, non-profit groups, businesses and industries in the watershed.  The mission is to improve water quality conditions and to provide a framework under which the restoration and/or protection of the basin’s natural resources can be achieved.   Implementation of this project is underway in a process known as the “Watershed Approach”.  The five-year cycle of the Watershed Approach, as illustrated in Figure 4, provides the management structure to carry out the mission. This report presents the assessment of water quality conditions in the Charles River Basin.  The assessment is based on information that has been researched and developed through the first three years (information gathering, monitoring, and assessment) of the five year cycle by the Department of Environmental Protection (DEP) as part of its federal mandate under the Federal Water Pollution Control Act (commonly known as the Clean Water Act).

Figure 4. Clean Water Act Implementation Cycle.

The objective of the Clean Water Act (CWA) is to restore and maintain the chemical, physical, and biological integrity of the Nation’s waters (Environmental Law Reporter 1988).  To meet this goal, the CWA requires states to develop information on the quality of the Nation's water resources and report this information to the U.S. Environmental Protection Agency (EPA), the U.S. Congress, and the public.  Together, these agencies are responsible for implementation of the CWA mandates.  Under Section 305(b) of the Federal Clean Water Act, DEP must submit a statewide report every two years to the EPA, which describes the status of water quality in the Commonwealth.  The most recent 305(b) report is the Commonwealth of Massachusetts Summary of Water Quality 1998 (MA DEP 1998a).  The 305(b) statewide report is based on the compilation of the Commonwealth’s 27 watershed water quality assessment reports. The 305(b) report compiles data from a variety of sources, and provides an evaluation of water quality, progress made towards maintaining and restoring water quality, and the extent to which problems remain.   Reporting on the status of the water quality conditions follows a standardized process described in the assessment methodology.  This process involves the analyzing of biological, habitat, physical/chemical, and/or toxicity data and other information to assess the degree of use support, and identify causes and sources of water quality impairment. This 1997/1998 Charles River Watershed Water Quality Assessment Report is an integral component of the 305(b) reporting process.

ASSESSMENT METHODOLOGY

### WATER QUALITY CLASSIFICATION

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected; prescribe minimum water quality criteria required to sustain the designated uses; and include provisions for the prohibition of discharges (MADEP 1996).  These regulations undergo public review every three years.   These surface waters are segmented and each segment is assigned to one of the six classes described below:

Inland Water Classes

- Class A – These waters are designated as a source of public water supply.  To the extent compatible with this use they shall be an excellent habitat for fish, other aquatic life and wildlife, and suitable for primary and secondary contact recreation.  These waters shall have excellent aesthetic value.  These waters are designated for protection as Outstanding Resource Waters (ORW) under 314 CMR 4.04(3).

- Class B – These waters are designated as a habitat for fish, other aquatic life, and wildlife, and for primary and secondary contact recreation.  Where designated they shall be suitable as a source of water supply with appropriate treatment.  They shall be suitable for irrigation and other agricultural uses and for compatible industrial cooling and process uses.  These waters shall have consistently good aesthetic value.

- Class C – These waters are designated as a habitat for fish, other aquatic life and wildlife, and for secondary contact recreation. These waters shall be suitable for the irrigation of crops used for consumption after cooking and for compatible industrial cooling and process uses.  These waters shall have good aesthetic value.

Coastal and Marine Classes

- Class SA – These waters are designated as an excellent habitat for fish, other aquatic life and wildlife and for primary and secondary recreation. In approved areas they shall be suitable for shellfish harvesting without depuration (Open Shellfishing Areas). These waters shall have excellent aesthetic value.

- Class SB – These waters are designated as a habitat for fish, other aquatic life and wildlife and for primary and secondary contact recreation.  In approved areas they shall be suitable for shellfish harvesting with depuration (Restricted Shellfishing Areas).  These waters shall have consistently good aesthetic value.

- Class SC – These waters are designated as a habitat for fish, other aquatic life, and wildlife and for secondary contact recreation.  They shall also be suitable for certain industrial cooling and process uses.  These waters shall have good aesthetic value.

The CWA Section 305(b) water quality reporting process is an essential aspect of the Nation's water pollution control effort.  It is the principal means by which EPA, Congress, and the public evaluate existing water quality, assess progress made in maintaining and restoring water quality, and determine the extent of remaining problems.  In so doing, the States report on waterbodies within the context of meeting their designated uses (described above in each class).   Each class is identified by the most sensitive, and therefore governing, water uses to be achieved and protected.  These uses include: Aquatic Life, Fish Consumption, Drinking Water, Primary and Secondary Contact Recreation, Shellfishing and Aesthetics. Three subclasses of Aquatic Life are also designated in the standards: Cold Water Fishery (capable of sustaining a year-round population of cold water aquatic life such as trout), Warm Water Fishery (waters which are not capable of sustaining a year-round population of cold water aquatic life), and Marine Fishery (suitable for sustaining marine flora and fauna).

A summary of the State Water Quality Standards (Table 3) prescribes minimum water quality criteria to sustain the designated uses.  Furthermore these standards describe the hydrological conditions at which water quality criteria must be met (MA DEP 1996).  In rivers and streams, the lowest flow conditions at and above which criteria must be met is the lowest mean flow for seven consecutive days to be expected once in ten years (7Q10).  In artificially regulated waters, the lowest flow conditions at which criteria must be met is the flow equal or exceeded 99% of the time on a yearly basis or another equivalent flow which has been agreed upon.  In coastal and marine waters and for lakes and ponds the most severe hydrological condition is determined by DEP on a case by case basis.

The availability of appropriate and reliable scientific data and technical information is fundamental to the 305(b) reporting process.  It is EPA policy (EPA Order 5360.1 CHG 1) that any organization performing work for or on behalf of EPA establish a Quality System to support the development, review, approval, implementation, and assessment of data collection operations.  To this end, DEP describes its Quality System in an EPA-approved Quality Management Plan (QMP) to ensure that environmental data collected or compiled by the Agency are of known and documented quality and are suitable for their intended use.  For external sources of information, DEP requires the following: 1) an appropriate Quality Assurance Project Plan including a QA/QC plan, 2) use of a state certified lab (certified in the applicable analysis), 3) data management QA/QC be described, and 4) the information be documented in a citable report.

Table 3  Summary of Massachusetts Surface Water Quality Standards (MADEP 1996). Note: Italics are direct quotations.

| Dissolved Oxygen | Class A, BCWF*, SA :  6.0 mg/L and > 75% saturation unless background conditions are lower Class BWWF**, SB:  5.0 mg/L and > 60% saturation unless background conditions are lower Class C: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 3.0 mg/L anytime unless background conditions are lower; levels cannot be lowered below 50% saturation due to a discharge Class SC: Not < 5.0 mg/L for more than 16 of any 24 –hour period and not < 4.0 mg/L anytime unless background conditions are lower; and 50% saturation; levels cannot be lowered below 50% saturation due to a discharge |
| --- | --- |
| Temperature | Class A: < 68°F (20°C) and  1.5°F (0.8°C) for Cold Water and < 83°F (28.3°C) and  1.5°F (0.8°C) for Warm Water Class BCWF: < 68°F (20°C) and 3°F (1.7°C) due to a discharge Class BWWF: < 83°F (28.3°C) and 3°F (1.7°C) in lakes, 5°F (2.8°C) in rivers Class C, SC: <85°F (29.4°C) nor 5°F (2.8°C) due to a discharge Class SA: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) Class SB: <85°F (29.4°C) nor a maximum daily mean of 80°F (26.7°C) and 1.5°F (0.8°C) between July through September and  4.0°F (2.2°C) between October through June |
| pH | Class A, BCWF, BWWF: 6.5 – 8.3 and 0.5 outside the background range. Class C: 6.5 – 9.0 and 1.0 outside the naturally occurring range. Class SA, SB: 6.5 – 8.5 and 0.2 outside the normally occurring range. Class SC: 6.5 – 9.0 and 0.5 outside the naturally occurring range. |
| Fecal Coliform Bacteria | Class A: an arithmetic mean of < 20 organisms /100 ml in any representative set of samples and < 10% of the samples > 100 organisms/100 ml. Class B: a geometric mean of < 200 organisms /100 ml in any representative set of samples and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class C: a geometric mean of < 1000 organisms /100ml, and < 10% of the samples > 2000 organisms/100 ml. Class SA: approved Open Shellfish Areas: a geometric mean (MPN method) of < 14 organisms/100 ml and < 10% of the samples > 43 organisms/100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class SB: approved Restricted Shellfish Areas: < a fecal coliform median or geometric mean (MPN method) of 88 organisms/100 ml and < 10% of the samples > 260 organisms /100 ml (MPN method). Waters not designated for shellfishing: < a geometric mean of 200 organisms in any representative set of samples, and < 10% of the samples > 400 organisms /100 ml. (This criterion can be applied on a seasonal basis at the discretion of the DEP.) Class SC: < a geometric mean of 1000 organisms/100 ml and < 10% of the samples > 2000 organisms/100ml. |
| Solids | All Classes: These waters shall be free from floating, suspended, and settleable solids in concentrations or combinations that would impair any use assigned to each class, that would cause aesthetically objectionable conditions, or that would impair the benthic biota or degrade the chemical composition of the bottom. |
| Color and Turbidity | All Classes: These waters shall be free from color and turbidity in concentrations or combinations that are aesthetically objectionable or would impair any use. |  |  |
| Oil & Grease | Class A, SA: Waters shall be free from oil and grease, petrochemicals and other volatile or synthetic organic pollutants. Class SA: Waters shall be free from oil and grease and petrochemicals. Class B, C,SB, SC: Waters shall be free from oil and grease, petrochemicals that produce a visible film on the surface of the water, impart an oily taste to the water or an oily or other undesirable taste to the edible portions of aquatic life, coat the banks or bottom of the water course or are deleterious or become toxic to aquatic life. |
| Taste and Odor | Class A, SA: None other than of natural origin. Class B, C,SB, SC: None in such concentrations or combinations that are aesthetically objectionable, that would impair any use assigned to each class, or that would cause tainting or undesirable flavors in the edible portions of aquatic life. |
| Aesthetics | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. |
| Toxic Pollutants (7) | All Classes: All surface waters shall be free from pollutants in concentrations or combinations that are toxic to humans, aquatic life or wildlife… The division shall use the recommended limit published by EPA pursuant to 33 USC 1251, 304(a) as the allowable receiving water concentrations for the affected waters unless a site-specific limit is established. |
| Nutrients | Shall not exceed the site-specific limits necessary to control accelerated or cultural eutrophication. |

*Class BCWF = Class B Cold Water Fishery, ** Class BWWF = Class B Warm Water Fishery,  criterion (referring to a change from ambient) is applied to the effects of a permitted discharge.

EPA provides guidelines to the States for making their use support determinations (EPA 1997).    The determination of whether or not a waterbody supports each of its designated uses is a function of the type(s), quality and quantity of available current information.   Each designated use within a given segment is individually assessed as 1) support, 2) partial support, or 3) non-support.  The term threatened is used when the use is fully supported but may not support the use within two years because of adverse pollution trends or anticipated sources of pollution.  When too little current data/information exists or no reliable data are available the use is not assessed.  Although data/information older than five years are usually considered “historical” and used for descriptive purposes, they can be utilized in the use support determination providing they are known to reflect the current conditions. While the water quality standards (Table 3) prescribe minimum water quality criteria to sustain the designated uses, numerical criteria are not available for every indicator of pollution.  Best available guidance in the literature may be applied in lieu of actual numerical criteria (e.g., freshwater sediment data may be compared to Guidelines for the Protection and Management of Aquatic Sediment Quality in Ontario 1993 by D. Persaud, R. Jaagumagi and A. Hayton).

### Designated Uses

The Massachusetts Surface Water Quality Standards designate the most sensitive uses for which the surface waters of the Commonwealth shall be enhanced, maintained and protected.  Each of these uses is briefly described below (MA DEP 1996):

- AQUATIC LIFE - suitable habitat for sustaining a native, naturally diverse, community of aquatic flora and fauna.  Three subclasses of aquatic life are also designated in the standards for freshwater bodies; Cold Water Fishery - capable of sustaining a year-round population of cold water aquatic life such as trout, Warm Water Fishery - waters which are not capable of sustaining a year-round population of cold water aquatic life, and Marine Fishery - suitable for sustaining marine flora and fauna.

- FISH CONSUMPTION - pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.

- DRINKING WATER - used to denote those waters used as a source of public drinking water.  They may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  These waters are designated for protection as Outstanding Resource Waters under 314 CMR 4.04(3).

- PRIMARY CONTACT RECREATION - suitable for any recreation or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water. These include, but are not limited to, wading, swimming, diving, surfing and water skiing.

- SECONDARY CONTACT RECREATION - suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities.

- AESTHETICS - all surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life.

- AGRICULTURAL AND INDUSTRIAL - suitable for irrigation or other agricultural process water and for compatible industrial cooling and process water.

- SHELLFISH HARVESTING (in SA and SB segments) – Class SA waters in approved areas (Open Shellfish Areas) shellfish harvested without depuration shall be suitable for consumption; Class SB waters in approved areas (Restricted Shellfish Areas) shellfish harvested with depuration shall be suitable for consumption.

Other restrictions which denote specific subcategories of use assigned to the segment that may affect the application of criteria or specific antidegradation provision of 314 CMR 4.00 which are specified along segments of the Charles River include:

- CSO – These waters are identified as impacted by the discharge of combined sewer overflows in the classification tables in 314 CMR 4.06(3).  Overflow events may be allowed by the permitting authority without a variance or partial use designation where the provisions 314 CMR 4.06(1)(d)10 are met.  The waterbody may be subject to short-term impairment of swimming or other recreational uses, but support these uses through most of their annual period of use; and the aquatic life community may suffer some adverse impact yet is still generally viable).

The guidance used to assess each designated use follows.

AQUATIC LIFE USE

This use is suitable for sustaining a native, naturally diverse, community of aquatic flora and fauna. The results of biological (and habitat), toxicological, and chemical data are integrated to assess this use.  The nature, frequency, and precision of the DEP's data collection techniques dictate that a weight of evidence be used to make the assessment, with biosurvey results used as the final arbiter of borderline cases.  The following chart provides an overview of the guidance used to assess the status (support, partial support, non-support) of the aquatic life use:

| Variable (# indicates reference) | Support—Data available clearly indicates support. Minor excursions from chemical criteria (Table 3) may be tolerated if the biosurvey results demonstrate support. | Partial Support -- Uncertainty about support in the chemical or toxicity testing data, or there is some minor modification of the biological community. Excursions not frequent or prolonged. | Non-support -- There are frequent or severe violations of chemical criteria, presence of acute toxicity, or a moderate or severe modification of the biological community. |  |
| --- | --- | --- | --- | --- |
| BIOLOGY |  |  |  |  |
| Rapid Bioassessment Protocol (RBP) II or III (4) | Non-Impaired | Slightly Impaired |  | Moderately or Severely Impaired |
| Fish Community (4) | BPJ* | BPJ* |  | BPJ* |
| Habitat and Flow (4) | BPJ* | BPJ* |  | Dry Streambed due to artificial regulation or channel alteration |
| Macrophytes (4) | No non-native plant species present, BPJ | Non-native plant species present but not dominant, BPJ* |  | Non-native plant species dominant, BPJ* |
| Plankton/ Periphyton (4) | No algal blooms | Occasional algal blooms |  | Persistent algal blooms |
| TOXICITY TESTS |  |  |  |  |
| Water Column (4) | >75% survival either 48 hr or 7-day exposure | >50 - <75% survival either 48 hr or 7-day exposure |  | <50% survival either 48 hr or 7-day exposure |
| Effluent (4) | Meets permit limits | (NOTE: if limit is not met, the stream is listed as threatened for 1.0 river mile downstream from the discharge.) |  |  |
| Sediment (4) | >75% survival | >50 - <75% survival |  | <50% survival |
| CHEMISTRY- WATER |  |  |  |  |
| DO (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. |  | Criteria exceeded >25% of measurements. |
| pH (3, 6) | Criteria (Table 3) | Criteria exceed in 11-25% of measurements. |  | Criteria exceeded >25% of measurements. |
| Temperature (3, 6) *** | Criteria (Table 3), *** | Criteria exceed in 11-25% of measurements. |  | Criteria exceeded >25% of measurements. |
| Turbidity (4) |  5 NTU due to a discharge | BPJ* |  | BPJ * |
| Suspended Solids (4) | 25 mg/L max., 10 mg/L due to a discharge | BPJ* |  | BPJ* |
| Nutrients (3) Total Phosphorus(4) | Table 3, (Site-Specific Criteria; Maintain Balanced Biocommunity, no pH/DO violations) | BPJ* |  | BPJ* |
| Toxic Pollutants (3, 6) Ammonia-N (3, 4) Chlorine (3, 6) | Criteria (Table 3) 0.254 mg/L**** NH3-N 0.011 mg/L TRC | Criterion is exceed in < 10% of samples. |  | Criterion is exceed in > 10% of samples. |
| CHEMISTRY – SEDIMENT |  |  |  |  |
| Toxic Pollutants (5) | < L-EL***** | One pollutant between L-EL and S-EL |  | One pollutant  S-EL |
| Nutrients (5) | < L-EL | between L-EL and S-EL |  |  S-EL |
| Metal Normalization to Al or Fe (4) | Enrichment Ratio < 1 | Enrichment Ratio >1 but <10 |  | Enrichment Ratio >10 |
| CHEMISTRY- EFFLUENT |  |  |  |  |
| Compliance with permit limits (4) | In-compliance with all limits | NOTE: If the facility is not in compliance with their permit limits, the information is used to threaten one river mile downstream from the discharge. |  |  |
| CHEMISTRY-TISSUE |  |  |  |  |
| PCB – whole fish (1) | <500 g/Kg wet weight | BPJ* |  | BPJ* |
| DDT (2) | <14.0 g/Kg wet weight | BPJ* |  | BPJ* |
| PCB in aquatic tissue (2) | <0.79 ng TEQ/Kg wet weight | BPJ* |  | BPJ* |

*BPJ = Best Professional Judgement, ***maximum daily mean temp. in a month (minimum of 6 measurements evenly distributed over 24-hours) <criterion, ****Ammonia levels for pH of 9.0, actual “criterion” varies with pH and is evaluated case-by-case, *****L-EL = Low Effect Level and S-EL = Severe Effect Level

FISH CONSUMPTION USE

Pollutants shall not result in unacceptable concentrations in edible portions of marketable fish or shellfish or for the recreational use of fish, shellfish, other aquatic life or wildlife for human consumption.  This assessment is made using the most recent list of Fish Consumption Advisories issued by the Massachusetts Executive Office of Health and Human Services, Department of Public Health (DPH), Bureau of Environmental Health Assessment. Fish Consumption Advisory List.   Following is an overview of the guidance used to assess the status (support, partial support, non-support) of the fish consumption use.

| Variable (# indicates reference) | Support —No restrictions or bans in effect | Partial Support – A "restricted consumption" fish advisory is in effect for the general population or a sub-population that could be at potentially greater risk (e.g., pregnant women, and children | Non-support – A "no consumption" advisory or ban in effect for the general population or a sub-population for one or more fish species; or there is a commercial fishing ban in effect |
| --- | --- | --- | --- |
| DPH Fish Consumption Advisory List (8) | Not applicable, precluded by statewide advisory (Hg) | Not applicable | Waterbody on DPH Fish Consumption Advisory List |

* NOTE: In 1994, DPH issued a statewide Interim Freshwater Fish Consumption Advisory for mercury.  This precautionary measure was aimed at pregnant women only; the general public was not considered to be at risk from fish consumption.  The advisory encompasses all freshwaters in Massachusetts therefore the Fish Consumption Use will no longer be assessed as support.

DRINKING WATER USE

Drinking Water Use denotes those waters used as a source of public drinking water.  These waters may be subject to more stringent regulation in accordance with the Massachusetts Drinking Water Regulations (310 CMR 22.00).  They are designated for protection as Outstanding Resource Waters in 314 CMR 4.04(3).  This use is assessed by DEP’s Drinking Water Program (DWP). The use is not assessed when the source has been placed on “emergency or backup” status since no testing is required.   Below is an overview of the guidance used to assess the status (support, partial support, non-support) of the drinking water use.

| Variable (# indicates reference) | Support-- No closures or advisories (no contaminants with confirmed exceedences of MCLs, conventional treatment is adequate to maintain the supply). | Partial Support – Is one or more advisories or more than conventional treatment is required | Non-support – One or more contamination-based closures of the water supply |
| --- | --- | --- | --- |
| Drinking Water Program (DWP) Evaluation | Reported by DWP | Reported by DWP | Reported by DWP |

PRIMARY CONTACT RECREATIONAL USE

This use is suitable for any recreational or other water use in which there is prolonged and intimate contact with the water with a significant risk of ingestion of water (1 April to 15 October).  These include, but are not limited to, wading, swimming, diving, surfing and water skiing.  The chart below provides an overview of the guidance used to assess the status (support, partial support, non-support) of the primary contact use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-support –Frequent or prolonged violations of criteria, formal bathing area closures, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (3, 9) * | Criteria met (Table 3) OR Dry Weather Guidance <5 samples--<400/100 ml maximum Wet Weather Guidance Dry weather samples meet and wet samples <2000/100 ml | Guidance exceeded in 11-25% of the samples OR Wet Weather Dry weather samples meet and wet samples >2000/100 ml | Guidance exceeded in > 25% of the samples |
| pH (3, 6) | Criteria (Table 3) exceeded in <10% of the measurements | Criteria exceeded in 11-25% of the measurements | Criteria exceeded in >25% of the measurements |
| Temperature (3) | Criteria met (Table 3) | Criteria exceeded 11-25% of the time | Criteria exceeded 25% of the time |
| Color and Turbidity (3, 6) |  5 NTU (due to a discharge) exceeded in <10 % of the measurements | Guidance exceeded in 11-25% of the measurements | Guidance exceeded in >25% of the measurements |
| Secchi disk depth (10) ** | Lakes - >1.2 meters ( > 4’) | Infrequent excursions from the guidance | Frequent and/or prolonged excursions from the guidance |
| Oil & Grease (3) | Criteria met (Table 3) | Criteria exceeded 11-25% of the time | Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4)** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at maximum extent of growth. | Lakes – cover of macrophytes 50-75% of lake area at their maximum extent of growth. | Lakes – cover of macrophytes >75% of lake area at their maximum extent of growth. |

Note:  Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly it is important to interpret the amount of precipitation received in the subject region immediately prior to sampling and streamflow conditions.

** Lakes exhibiting impairment of the primary contact recreation use (swimmable) because of macrophyte cover and/or transparency (Secchi disk depth) are assessed as either partial or non-support. If no fecal coliform bacteria data are available and the lake (entirely or in part) met the transparency (Secchi disk depth) and aesthetics guidance this use is not assessed.

SECONDARY CONTACT RECREATIONAL USE

This use is suitable for any recreation or other water use in which contact with the water is either incidental or accidental.  These include, but are not limited to, fishing, boating and limited contact incident to shoreline activities. Following is an overview of the guidance used to assess the status (support, partial support, non-support) of the secondary contact use.

| Variable (# indicates reference) | Support-- Criteria are met, no aesthetic conditions that preclude the use | Partial Support –Criteria exceeded intermittently (neither frequent nor prolonged), marginal aesthetic violations | Non-support –Frequent or prolonged violations of criteria, or severe aesthetic conditions that preclude the use |
| --- | --- | --- | --- |
| Fecal Coliform Bacteria (4) * | Dry Weather Guidance <5 samples--<2000/100 ml maximum >5 samples--<1000/100 ml geometric mean < 10% samples >2000/100 ml Wet Weather Guidance Dry weather samples meet and wet samples <4000/100 ml | Wet Weather Guidance Dry weather samples meet and wet samples >4000/100 ml | Criteria exceeded in dry weather |
| Oil & Grease (3) | Criteria met (Table 3) | ### Criteria exceeded 11-25% of the time | ### Criteria exceeded >25% of the time |
| Aesthetics (3) Biocommunity (4) ** | No nuisance organisms that render the water aesthetically objectionable or unusable; Lakes – cover of macrophytes < 50% of lake area at their maximum extent of growth. | Macrophyte cover is between 50 – 75% | Macrophyte cover exceeds 75% of the lake area. |

Note: Excursions from criteria due to natural conditions are not considered impairment of use.

* Fecal Coliform bacteria interpretations require additional information in order to apply this use assessment guidance.  Bacteria data results (fecal coliform) are interpreted according to whether they represent dry weather or wet weather (stormwater runoff) conditions.  Accordingly it is important to interpret the amount of precipitation received in the study region immediately prior to sampling and streamflow conditions.

** In lakes if no fecal coliform data are available, macrophyte cover is the only criterion used to assess the secondary contact recreational use.

For the Primary and Secondary Contact Recreational uses the following steps are taken to interpret the fecal coliform bacteria results:

- Identify  the range of fecal coliform bacteria results,

- Calculate the geometric mean (monthly, seasonally, or on dataset),  (Note: the geometric mean is only calculated on datasets with >5 samples collected in a 30 day period.)

- Calculate the % of sample results exceeding 400 cfu/100 mls,

- Determine if the samples were collected during wet or dry weather conditions (review precipitation and streamflow data),

- Dry weather can be defined as:  No/trace antecedent (to the sampling event) precipitation that causes more than a slight increase in stream flow.

- Wet weather can be defined as:  Precipitation antecedent to the sampling event that results in a marked increase in stream flow.

- Apply the following to interpret dry weather data:

- <10% of the samples exceed criteria (step 2 and 3, above) assessed as Support,

- 11-25% of the samples exceed criteria (step 2 and 3, above) assessed as Partial Support,

- >25% of the samples exceed criteria (step 2 and 3, above) assessed as Non-support.

AESTHETICS USE

All surface waters shall be free from pollutants in concentrations or combinations that settle to form objectionable deposits; float as debris, scum or other matter to form nuisances; produce objectionable odor, color, taste or turbidity; or produce undesirable or nuisance species of aquatic life. The aesthetic use is closely tied to the public health aspects of the recreational uses (swimming and boating).  Below is an overview of the guidance used to assess the status (support, partial support, non-support) of the aesthetics use.

| Variable (# indicates reference) | Support— 1.No objectionable bottom deposits, floating debris, scum, or nuisances; 2. objectionable odor, color, taste or turbidity, or nuisance aquatic life | Partial Support – Objectionable conditions neither frequent nor prolonged | Non-support – Objectionable conditions frequent and/or prolonged |
| --- | --- | --- | --- |
| Aesthetics (3)* Visual observation (4) | Criteria met (Table 3) | BPJ (spatial and temporal extent of degradation) | BPJ (extent of spatial and temporal degradation |

- For lakes, the aesthetic use category is generally assessed at the same level of impairment as the more severely impaired recreational use category (primary or secondary contact).

SHELLFISHING USE

This use is assessed using information from the Department of Fisheries, Wildlife and Environmental Law Enforcement's Division of Marine Fisheries (DMF).  The information is in the form of various classifications of shellfish closures and restrictions.  Shellfish areas under management orders are not assessed.

| Variable (# indicates reference) | Support – SA Waters—open for shellfish harvesting without depuration (Open areas) SB Waters—open for shellfish harvesting with depuration (Open, conditionally approved, restricted areas) | Partial Support – SA Waters—Seasonally closed, seasonally open, conditionally approved,conditionally restricted SB Waters—Seasonally closed, seasonally open, conditionally restricted areas | Non-support – SA Waters—Closed areas SB Waters—Closed areas |
| --- | --- | --- | --- |
| Division of Marine Fisheries Shellfish Project Classification Area Information (11) | Reported by DMF | Reported by DMF | Reported by DMF |

References

- Coles, J.C. 1998.Organochlorine Compounds in Fish Tissue from the Connecticut, Housatonic and Thames River Basins Study Unit, 1992-94. National Water-Quality Assessment Program. U.S. Department of the Interior, U.S. Geological Survey. Marlborough, MA.

- Environment Canada.  04 November 1999.  Canadian Environmental Quality Guidelines.  [Online]. Environment Canada. http://www.ec.gc.ca/ceqg-rcqe/tistbl_e.doc [28 September 1998].

- MA DEP.  1996. (Revision of 1995 report).  Massachusetts surface water quality standards.  Massachusetts Department of Environmental Protection, Division of Water Pollution Control, Technical Services Branch.  Westborough, MA  (Revision of 314 CMR 4.00, effective June 23, 1996).

- MA DEP.  1999. Open File. Department of Watershed Management 305(b) Assessment Guidance.  Massachusetts Department of Environmental Protection, Division of Watershed Management.  Worcester, MA

- Persaud, D., R. Jaagumagi, and A. Hayton.  1993.  Guidelines for the protection and management of aquatic sediment quality in Ontario.  Water Resources Branch, Ontario Ministry of the Environment.  Queen’s Printer for Ontario. Canada.

- USEPA. 1997. Guidelines for Preparation of the Comprehensive State Water Quality Assessments (305(b) Reports) and Electronic Updates: Supplement.  Assessment and Watershed Protection Division (4503F), Office of Wetlands, Oceans and Watersheds, Office of Water, U.S. Environmental Protection Agency. Washington, DC.

- USEPA. 19 November 1999.  Federal Register Document. [Online]. United States Environmental Protection Agency. http://www.epa.gov/fedrgstr/EPA-WATER/1998/December/Day-10/w30272.htm.

- MA DPH. 1998.  Freshwater Fish Consumption Advisory List.  The Commonwealth of Massachusetts, Bureau of Environmental Health Assessment. Boston, MA.

- Kimball, W.A., 1996. Memorandum to 305(b) Committee.  Re: Small data sets/ wet weather data. Massachusetts Department of Environmental Protection, Office of Watershed Management.  Grafton, MA.

- MA DPH. 1969. Article 7 Regulation 10.2B of the State Sanitary Code. Commonwealth of Massachusetts. Department of Public Health. Boston, MA.

- Churchill, N.  1999.  Personal Communication.  Shellfish Project Classification Area Information as of 1 January 1999.  Department of Fisheries, Wildlife, and Environmental Law Enforcement, Division of Marine Fisheries.  Pocasset, MA.

CHARLES RIVER WATERSHED DESCRIPTION AND CLASSIFICATION

DESCRIPTION

The Charles River Watershed  (Figure 5) is geographically and economically a vital part of the largest employment and population complex in New England.  The watershed contains all or portions of five cities and thirty towns. Extending inland from Boston Harbor southwesterly toward the Massachusetts-Rhode Island border, the Charles River Watershed has an hour-glass shape which encompasses 307square miles.  The River meanders approximately 80 miles from its headwaters to its mouth.

Figure 1

Originating at an elevation of 500 feet, the Charles River rises from springs on the southerly slope of Honey Hill about a mile from Hopkinton Center.  One mile downstream and nearly 150 feet lower is Echo Lake, often referred to as the source of the Charles. The upper third of the Charles River Watershed is largely rural in character and some agriculture is still being practiced.  Terrain in the upper watershed is generally gently rolling to hilly, with the highest altitudes approaching 500 feet.  The eastern and southern section of the upper watershed is characterized by rolling topography with extensive swampy areas.  The combination of moderate slopes, sandy pervious soil, extensive wetlands, small mill dams, and lake storage contribute to making the upper section of the river unusually slow in responding to heavy rains.

Figure 5. Location of Charles River Watershed.

The upper area of the Charles River Watershed extends from Echo Lake to Populatic Pond on the Franklin-Norfolk town line.  In the upper watershed, the Charles River covers approximately 20 miles and falls around 220 feet.  Nine dams, many of which were built by riparian mill owners for power sources, interrupt the mainstem flow.  The environs are largely woodlands interspersed with small manufacturing towns and farms. The 12 miles between Populatic Pond and Route 27 embrace the largest Charles natural valley storage area, the so-called “marshes” of the Upper Charles.  In this and the next two downstream reaches, the river flows at very low gradient – an average of only one-foot fall per mile.  As an area of natural flood-water storage and wildlife habitat, this reach retains runoff from snow-melt and storm events and substantially reduces flood flows in the river. Below Route 27 to the South Natick Dam, the wide marsh area narrows and pine-forested banks rise abruptly from the river shore.  These six miles of riverway are largely in estate or trust ownership.

The middle third of the Charles River Watershed includes the area between the outlet of Populatic Pond and the South Natick Dam.  This area is suburban and less populated and developed than the lower Charles.  The secluded estate character of the river upstream of the South Natick Dam changes gradually from suburban land, then to sweeping lawns and finally to urban development as the river approaches the Silk Mill Dam at Hemlock Gorge in Newton/Needham.  In this 11-mile stretch lies the second largest natural valley storage area—“The Dedham Loop”—and the Mother Brook Diversion (capable of diverting up to one-third the flow of the Charles to the Neponset River).

From the Silk Mill Dam to the Watertown Dam, the Charles River drops 75 feet in 10 miles, principally at seven dam sites. Within this reach one finds sharp contrasts in the aesthetic quality of the riverscape.  Upstream of the Moody Street Dam, the river meanders through the Lakes District.  Downstream of Moody Street, the river becomes channelized as it flows through a much more urbanized portion of the watershed.

The lower third of the watershed extends from the South Natick Dam to the New Charles River Dam.  This area forms a large segment of the Boston urban complex and is densely populated and intensively developed except for several major public or semi-public reservations.  This lower segment has hydrologic conditions that differ substantially from the remainder of the watershed.  During periods of high precipitation, a large portion of the precipitation runs off this urbanized area into the River within a very short period of time.  Normally, the high run off rate would not create any drastic problems however the hydraulic situation is complicated by fact that the Charles River empties into a harbor which at high tide is higher than the level of the Charles River.

The river downstream of the Watertown Dam, known locally as “the Basin”, is formed by the Charles River Dam located 1.2 miles above the mouth of the river.  The Basin is 8.6 river miles long and covers some 675 acres at its design water service level of 2.38 feet above mean sea level.  The major portion of the Basin downstream of the BU Bridge has a length of 2.6 miles and widths varying form 300 to 2,000 feet; the latter width prevails throughout the central 1.5 miles of this reach.

The volume and configuration of the Charles River has been greatly modified by two factors, 1) the numerous dams which widen the mainstream and slow its pace, and 2) the extensive natural storage provided by wetland areas in the middle and upper watershed.  Flood peaks in these areas are so retarded in natural valley storage areas that they do not reach the Lower Charles until three to four days after the flood peak generated downstream has passed.  And, not only do upstream wetlands buffer the effects of high flow periods, they also mitigate the consequences of low flow and extended drought.  By releasing their stored waters gradually in the summer months, stream flows are sustained through periods of low precipitation.

CLASSIFICATION

Consistent with the National Goal Uses of “fishable and swimmable waters”, the classification of the Charles River according to the SWQS, is as follows (MA DEP 1996):

- Class A (Public Water Supply) from the outlet of Echo Lake, Hopkinton to Dilla Street, Milford.

- Class B, Aquatic Life from Dilla Street in Milford to the Milford Wastewater Treatment Plant (WWTP) discharge, Hopedale/Milford.

- Class B, Warm Water Fishery from the Milford WWTP discharge to the Watertown Dam, Watertown.

- Class B, Variance granted for Combined Sewer Overflows (CS0s) from the Watertown Dam to the Science Park Dam (Science Museum), Boston.  (Note: this segment should be extended to the New Charles River Dam, Boston through the next triennial review of the Water Quality Standards).

The designation of ORW is applied to those waters with exceptional socio-economic, recreational, ecological and/or aesthetic values.  ORWs have more stringent requirements than other waters because the existing use is so exceptional or the perceived risk of harm is such that no lowering of water quality is permissible.  ORWs include certified vernal pools and all designated Class A Public Water Supplies, and may include surface waters found in National Parks, State Forests and Parks, Areas of Critical Environmental Concern (ACEC) and those protected by special legislation (MA DEM 1993).  Wetlands that border ORWs are designated as ORWs to the boundary of the defined area.  In the Charles River Basin, all designated ORWs are associated with Class A Public Water Supplies (Rojko et al. 1995).

Class A waterbodies in the Charles River Watershed include the following:

- Stony Brook Reservoir (Turtle Pond): source to outlet in Waltham and those tributaries thereto,

- Cambridge Reservoir: source to outlet in Waltham and those tributaries thereto,

- Sandy Pond (Flint’s Pond): source to outlet in Lincoln and those tributaries thereto,

- Echo Lake: source to outlet in Hopkinton and those tributaries thereto, and

- Louisa Lake: source to outlet in Milford and those tributaries thereto.

The following tributaries (listed in the SWQS) to the Charles River are classified as follows:

- Muddy River, entire length, Class B (CSO), Warm Water Fishery, Variance granted for CSO

- Mine Brook, entire length, Class B, Warm Water Fishery, High Quality Water (note: Franklin WWTP tied into Medway (CRWPCD) on 15 January 1980)

- Sugar Brook, entire length, Class B, Warm Water Fishery

Unlisted waters not otherwise designated in the SWQS, are designated Class B, High Quality Waters.  Where fisheries designations are necessary they shall be made on a case-by-case basis.

REVIEW OF EXISTING CONDITIONS AND PERCEIVED PROBLEMS

A review of Charles River Watershed data (both historical and current) from reliable sources, both internal (DEP) and external, is presented below.

State Surveys

Water Quality--The DEP has conducted numerous water quality surveys in the Charles River Watershed since 1968 (MA DEP 1999a).  Prior to 1997, the most recent completed survey was the 1990 Charles River Bacteria Study  (Webber 1991). The Charles River receives three NPDES municipal discharges, all in the upper/mid watershed. In addition, three minor NPDES facilities discharge to the Stop River.  The majority of the municipal wastewater from the lower Charles River Watershed is treated at Massachusetts Water Resources Authority’s (MWRA) Deer Island WWTP and is discharged into Boston Harbor.  Numerous other NPDES discharges (e.g., contact and non-contact cooling water, site remediation wastewater, stormwater) are located throughout the basin.

While water quality degradation in the upper/middle Charles River Watershed primarily results from municipal wastewater discharges; the numerous combined sewer overflows, stormdrains, illicit sewer connections (dry weather stormdrain discharges), and other nonpoint source inputs impact water quality in the lower portion of the basin. The 1990 study found that except for occasional fecal coliform violations and frequently high phosphorus concentrations, Charles River water quality appeared good relative to previous surveys. The worse water quality was always found at the Watertown Dam in Watertown.  Notably high concentrations of bacteria were also found in the river at Moody Street in Waltham.

Water quality degradation resulting from stormwater and CSO discharges in the lower Charles River has been the subject of study by the MWRA over the past several years. The final CSO Facilities Plan/Environmental Impact Report was issued on 31 July 1997 (Metcalf & Eddy Consulting Engineers 1997). There are 19 existing permitted CSO discharges to the Lower Charles Basin (defined as the segment from the Watertown Dam to the New Charles River Dam just downstream of Science Park).   Of these discharges, five are permitted to the City of Cambridge, five to the Boston Water & Sewer Commission, one to the City of Somerville, and eight to the Massachusetts Water Resources Authority.  All of the discharges are untreated with the exception of discharges from the Cottage Farm CSO treatment facility (MWR 201). Among the findings in the MWRA CSO Facilities Plan was that stormwater loads are the predominant source of pollutants in the Lower Basin.  Water quality monitoring by MWRA and the Charles River Watershed Association has supported this finding.

The tributaries sampled in 1990 appeared to be more degraded than the mainstem with elevated levels of solids, chlorine, nitrogen, and bacteria. These tributaries may be contributing to some of the high bacteria concentrations found in the mainstem Charles River.

Water Quantity-- The potential for low flow in the Charles River and its tributaries, and some declining surface water levels in this area has generated concern among towns, agencies, and citizens. The Department’s Drinking Water Program (DWP) convened the Upper Charles River Study (Bouck 1997) to investigate water use in the towns of Franklin, Norfolk, Medway, and Millis, all of which are located near the head of the Charles River proximal to Interstate 495. Franklin is presently experiencing one of the largest population growth rates in the State. The aquifers of the area are generally unconfined with some local areas exhibiting confining conditions. Therefore, the surface water features such as streams, rivers, lakes, and ponds are in direct hydraulic connection with the permeable material that provides water to the public water supplies. As a result, water withdrawals that significantly lower the water table can potentially lower adjacent surface water features, and thereby adversely impact wildlife, aquatic habitat, and other water supplies (Bouck 1997). The primary aquifers supplying Franklin are presently stressed to the point where future resource planning is essential for the Town to maintain its present growth rate.

The principle aquifers being stressed are along Mine Brook in Franklin, Mill River adjacent to the Franklin/Norfolk border, and the Populatic Pond/Charles River area near the juncture of Franklin, Norfolk, Medway, and Millis. Preliminary data analyzed by the Massachusetts Department of Environmental Management (DEM) found that groundwater withdrawals from these four towns has had no significant impact on the Charles River as a whole. This is most likely due to return flow from on-site septic systems and a regional wastewater treatment facility in Medway.  However, the portion of the river located between the confluence of Mine Brook and the Charles River, and the wastewater treatment plant downgradient of Populatic Pond, has been impacted by the combined withdrawals along Mine Brook, Mill River, and Populatic Pond/Charles River.  According to the DWP report, these stressed areas may be unable to handle any future withdrawals without adversely impacting resident aquatic communities.

Lakes, Ponds & Impoundments—The majority of the lakes, ponds, and impoundments in the Charles River Watershed were “not assessed” since water quality data were too old to make valid assessments.

Fish Toxics—At the request of a concerned citizen, DEP DWM sampled fish on 10 August 1994 from the Charles River between the South Natick Dam and Chestnut Street in Needham.  The outcome of this survey resulted in the Department of Public Health (DPH) issuing a consumption advisory due to elevated levels of PCB in carp (DPH 1998).  The following year, at the request of DEP’s Bureau of Waste Site Cleanup, DWM sampled fish from three stations in the lower Charles River area downstream of Needham.  The majority of properties along the lower Charles are zoned for either commercial or industrial use.  There is also one Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA) cleanup site (US Army Materials Technology Laboratory) located approximately 1.25 miles downstream from the Watertown Dam.  In addition, there are numerous State regulated waste disposal sites, combined sewer overflows, and permitted as well as illegal discharges of potentially contaminated wastewater.   Fish samples were collected during November of 1995.  Subsequent to the evaluation of those results, the DPH extended the consumption advisory in May of 1996 from Needham downstream to the Museum of Science dam in Boston/Cambridge due to the persisting, elevated levels of PCB’s in carp (DPH 1998).

Two ponds in the Charles River Watershed were included in the 1996 Public Request, Fish Toxics Monitoring Survey.  Hardy Pond in Waltham was sampled on 1 July 1996 and Lake Winthrop in Holliston was sampled on 1 October 1996. The analytical results of fish collected from these stations have been evaluated by the DPH during the winter of 1996.  Although mercury values in some of the fish samples from Lake Winthrop exceed the trigger level of 0.50 mg/kg, a consumption advisory has not yet been issued, however, an advisory based on high dioxin concentrations discovered in fish sampled in 1984 remains in place.

Fish from the following waterbodies have also been sampled for metals, PCB’s and organochlorine pesticides in the past by DEP and results reviewed by the DPH (1998):

1986 – Echo Lake, Hopkinton – Elevated mercury concentrations in fish were revealed, however the pond has restricted access and a “NO FISHING” provision, therefore no advisory was issued.

1988 – Lake Waban, Wellesley, and Box Pond in Bellingham – No DPH advisories issued.

1989 – Cedar Swamp Pond, Milford & Sandy Pond, Lincoln – No DPH advisories were issued upon initial evaluation of the data sets for these ponds, however, in 1994 the DPH revised the criteria for advisory issuance.  The trigger level for mercury concentrations in fish flesh changed from 1.0 mg/kg to 0.50 mg/kg.  Subsequent to that change, data sets from these ponds were re-evaluated and a consumption advisory was issued for Cedar Swamp Pond.

1990 – Muddy River, Boston – DPH issued a consumption advisory based on elevated PCB’s in several of the species collected.

Based on these data, DEP DWM recommended that collection efforts be conducted upstream to determine the extent of contamination causing body burdens of toxics in fish flesh that exceed the DPH’s criteria for human edibility (MA DEP 1998b).

Benthic Macroinvertebrate Biomonitoring--Macroinvertebrate Rapid Bioassessment (MRB) was conducted by DEP in the Charles River downstream of the Milford WWTP in two successive years (1987/1988) in conjunction with physico-chemical sampling (MA DEP 1998b). The objectives were to evaluate the status of water quality and to document any improvements resulting from upgrades to the treatment plant, which began providing advanced waste treatment during the fall of 1986. Conclusions are as follows: In 1987 the benthic community downstream of the Milford WWTP was found to be severely impaired--the scarcity of aquatic macroinvertebrates in the MRB sample suggested the presence of a toxicant. Chemical data showed high instream concentrations of ammonia, implicating its role as a toxicant.  Because the community was dominated by organisms tolerant of conventional pollution, it was evident that oxygen levels were also a problem for aquatic life. Dissolved oxygen (DO) concentrations in this section of the river were indeed low during the summer months of 1987. In 1988, the MRB found improved instream conditions. Concurrently, instream concentrations of ammonia-nitrogen were greatly reduced.  Dissolved oxygen, however, continues to be a problem for aquatic life as evidenced by the 1988 MRB and DO data.

### Other Surveys

Milford Power Limited Partnership (MPLP), formerly owned by ENRON, and currently owned by American National power, began power generation on 1 July 1994 and has continued on a regular basis since that date. During facility operation, the cooling towers are generally supplied with treated wastewater diverted from the Milford WWTP facility. The Charles River Monitoring Project, called for in the DEP Sewer Extension Permit (MA24633) was issued to MPLP on 1 April 1992. As required in the permit, water quality, habitat, streamflow and biological monitoring is routinely conducted and provided to DEP in the form of monthly and annual reports by ENSR Consulting and Engineering (ENSR 1998). Procedures followed are defined in the Quality Assurance Project Plan  (ENSR 1992) for the Charles River Monitoring Project.

Camp Dresser & McKee (CDM) has recently surveyed (1996-1997) a portion of the Charles River Watershed as part of a wasteload allocation study for the Charles River Pollution Control District (CDM 1997). Sampling was conducted in the Charles River between Populatic Pond and the Cochrane Dam in Dover, as well as in some of the larger tributaries in this portion of the basin.

The Charles River Watershed Association (CRWA) conducted extensive monitoring activities from 1995-1997 as part of their Integrated Monitoring, Modeling, and Management Project (CRWA 1995; CRWA 1997a and b; CRWA 1998; CRWA 1999 and Lancaster et al. 1995)—herein referred to as IM3 Project, which was initiated in 1994. Water quality sampling was conducted monthly at 37 mainstem stations as well as numerous tributaries throughout the watershed.  Agencies participating in the IM3 project included both the EPA and Brandeis University.

The BSC Group-Boston, Inc. conducted water quality monitoring in Populatic Pond, Medway as part of their Populatic Pond Diagnostic/Feasibility Phase I Study (1988). The study summarizes the physical, chemical, and biological character of the Pond, identifies sources of nutrients and pollution that may be contributing to degradation, and recommends measures to restore and enhance water quality conditions in Populatic Pond.

The Metropolitan Area Planning Council (MAPC) developed a Water Supply Protection Plan for nine communities in the upper Charles River Basin (1993).  The plan (Volume I and II) includes: an inventory of the communities’ water resources incorporating watershed and aquifer recharge areas; inventory of land uses and potential sources of contamination; analysis of local zoning and water resource protection and recommendations for additional water supply protection.

Plexus Scientific Corporation has prepared a Supplemental Phase 2 Remedial Investigation (RI) Report and an Aquatic Ecological Risk Assessment Report (PLEXUS 1996) for a portion of the Charles River adjacent to the U.S. Army Materials Technology Laboratory (AMTL) in Watertown.  Sediment sampling and benthic macroinvertebrate surveys were conducted at numerous stations in the Charles River in the vicinity of the AMTL.

MWRA’s Monitoring of Boston Harbor and its tributaries includes studies on water quality (1993-present), macroalgal growth, hydrographic data in the Inner Harbor, CSO receiving waters and anthropogenic virus monitoring.  The water quality monitoring began in 1993 to document water quality changes as pollution abatement projects are implemented.  The data were collected Harbor-wide and in the Charles, Mystic and Neponset Rivers at five stations year round.  Additionally in 1998 there was a focus on the Charles River with two water quality monitoring stations (Watertown Dam and Science Museum Dam) sampled weekly year-round with an emphasis on eutrophication.  During the 1998 focus on the Charles, CSO Receiving Water Monitoring included 14 locations from Watertown Dam to Charles River Dam and one below the Charles River Dam, three times a week, every five weeks, year-round, focusing on bacteria, hydrographic data, and its relationship to rainfall (Rex 1999).

In 1987 Gale Associates began a year-round diagnostic feasibility study of Box Pond to characterize existing water quality conditions; identify and quantify nutrient and pollutant sources; and recommend pollution control measures.  Phosphorus loadings to the pond were evaluated and control strategies were recommended (Hendrickson 1990).

The United States Army Corps of Engineers New England Division (NED) conducted a Water Resources Study of the Muddy River Watershed in 1992 (1992).  Findings of this study were developed after a review of existing water quality reports for the basin, and based on sediment and water quality analysis performed by the Corps of Engineers. A summary of reconnaissance findings is included in Appendix C of their study (U.S. Army Corps of Engineers 1992).

The United States Geological Survey conducted a study Channel Morphology and Streambed-Sediment Quality in the Muddy River, Boston and Brookline, Massachusetts, October 1997 in support of EOEA’s Muddy River Task Force (Breault et al. 1998).  The report was prepared in cooperation with the Fenway Alliance, USEPA, MA DEM, City of Boston, Department of Parks and Recreation, Town of Brookline, Department of Public Works.  The report describes the bathymetry and thickness of streambed sediment, volume of streambed sediment and occurrences/distribution of total trace metals and organic compounds in the sediment of Muddy River.

The United States Environmental Protection Agency Office of Environmental Measurement and Evaluation conducted continuous diurnal dissolved oxygen monitoring at five locations in the mainstem Charles River in support of EPA’s Clean Charles 2005 Initiative and the DEP’s 1997/1998 Quality Assurance Project Plan (EPA 1998).

Discharge Monitoring Reports—Four of the six municipal wastewater treatment facilities (Milford WWTP – MA0100579, Charles River Water Pollution Control District -- MA0102598, Medfield POTW—MA0100978, and Norfolk-Walpole MCI – MA0102253) are required to submit quarterly toxicity testing reports to EPA and DEP as required by their NPDES permits. Data from these reports (maintained by DWM in a database known as “Toxicity Testing Data –TOXTD”) is also utilized by DEP in the assessment of water quality conditions in the Charles River Basin (Dallaire 1998).

OBJECTIVES

This report summarizes information generated in the Charles River Watershed throughYear 1 (information gathering in 1996) and Year 2 (environmental monitoring in 1997) activities established in the “Five-Year Cycle” of the Watershed Initiative.  Data collected by DWM in 1997/1998, in accordance with the Quality Assurance Project Plan (QAPP) (MA DEP 1998b), are provided in Appendix A, B, and C (QA/QC, data tables, technical memorandum of biological monitoring, respectively). Together with other sources of information (identified in each segment assessment), the status of water quality conditions of lakes and streams in the Charles River Watershed were assessed in accordance with EPA’s and DEP’s use assessment methods. Current activities are summarized in Appendix D. It is important to realize that not all waters in the Charles River Watershed have been assessed.   Only those segments that have been surveyed at some time by DEP are included in this report.

The objectives of this water quality assessment report are to:

- Evaluate whether or not individual segments currently meet water quality standards,

- evaluate the status of each designated use that is applicable to the segment,

- identify major point and nonpoint sources that could effect the segment (water withdrawals, wastewater discharges, land use practices, etc),

- identify the presence or absence of any non-native macrophytes in lakes,

- identify waters (or segments) of concern that require additional data to fully assess the water quality conditions, and

- recommend additional monitoring needs and/or remediation actions in order to better determine the level of impairment or to improve/restore water quality.

SEGMENT REPORT FORMAT

The segment order in this assessment report follows the Massachusetts Stream Classification Program (Halliwell et al. 1982) hierarchy.  Stream segments are organized hydrologically (from most upstream to downstream).  Tributary summaries follow the segment into which they discharge.  Lakes segment summaries are presented after the stream segments.  Each segment summary is formatted as follows:

Segment identification

Name, water body identification number (WBID) (Dallaire 1999), location, length, and classification.

Sources of information: coding system (waterbody identification number e.g., MA72-01) used by DEP to reference the stream segment in databases such as 305(b) and 303(d) (Dallaire 1999), the Massachusetts SWQS (MA DEP 1996), and other descriptive information.

Segment description

Flow direction, tributary confluences, and other observations.

Sources of information: descriptive information from USGS topographical maps.

Segment locator map

Watershed map, segment origin and termination points.

Sources of information: MassGIS (EOEA 1999) data layers (stream/lake segments, and quadrangle maps).

Water withdrawals and wastewater discharge permit information

WMA, NPDES, and CSO permits.

Sources of information: WMA Database Printout (LeVangie 1997); open permit files located in Worcester, Wilmington, and Lakeville DEP Offices (MA DEP 1999b and 1999c); Department Environmental Management (DEM), MassGIS (EOEA 1995a EOEA 1995b and 1997) maps  (priority resources, water supply protection, and draft active NPDES sites).

Use assessment

Discussion of current reliable data/information.

Sources of information: recent DWM survey data (Appendix A, B, and C) and the following: data from the DEP DWM Toxicity Testing Database “TOXTD” (Dallaire 1998), USGS streamflow data (Socolow et al. 1998, and Socolow et al. 1999), sources listed in the “Other Surveys” section of  “Review of Existing Conditions and Perceived Problems”, and the MA DPH Freshwater Fish Consumption Advisory List (DPH 1998).

Summary

Designated use status table.

Recommendations

Additional monitoring and implementation needs.

 [Adapted from: Charles River Massachusetts Study Main Report & Attachments (Department of the Army New England Division Corps of Engineers, September 1972)]