Construction Worksite Assessment Checklist

General Safety

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Is this the only worksite at which the student will work? (if others, note in comment section) |  |  |  |  |
| Are weather conditions considered as part of job site safety? (e.g. roof/scaffold work postponed in rainy or windy weather) |  |  |  |  |
| Are there Heat Stress Procedures in place to prevent heat exhaustion? |  |  |  |  |
| Are there Cold Stress Procedures in place to prevent hypothermia, frostbite, etc? |  |  |  |  |
| Are employees wearing PPE? |  |  |  |  |
| Head protection (e.g. hard hats) |  |  |  |  |
| Safety glasses |  |  |  |  |
| Hearing protection |  |  |  |  |
| Respirators |  |  |  |  |
| Gloves |  |  |  |  |
| Kneepads |  |  |  |  |
| Foot protection (e.g. Steel-toed boots/shoes—not observable) |  |  |  |  |
| If there are forklifts onsite, do all operators have current training? Note: It is prohibited for persons under 18 to drive or ride on forklifts. |  |  |  |  |

Falls from Heights

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Is fall protection equipment provided for workers? (e.g. harness, guard rail, safety net) |  |  |  |  |
| Does scaffolding appear to be in good condition? |  |  |  |  |
| Do elevated work/storage platforms (including scaffolds) have guardrails? |  |  |  |  |
| Are ladders readily available for use? |  |  |  |  |
| Are ladders in good condition? (e.g., no missing rungs) |  |  |  |  |
| Are ladders in use set up and secured on even surfaces, and footed when necessary? |  |  |  |  |
| Is use of fall protection equipment enforced? |  |  |  |  |
| Are scaffolds inspected regularly? |  |  |  |  |
| Is fall protection equipment inspected regularly? |  |  |  |  |

Electrical

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Is the floor/ground area clear of electrical cords? |  |  |  |  |
| Are metal ladders and scaffolds prohibited in areas with energized parts of equipment, fixtures, and circuit conductors? (includes overhead power lines) |  |  |  |  |
| Are GFCI’s (ground-fault circuit interrupters) used where construction, demolition, modification, alteration or excavation work is being performed? |  |  |  |  |
| Are all circuit panels accessible? (not blocked) |  |  |  |  |
| Are there lockout/tagout procedures in place for electrical work? |  |  |  |  |
| Are workers prohibited from “working live” (with energized wires)? |  |  |  |  |

Tools and Machinery

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Is there enough space around machines for operators to perform work without injury, and for others to avoid interfering with operators? |  |  |  |  |
| Do tools and equipment appear to be in good condition? (free of burn marks, not bent, etc.) |  |  |  |  |
| Are handheld tools and equipment unplugged when not in use in the field? |  |  |  |  |
| Are hand tools padded? |  |  |  |  |
| Are there guards on power saws, grinders, and similar equipment? |  |  |  |  |
| Is use of nail guns with contact trip (touch sensitive) triggers avoided? |  |  |  |  |
| Do machines have emergency stops/shut-offs? |  |  |  |  |
| Do saws (planer, table, etc.) have magnetic restarts, to prevent them from automatically restarting after a power outage? |  |  |  |  |
| Are there lockout/tagout procedures in place for machinery? |  |  |  |  |
| Are tables/workstations height adjustable, for welding, assembly work, etc.? |  |  |  |  |
| Are tools inspected regularly? |  |  |  |  |

Wood Dust, Lead and Other Chemicals

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Do tools and machines have dust collectors? |  |  |  |  |
| Is the area free of accumulated wood dust or metal shavings? (potential fire hazard) |  |  |  |  |
| For indoor settings, is fresh air provided? |  |  |  |  |
| Are flammable substances (paint, gasoline, etc.) in fireproof containers? |  |  |  |  |
| Are flammable substances stored away from possible igniting elements or surfaces? |  |  |  |  |
| Are gas-powered tools, such as portable generators, always used OUTSIDE and away from windows, doors and vents? (potential carbon monoxide poisoning) |  |  |  |  |
| For work involving cement/concrete/grout, are wet cutting practices in place, or local exhaust ventilation used? (potential silica and/or asbestos exposure) |  |  |  |  |
| For work on structures built prior to 1978, are precautions taken to prevent lead exposure? Note: It is prohibited for persons under 18 to perform renovation work involving potential lead exposure. |  |  |  |  |
| For any worksite containing asbestos, have identifying signs and labels been attached or posted so all employees know to avoid these materials? |  |  |  |  |
| For any work on structures that may contain asbestos, are precautions taken to prevent exposure? Note: It is prohibited for persons under18 to perform renovation, repair, or demolition of asbestos-containing material. |  |  |  |  |
| Is there a flammable storage permit? (For stationary business/establishment worksites) |  |  |  |  |